|  |  |
| --- | --- |
|  | **КЛИНИЧКИ ЦЕНТАР ВОЈВОДИНЕ**  Аутономна покрајина Војводина, Република Србија  Хајдук Вељкова 1, 21000 Нови Сад,  т: +381 21 484 3 484 е-адреса: [uprava@kcv.rs](mailto:uprava@kcv.rs)  [www.kcv.rs](http://www.kcv.rs) |

**Број: 154-20-О/1**

**Дана: 09.06.2020.**

**КОНКУРСНА ДОКУМЕНТАЦИЈА**

**Сервис и одржавање медицинске опреме произвођача ''Thermo Fisher Scientific'' за потребе Клиничког центра Војводине**

**Отворени поступак**

**154-20-О**

**Нови Сад, јун 2020. година**

На основу Закона о јавним набавкама („Сл. гласник РС” бр. 124/12, 14/15 и 68/15 у даљем тексту: Закон), и Правилника о обавезним елементима конкурсне документације у поступцима јавних набавки и начину доказивања испуњености услова („Сл. гласник РС” бр. 86/2015 и 41/2019), Одлуке о покретању поступка предметне јавне набавке и Решења о образовању комисије за предметну јавну набавку, припремљена је:

**КОНКУРСНА ДОКУМЕНТАЦИЈА**

**у отвореном поступку јавне набавке услуга бр. 154-20-О - Сервис и одржавање медицинске опреме произвођача ''Thermo Fisher Scientific'' за потребе Клиничког центра Војводине**

Конкурсна документација садржи:

1. ОПШТИ ПОДАЦИ О НАБАВЦИ 3

2. ОПИС ПРЕДМЕТА ЈАВНЕ НАБАВКЕ 4

3. УСЛОВИ ЗА УЧЕШЋЕ У ПОСТУПКУ ЈАВНЕ НАБАВКЕ ИЗ ЧЛ. 75. И 76. ЗАКОНА И УПУТСТВО КАКО СЕ ДОКАЗУЈЕ ИСПУЊЕНОСТ ТИХ УСЛОВА 7

4. УПУТСТВО ПОНУЂАЧИМА КАКО ДА САЧИНЕ ПОНУДУ 11

5. РАЗРАДА КРИТЕРИЈУМА 23

6. МОДЕЛ УГОВОРА 24

7. ИЗЈАВА О НЕЗАВИСНОЈ ПОНУДИ 30

8. ОБРАЗАЦ ИЗЈАВЕ О ПОШТОВАЊУ ОБАВЕЗА 31

9. ОБРАЗАЦ СТРУКТУРЕ ПОНУЂЕНЕ ЦЕНЕ 32

10. ОБРАЗАЦ ТРОШКОВА ПРИПРЕМЕ ПОНУДЕ 33

11. ОБРАЗАЦ ПОНУДЕ 34

# ОПШТИ ПОДАЦИ О НАБАВЦИ

|  |  |
| --- | --- |
| **Наручилац** | КЛИНИЧКИ ЦЕНТАР ВОЈВОДИНЕ,  ул. Хајдук Вељкова бр.1, Нови Сад, (www.kcv.rs) |
| **Предмет јавне набавке** | Услуге бр. 154-20-О - Сервис и одржавање медицинске опреме произвођача ''Thermo Fisher Scientific'' за потребе Клиничког центра Војводине |
| **Врста поступка** | Отворени поступак |
| **Циљ поступка** | Поступак јавне набавке се спроводи ради закључења уговора о јавној набавци |
| **Процењена вредност јавне набавке** | 500.000,00 динара без ПДВ-а |
| **Контакт** | Одсек за немедицинске јавне набавке,  e-mail: nabavke@kcv.rs |
| **Радно време наручиоца** | понедељак-петак, 07–15 часова |

**Предмет јавне набавке није обликован по партијама.**

# ОПИС ПРЕДМЕТА ЈАВНЕ НАБАВКЕ

*(врста, техничке карактеристике, квалитет, количина и опис предмета јавне набавке, начин спровођења контроле и обезбеђивања гаранције квалитета, рок извршења, место извршења/испоруке и сл.)*

Услуга подразумева редован сервис (једном годишње) и одржавање по позиву у случају квара, медицинске опреме произвођача ''Thermo Fisher Scientific'' за потребе Клиничког центра Војводине.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **РБ** | **Апарат** | **Модел** | **Серијски број** | **Клиника** |
| 1. | КРИОСТАТ | Cryostat NX70 | S18122625 | Центар за патологију и хистологију |
| 2. | AУТОМАТСКИ МИКРОТОМ | Rotary Microtome HM355S | S18122631 | Центар за патологију и хистологију |
| 3. | АУТОМАТСКИ МИКРОТОМ | Rotary Microtome HM355S | S18122632 | Центар за патологију и хистологију |
| 4. | АПАРАТ ЗА БОЈЕЊЕ ПЛОЧИЦА И АПАРАТ ЗА ЛЕПЉЕЊЕ ПОКРОВНОГ СТАКЛА ПОВЕЗАНИ АУТОМАТСКИМ МОДУЛОМ | Clear Vue | CV60561809 | Центар за патологију и хистологију |
| 5. | АПАРАТ ЗА БОЈЕЊЕ ПЛОЧИЦА И АПАРАТ ЗА ЛЕПЉЕЊЕ ПОКРОВНОГ СТАКЛА ПОВЕЗАНИ АУТОМАТСКИМ МОДУЛОМ | Gemini AS | GT6203H1810 | Центар за патологију и хистологију | |
| 6. | ВОДЕНО КУПАТИЛО СА ЛАМИНАРНИМПРОТОКОМ ВОДЕ | Section Transfer System | S18112541 | Центар за патологију и хистологију | |
| 7. | ВОДЕНО КУПАТИЛО СА ЛАМИНАРНИМПРОТОКОМ ВОДЕ | Section Transfer System | S18112540 | Центар за патологију и хистологију | |
| 8. | РАДНА СТАНИЦА ЗА ПРИЈЕМ МАТЕРИЈАЛА/УЗОРАКА | Slide Filing Cabinet | 01122/04A90803/01/81 | Центар за патологију и хистологију | |
| 9. | АПАРАТ ЗА РЕЦИКЛАЖУ ФОРМАЛИНА,АЛКОХОЛА И КСИЛОЛА | Procycler Adventage Solvent Recycler | 8054 | Центар за патологију и хистологију | |

Место извршења је Центар за патологију и хистологију, Клиничког центра Војводине, улица Хајдук Вељкова 1-9, Нови Сад.

Наручилац ће сукцесивно упућивати захтеве за извршењем.

**Редован сервис (обавља се једном годишње)**

Подразумева проверу батерија, филтера и тестирање односно проверу исправности апарата.

**Одржавање по позиву у случају квара** подразумева сервис по указаној потреби наручиоца по ценама оригиналних резервних делова и радног сата код одржавања по позиву из Обрасца понуде.

Након сваког сервиса, изабрани понуђач/добављач је у обавези да изврши подешавање према фабричким прописима и спецификацијама и контролу функције целокупне опреме.

Изабрани понуђач/добављач се обавезује да након сваке појединачно извршене услуге попуни “СЕРВИСНУ КЊИЖИЦУ“ апарата.

Ако у току реализације уговора настане потреба за заменом неког дела који се не налази у Обрасцу понуде, а који је неопходан за извршење предмета јавне набавке (нпр. услед прилагођавања новинама на тржишту, под условом да су у питању истородна добра, да добављач та добра иначе нуди или временом нуди само таква добра, да би због понуде на тржишту било бесмислено инсистирати на застарелим (и у пракси неиспоручивим) захтевима и да није економично правити нов поступак и др.) добављач је дужан да лично или путем мејла овлашћеном лицу код наручиоца достави извештај и образложи неопходност замене баш тог дела у односу на оне делове који се налазе у Обрасцу понуде.

Добављач се обавезује да пре замене резервног дела који се не налази у Обрасцу понуде, уз горе поменути извештај, наручиоцу достави и релевантан доказ о стварој цени резервног дела (рачун, предрачун или други одговарајћи доказ којим се доказује цена) и да на исти обрачуна ону маржу која је наведена у Обрасцу понуде.

Добављач се обавезује да замену резервног дела који се не налази у Обрасцу понуде изврши тек по добијању писаног налога и одобрења од стране овлашћеног лица код наручиоца, у супротном наручилац нема обавезу да добављачу плати замењен резервни део.

Уговор се закључује на износ процењене вредности за време трајања уговора, до истека финансијских средстава, односно максимално годину дана од дана закључења уговора, по ценама из Обрасца понуде*.*

# УСЛОВИ ЗА УЧЕШЋЕ У ПОСТУПКУ ЈАВНЕ НАБАВКЕ ИЗ ЧЛ. 75. И 76. ЗАКОНА И УПУТСТВО КАКО СЕ ДОКАЗУЈЕ ИСПУЊЕНОСТ ТИХ УСЛОВА

Испуњеност услова за учешће у поступку јавне набавке, правно лице, физичко лице и предузетник као понуђач, или подносилац пријаве, доказује достављањем следећих доказа:

|  |  |  |
| --- | --- | --- |
| Бр. | УСЛОВИ | ДОКАЗИ |
| **ОБАВЕЗНИ УСЛОВИ ЗА УЧЕШЋЕ У ПОСТУПКУ ЈАВНЕ НАБАВКЕ ИЗ ЧЛАНА 75. ЗАКОНА** | | |
|  | Понуђач је регистрован код надлежног органа, односно уписан у одговарајући регистар. | **Доказ за правна лица:**  Извод из регистра Агенције за привредне регистре, односно извод из регистра надлежног Привредног суда.  **Доказ за предузетнике:**  Извод из регистра Агенције за привредне регистре, односно извод из одговарајућег регистра. |
|  | Понуђач и његов законски заступник није осуђиван за неко од кривичних дела као члан организоване криминалне групе, да није осуђиван за кривична дела против привреде, кривична дела против животне средине, кривично дело примања или давања мита, кривично дело преваре. | **Доказ за правна лица:**  1.Извод из казнене евиденције, односно уверењe **основног суда** на чијем подручју се налази седиште домаћег правног лица, односно седиште представништва или огранка страног правног лица, којим се потврђује да правно лице није осуђивано за кривична дела против привреде, кривична дела против животне средине, кривично дело примања или давања мита, кривично дело преваре. Напомена: Уколико уверење основног суда не обухвата податке из казнене евиденције за кривична дела која су у надлежности редовног кривичног одељења Вишег суда, потребно је поред уверења основног суда доставити И УВЕРЕЊЕ ВИШЕГ СУДА на чијем подручју је седиште домаћег правног лица, односно седиште представништва или огранка страног правног лица, којом се потврђује да правно лице није осуђивано за кривична дела против привреде и кривично дело примања мита.  2.Извод из казнене евиденције **Посебног одељења за организовани криминал Вишег суда у Београду**, којим се потврђује да правно лице није осуђивано за неко од кривичних дела организованог криминала.  3.Извод из казнене евиденције, односно уверење **надлежне полицијске управе МУП-а**, којим се потврђује да законски заступник понуђача није осуђиван за неко од кривичних дела као члан организоване криминалне групе, да није осуђиван за кривична дела против привреде, кривична дела против заштите животне средине, кривично дело примања или давања мита, кривично дело преваре (захтев се може поднети према месту рођења или према месту пребивалишта). Уколико понуђач има више законских заступника дужан је да достави доказ за сваког од њих.  **Доказ за предузетнике / физичка лица:**  Извод из казнене евиденције, односно уверење **надлежне полицијске управе МУП-а,** којим се потврђује да није осуђиван за неко од кривичних дела као члан организоване криминалне групе, да није осуђиван за кривична дела против привреде, кривична дела против заштите животне средине, кривично дело примања или давања мита, кривично дело преваре (захтев се може поднети према месту рођења или према месту пребивалишта). |
|  | Понуђач је измирио доспеле порезе, доприносе и друге јавне дажбине у складу са прописима Републике Србије или стране државе када има седиште на њеној територији. | Доказ за **правна лица / предузетнике / физичка лица:**  Уверење Пореске управе Министарства финансија да је измирио доспеле порезе и доприносе, и уверење надлежне локалне самоуправе да је измирио обавезе по основу изворних локалних јавних прихода, или потврду Агенције за приватизацију да се понуђач налази у поступку приватизације, не старија од два месеца пре отварања понуде. |
| **ДОДАТНИ УСЛОВИ ЗА УЧЕШЋЕ У ПОСТУПКУ ЈАВНЕ НАБАВКЕ ИЗ ЧЛАНА 76. ЗАКОНА** | | |
|  | Понуђач је остварио најмање 1.000.000,00 дин. прихода у последње три године. | Доказ за **правна лица / предузетнике / физичка лица:**  Извештај о бонитету НБС (или АПР) или понуђачеви биланси стања и биланси успеха, или изводи из тих биланса, за претходне три обрачунске године (2017, 2018. и 2019. год.). |
|  | Понуђач има минимум једног (1) радно ангажованог сервисера са важећим сертификатима произвођача опреме. | Доказ за **правна лица / предузетнике / физичка лица:**   1. М-А (стари М2) образац за запослене или уговор о раду, односно уговор о привременим и повременим пословима или уговор о допунском раду, или други уговор о радном ангажовању у вези са захтевом предметне јавне набавке. 2. Сертификат произвођача опреме за радно ангажована лица. |
|  | Понуђач има:   1. Тестер ел. безбедности | Доказ за **правна лица / предузетнике / физичка лица:**   1. Пописна листа понуђача у којој је наведена тражена опрема са типом и серијским бројем или   Уговор или неки други документ о изнајмљивању или пословној сарадњи који доказује поседовање.   1. Важеће уверење о еталонирању издато од сертификоване лабораторије или важећа потврда или сертификат о калибрацији коју је издао произвођач. |
|  | Понуђач је овлашћен за сервис и поправку предметних апарата. | Доказ за **правна лица / предузетнике / физичка лица:**  Овлашћење произвођача опреме за сервис и поправку предметних апарата. |

**Доказивање испуњености услова за учешће у поступку јавне набавке и начин достављања доказа**

* ОБАВЕЗНИ УСЛОВИ ЗА УЧЕШЋЕ У ПОСТУПКУ ЈАВНЕ НАБАВКЕ ИЗ ЧЛАНА 75. ЗАКОНА о ЈН: Испуњеност услова из тачке 1, 2 и 3 понуђач доказује достављањем доказа наведених у табели.
* ДОДАТНИ УСЛОВИ ЗА УЧЕШЋЕ У ПОСТУПКУ ЈАВНЕ НАБАВКЕ ИЗ ЧЛАНА 76. ЗАКОНА о ЈН: Испуњеност услова из тачке 1, 2, 3 и 4 понуђач доказује достављањем доказа наведених у табели.
* Понуђач, односно добављач је дужан да без одлагања писмено обавести наручиоца о било којој промени у вези са испуњеношћу услова из поступка јавне набавке, која наступи до доношења одлуке, односно закључења уговора, односно током важења уговора о јавној набавци и да је документује на прописани начин.
* Понуђачи који су регистровани у Регистру понуђача који води Агенција за привредне регистре нису дужни да достављају доказе о испуњености услова из члана 75. ст. 1. тач. 1) до 3) ЗЈН, сходно чл. 78. ЗЈН, већ достављају доказ да су уписани у Регистар понуђача.
* Наведене доказе о испуњености услова понуђач може доставити у виду неоверених копија, а наручилац може пре доношења одлуке о додели уговора да тражи од понуђача, чија је понуда на основу извештаја комисије за јавну набавку оцењена као најповољнија, да достави на увид оригинал или оверену копију свих или поједних доказа.

Докази из тачака 2. и 3. не могу бити старији од два месеца пре отварања понуда.

Ако понуђач у остављеном, примереном року који не може бити краћи од пет дана, не достави доказе за испуњеност услова, наручилац ће његову понуду одбити као **неприхватљиву.**

* Наручилац неће одбити понуду као неприхватљиву, уколико не садржи доказ одређен Законом или конкурсном документацијом, ако понуђач наведе у понуди интернет страницу на којој су подаци који су тражени у оквиру услова јавно доступни.
* Уколико је доказ о испуњености услова електронски документ, понуђач доставља копију електронског документа у писаном облику, у складу са законом којим се уређује електронски документ, осим уколико подноси електронску понуду када се доказ доставља у изворном електронском облику.
* Ако понуђач има седиште у другој држави, наручилац може да провери да ли су документи којима понуђач доказује испуњеност тражених услова издати од стране надлежних органа те државе.
* Ако понуђач није могао да прибави тражена документа у року за подношење понуде, због тога што она до тренутка подношења понуде нису могла бити издата по прописима државе у којој понуђач има седиште и уколико уз понуду приложи одговарајући доказ за то, наручилац ће дозволити понуђачу да накнадно достави тражена документа у примереном року.
* Ако се у држави у којој понуђач има седиште не издају докази из члана 77. овог закона, понуђач може, уместо доказа, приложити своју писану изјаву, дату под кривичном и материјалном одговорношћу оверену пред судским или управним органом, јавним бележником или другим надлежним органом те државе.
* **Уколико понуду подноси група понуђача,** понуђач је дужан да за сваког члана групе понуђача достави наведене доказе да испуњава обавезне услове из члана 75. став 1. тач. 1) до 3), а доказ из члана 75. став 1. тач. 4) Закона.

Додатне услове група понуђача испуњава заједно.

* **Уколико понуђач подноси понуду са подизвођачем**, понуђач је дужан да за подизвођача достави доказе да испуњава услове из члана 75. став 1. тач. 1) до 3) Закона, а доказ из члана 75. став 1. тач. 4). Закона.

# УПУТСТВО ПОНУЂАЧИМА КАКО ДА САЧИНЕ ПОНУДУ

1. ***ПОДАЦИ О ЈЕЗИКУ НА КОЈЕМ ПОНУДА МОРА ДА БУДЕ САСТАВЉЕНА***

Понуда се саставља на српском језику, ћириличним или латиничним писмом.

1. ***НАЧИН НА КОЈИ ПОНУДА МОРА ДА БУДЕ САЧИЊЕНА***

Понуда се попуњава помоћу писаће машине, рачунара или хемијске оловке (штампаним словима, на обрасцима који су саставни део конкурсне документације).

Понуђач понуду подноси у затвореној коверти или кутији, затворену на начин да се приликом отварања понуда може са сигурношћу утврдити да се први пут отвара.

На полеђини коверте или на кутији навести назив понуђача, тачну адресу и контакт телефон.

У случају да понуду подноси група понуђача, на коверти или на кутији је потребно назначити да се ради о групи понуђача и навести називе и адресу свих учесника у заједничкој понуди и контакт телефон.

Понуду доставити непосредно или путем поште на адресу: **Клинички центар Војводине,** **21000 Нови Сад, Хајдук Вељкова број 1***,* искључиво преко писарнице Клиничког центра Војводине, са назнаком да је реч о понуди, уз обавезно **навођење предмета набавке и редног броја** набавке (подаци дати у поглављу 1. конкурсне документације).

На полеђини понуде обавезно ставити назнаку **„НЕ ОТВАРАТИ”.**

**Понуда се сматра благовременом уколико је примљена од стране наручиоца до датума (дана) и часа назначеног у позиву за подношење понуда*.***

Наручилац ће, по пријему одређене понуде, на коверти, односно кутији у којој се понуда налази, обележити време пријема и евидентирати број и датум понуде према редоследу приспећа. Уколико је понуда достављена непосредно наручилац ће понуђачу предати потврду пријема понуде. У потврди о пријему наручилац ће навести датум и сат пријема понуде.

Понуда коју наручилац није примио у року одређеном за подношење понуда, односно која је примљена по истеку дана и сата до којег се могу понуде поднети, сматраће се неблаговременом.

**Ако је поднета неблаговремена понуда, наручилац ће је по окончању поступка отварања вратити неотворену понуђачу, са назнаком да је поднета неблаговремено.**

1. ***ПАРТИЈЕ***

Предмет јавне набавке није обликован по партијама.

1. ***ПОНУДА СА ВАРИЈАНТАМА***

Подношење понуде са варијантама није дозвољено.

1. ***НАЧИН ИЗМЕНЕ, ДОПУНЕ И ОПОЗИВА ПОНУДЕ***

У року за подношење понуде понуђач може да измени, допуни или опозове своју понуду на начин који је одређен за подношење понуде.

Понуђач је дужан да јасно назначи који део понуде мења односно која документа накнадно доставља.

Писано обавештење о измени, допуни или опозиву понуде понуђач доставља непосредно или путем поште на адресу: Клинички центар Војводине, 21000 Нови Сад, Хајдук Вељкова број 1, искључиво преко писарнице Клиничког центра Војводине, са назнаком да је реч о измени, допуни или опозиву понуде, уз обавезно навођење предмета набавке и редног броја набавке (подаци дати у поглављу 1. конкурсне документације).

На полеђини коверте или на кутији навести назив и адресу понуђача. У случају да понуду подноси група понуђача, на коверти је потребно назначити да се ради о групи понуђача и навести називе и адресу свих учесника у заједничкој понуди.

По истеку рока за подношење понуда понуђач не може да повуче нити да мења своју понуду.

1. ***УЧЕСТВОВАЊЕ У ЗАЈЕДНИЧКОЈ ПОНУДИ ИЛИ КАО ПОДИЗВОЂАЧ***

Понуђач може да поднесе само једну понуду.

Понуђач који је самостално поднео понуду не може истовремено да учествује у заједничкој понуди или као подизвођач, нити исто лице може учествовати у више заједничких понуда.

У Обрасцу понуде, понуђач наводи на који начин подноси понуду, односно да ли подноси понуду самостално, или као заједничку понуду, или подноси понуду са подизвођачем.

1. ***ПОНУДА СА ПОДИЗВОЂАЧЕМ***

Уколико понуђач подноси понуду са подизвођачем дужан је да у Обрасцу понуде наведе да понуду подноси са подизвођачем, проценат укупне вредности набавке који ће поверити подизвођачу, а који не може бити већи од 50%, као и део предмета набавке који ће извршити преко подизвођача.

Понуђач у Обрасцу понуденаводи назив и седиште подизвођача, уколико ће делимично извршење набавке поверити подизвођачу.

Уколико уговор о јавној набавци буде закључен између наручиоца и понуђача који подноси понуду са подизвођачем, тај подизвођач ће бити наведен и у уговору о јавној набавци.

Понуђач је дужан да за подизвођаче достави доказе о испуњености услова који су наведени у поглављу 3. конкурсне документације, у складу са упутством како се доказује испуњеност услова.

Понуђач је дужан да наручиоцу, на његов захтев, омогући приступ код подизвођача, ради утврђивања испуњености тражених услова.

Понуђач у потпуности одговара наручиоцу за извршење обавеза из поступка јавне набавке, односно извршење уговорних обавеза, без обзира на број подизвођача.

Наручилац не дозвољава пренос доспелих потраживања директно подизвођачу у смислу члана 80. став 9. Закона о јавним набавкама.

1. ***ЗАЈЕДНИЧКА ПОНУДА***

Понуду може поднети група понуђача.

Уколико понуду подноси група понуђача, саставни део заједничке понуде мора бити споразум којим се понуђачи из групе међусобно и према наручиоцу обавезују на извршење јавне набавке, а који обавезно садржи податке из члана 81. ст. 4. тач. 1) до 2) Закона и то податке о:

* Податке о члану групе који ће бити носилац посла, односно који ће поднети понуду и који ће заступати групу понуђача пред наручиоцем и,
* Опис послова сваког понуђача из групе понуђача у извршење уговора.

Група понуђача је дужна да достави све доказе о испуњености услова који су наведени у поглављу 3. конкурсне документације, у складу са Упутством како се доказује испуњеност услова.

Понуђачи из групе понуђача одговарају неограничено солидарно према наручиоцу.

Задруга може поднети понуду самостално, у своје име, а за рачун задругара или заједничку понуду у име задругара.

Ако задруга подноси понуду у своје име за обавезе из поступка јавне набавке и уговора о јавној набавци одговара задруга и задругари у складу са законом.

Ако задруга подноси заједничку понуду у име задругара за обавезе из поступка јавне набавке и уговора о јавној набавци неограничено солидарно одговарају задругари.

1. ***НАЧИН И УСЛОВИ ПЛАЋАЊА, ГАРАНТНИ РОК, КАО И ДРУГЕ ОКОЛНОСТИ ОД КОЈИХ ЗАВИСИ ПРИХВАТЉИВОСТ ПОНУДЕ***
   1. **Захтеви у погледу начина, рока и услова плаћања**

Наручилац захтева да рок плаћања буде 90 дана, од дана доставе исправног рачуна.

Плаћање се врши уплатом на рачун понуђача.

Понуђачу није дозвољено да захтева аванс.

Рачун се испоставља на основу потписаног документа-радног налога, којим се верификује квалитет извршења услуге.

Рачун за извршене услуге, односно за уграђене резервне делове, испоставља се овлашћеном лицу за техничку реализацију уговора, на основу потписаног документа-радног налога, којим се верификује квалитет извршених услуга, односно испорука/уградња резервног дела.

* 1. **Захтеви у погледу гарантног рока**

Наручилац захтева да гарантни рок на услугу буде минимум годину дана, а на резервне делове по препоруци произвођача, од дана извршења, односно уградње.

* 1. **Захтев у погледу рока (испоруке добара, извршења услуге, извођења радова)**

Наручилац захтева да рок одзива ради извршења предметне услуге буде најдуже 48 часова од момента упућивања позива, а рок извршења исте не може бити дужи од 72 сата од момента одзива.

Наручилац захтева да рок извршења са заменом оригиналног резервног дела којег изабрани понуђач/добављач нема на лагеру буде максимално 20 дана од дана упућивања позива.

Рок мора бити изражен у часовима као целом броју (код услуге сервисирања и одржавања по позиву), а код услуге са заменом оригиналног резервног дела којег добављач нема на лагеру рок мора бити изражен у данима као целом броју, и не може се изражавати у децималама или другим јединицама за мерење времена.

Наручилац захтева да рок извршења код ХИТНИХ интервенција буде максимално 48 часова од часа упућивања позива.

Рок мора бити изражен у часовима као целом броју, и не може се изражавати у децималама или другим јединицама за мерење времена.

Место извршења је Центар за патологију и хистологију, Клиничког центра Војводине, улица Хајдук Вељкова 1-9, Нови Сад.

Наручилац упућује позив на контакте које понуђач достави у својој понуди.

* 1. **Захтев у погледу рока важења понуде**

Наручилац захтева да рок важења понуде буде најмање 60 дана од дана отварања понуда.

У случају истека рока важења понуде, наручилац је дужан да у писаном облику затражи од понуђача продужење рока важења понуде.

Понуђач који прихвати захтев за продужење рока важења понуде на може мењати понуду.

1. ***ВАЛУТА И НАЧИН НА КОЈИ МОРА ДА БУДЕ НАВЕДЕНА И ИЗРАЖЕНА ЦЕНА У ПОНУДИ***

Цена мора бити исказана у динарима, са и без пореза на додату вредност, са урачунатим свим трошковима које понуђач има у реализацији предметне јавне набавке, с тим да ће се за оцену понуде узимати у обзир цена без пореза на додату вредност.

У цену редовног сервиса су урачунати и радни сат и путни трошкови.

Понуђачи цене у својим понудама треба да заокруже на 2 децимале.

Цена је фиксна и не може се мењати, осим у случајевима наведеним у делу ИЗМЕНЕ ТОКОМ ТРАЈАЊА УГОВОРА овог упутства.

Ако је у понуди исказана неуобичајено ниска цена, наручилац ће поступити у складу са чланом 92. Закона.

1. ***ПОДАЦИ О ВРСТИ, САДРЖИНИ, НАЧИНУ ПОДНОШЕЊА, ВИСИНИ И РОКОВИМА ОБЕЗБЕЂЕЊА ИСПУЊЕЊА ОБАВЕЗА ПОНУЂАЧА***

Понуђач који је изабран као најповољнији је дужан да, приликом потписивања уговора, достави:

1. **регистровану бланко меницу и менично овлашћење за извршење уговорне обавезе**, попуњено на износ од 10% од укупне вредности уговора без ПДВ-а, која је наплатива у случајевима предвиђеним конкурсном документацијом, тј. у случају да изабрани понуђач не испуњава своје обавезе из уговора.
2. **регистровану бланко меницу и менично овлашћење за отклањање недостатака у гарантном року**, попуњено на износ од 10% од укупне вредности уговора без ПДВ-а, која је наплатива у случајевима предвиђеним конкурсном документацијом, тј. у случају да изабрани понуђач не испуњава своје обавезе из уговора.

Меница мора бити **оверена печатом и потписана** од стране лица овлашћеног за заступање, а уз исту мора бити достављено попуњено и оверено **менично овлашћење – писмо**, са назначеним износом, **копија картона депонованих потписа** који је издат од стране пословне банке коју понуђач наводи у меничном овлашћењу – писму и **образац овере потписа лица овлашћених за заступање - ОП образац**.

Понуђач је дужан да достави и **копију извода из Регистра**  **меница и овлашћења** који се налази на интернет страници Народне банке Србије, као доказ да је меница евидентирана и регистрована у Регистру меница и овлашћења, у складу са Законом о платном промету („Сл. лист СРЈ“, бр. 3/2002 и 5/2003 и „Сл. гласник Републике Србије“, бр. 43/2004, 62/2006, 111/2009-др. закон, и 31/2011 и 139/2014-др. закон) и Одлуком о ближим условима, садржини и начину вођења регистра меница и овлашћења ( „Сл. гласник Републике Србије“, број 56/2011, 80/2015, 76/2016 и 82/2017).

Средство обезбеђења треба да траје најмање тридесет дана дуже од дана рока за коначно извршење обавезе понуђача која је предмет обезбеђења (озбиљност понуде, извршење уговорне обавезе, отклањање недостатака у гарантном року и сл.).

Средство обезбеђења не може се вратити понуђачу пре истека рока трајања.

На основу Закона о меници и тачке 1, 2. и 6. Одлуке о облику, садржини и начину коришћења јединствених инструмената платног промета,

|  |  |
| --- | --- |
| **ДУЖНИК:** | **Пун назив и седиште:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **ПИБ: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Матични број:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Текући рачун:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_код: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_(назив банке),** |
| **И з д а ј е** | |

**МЕНИЧНО ПИСМО – ОВЛАШЋЕЊЕ**

**ЗА КОРИСНИКА БЛАНКО СОЛО МЕНИЦЕ**

|  |  |
| --- | --- |
| **КОРИСНИК:**  **(поверилац)** | **Пун назив и седиште:** КЛИНИЧКИ ЦЕНТАР ВОЈВОДИНЕ,  ул. Хајдук Вељкова бр. 1, Нови Сад  **ПИБ:** 101696893 **Матични број:** 08664161  **Текући рачун:** 840-577661-50, **код:** Управа за трезор РС, Мин. финансија. |

Менични дужник предаје меничном повериоцу потписану и оверену, бланко соло меницу, серијског броја \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ као средство финансијског обезбеђења **за извршење уговорне обавезе,** и овлашћује меничног повериоца да предату меницу може попунити **на износ од 10% од уговорене вредности без ПДВ-а** и наплатити до максималног износа од \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ динара (словима \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ динара), по уговору о јавној набавци број \_\_\_\_\_, назив јавне набавке \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ заведен код наручиоца–повериоца под бројем \_\_\_\_\_\_\_\_\_\_\_\_ дана \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, уколико као дужник не изврши предвиђене обавезе.

Рок важности менице и меничног овлашћења \_\_\_\_\_\_\_\_\_\_\_\_\_\_ (најмање 30 дана дужи од дана рока за коначно извршење обавеза за које се меница и менично овлашћење издаје).

Меница и менично овлашћење су важећи и у случају да у току трајања реализације наведеног уговора дође до: промена лица овлашћених за заступање правног лица, промена лица овлашћених за располагање средствима са рачуна Дужника, промена печата, статусних промена код Дужника, оснивања нових правних субјеката од стране Дужника и других промена од значаја за правни промет.

Дужник се одриче права на повлачење овог овлашћења, на стављање приговора на задужење и на сторнирање задужења по овом основу за наплату.

Ово менично писмо – овлашћење сачињено је у 2 (два) истоветнапримерка, од којих је 1 (један) примерак за Повериоца, а 1 (један) задржава Дужник.

Прилог: - Меница серијски број \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

- Копија картона депонованих потписа

- ОП образац

- Копија извода из Регистра меница и овлашћења

|  |  |  |
| --- | --- | --- |
|  |  |  |
| **Место и датум издавања Овлашћења:** |  | **ДУЖНИК – ИЗДАВАЛАЦ МЕНИЦЕ** |
|  | МП |  |
|  |  | Потпис овлашћеног лица |

|  |  |  |
| --- | --- | --- |
| На основу Закона о меници и тачке 1, 2. и 6. Одлуке о облику, садржини и начину коришћења јединствених инструмената платног промета,   |  |  | | --- | --- | | **ДУЖНИК:** | **Пун назив и седиште:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **ПИБ: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Матични број:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Текући рачун:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_код: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_(назив банке),** |   **И з д а ј е** |

**МЕНИЧНО ПИСМО – ОВЛАШЋЕЊЕ**

**ЗА КОРИСНИКА БЛАНКО СОЛО МЕНИЦЕ**

|  |  |
| --- | --- |
| **КОРИСНИК:**  **(поверилац)** | **Пун назив и седиште:** КЛИНИЧКИ ЦЕНТАР ВОЈВОДИНЕ,  ул. Хајдук Вељкова бр. 1, Нови Сад  **ПИБ:** 101696893 **Матични број:** 08664161  **Текући рачун:** 840-577661-50, **код:** Управа за трезор РС, Мин. Финансија. |

Менични дужник предаје меничном повериоцу потписану и оверену, бланко соло меницу, серијског броја \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ као средство финансијског обезбеђења **за отклањање недостатака у гарантном року,** и овлашћује меничног повериоца да предату меницу може попунити **на износ од 10% од уговорене вредности без ПДВ-а** и наплатити до максималног износа од \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ динара (словима \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_динара), по уговору о јавној набавци број \_\_\_\_\_\_\_\_\_\_\_\_\_, назив јавне набавке \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ заведен код наручиоца–повериоца под бројем\_\_\_\_\_\_\_\_\_\_\_\_ дана \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, уколико као дужник не изврши предвиђене обавезе.

Рок важности менице и меничног овлашћења \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (најмање 30 дана дужи од дана истека датог гарантног рока за које се меница и менично овлашћење издаје).

Меница и менично овлашћење су важећи и у случају да у току трајања реализације наведеног уговора дође до: промена лица овлашћених за заступање правног лица, промена лица овлашћених за располагање средствима са рачуна Дужника, промена печата, статусних промена код Дужника, оснивања нових правних субјеката од стране Дужника и других промена од значаја за правни промет.

Дужник се одриче права на повлачење овог овлашћења, на стављање приговора на задужење и на сторнирање задужења по овом основу за наплату.

Ово менично писмо – овлашћење сачињено је у 2 (два) истоветнапримерка, од којих је 1 (један) примерак за Повериоца, а 1 (један) задржава Дужник.

Прилог: - Меница серијски број \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

- Копија картона депонованих потписа

- ОП образац

- Копија извода из Регистра меница и овлашћења

|  |  |  |
| --- | --- | --- |
|  |  |  |
| **Место и датум издавања Овлашћења:** |  | **ДУЖНИК – ИЗДАВАЛАЦ МЕНИЦЕ** |
|  | МП |  |
|  |  | Потпис овлашћеног лица |

1. ***ЗАШТИТА ПОВЕРЉИВОСТИ ПОДАТАКА КОЈЕ НАРУЧИЛАЦ СТАВЉА ПОНУЂАЧИМА НА РАСПОЛАГАЊЕ, УКЉУЧУЈУЋИ И ЊИХОВЕ ПОДИЗВОЂАЧЕ***

Предметна набавка не садржи поверљиве информације које наручилац ставља на располагање.

1. **ДОДАТНЕ ИНФОРМАЦИЈЕ ИЛИ ПОЈАШЊЕЊА У ВЕЗИ СА ПРИПРЕМАЊЕМ ПОНУДЕ**

Заинтересовано лице може, у писаном обликутражити од наручиоца додатне информације или појашњења у вези са припремањем понуде, при чему може да укаже наручиоцу и на евентуалне уочене недостатке и неправилности у конкурсној документацији, најкасније 5 дана пре истека рока за подношење понуде и то на један од следећих начина:

* поштом, на адресу наручиоца: **Клинички центар Војводине,** **21000 Нови Сад, Хајдук Вељкова број 1***,* искључиво преко писарнице Клиничког центра,
* електронском поштом, на адресу: nabavke@kcv.rs,

Наручилац ће у року од 3 дана од дана пријема захтева за додатним информацијама или појашњењима конкурсне документације, одговор објавити на Порталу јавних набавки и на својој интернет страници.

Ако наручилац измени или допуни конкурсну документацију 8 или мање дана пре истека рока за подношење понуда, дужан је да продужи рок за подношење понуда и објави обавештење о продужењу рока за подношење понуда, које објављује на Порталу јавних набавки и на својој интернет страници

По истеку рока предвиђеног за подношење понуда наручилац не може да мења нити да допуњује конкурсну документацију.

Тражење додатних информација или појашњења у вези са припремањем понуде телефоном није дозвољено.

Комуникација у поступку јавне набавке врши се искључиво на начин одређен чланом 20. Закона. Сваки захтев за додатним информацијама или појашњењем примљен након радног времена наручиоца од понедељка до петка (07-15h), сматраће се да је примљен следећег радног дана.

1. **ДОДАТНА ОБЈАШЊЕЊА ОД ПОНУЂАЧА ПОСЛЕ ОТВАРАЊА ПОНУДА И КОНТРОЛА КОД ПОНУЂАЧА ОДНОСНО ЊЕГОВОГ ПОДИЗВОЂАЧА**

После отварања понуда наручилац може приликом стручне оцене понуда да у писаном облику захтева од понуђача додатна објашњења која ће му помоћи при прегледу, вредновању и упоређивању понуда, а може да врши контролу (увид) код понуђача, односно његовог подизвођача (члан 93. Закона).

Уколико наручилац оцени да су потребна додатна објашњења или је потребно извршити контролу (увид) код понуђача, односно његовог подизвођача, наручилац ће понуђачу оставити примерени рок да поступи по позиву наручиоца, односно да омогући наручиоцу контролу (увид) код понуђача, као и код његовог подизвођача.

Наручилац може уз сагласност понуђача да изврши исправке рачунских грешака уочених приликом разматрања понуде по окончаном поступку отварања.

У случају разлике између јединичне и укупне цене, меродавна је јединична цена.

Ако се понуђач не сагласи са исправком рачунских грешака, наручилац ће његову понуду одбити као неприхватљиву.

1. **ВРСТА КРИТЕРИЈУМА ЗА ДОДЕЛУ УГОВОРА, ЕЛЕМЕНТИ КРИТЕРИЈУМА НА ОСНОВУ КОЈИХ СЕ ДОДЕЉУЈЕ УГОВОР И МЕТОДОЛОГИЈА ЗА ДОДЕЛУ ПОНДЕРА ЗА СВАКИ ЕЛЕМЕНТ КРИТЕРИЈУМА**

Избор најповољније понуде ће се извршити применом критеријума **„економски најповољнија понуда“.**

Разрада критеријума је у поглављу 5. конкурсне документације.

1. **ЕЛЕМЕНТИ КРИТЕРИЈУМА НА ОСНОВУ КОЈИХ ЋЕ НАРУЧИЛАЦ ИЗВРШИТИ ДОДЕЛУ УГОВОРА У СИТУАЦИЈИ КАДА ПОСТОЈЕ ДВЕ ИЛИ ВИШЕ ПОНУДА СА ЈЕДНАКИМ БРОЈЕМ ПОНДЕРА ИЛИ ИСТОМ ПОНУЂЕНОМ ЦЕНОМ**

Уколико две или више понуда имају исти број пондера, као најповољнија биће изабрана понуда оног понуђача који понуди дужи гарантни рок на услугу; уколико је и то исто као најповољнија биће изабрана понуда оног понуђача који понуди краћи рок извршења редовног сервиса; уколико је и то исто најповољнија понуда биће изабрана „жребањем“ након отварања понуда, а пре извештаја о стручној оцени понуда, уз присуство овлашћених представника понуђача, о чему ће понуђачи бити благовремено обавештени.

1. **КОРИШЋЕЊЕ ПАТЕНТА И ОДГОВОРНОСТ ЗА ПОВРЕДУ ЗАШТИЋЕНИХ ПРАВА ИНТЕЛЕКТУАЛНЕ СВОЈИНЕ ТРЕЋИХ ЛИЦА**

Накнаду за коришћење патената, као и одговорност за повреду заштићених права интелектуалне својине трећих лица сноси понуђач.

1. **НАЧИН И РОК ЗА ПОДНОШЕЊЕ ЗАХТЕВА ЗА ЗАШТИТУ ПРАВА ПОНУЂАЧА**

Захтев за заштиту права може да поднесе понуђач, подносилац пријаве, кандидат, односно свако заинтересовано лице, који има интерес за доделу уговора, односно оквирног споразума у конкретном поступку јавне набавке и који је претрпео или могао да претрпи штету због поступаља наручиоца противно одредбама Закона.

Захтев за заштиту права подноси се наручиоцу, а копија се истовремено доставља Републичкој комисији.

Захтев за заштиту права подноси се непосредно или путем поште на адресу **Клинички центар Војводине,** **21000 Нови Сад, Хајдук Вељкова број 1***,* искључиво преко писарнице Клиничког центра Војводине или путем електронске поште на e-mail nabavke@kcv.rs или путем телефакса на број 021/487-22-44,са назнаком да је реч о захтеву за заштиту права, уз обавезно **навођење предмета набавке и редног броја** набавке (подаци дати је у поглављу 1. конкурсне документације). и то само у току радног времена наручиоца од понедељка до петка 07-15h. Сваки захтев за заштиту права примљен након радног времена наручиоца од понедељка до петка 07-15h, сматраће се да је примљен следећег радног дана.

Захтев за заштиту права се може поднети у току целог поступка јавне набавке, против сваке радње наручиоца, осим уколико Законом није другачије одређено.

О поднетом захтеву за заштиту права наручилац објављује обавештење о поднетом захтеву на Порталу јавних набавки и својој интернет страници најкасније у року од 2 дана од дана пријема захтева за заштиту права.

Поднет захтев за заштиту прва не задржава даље активности наручиоца у поступку јавне набавке у складу са одредбама члана 150. Закона о јавним набавкама.

Уколико се захтевом за заштиту права оспорава врста поступка, садржина позива за подношење понуда или конкурсне документације, захтев ће се сматрати благовременим уколико је примљен од стране наручиоца најкасније 7 дана пре истека рока за подношење понуда, а у поступку јавне набавке мале вредности и квалификационом поступку ако је примљен од стране наручиоца у року од 3 дана пре истека рока за подношење понуда и уколико је подносилац захтева у складу са чланом 63. став 2. Закона указао наручиоцу на евентуалне недостатке и неправилности, а наручилац исте није отклонио. У том случају подношења захтева за заштиту права не долази до застоја рока за подношење понуда

Захтев за заштиту права који се оспоравају радње које наручилац предузме пре истека рока за подношење понуда, а након истека рокова из члана 149. став. 3. Закона, односно горе поменутих рокова, сматраће се благовременим уколико је поднет најкасније до истека рока за подношење понуда.

После доношења одлуке о додели уговора, одлуке о закључењу оквирног споразума, одлуке о признању квалификације и одлуке о обустави поступка јавне набавке, рок за подношење захтева за заштиту права је 10 дана од дана објављивање одлуке на Порталу јавних набавки, а пет дана у поступку јавне набавке мале вредности и доношења одлуке о додели уговора на основу оквирног споразума у складу са чланом 40а. Закона.

Захтевом за заштиту права не могу се оспоравати радње наручиоца предузете у поступку јавне набавке ако су подносиоцу захтева били или могли бити познати разлози за његово подношење пре истека рока за подношење захтева из члана 149. став 3 и 4. Закона, а подносилац га није поднео пре истека тог рока.

Ако је у истом поступку јавне набавке поново поднет захтев за заштиту права од стране истог подносиоца захтева, у том захтеву се не могу оспоравати радње наручиоца за које је подносилац захтева знао или могао знати приликом подношења претходног захтева.

Ако поднети захтев за заштиту права не садржи све податке из члана 151. става 1. Закона, наручилац ће такав захтев **одбацити закључком**. Наручилац ће закључак доставили подносиоцу захтева и Републичкој комисији у року од 3 дана од дана доношења. Против закључка подносилац захтева може у року од 3 дана од дана пријема закључка поднети жалбу Републичкој комисији, a копију жалбе истовремено доставља наручиоцу.

Подносилац захтева је дужан да на број жиро рачуна: 840-30678845-06, шифра плаћања: 153 или 253, позив на број је број или друга ознака конкретне јавне набавке, сврха уплате: Републичка административна такса, корисник: буџет Републике Србије у складу са чланом 156. Закона о јавним набавкама, уплати таксу од:

**1)** 60.000 динара у поступку јавне набавке мале вредности и преговарачком поступку без објављивања позива за подношење понуда;

**2)** 120.000 динара ако се захтев за заштиту права подноси пре отварања понуда и ако процењена вредност није већа од 120.000.000 динара;

**3)** 250.000 динара ако се захтев за заштиту права подноси пре отварања понуда и ако је процењена вредност већа од 120.000.000 динара;

**4)** 120.000 динара ако се захтев за заштиту права подноси након отварања понуда и ако процењена вредност није већа од 120.000.000 динара;

**5)** 120.000 динара ако се захтев за заштиту права подноси након отварања понуда и ако збир процењених вредности свих оспорених партија није већа од 120.000.000 динара, уколико је набавка обликована по партијама;

**6)** 0,1% процењене вредности јавне набавке, односно понуђене цене понуђача којем је додељен уговор, ако се захтев за заштиту права подноси након отварања понуда и ако је та вредност већа од 120.000.000 динара;

**7)** 0,1% збира процењених вредности свих оспорених партија јавне набавке, односно понуђене цене понуђача којима су додељени уговори, ако се захтев за заштиту права подноси након отварања понуда и ако је та вредност већа од 120.000.000 динара.

Свака странка у поступку сноси трошкове које проузрокује својим радњама.

1. **РОК У КОЈЕМ ЋЕ УГОВОР БИТИ ЗАКЉУЧЕН**

Уговор о јавној набавци наручилац ће доставити понуђачу којем је додељен уговор у року од 8 дана од дана протека рока за подношење захтева за заштиту права.

Наручилац може закључити уговор пре истека рока за подношење захтева за заштиту права, у складу са чланом 112. став 2. тачка од 1) до 5) Закона.

Одлуку о додели уговора из члана 108. Закона, наручилац ће у року од 3 дана од дана доношења, објавити на Порталу јавних набавки и својој интернет страници.

1. **ИЗМЕНЕ ТОКОМ ТРАЈАЊА УГОВОРА**

У складу са чланом 115. Закона, наручилац може након закључења уговора о јавној набавци без спровођења поступка јавне набавке повећати обим предмета набавке, с тим да се вредност уговора може повећати максимално до 5% од укупне вредности првобитно закљученог уговора, при чему укупна вредност повећања уговора не може да буде већа од вредности из члана 39. став 1. Закона.

Након закључења уговора о јавној набавци наручилац може да дозволи промену цене и других битних елемената уговора из објективних разлога који морају бити јасно и прецизно одређени и образложени, односно предвиђени посебним прописима. Променом цене не сматра се усклађивање цене са унапред јасно дефинисаним параметрима у уговору и конкурсној документацији.

Наручилац ће дозволити измене уговора у следећим ситуацијама:

* Уколико се повећа обим предмета јавне набавке због непредвиђених околности;
* У случајевима да наступе оне околности за које наручилац и добављач нису знали нити могли да знају у моменту закључења Уговора, те сходно томе нису у могућности да у потпуности изврше Уговором преузете обавезе;
* Уколико наступе оне околности дефинисане чланом. 8 овог уговора, а које су проузроковале немогућност испуњења уговорених обавеза уговорних страна у уговором одређеном року;
* Као и уколико наступе све оне околности које представљају основ за измену Уговора али су у интересу наручиоца као здравствене уставове и корисника задравствене услуге.

1. **КОРИШЋЕЊЕ ПЕЧАТА**

Понуђач није у обавези да приликом сачињавања понуде употребљава печат.

**НАПОМЕНА:**

Сходно члану 20. став 6. Закона о јавним набавкама, наручилац напомиње понуђачима да су дужни да без одлагања потврде пријем свих докумената које им наручилац достави путем електронске поште или телефакса на адресе, односно бројеве које су назначили у својим понудама.

Документа у вези поступка јавне набавке која је по ЗоЈН (измене и допуне) наручилац дужан да објави на порталу УЈН и интернет страници наручиоца сматрају се достављеним даном објаве.

# РАЗРАДА КРИТЕРИЈУМА

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **РБ** | **КРИТЕРИЈУМ** | **ОЗНАКА** | **МАКС. БР. ПОНДЕРА** | **ФОРМУЛА** |
|  | **Укупна цена редовног сервиса** | РС | 25 |  |
|  | **Цена радног сата код одржавања по позиву** | ОПП | 50 |  |
|  | **Укупна вредност ценовника оригиналних резервних делова** | РД | 25 |  |
| **УКУПНО** | | **УК** | **100** | **РС + ОПП + РД** |

# МОДЕЛ УГОВОРА

На основу члана 112. Закона о јавним набавкама („Службени гласник Републике Србије” бр. 124/12, 14/15 и 68/15), а у складу са извештајем Комисије за јавну набавку и Одлуком о додели уговора, дана \_\_\_\_\_\_\_ године закључује се следећи:

**УГОВОР**

**О ЈАВНОЈ НАБАВЦИ БРОЈ 154-20-O**

Уговорне стране:

1. **КЛИНИЧКИ ЦЕНТАР ВОЈВОДИНЕ**, ул. Хајдук Вељкова бр. 1, Нови Сад,

ПИБ: 101696893 Матични број: 08664161,

Број рачуна: 840-577661-50, Управа за трезор - Република Србија Министарство финансија, Телефон: 021/484-3-484,

(у даљем тексту: наручилац), кога заступа в.д.директор проф. др Едита Стокић.

1. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_,

(*назив и адреса)*

ПИБ:.......................... Матични број: ........................................,

Број рачуна: ............................................ Назив банке:......................................,

Телефон:............................Телефакс:......................................

(у даљем тексту: добављач), кога заступа \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ .

**ПРЕДМЕТ УГОВОРА**

**Члан 1.**

Предмет овог уговора је набавка услуга **-** **Сервис и одржавање медицинске опреме произвођача ''Thermo Fisher Scientific'' за потребе Клиничког центра Војводине** – која је тражена у позиву за подношење понуда у отвореном поступку јавне набавке број 154-20-О, од дана \_\_\_\_\_\_\_\_\_\_\_ године.

**ЦЕНА**

**Члан 2.**

Добављач се обавезује да услугу која је предмет овог уговора изврши у свему према својој понуди број \_\_\_\_\_\_\_\_\_\_ од \_\_\_\_\_\_\_\_\_\_\_ године која је саставни део овог уговора.

Цена услуге из члана 1. овог уговора без пореза на додату вредност износи \_\_\_\_\_\_\_\_\_\_\_ (словима: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_) **(попуњава наручилац)**, односно са порезом на додату вредност износи \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (словима: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_) **(попуњава наручилац ).**

Овако уговорена цена се сматра фиксном за време трајања уговора.

**МЕСТО И РОК ИЗВРШЕЊА УСЛУГЕ**

**Члан 3.**

Услуга подразумева редован сервис (једном годишње) и одржавање по позиву у случају квара, медицинске опреме произвођача ''Thermo Fisher Scientific'' (у даљем тексту: услуга), која обухвата редован сервис (једном годишње) и одржавање по позив у случају квара, по указаној потреби наручиоца, а уколико је потребно и замену резервних делова по ценама оригиналних резервних делова и радног сата из Обрасца понуде, у свему према захтевима наручиоца из конкурсне документације.

Добављач је у обавези да након сваке извршене предметне услуге, изврши подешавање према фабричким прописима и спецификацијама и контролу функције целокупне опреме.

Уколико за време трајања овог уговора настане потреба за заменом резервног дела који се не налази у Обрасцу понуде, добављач се обавезује да у писаном извештају образложи неопходност замене баш тог дела у односу на оне делове који се налазе у Обрасцу понуде, те да тај извештај достави овлашћеном лицу за техничку реализацију из члана 11. овог уговора, и то лично или путем електронске поште.

Добављач се обавезује да замену резервног дела изврши тек по добијању писаног налога и одобрења од стране овлашћеног лица за техничку реализацију из члана 11. овог уговора, у супротном наручилац нема обавезу да добављачу плати замењен резервни део.

Добављач се обавезује да пре замене резервног дела који се не налази у Обрасцу понуде, уз горе поменути извештај, наручиоцу достави и релевантан доказ о стварној цени резервног дела (рачун, предрачун или други одговарајући доказ којим се доказује цена) и да на исти обрачуна ону маржу која је наведена у поглављу „10. Образац понуде, маржа за резервне делове који нису на списку резервних делова у Обрасцу понуде“.

Добављач се обавезује да се ради извршења предметне услуге, односно редовног сервиса као и одржавања по позиву у случају квара, одазове у року од \_\_\_\_\_\_\_ *(максимално 48 часова)*, од момента пријема писаног захтева наручиоца и исту изврши у року од \_\_\_\_\_\_\_ *(максимално 72 часа),* од момента одзива.

Добављач се обавезује да услугу која подразумева замену оригиналног резервног дела којег нема на лагеру, изврши у року од од \_\_\_\_\_\_\_ *(максимално 20 дана)*, од момента пријема писаног захтева наручиоца.

Добављач је у обавези да у случају ХИТНИХ интервецније услугу изврши у року од \_\_\_\_\_\_ *(максимално 48 часова)*, од момента упућивања позива.

Добављач се обавезује да услугу која је предмет овог уговора изврши на основу писаног захтева који наручилац доставља добављачу путем електронске поште на адресу \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, а уколико то из било ког разлога није могуће, путем телефакса на број \_\_\_\_\_\_\_\_\_\_\_\_\_\_.

Добављач даје гарантни рок на извршену услугу \_\_\_\_\_\_\_ *(минимално 12 месеци)*, а на резервне делове по препоруци произвођача, *\_\_\_\_\_\_ (уписати рок)*, од дана извршења, односно уградње.

Добављач се обавезује да после сваког сервиса, евидентира извршене услуге у сервисну књижицу апарата, и да уредно попуни и потпише радни налог и преда исти овлашћеном лицу за техничку реализацију из члана 11. овог уговора.

**КВАЛИТЕТ ИЗВРШЕЊА УСЛУГА И ОТКЛАЊАЊЕ НЕДОСТАТАКА**

**Члан 4.**

Добављач се обавезује да квалитет услуга које су предмет овог уговора одговара стандардима и прописима Републике Србије и Европске уније и захтевима из конкурсне документације, те да ће услугу вршити стручни кадар код добављача.

У случају да се установи да услуга која је предмет овог уговораодступа од стандарда из претходног става, добављач се обавезује да услугу уговореног квалитета изврши у најкраћем могућем року, а најкасније у року од 24 часа од дана пријема писане рекламације наручиоца.

**НАЧИН И РОК ПЛАЋАЊА**

**Члан 5.**

Рачун за извршене услуге и испоручене резервне делове испоставља се на основу потписаног документа-радног налога, од стране овлашћеног лица за техничку реализацију из члана 11. овог уговора којим се верификује квалитет извршених услуга односно испорука резервног дела.

Наручилац се обавезује да ће уговорену цену добављачу исплатити у року од 90 дана од дана када му добављач достави исправан рачун, испостављен уз документ–радни налог, за услугe којe је извршио, о чему потврду даје овлашћено лице за техничку реализацију из члана 11. овог уговора.

Добављач се обавезује да рачун достави преко писарнице наручиоца, адресирано на седиште наручиоца.

Плаћање по овом уговору вршиће се до нивоа средстава обезбеђених Финансијским планом за ове намене, а обавезе које доспевају у наредној буџетској години биће реализоване највише до износа средстава која ће за ту намену бити одобрена у тој буџетској години.

У супротном уговор престаје да важи без накнаде штете због немогућности преузимања обавеза од стране наручиоца.

**СРЕДСТВА ОБЕЗБЕЂЕЊА**

**Члан 6.**

Уговорне стране констатују да је добављач доставио наручиоцу следећа средства обезбеђења са овлашћењима за наплату:

* **регистровану бланко меницу и менично овлашћење за извршење уговорне обавезе**, попуњену на износ од 10% од укупне вредности уговора без ПДВ-а, која је наплатива у случајевима предвиђеним конкурсном документацијом, тј. у случају да добављач не испуњава своје обавезе из уговора.
* **регистровану бланко меницу и менично овлашћење за отклањање недостатака у гарантном року**, попуњену на износ од 10% од укупне вредности Уговора, без ПДВ-а, која је наплатива у случајевима предвиђеним конкурсном документацијом, тј. у случају да добављач не испуњава своје обавезе из уговора.

**ВИША СИЛА**

**Члан 7.**

У случају наступања чињеница које могу утицати да предмет овог уговора не буде извршен у роковима предвиђеним овим уговором, једна уговорна страна је дужна да одмах по њиховом сазнању о истим писмено обавести другу уговорну страну.

Сва обавештења која нису дата у писаном облику неће производити правно дејство.

Рокови предвиђени овим уговором могу бити продужени услед настанка случаја више силе, односно наступања свих оних догађаја који се нису могли предвидвети, избећи или отклонити, у тренутку закључења Уговора, и на који уговорне стране објективно не могу и нису могле да утичу (догађај мора бити за уговорне стране неочекиван, изванредан, непредвидив), нпр. ратно стање, штрајк, елементарне непогоде, природне катастрофе, пожар, поплава, експлозија, транспортне несреће изазване природним катастрофама, одлуке органа власти, забране увоза, извоза и други случајеви, који су законом утврђени као виша сила, те се у предвиђеним случајевима уговорне стране ослобођају су одговорности за штету.

Уколико наступе случајеви одређени као виша сила, односно оних случајева на које уговорне стране не могу утицати, а које чине испуњење уговора трајно или привремено немогућим, наручилац може да обустави испуњење уговорних обавеза до момента отклањања догађаја који је наступио или да приступи раскиду уговора,

У случају наступања чињеница из претходног става наручилац ће измене уговорних обавеза регулисати у складу са чланом 13. овог уговора.

**ИЗМЕНЕ УГОВОРА**

**Члан 8.**

У складу са чланом 115. Закона о јавним набавкама наручилац може након закључења уговора о јавној набавци без спровођења поступка јавне набавке повећати обим предмета набавке, с тим да се вредност уговора може повећати максимално до 5% од укупне вредности првобитно закљученог уговора, при чему укупна вредност повећања уговора не може да буде већа од вредности из члана 39. став 1. Закона о јавним набавкама.

Након закључења уговора о јавној набавци наручилац може да дозволи промену цене и других битних елемената уговора из објективних разлога који морају бити јасно и прецизно одређени и образложени, односно предвиђени посебним прописима. Променом цене не сматра се усклађивање цене са унапред јасно дефинисаним параметрима у овом уговору и конкурсној документацији.

Наручилац ће дозволити измене уговора у следећим ситуацијама:

* Уколико се повећа обим предмета јавне набавке због непредвиђених околности;
* У случајевима да наступе оне околности за које наручилац и добављач нису знали нити могли да знају у моменту закључења Уговора, те сходно томе нису у могућности да у потпуности изврше Уговором преузете обавезе;
* Уколико наступе оне околности дефинисане чланом. 7. овог уговора, а које су проузроковале немогућност испуњења уговорених обавеза уговорних страна у уговором одређеном року;
* Као и уколико наступе све оне околности које представљају основ за измену Уговора али су у интересу наручиоца као здравствене уставове и корисника задравствене услуге.

**РАСКИД УГОВОРА**

**Члан 9.**

Свака уговорна страна незадовољна испуњењем уговорних обавеза друге уговорне стране може захтевати раскид уговора.

Уговорна страна која жели да раскине уговор се обавезује да претходно, другој уговорној страни, достави писано обавештење о разлозима за раскид уговора и да јој остави примерен рок од 7 (седам) дана за испуњење обавеза. Уколико друга уговорна страна не испуни обавезу ни у накнадно остављеном примереном року – Уговор се може раскинути, осим у случају неиспуњења незнатног дела обавезе.

Уколико добављач не поступи у складу са обавезама које је преузеo закључењем овог уговора и писменим обавештењем, наручилац ће поступити у складу са чланом 10. овог уговора.

У случaју рaскидa уговорa, примењивaће се одредбе Зaконa о облигaционим односимa.

**УГОВОРНА КАЗНА**

**Члан 10.**

Наручилац ће добављачу наплатити уговорну казну или средство обезбеђења из члана 6. став 1. алинеја 1. овог уговора, уколико добављач задоцни или неиспуњава своје oбавезе из уговора.

Уколико добављач не изврши предметну услугу у роковима предвиђеним овим уговором,односно задоцни са испуњењем уговорне обавезе, наручилац има право да:

* наплати уговорну казну у укупном износу од највише до 10% од укупне уговорене вредности без ПДВ-а, и то тако што ће укупну вредност уговора умањити за одговарајући износ, захтевати испуњење обавезе и уговор оставити на снази, о чему ће добављача без одлагања обавестити.

Уколико наступи случај из става 2 овог члана а добављач изврши услугу и наручилац прими испуњење уговорне обавезе он ће без одлагања обавестити добављача да задржава своје право на уговорну казну из става 2. алинeја 1. овог члана.

Уколико добављач не изврши предметну услугу у роковима предвиђеним овим уговором,односно неиспуњава уговорне обавезе, наручилац има право да:

* да једнострано раскине овај уговор и да наплати средства обезбеђења из члана 6. став 1. алинеја 1.овог уговора.

У случају наступања чињеница које могу утицати да предметна услуга не буде извршена у роковима из овог уговора, добављач је дужан да одмах по њиховом сазнању о истим писмено обавести наручиоца.

Сва обавештења која нису дата у писаном облику сходно претходном ставу неће производити правно дејство.

Наплатом уговорне казне и средства обезбеђења из члана 6. став 1. алинеја 1.овог уговора, не утиче и не умањује право наручиоца на накнаду стварно претрпљене штете.

**ПРАЋЕЊЕ РЕАЛИЗАЦИЈЕ УГОВОРНИХ ОБАВЕЗА**

**Члан 11.**

За праћење техничке реализације и извршења уговорних обавеза уговорних страна у име наручиоца задужује се \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

За праћење финансијске реализације овог уговора у име наручиоца задужује се \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

**ТРАЈАЊЕ УГОВОРА**

**Члан 12.**

Уговорне стране овај уговор закључују до дана док добављач за потребе наручиоца не изврши услуге које су предмет овог уговора, a до максималног износа из члана 2. овог уговора, односно најдуже годину дана од дана закључења овог уговора.

**ПОСЕБНЕ И ЗАВРШНЕ ОДРЕДБЕ**

**Члан 13.**

Добављач не може пренети своје потраживање које има по овом уговору на другога, те такав уговор о уступању неће имати правно дејство према наручиоцу.

Предмет залоге не може бити право потраживања које добављач има према наручиоцу, односно добављач не може залагати своје право потраживања које има по овом уговору.

**Члан 14.**

Уговорне стране су сагласне да се ближе одређење начина реализације овог уговора врши путем протокола о спровођењу овог уговора закљученим између уговорних страна.

**Члан 15.**

Уговорне стране ће споразумно решавати све спорове и разлике у тумачењу и примени овог уговора, у противном се уговара надлежност суда у Новом Саду.

**Члан 16.**

Овај уговор је сачињен у три истоветна примерка од којих наручилац задржава два, а добављач један примерак.

|  |  |  |
| --- | --- | --- |
| ЗА ДОБАВЉАЧА: |  | ЗА НАРУЧИОЦА: |
| ДИРЕКТОР |  | В. Д. ДИРЕКТОР |
| \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
|  |  | *Проф. др Едита Стокић* |

# ИЗЈАВА О НЕЗАВИСНОЈ ПОНУДИ

У складу са чланом 26. Закона о јавним набавкама („Сл. гласник РС” бр. 124/12, 14/15 и 68/15), као заступник понуђача дајем:

**ИЗЈАВУ**

**О НЕЗАВИСНОЈ ПОНУДИ**

Понуђач .......................................................................................................................................

*[навести назив понуђача]*

у поступку јавне набавке

................................................................................................................................................. *[навести редни број и предмет јавне набавке]*

под пуном материјалном и кривичном одговорношћу потврђује да је понуду поднео независно, без договора са другим понуђачима или заинтересованим лицима.

|  |  |  |
| --- | --- | --- |
|  |  |  |
| ДАТУМ | М.П. | ПОНУЂАЧ |
|  |  |  |
|  |  | ПОТПИС |

НАПОМЕНА:

*Уколико је поднета заједничка понуда, поред носиоца посла, обавезу попуњавања ове изјаве има и сваки понуђач из групе понуђача.*

# ОБРАЗАЦ ИЗЈАВЕ О ПОШТОВАЊУ ОБАВЕЗА

У складу са чланом 75. став 2. Закона о јавним набавкама („Сл. гласник РС” бр. 124/12, 14/15 и 68/15), као заступник понуђача дајем:

**ИЗЈАВУ**

Понуђач .......................................................................................................................................

*[навести назив понуђача]*

у поступку јавне набавке

................................................................................................................................................. *[навести редни број и предмет јавне набавке]*

изјављује да је поштовао обавезе које произлазе из важећих прописа о заштити на раду, запошљавању и условима рада, заштити животне средине и да нема забрану обављања делатности која је на снази у време подношења понуде.

|  |  |  |
| --- | --- | --- |
|  |  |  |
| ДАТУМ | М.П. | ПОНУЂАЧ |
|  |  |  |
|  |  | ПОТПИС |

НАПОМЕНА:

*Уколико је поднета заједничка понуда, поред носиоца посла, обавезу попуњавања овог обрасца има и сваки понуђач из групе понуђача.*

# ОБРАЗАЦ СТРУКТУРЕ ПОНУЂЕНЕ ЦЕНЕ

**(са упутством како да се понуди)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **РБ** | **Јединична цена без ПДВ-а** | **Јединична цена са ПДВ-ом** | **Укупна цена без ПДВ-а** | **Укупна цена са ПДВ-ом** |
| **1.** |  |  |  |  |
| **2.** |  |  |  |  |
| **3.** |  |  |  |  |
| **4.** |  |  |  |  |
| **5.** |  |  |  |  |

Понуђач треба да попуни образац структуре цене на следећи начин:

* у колони 2. уписати јединичну цену без ПДВ-а, за сваку ставку из Обрасца понуде;
* у колони 3. уписати јединичну цену са ПДВ-ом, за сваку ставку из Обрасца понуде;
* у колони 4. уписати укупну цену без ПДВ-а за сваку ставку из Обрасца понуде (јединична цена без ПДВ-а помножено са количином)
* у колони 5. уписати укупна цена са ПДВ-ом за сваку ставку из Обрасца понуде (јединична цена са ПДВ-ом помножено са количином)

|  |  |  |
| --- | --- | --- |
|  |  |  |
| ДАТУМ | М.П. | ПОНУЂАЧ |
|  |  |  |
|  |  | ПОТПИС |

# ОБРАЗАЦ ТРОШКОВА ПРИПРЕМЕ ПОНУДЕ

Понуђач .......................................................................................................................................

*[навести назив понуђача]*

у поступку јавне набавке

................................................................................................................................................. *[навести редни број и предмет јавне набавке]*

доставља укупан износ и структуру трошкова припремања понуде, како следи у табели:

|  |  |
| --- | --- |
| **ВРСТА ТРОШКА** | **ИЗНОС ТРОШКА У РСД без ПДВ-а** |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
| **УКУПАН ИЗНОС ТРОШКОВА ПРИПРЕМАЊА ПОНУДЕ без ПДВ-а** |  |

**Напомене:**

* У обрасцу трошкова припреме понуде могу бити приказани трошкови израде узорка или модела, ако су израђени у складу са техничким спецификацијама наручиоца и трошкови прибављања средства обезбеђења.
* Достављање овог обрасца није обавезно.

|  |  |  |
| --- | --- | --- |
|  |  |  |
| ДАТУМ | М.П. | ПОНУЂАЧ |
|  |  |  |
|  |  | ПОТПИС |

# ОБРАЗАЦ ПОНУДЕ

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Предмет јавне набавке | 154-20-O – Сервис и одржавање медицинске опреме произвођача ''Thermo Fisher Scientific'' за потребе Клиничког центра Војводине | | | | |
| Број понуде |  | | Датум понуде |  | |
| **Општи подаци о понуђачу** | | | | | |
| Пословно име или скраћени назив из одговарајућег регистра |  | | | | |
| Адреса седишта |  | | | | |
| Име и презиме особе за контакт |  | | Матични број | |  |
| Телефон/факс |  | | Порески идентификациони број | |  |
| Е-мејл |  | | Регистарски број | |  |
| Овлашћено лице, које ће потписати Уговор |  | | Шифра делатности | |  |
| Рок важења понуде изражен у броју дана од дана отварања понуда, који не може бити краћи од 60 дана |  | | Жиро рачун | |  |
| Назив банке | |  |
| **Остали подаци које наручилац сматра релевантним за закључење уговора** | | | | | |
| Начин подношења понуде (заокружити) | а | Самостална понуда | | | |
| б | Заједничка понуда | | | |
| в | Понуда са подизвођачем | | | |
| Начин, рок и услови плаћања |  | | | | |
| Гарантни рок на услугу |  | | | | |
| Гарантни рок на оригиналне резервне делове |  | | | | |
| Рок извршења предметне услуге |  | | | | |
| Рок извршења са заменом оригиналног резервног дела којег понуђач нема на лагеру |  | | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **РЕДОВАН СЕРВИС** | | | | | | | | |
| РБ | Назив | Јединица мере | Количина | Јединична цена без ПДВ-а | Јединична цена са ПДВ-ом | Укупна цена без ПДВ-а | Укупна цена са ПДВ-ом | Стопа  ПДВ-а |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| 1. | КРИОСТАТ | ком | 1 |  |  |  |  |  |
| 2. | AУТОМАТСКИ МИКРОТОМ | ком | 1 |  |  |  |  |  |
| 3. | АУТОМАТСКИ МИКРОТОМ | ком | 1 |  |  |  |  |  |
| 4. | АПАРАТ ЗА БОЈЕЊЕ ПЛОЧИЦА И АПАРАТ ЗА ЛЕПЉЕЊЕ ПОКРОВНОГ СТАКЛА ПОВЕЗАНИ АУТОМАТСКИМ МОДУЛОМ | ком | 1 |  |  |  |  |  |
| 5. | АПАРАТ ЗА БОЈЕЊЕ ПЛОЧИЦА И АПАРАТ ЗА ЛЕПЉЕЊЕ ПОКРОВНОГ СТАКЛА ПОВЕЗАНИ АУТОМАТСКИМ МОДУЛОМ | ком | 1 |  |  |  |  |  |
| 6. | ВОДЕНО КУПАТИЛО СА ЛАМИНАРНИМПРОТОКОМ ВОДЕ | ком | 1 |  |  |  |  |  |
| 7. | ВОДЕНО КУПАТИЛО СА ЛАМИНАРНИМПРОТОКОМ ВОДЕ | ком | 1 |  |  |  |  |  |
| 8. | РАДНА СТАНИЦА ЗА ПРИЈЕМ МАТЕРИЈАЛА/УЗОРАКА | ком | 1 |  |  |  |  |  |
| 9. | АПАРАТ ЗА РЕЦИКЛАЖУ ФОРМАЛИНА,АЛКОХОЛА И КСИЛОЛА | ком | 1 |  |  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **УКУПНА ЦЕНА РЕДОВНОГ СЕРВИСА** | Без ПДВ-а: | Са ПДВ-ом |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **ЦЕНОВНИК ОРИГИНАЛНИХ РЕЗЕРВНИХ ДЕЛОВА** | | | | | |  |
| РБ | Назив | Каталошки број | Јединична цена без ПДВ-а | Јединична цена са ПДВ-ом | Стопа  ПДВ-а | Гаранција произвођача |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
|  |  |  |  |  |  |  |
|  | ENCODER ASSY KIT | 00LIFPC004 |  |  |  |  |
|  | DOUBLE HEATER ASSY - | 00LIFW008 |  |  |  |  |
|  | RUBBER FOOT | 0200-074 |  |  |  |  |
|  | STANDARD VICE 50 X 45MM | 0201 |  |  |  |  |
|  | STD VICE 50MM X 30MM | 0214 |  |  |  |  |
|  | VICE SPACER 50MM X 10MM | 0215 |  |  |  |  |
|  | VEE SPACER | 0216 |  |  |  |  |
|  | VEE SPACER 5-10MM DIA | 0220 |  |  |  |  |
|  | THIN FOIL SPECIMEN - | 0223 |  |  |  |  |
|  | HINGE CLAMP | 0300-008 |  |  |  |  |
|  | SAFETY TRIP SHAFT | 0300-011 |  |  |  |  |
|  | REWIND PULLEY | 0300-022 |  |  |  |  |
|  | CLICK SPRING | 0300-028 |  |  |  |  |
|  | SELECTOR CLICK | 0300-033 |  |  |  |  |
|  | MODIFIED BOLT | 0300-036 |  |  |  |  |
|  | ADVANCE ROCKER ASSY | 0300-056 |  |  |  |  |
|  | LIFT OFF ROCKER ASSY | 0300-059 |  |  |  |  |
|  | LIFT OFF PUSH ROD | 0300-061 |  |  |  |  |
|  | MAIN SHAFT ASSY | 0300-064 |  |  |  |  |
|  | SELECTOR SPUR GEAR | 0300-113 |  |  |  |  |
|  | POSITION INDICATOR | 0300-115 |  |  |  |  |
|  | GEAR COLLAR | 0300-118 |  |  |  |  |
|  | COLLAR | 0300-119 |  |  |  |  |
|  | FLYWHEEL BOLT KEY ASSY | 0300-124 |  |  |  |  |
|  | FLAT SPRING | 0302-013 |  |  |  |  |
|  | CASSETTE QUICK RELEASE - | 0303 |  |  |  |  |
|  | CLAMP PLUNGER DISC | 0318-007 |  |  |  |  |
|  | KNIFE CLAMP KNOB ASSY | 0318-015 |  |  |  |  |
|  | KNIFE GUARD ASSY | 0318-021 |  |  |  |  |
|  | SHORT CLAMP PLUNGER | 0319-007 |  |  |  |  |
|  | LOW PROFILE BLADE INSERT | 0321-004 |  |  |  |  |
|  | BLADE CLAMP | 0321-005 |  |  |  |  |
|  | H/PROFILE BLADE INSERT | 0322-003 |  |  |  |  |
|  | TRUNNION NUT | 0325-008 |  |  |  |  |
|  | REWIND ROLLER | 0325-026 |  |  |  |  |
|  | REWIND CARRIER ASSY | 0325-028 |  |  |  |  |
|  | SPRING ANCHOR | 0325-030 |  |  |  |  |
|  | FRONT PARALLEL | 0325-037 |  |  |  |  |
|  | REAR PARALLEL | 0325-038 |  |  |  |  |
|  | RATCHET WHEEL & NUT ASSY | 0325-048 |  |  |  |  |
|  | RETRACTION ARM ASSY | 0325-055 |  |  |  |  |
|  | RETRACT CON ROD BRKT ASS | 0325-056 |  |  |  |  |
|  | DISPLAY FILTER | 0325-057 |  |  |  |  |
|  | COVER POST | 0325-061 |  |  |  |  |
|  | L BRACKET ASSY | 0325-064 |  |  |  |  |
|  | ACTUATING LEVER ASSY | 0325-068 |  |  |  |  |
|  | CLAMP BLOCK FRONT | 0325-072 |  |  |  |  |
|  | SENSOR BRKT | 0325-078 |  |  |  |  |
|  | REWIND COLLAR | 0325-080 |  |  |  |  |
|  | HINGE | 0325-084 |  |  |  |  |
|  | COMBINATION CAM | 0325-096 |  |  |  |  |
|  | RETRACTION CABLE ASSY | 0325-097 |  |  |  |  |
|  | ADJUSTER SCREW | 0325-103 |  |  |  |  |
|  | ORIENTATION ASSY | 0325-105 |  |  |  |  |
|  | SOUNDER BRKT ASSY | 0325-121 |  |  |  |  |
|  | SOUNDER CAM | 0325-124 |  |  |  |  |
|  | BATTERY HOLDER CLAMP | 0325-154 |  |  |  |  |
|  | HEAVY DUTY CRYOCASSETTE- | 0603 |  |  |  |  |
|  | CRYOCASSETTE - PK5 | 0620-001 |  |  |  |  |
|  | SHELF TRAY ASSY | 0620-002 |  |  |  |  |
|  | DEBRIS TRAY | 0620-004 |  |  |  |  |
|  | ORIENTATING HEAD - | 0620-006 |  |  |  |  |
|  | BIOPSY CRYOCASSETTE PK5 | 0620-007 |  |  |  |  |
|  | ORIENTATING HEAD-SIMPLE | 0620-008 |  |  |  |  |
|  | ANTI ROLL PLATE ASSY | 0620-012 |  |  |  |  |
|  | SOLID STAGE TOP ASSY | 0620-024 |  |  |  |  |
|  | CRYOCASSETTE 28x40mm PK5 | 0620-026 |  |  |  |  |
|  | CRYOCASSETTE 45mm DIA - | 0620-036 |  |  |  |  |
|  | CRYOCASSETTE 35mm SQ - | 0620-039 |  |  |  |  |
|  | CRYOCASSETTE 35mm DIA - | 0620-041 |  |  |  |  |
|  | INSULATED NUT | 0620-060 |  |  |  |  |
|  | FLYWHEEL ASSY | 0620-118 |  |  |  |  |
|  | BOTTLE & CAP ASSY | 0620-195 |  |  |  |  |
|  | WINDOW BEARER | 0620-202 |  |  |  |  |
|  | TRUNNION NUT | 0620-305 |  |  |  |  |
|  | CASSETTE PACK ASSY | 0620-405 |  |  |  |  |
|  | STEPPER CONTROL PANEL | 0620-707 |  |  |  |  |
|  | E TOUCH PANEL ASSY - ENG | 0620-745 |  |  |  |  |
|  | E TOUCH PANEL ASSY - FR | 0620-746 |  |  |  |  |
|  | CRYOCASSETTE HOLDER ASSY | 0620-807 |  |  |  |  |
|  | CRYO LH BASE ASSY | 0620-850 |  |  |  |  |
|  | DISP BLADE SUPPORT | 0620-862 |  |  |  |  |
|  | KEYSWITCH CABLE ASSY | 0620-948 |  |  |  |  |
|  | STAINING ASSY - | 100 |  |  |  |  |
|  | EMBEDDING RING BLUE - | 1000956 |  |  |  |  |
|  | EMBEDDING CASS LID ST.ST | 1001003 |  |  |  |  |
|  | FAUCET - DECK MOUNT | 1001133 |  |  |  |  |
|  | DISTANCE BOLT | 10081 |  |  |  |  |
|  | COVER | 10230 |  |  |  |  |
|  | COVER WHITE | 10231 |  |  |  |  |
|  | PLUG | 10260 |  |  |  |  |
|  | FISHER CYTOCLIP ST.ST. | 10-357 |  |  |  |  |
|  | HEATER ASSY - WITH | 10493 |  |  |  |  |
|  | ISO CONTACT SPRAY | 10551 |  |  |  |  |
|  | POCKET | 10586 |  |  |  |  |
|  | DENATURED SPIRIT >94 | 10620 |  |  |  |  |
|  | CYLINDER HYDRAULIC - | 106618 |  |  |  |  |
|  | GROUND TAG | 10780 |  |  |  |  |
|  | FLAT CONNECTOR | 11130 |  |  |  |  |
|  | COVERGLASS STAINING TRAY | 114 |  |  |  |  |
|  | SPRING | 11401 |  |  |  |  |
|  | SPRING D 212 B | 11402 |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151919-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151920-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151921-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151922-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151923-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151924-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151925-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151926-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151927-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151929-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151930-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151931-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151932-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151933-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151934-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151935-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151936-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151937-CN |  |  |  |  |
|  | ACCESSORY KIT - NX50 | 1151938-CN |  |  |  |  |
|  | COVERGLASS STAINING RACK | 116 |  |  |  |  |
|  | DIAMOND KNIFE | 116020 |  |  |  |  |
|  | SILICON LATEX | 11610 |  |  |  |  |
|  | WASHER | 12019 |  |  |  |  |
|  | WASHER | 12021 |  |  |  |  |
|  | NOTCH PIN | 12025 |  |  |  |  |
|  | PIN | 12026 |  |  |  |  |
|  | PIN | 12028 |  |  |  |  |
|  | NOTCH PIN | 12030 |  |  |  |  |
|  | ROUND BELT | 120411 |  |  |  |  |
|  | ADJUSTING NUT | 120412 |  |  |  |  |
|  | CIRCLIP | 12045 |  |  |  |  |
|  | PIN | 12065 |  |  |  |  |
|  | PIN | 12075 |  |  |  |  |
|  | WASHER | 12080 |  |  |  |  |
|  | CYLINDER HEAD SCREW | 12104 |  |  |  |  |
|  | PIN 6x12 | 12115 |  |  |  |  |
|  | CYLINDER PIN 6x20 | 12123 |  |  |  |  |
|  | PIN | 12129 |  |  |  |  |
|  | PIN 6X14 | 12130 |  |  |  |  |
|  | ALLEN SCREW | 12159 |  |  |  |  |
|  | SCREW CSK HEAD | 12175 |  |  |  |  |
|  | SCREW CSK HEAD | 12176 |  |  |  |  |
|  | SCREW CSK HEAD | 12177 |  |  |  |  |
|  | SCREW CSK HEAD | 12179 |  |  |  |  |
|  | LOCK RING | 12199 |  |  |  |  |
|  | STAINING DISH GLASS | 122 |  |  |  |  |
|  | SCREW | 12216 |  |  |  |  |
|  | SCREW | 12217 |  |  |  |  |
|  | CLAMPING SLEEVE 3x12 | 12228 |  |  |  |  |
|  | WASHER | 12243 |  |  |  |  |
|  | WASHER | 12244 |  |  |  |  |
|  | ALLEN SCREW | 12254 |  |  |  |  |
|  | ALLEN SCREW | 12262 |  |  |  |  |
|  | ALLEN SCREW | 12264 |  |  |  |  |
|  | ALLEN SCREW | 12267 |  |  |  |  |
|  | ALLEN SCREW | 12268 |  |  |  |  |
|  | ALLEN SCREW | 12272 |  |  |  |  |
|  | ALLEN SCREW | 12274 |  |  |  |  |
|  | ALLEN SCREW | 12276 |  |  |  |  |
|  | ALLEN SCREW | 12308 |  |  |  |  |
|  | THREADED PIN M4x8 | 12317 |  |  |  |  |
|  | THREADED PIN M6x20 | 12320 |  |  |  |  |
|  | THREADED PIN M6x16 | 12335 |  |  |  |  |
|  | PIN | 12336 |  |  |  |  |
|  | THREADED PIN M3x5 | 12337 |  |  |  |  |
|  | THREADED PIN M6x16 | 12346 |  |  |  |  |
|  | FLAT HEAD M5x20 | 12354 |  |  |  |  |
|  | SCREW | 12422 |  |  |  |  |
|  | SCREW PAN HEAD | 12423 |  |  |  |  |
|  | PIN | 12426 |  |  |  |  |
|  | FITTING DISC 3x6x0.2 | 12428 |  |  |  |  |
|  | ALLEN SCREW | 12432 |  |  |  |  |
|  | ALLEN SCREW | 12436 |  |  |  |  |
|  | NUT | 12440 |  |  |  |  |
|  | COUNTERSUNK SCREW M3 x 5 | 12454 |  |  |  |  |
|  | SCREW | 12470 |  |  |  |  |
|  | DOWEL PIN | 12474 |  |  |  |  |
|  | ALLEN SCREW | 12505 |  |  |  |  |
|  | SCREW | 12531 |  |  |  |  |
|  | SCREW | 12552 |  |  |  |  |
|  | SCEW DIN 7991 | 12566 |  |  |  |  |
|  | WASHER | 12847 |  |  |  |  |
|  | WASHER | 12848 |  |  |  |  |
|  | SHRINK TUBE | 13090 |  |  |  |  |
|  | ARMAFLEX-GLUE | 13283 |  |  |  |  |
|  | PRONG TERMINAL 4 PIN | 13285 |  |  |  |  |
|  | INSULATION TAPE | 13287 |  |  |  |  |
|  | PRONG TERMINAL 4 PIN | 13400 |  |  |  |  |
|  | WASHER | 13411 |  |  |  |  |
|  | DISTANCE | 13520 |  |  |  |  |
|  | COUPLING | 13602 |  |  |  |  |
|  | T-PIECE | 13603 |  |  |  |  |
|  | SCREW | 14001 |  |  |  |  |
|  | EMBEDDING CASSETTES WHITE | 150001 |  |  |  |  |
|  | EMBEDDING CASSETTES GREEN | 150002 |  |  |  |  |
|  | EMBEDDING CASSETTES BLUE | 150003 |  |  |  |  |
|  | EMBEDDING CASSETTES GREY | 150004 |  |  |  |  |
|  | EMBEDDING CASSETTES | 150005 |  |  |  |  |
|  | EMBEDDING CASSETTES PINK | 150006 |  |  |  |  |
|  | EMBEDDING CASSETTES RED | 150007 |  |  |  |  |
|  | EMBEDDING CASSETTES | 150008 |  |  |  |  |
|  | SUPER MEGA BASE MOULD - | 1515 |  |  |  |  |
|  | LUBRICANT | 1520/1 |  |  |  |  |
|  | SAPPHIRE BLADE | 152000 |  |  |  |  |
|  | MICROTOME KNIFE | 152010 |  |  |  |  |
|  | MICROTOME KNIFE 16cm | 152020 |  |  |  |  |
|  | MICROTOME KNIFE 25cm C | 152040 |  |  |  |  |
|  | MICROTOME KNIFE | 152060 |  |  |  |  |
|  | MICROTOME KNIFE 16cm D | 152070 |  |  |  |  |
|  | TUNGSTEN CARBIDE KNIFE | 152120 |  |  |  |  |
|  | SUPERLAP BLADES 10PCS | 152190 |  |  |  |  |
|  | KNIFE CASE | 152220 |  |  |  |  |
|  | KNIFE CASE FOR 2 KNIVES | 152230 |  |  |  |  |
|  | KNIFE CASE FOR 2 KNIVES | 152240 |  |  |  |  |
|  | KNIFE CASE FOR 2 KNIVES | 152250 |  |  |  |  |
|  | MICROTOME KNIFE 18.5cm C | 152270 |  |  |  |  |
|  | KNIFE CASE FOR 2 KNIVES | 152280 |  |  |  |  |
|  | KNIFE CARDBOX 16 CM | 152290 |  |  |  |  |
|  | TUNGSTEN CARBIDE KNIFE | 152330 |  |  |  |  |
|  | DISPOSABLE BLADES | 152410 |  |  |  |  |
|  | SOLID TUNGSTEN CARBIDE | 152460 |  |  |  |  |
|  | ADAPTER FOR SPECIAL | 152510 |  |  |  |  |
|  | ADAPTER FOR SAPPHIRE | 152520 |  |  |  |  |
|  | ADAPTER FOR COMMERCIALLY | 152530 |  |  |  |  |
|  | RAZOR BLADES | 152540 |  |  |  |  |
|  | ADAPTER CH | 152550 |  |  |  |  |
|  | FILING CABINETS PLASTIC | 160000 |  |  |  |  |
|  | DIVIDER TRAY | 1600-001 |  |  |  |  |
|  | DISPOSABLE BLADES 60mm | 160010 |  |  |  |  |
|  | DISPOSABLE BLADES 60mm | 160020 |  |  |  |  |
|  | MAGNETIC CLEANER | 160030 |  |  |  |  |
|  | DISPOSABLE BLADES 80mm | 160050 |  |  |  |  |
|  | SILICON TUBE | 16010 |  |  |  |  |
|  | CARDBOARD CABINET | 160501 |  |  |  |  |
|  | O-RING (PK OF 20) | 1625177 |  |  |  |  |
|  | QMICROFLOW II | 170660 |  |  |  |  |
|  | SLIDE BASKET - 19 SLIDES | 172540 |  |  |  |  |
|  | SLIDE BASKET - 30 SLIDES | 172550 |  |  |  |  |
|  | LEICA AUTOSTAINER XL - | 172580 |  |  |  |  |
|  | VARISTAIN 24-4 STAINER | 172590 |  |  |  |  |
|  | VARISTAIN XY/DRS60 | 172600 |  |  |  |  |
|  | ADAPTER F COMBI TECH | 172610 |  |  |  |  |
|  | SUCTION BELLOWS | 172700 |  |  |  |  |
|  | VENT TUBE | 172740 |  |  |  |  |
|  | MEDITE COT 20 STAINER | 172760 |  |  |  |  |
|  | STEP DOWN UNIT CT4 | 172770 |  |  |  |  |
|  | MEDITE TST 30 40 50 | 172780 |  |  |  |  |
|  | SLIDE RACK | 172790 |  |  |  |  |
|  | COVERSLIP HANDLING TOOL | 172840 |  |  |  |  |
|  | PRESSURE SENSOR | 172870 |  |  |  |  |
|  | VARISTAIN 24-4 STAINER | 172920 |  |  |  |  |
|  | MANUAL STAINING ADAPTER | 172930 |  |  |  |  |
|  | SAKURA DRS 601 STAINER | 172940 |  |  |  |  |
|  | ADAPTER BAVIMED STAINER | 173000 |  |  |  |  |
|  | MANUAL STAINING ADAPTER | 173070 |  |  |  |  |
|  | LEICA ST4040 STAINER - | 173120 |  |  |  |  |
|  | SAKURA DRS 2000 STAINER | 173140 |  |  |  |  |
|  | LEICA ST4040 STAINER - | 173150 |  |  |  |  |
|  | GLASS STRIPS | 174010 |  |  |  |  |
|  | BIO BLOCK CABINET | 174220 |  |  |  |  |
|  | DISINFECTANT SANOSIL | 175200 |  |  |  |  |
|  | MEGA MOLDS | 175690 |  |  |  |  |
|  | STABILO PENCILS 8008 | 175880 |  |  |  |  |
|  | SANDWICH SUPPORTING MATL. | 176010 |  |  |  |  |
|  | RUBBER DISK | 18010 |  |  |  |  |
|  | O RING | 180380 |  |  |  |  |
|  | METHACRYLATE COVER | 180590 |  |  |  |  |
|  | AXIS MOTOR | 182440 |  |  |  |  |
|  | REAR PANEL EC 350-1 | 182460 |  |  |  |  |
|  | MAINS CABLE 230V | 182470 |  |  |  |  |
|  | CRYOCONSOLE HOUSING | 182490 |  |  |  |  |
|  | COMPLETE KIT | 182500 |  |  |  |  |
|  | TEMPERATURE SENSOR | 182510 |  |  |  |  |
|  | CORCOM MAINS FILTER | 182530 |  |  |  |  |
|  | HOUSING | 182540 |  |  |  |  |
|  | INTERCONNECTING CABLE | 182550 |  |  |  |  |
|  | COVER | 182560 |  |  |  |  |
|  | COVER | 182570 |  |  |  |  |
|  | BACK SLIDING | 182580 |  |  |  |  |
|  | THERMO-PROTECTOR | 182590 |  |  |  |  |
|  | FOOTSWITCH | 182600 |  |  |  |  |
|  | COMPRESSOR | 182610 |  |  |  |  |
|  | COMPRESSOR | 182620 |  |  |  |  |
|  | COIL | 182630 |  |  |  |  |
|  | COIL | 182640 |  |  |  |  |
|  | SOLENOID VALVE BODY | 182650 |  |  |  |  |
|  | FAN | 182660 |  |  |  |  |
|  | FAN AC ADDA 220-240V | 182670 |  |  |  |  |
|  | FILTER CHARCOAL ACTIVE | 182700 |  |  |  |  |
|  | SWITCH | 182830 |  |  |  |  |
|  | TOOTH BELT | 183050 |  |  |  |  |
|  | INDUCTIV SENSOR | 183060 |  |  |  |  |
|  | MOTOR | 183070 |  |  |  |  |
|  | MOTOR | 183080 |  |  |  |  |
|  | STEPPING MOTOR | 183090 |  |  |  |  |
|  | MICROSWITCH | 183100 |  |  |  |  |
|  | SPECIMEN BASKET | 183120 |  |  |  |  |
|  | PARAFIN BATH | 183130 |  |  |  |  |
|  | VENTILATION SYSTEM | 183140 |  |  |  |  |
|  | BASKET CARRIER | 183150 |  |  |  |  |
|  | AGITATION MECHANICS | 183160 |  |  |  |  |
|  | ADAPTER | 183198 |  |  |  |  |
|  | MAIN SWITCH | 183200 |  |  |  |  |
|  | TRANSFORMER | 183210 |  |  |  |  |
|  | POWER SUPPLY BOARD | 183220 |  |  |  |  |
|  | CPU BOARD | 183230 |  |  |  |  |
|  | LID FOR STP 120 | 183240 |  |  |  |  |
|  | FILTER HOUSING | 183241 |  |  |  |  |
|  | CHARCOAL FILTER | 183242 |  |  |  |  |
|  | WEIGHT | 183250 |  |  |  |  |
|  | COVER | 183270 |  |  |  |  |
|  | TOUCHPAD KEYBOARD | 183280 |  |  |  |  |
|  | VENTILATOR 115V STP | 183290 |  |  |  |  |
|  | HEATING PARAFFIN STP | 183300 |  |  |  |  |
|  | SWITCH | 183310 |  |  |  |  |
|  | TEMPERATURSENSOR STP | 183320 |  |  |  |  |
|  | 5-PINS HOUSING | 183360 |  |  |  |  |
|  | STP-033 MICROSWITCH | 183390 |  |  |  |  |
|  | STP-034 MICROSWITCH | 183400 |  |  |  |  |
|  | NUT | 183401 |  |  |  |  |
|  | VALVE | 183407 |  |  |  |  |
|  | I/O BOARD | 183408 |  |  |  |  |
|  | MICRO BOARD | 183409 |  |  |  |  |
|  | E-PROM EC-351-089 | 183410 |  |  |  |  |
|  | BATTERY | 183420 |  |  |  |  |
|  | GEH?USE F?R STP 120 | 183450 |  |  |  |  |
|  | DUMMY STIRRER | 183460 |  |  |  |  |
|  | BELT | 183490 |  |  |  |  |
|  | BEARING FOR STP 120 | 183500 |  |  |  |  |
|  | POWER BOARD | 183540 |  |  |  |  |
|  | VERTICAL AXIS ASSY | 183550 |  |  |  |  |
|  | CABLE | 183560 |  |  |  |  |
|  | HANDLE | 183570 |  |  |  |  |
|  | SWITCH | 183600 |  |  |  |  |
|  | RELAY AND START CAPACITOR | 183620 |  |  |  |  |
|  | COOL PLATE | 183630 |  |  |  |  |
|  | CABLE | 183640 |  |  |  |  |
|  | FILTER | 183650 |  |  |  |  |
|  | CRYO BOARD | 183690 |  |  |  |  |
|  | CRYO BOARD | 183695 |  |  |  |  |
|  | POTENTIOMETER | 183696 |  |  |  |  |
|  | FUSE HOLDER | 183750 |  |  |  |  |
|  | BELT | 183760 |  |  |  |  |
|  | FEET FOR EC350 | 183820 |  |  |  |  |
|  | REAGENT BEAKER FOR | 183830 |  |  |  |  |
|  | BELT | 183840 |  |  |  |  |
|  | COVER | 183850 |  |  |  |  |
|  | FIX TRY HEATINGV/5 | 183855 |  |  |  |  |
|  | LID | 183861 |  |  |  |  |
|  | FAN 240V - HMS70 | 183862 |  |  |  |  |
|  | CHARCOAL FILTER | 184000 |  |  |  |  |
|  | STP120 FILTERS | 184100 |  |  |  |  |
|  | GREASE FOR STP 120 | 184120 |  |  |  |  |
|  | SLIDE BASKET 70 SLIDES | 184150 |  |  |  |  |
|  | MAGNIFYING GLASS | 184210 |  |  |  |  |
|  | VALVE HOUSING | 184215 |  |  |  |  |
|  | CPU-BOARD | 184220 |  |  |  |  |
|  | SLIDE BASKET HOLDER | 184240 |  |  |  |  |
|  | REAGENT TROUGH | 184250 |  |  |  |  |
|  | WATER TROUGH HMS 70 | 184260 |  |  |  |  |
|  | WATER CONNECTION | 184350 |  |  |  |  |
|  | CHARCOAL FILTER FOR CTM6 | 184710 |  |  |  |  |
|  | WATER CONNECTION | 185040 |  |  |  |  |
|  | PARAFFIN RESERVOIR | 185050 |  |  |  |  |
|  | PARAFFIN RESERVOIR | 185090 |  |  |  |  |
|  | FILTER | 185100 |  |  |  |  |
|  | LOCKING RING | 185110 |  |  |  |  |
|  | PARAFFIN RESERVOIR | 185120 |  |  |  |  |
|  | PARAFFIN RESERVOIR | 185130 |  |  |  |  |
|  | PARAFFIN RESERVOIR | 185140 |  |  |  |  |
|  | COMPLETE KIT | 185150 |  |  |  |  |
|  | COMPLETE KIT | 185160 |  |  |  |  |
|  | PELTIER UNIT (EC350) | 185170 |  |  |  |  |
|  | FAN (EC350) | 185180 |  |  |  |  |
|  | COMPLETE KIT | 185190 |  |  |  |  |
|  | CENTERRING | 185191 |  |  |  |  |
|  | AREA HEATING | 185200 |  |  |  |  |
|  | SOLENOID | 185310 |  |  |  |  |
|  | HOLDER | 185320 |  |  |  |  |
|  | SOLENOID | 185330 |  |  |  |  |
|  | COMPLETE KIT | 185340 |  |  |  |  |
|  | SOLENOID VALVE KIT - | 185350 |  |  |  |  |
|  | ADHES.HEATING | 185380 |  |  |  |  |
|  | VALVE | 185390 |  |  |  |  |
|  | CONDUIT HEATING | 185400 |  |  |  |  |
|  | CONDUIT | 185420 |  |  |  |  |
|  | CONDUIT | 185430 |  |  |  |  |
|  | FRONT KEYBOARD - EC 350 | 185440 |  |  |  |  |
|  | FLAT BANDS ASSY | 185450 |  |  |  |  |
|  | FLAP | 185460 |  |  |  |  |
|  | MICRO BOARD | 185470 |  |  |  |  |
|  | O-RING | 185471 |  |  |  |  |
|  | POWER SUPPLY (EC351-066) | 185480 |  |  |  |  |
|  | TEMPERATURE SENSOR | 185500 |  |  |  |  |
|  | CORCOM MAINS FILTER | 185510 |  |  |  |  |
|  | CRYO BOARD | 185520 |  |  |  |  |
|  | FLAP | 185530 |  |  |  |  |
|  | CONDENSER ASSY EC350 | 185540 |  |  |  |  |
|  | RIGHT WASTE TRAY | 185560 |  |  |  |  |
|  | LEFT WASTE TRAY | 185570 |  |  |  |  |
|  | HEATING PROTECTOR | 185580 |  |  |  |  |
|  | HEATING PROTECTOR | 185590 |  |  |  |  |
|  | COMPLETE KIT | 185600 |  |  |  |  |
|  | COMPLETE KIT | 185610 |  |  |  |  |
|  | FORCES SUPPORT | 185620 |  |  |  |  |
|  | FORCEPS | 185630 |  |  |  |  |
|  | COMPLETE KIT | 185640 |  |  |  |  |
|  | COMPLETE KIT | 185650 |  |  |  |  |
|  | KEY | 185680 |  |  |  |  |
|  | LEDS BOARD EC350 - | 185690 |  |  |  |  |
|  | SOLENOID | 185700 |  |  |  |  |
|  | SOLENOID VALVE | 185710 |  |  |  |  |
|  | PARAFFIN TRAY | 185720 |  |  |  |  |
|  | POTENTIOMETER | 185730 |  |  |  |  |
|  | POTENTIOMETER | 185740 |  |  |  |  |
|  | ON-OFF SWITCH KL 200 | 185750 |  |  |  |  |
|  | CLAP | 185760 |  |  |  |  |
|  | HEATING SB 80 | 188575 |  |  |  |  |
|  | MICRO BOARD | 188577 |  |  |  |  |
|  | CONTROL PANEL | 188579 |  |  |  |  |
|  | SET OF STOPPERS | 19004 |  |  |  |  |
|  | COVERGLASS THUMB FORCEPS | 19040 |  |  |  |  |
|  | TEROSTAT IX GREY EI | 19300 |  |  |  |  |
|  | TEROSTAT 64 | 19310 |  |  |  |  |
|  | BRINE COOLANT 1.0L | 19460 |  |  |  |  |
|  | ALLAN SCREW 10x50 | 19500 |  |  |  |  |
|  | SPRING | 19511 |  |  |  |  |
|  | BLACK NOZZLE | 19521 |  |  |  |  |
|  | SCREW | 19562 |  |  |  |  |
|  | SCREW CSK HEAD | 19563 |  |  |  |  |
|  | SPRING WASHER | 19564 |  |  |  |  |
|  | SERRATED LOCKWASHER | 19565 |  |  |  |  |
|  | HUMIDITY CHAMBER | 197 |  |  |  |  |
|  | PRESSURE PIECE | 202060 |  |  |  |  |
|  | PRESSURE PIECE | 202100 |  |  |  |  |
|  | MANUAL SUCTION DEVICE | 202130 |  |  |  |  |
|  | PIPEBRUSH | 202170 |  |  |  |  |
|  | BRUSH F/CLEANING VACUUM | 202180 |  |  |  |  |
|  | ROTARY VALVE POSITIONING | 202220 |  |  |  |  |
|  | DIAL GAUGE | 202240 |  |  |  |  |
|  | SOFTWARE UP DATE KIT | 202260 |  |  |  |  |
|  | SPRING | 204070 |  |  |  |  |
|  | SERVICE KIT FOR BOSCH | 2040705-CN |  |  |  |  |
|  | UNIVERSAL CASSETTE CHUCK | 204100 |  |  |  |  |
|  | HINGESPRING | 204120 |  |  |  |  |
|  | PRESSURE SPRING | 204150 |  |  |  |  |
|  | SPRING | 204180 |  |  |  |  |
|  | STS TONGUE PART | 2042208-CN |  |  |  |  |
|  | PRESSURE SPRING D=3.2 | 204260 |  |  |  |  |
|  | PRESSURE SPRING | 204270 |  |  |  |  |
|  | CONTROL UNIT | 2042907-CN |  |  |  |  |
|  | CONNECTING CABLE | 2042908 |  |  |  |  |
|  | PRESSURE SPRING | 204310 |  |  |  |  |
|  | PRESSURE SPRING | 204330 |  |  |  |  |
|  | SPRING | 204390 |  |  |  |  |
|  | TENSION SPRING | 204450 |  |  |  |  |
|  | SPRING | 204500 |  |  |  |  |
|  | SUSPENDED SPRING | 204550 |  |  |  |  |
|  | SPRING FOR STS | 204600 |  |  |  |  |
|  | SPRING RING | 204630 |  |  |  |  |
|  | SPRING | 204660 |  |  |  |  |
|  | SPRING | 204670 |  |  |  |  |
|  | DISC CONE-SHAFT | 206030 |  |  |  |  |
|  | BEARING WASHER MONITOR | 206090 |  |  |  |  |
|  | SLIDE BEARING | 206120 |  |  |  |  |
|  | SLIDE BEARING | 206130 |  |  |  |  |
|  | SLIDE BEARING | 206150 |  |  |  |  |
|  | GAS SPRING | 206330 |  |  |  |  |
|  | JOINT HEAD | 208110 |  |  |  |  |
|  | JOINT HEAD | 208120 |  |  |  |  |
|  | SETTING RING | 214040 |  |  |  |  |
|  | MICROTOME KNIFE - | 2222003 |  |  |  |  |
|  | MICROTOME KNIFE - | 2222004 |  |  |  |  |
|  | MICROTOME KNIFE - | 2222005 |  |  |  |  |
|  | MICROTOME KNIFE - | 2222006 |  |  |  |  |
|  | ELEVATED FEET FOR GLX | 231420 |  |  |  |  |
|  | DISTANCE PIECE | 236410 |  |  |  |  |
|  | ADJUSTING PIN | 242530 |  |  |  |  |
|  | BALL BEARING | 254010 |  |  |  |  |
|  | BALL BEARING | 254030 |  |  |  |  |
|  | BALL BEARING | 254050 |  |  |  |  |
|  | BALL BEARING | 254080 |  |  |  |  |
|  | AXIAL NEEDLE WHEEL | 254110 |  |  |  |  |
|  | AXIAL DISK | 254120 |  |  |  |  |
|  | RUNNING DISK | 254130 |  |  |  |  |
|  | NEEDLE BEARING | 254150 |  |  |  |  |
|  | BALL BEARING | 254170 |  |  |  |  |
|  | BALL BEARING | 254210 |  |  |  |  |
|  | NEEDLE BEARING | 254240 |  |  |  |  |
|  | BEARING | 254250 |  |  |  |  |
|  | AXIAL DISK AS 1226 | 254400 |  |  |  |  |
|  | HANDWHEEL WEIGHT | 254440 |  |  |  |  |
|  | BELT D-5104 | 260000 |  |  |  |  |
|  | BELT | 260050 |  |  |  |  |
|  | BELT | 260060 |  |  |  |  |
|  | BELT | 260080 |  |  |  |  |
|  | POLY-V-BELT - HM355S | 260090 |  |  |  |  |
|  | BELT | 260130 |  |  |  |  |
|  | TOOTHED BELT | 260160 |  |  |  |  |
|  | BELT | 260200 |  |  |  |  |
|  | TIMING BELT 6/2,5/620 | 260250 |  |  |  |  |
|  | BELT | 260270 |  |  |  |  |
|  | TIMING BELT | 260300 |  |  |  |  |
|  | TOOTH BELT - ROTARY | 260310 |  |  |  |  |
|  | STEPPER MOTOR | 260330 |  |  |  |  |
|  | TOOTHBELT | 260380 |  |  |  |  |
|  | RING BOLT | 260950 |  |  |  |  |
|  | SPRING | 261010 |  |  |  |  |
|  | O RING | 261030 |  |  |  |  |
|  | O RING | 261050 |  |  |  |  |
|  | SPRING | 261100 |  |  |  |  |
|  | HINGE FOR TOP COVER | 261110 |  |  |  |  |
|  | BELL | 261150 |  |  |  |  |
|  | STAR HANDLE | 261160 |  |  |  |  |
|  | SILICONE HOSE | 261230 |  |  |  |  |
|  | PVC-TUBE | 261280 |  |  |  |  |
|  | TUBE | 261290 |  |  |  |  |
|  | CAP BLACK | 261300 |  |  |  |  |
|  | PLUG | 261310 |  |  |  |  |
|  | MAGNET SYSTEM | 261320 |  |  |  |  |
|  | ROUND STOP | 261570 |  |  |  |  |
|  | SILICONE PIPE | 261600 |  |  |  |  |
|  | SILICONE PIPE | 261610 |  |  |  |  |
|  | ISOLATION TAPE | 261700 |  |  |  |  |
|  | SCOTCH BUMPON | 261710 |  |  |  |  |
|  | BRINE HOSE - HM560 | 261830 |  |  |  |  |
|  | SLEEVE | 261860 |  |  |  |  |
|  | BOW FITTING | 261880 |  |  |  |  |
|  | FILTER INSERT | 261920 |  |  |  |  |
|  | COLLECTING VESSEL | 261980 |  |  |  |  |
|  | SLEEVE D=6mm | 262040 |  |  |  |  |
|  | DISPOSABLE | 262090 |  |  |  |  |
|  | O RING | 262120 |  |  |  |  |
|  | FITTING 10/8mm | 262240 |  |  |  |  |
|  | SUCKTION PIPE | 262250 |  |  |  |  |
|  | CONDENSER OUTLET | 262270 |  |  |  |  |
|  | O-RING | 262340 |  |  |  |  |
|  | O RING | 262350 |  |  |  |  |
|  | O RING | 262410 |  |  |  |  |
|  | ADHESIVE PAD FOR PELTIERS | 262420 |  |  |  |  |
|  | PANELLING-SEALING | 262480 |  |  |  |  |
|  | O RING | 262550 |  |  |  |  |
|  | ELLBOW D - 16 mm | 262600 |  |  |  |  |
|  | O RING | 262710 |  |  |  |  |
|  | CAPILLARY TUBING | 262720 |  |  |  |  |
|  | SEALING | 262730 |  |  |  |  |
|  | O RING | 262830 |  |  |  |  |
|  | O RING | 262840 |  |  |  |  |
|  | HOSE | 262890 |  |  |  |  |
|  | SILICONE PIPE 5x3mm | 262920 |  |  |  |  |
|  | O RING | 263050 |  |  |  |  |
|  | O RING | 263060 |  |  |  |  |
|  | O RING | 263070 |  |  |  |  |
|  | O RING | 263100 |  |  |  |  |
|  | CAPILLARY TUBING | 263170 |  |  |  |  |
|  | CONTAINER | 263180 |  |  |  |  |
|  | SEALING CP | 263250 |  |  |  |  |
|  | ANGLED-FITTING | 263280 |  |  |  |  |
|  | FITTING | 263290 |  |  |  |  |
|  | ONE WAY VALVE G 1/8 | 263320 |  |  |  |  |
|  | ANLED-TUBE D | 263340 |  |  |  |  |
|  | ISOLATION-RING | 263360 |  |  |  |  |
|  | O RING | 263430 |  |  |  |  |
|  | EVAPORATOR | 263500 |  |  |  |  |
|  | PIPE GUIDE 90 DEG | 263560 |  |  |  |  |
|  | O RING | 263590 |  |  |  |  |
|  | AIR FILTER | 263670 |  |  |  |  |
|  | SILICONE HOSE BLACK 1.25m | 263730 |  |  |  |  |
|  | LID FOR REAGENT BOTTLE | 263790 |  |  |  |  |
|  | MAGNETIC DOOR CATCH | 263970 |  |  |  |  |
|  | REAGENT BOTTLE CPL. | 264130 |  |  |  |  |
|  | O RING | 264160 |  |  |  |  |
|  | SEAL | 264170 |  |  |  |  |
|  | SEAL | 264180 |  |  |  |  |
|  | BIOPSY CHAMBER LID SEAL | 264200 |  |  |  |  |
|  | SEAL | 264210 |  |  |  |  |
|  | O RING | 264230 |  |  |  |  |
|  | O RING | 264240 |  |  |  |  |
|  | SEAL | 264250 |  |  |  |  |
|  | SEAL | 264260 |  |  |  |  |
|  | SEAL | 264280 |  |  |  |  |
|  | O RING | 264300 |  |  |  |  |
|  | O RING 28 X 2 SILICONE | 264310 |  |  |  |  |
|  | ROTARY CHAMBER LID SEAL | 264320 |  |  |  |  |
|  | SEAL | 264330 |  |  |  |  |
|  | O RING | 264340 |  |  |  |  |
|  | SEAL | 264360 |  |  |  |  |
|  | LD-PE HOSE | 264380 |  |  |  |  |
|  | HOSE | 264390 |  |  |  |  |
|  | LD-PE HOSE 6/8/900mm | 264400 |  |  |  |  |
|  | PLASTIC HOSE | 264430 |  |  |  |  |
|  | LDPE HOSE 8x6x1 | 264440 |  |  |  |  |
|  | TOOLBOX | 264510 |  |  |  |  |
|  | INSERT G 1/4 | 264540 |  |  |  |  |
|  | XYLENE CLEANING BOTTLE | 264550 |  |  |  |  |
|  | CONNECTOR | 264560 |  |  |  |  |
|  | ELLBOW CONNECTION | 264570 |  |  |  |  |
|  | FOOT | 271020 |  |  |  |  |
|  | RUBBER BUFFER M6 X 15 | 271040 |  |  |  |  |
|  | LOCKINGFOOT | 271070 |  |  |  |  |
|  | RUBBER FOOT M6 | 271120 |  |  |  |  |
|  | RUBBER BRAKE BUFFER | 271130 |  |  |  |  |
|  | CONNECTOR WITH ANGLE | 271190 |  |  |  |  |
|  | ANGLE | 271290 |  |  |  |  |
|  | COUPLING | 271380 |  |  |  |  |
|  | PLUG | 271390 |  |  |  |  |
|  | RUBBER FOOT | 271420 |  |  |  |  |
|  | HOSE CONNECTION | 271600 |  |  |  |  |
|  | HOSE CONNECTION | 271610 |  |  |  |  |
|  | COARSE FILTER | 281000 |  |  |  |  |
|  | COARSE FILTER F/USE WITH | 281010 |  |  |  |  |
|  | INLINEFILTER | 281050 |  |  |  |  |
|  | FINE FILTER VACUTOME | 281060 |  |  |  |  |
|  | METAL FILTER HOLDER | 281080 |  |  |  |  |
|  | FILTER BAGS (PK25) | 281090 |  |  |  |  |
|  | FILTERMAT RG25 | 281110 |  |  |  |  |
|  | CONNECTOR DES | 301000 |  |  |  |  |
|  | PUMP MEMBRANE KIT | 301030 |  |  |  |  |
|  | DISPOSABLE BLADE | 3013835 |  |  |  |  |
|  | DISPLAY | 302020 |  |  |  |  |
|  | MAGNET | 303020 |  |  |  |  |
|  | DISPOSABLE BLADE PREMIER | 3050822 |  |  |  |  |
|  | DISPOSABLE BLADE PREMIER | 3050835 |  |  |  |  |
|  | DISPOSABLE BLADE PREMIER | 3051835 |  |  |  |  |
|  | DISPOSABLE BLADE PREMIER+ | 3052835 |  |  |  |  |
|  | DISPOSABLE BLADE | 3053835 |  |  |  |  |
|  | IC CD74AC00E | 306030 |  |  |  |  |
|  | IC ULN 2003A | 306040 |  |  |  |  |
|  | IC SN74HC245N | 306050 |  |  |  |  |
|  | IC SN74HC373N | 306060 |  |  |  |  |
|  | IC L 4901A | 306070 |  |  |  |  |
|  | IC MC 14490 | 306090 |  |  |  |  |
|  | IC M48Z02-150PC1 | 306100 |  |  |  |  |
|  | IC TL 7709 ACP | 306110 |  |  |  |  |
|  | IC ULN 2003A | 306130 |  |  |  |  |
|  | IC | 306140 |  |  |  |  |
|  | IC HCF 4010 BE | 306160 |  |  |  |  |
|  | IC ILQ 621 | 306180 |  |  |  |  |
|  | IC ULN 2003A | 306190 |  |  |  |  |
|  | IC PD 1 | 306250 |  |  |  |  |
|  | IC SN74HC 74N | 306260 |  |  |  |  |
|  | IC CD74HC221E | 306270 |  |  |  |  |
|  | IC CD 4049 UBE | 306330 |  |  |  |  |
|  | IC SN 75372 P | 306380 |  |  |  |  |
|  | SN 74 AHC 245 N | 306460 |  |  |  |  |
|  | IC TCA 785 | 306500 |  |  |  |  |
|  | IC M48T86PCI | 306610 |  |  |  |  |
|  | IC PD INC CAPACITOR | 306640 |  |  |  |  |
|  | IC MC 14541 BCP | 307150 |  |  |  |  |
|  | IC | 307170 |  |  |  |  |
|  | IC 901 | 307480 |  |  |  |  |
|  | IC CD 74 HC 573 | 307500 |  |  |  |  |
|  | BALLAST ELECTRONIC | 310110 |  |  |  |  |
|  | TRANSFORMER | 310130 |  |  |  |  |
|  | BALLAST | 310180 |  |  |  |  |
|  | BALLAST | 310210 |  |  |  |  |
|  | BALLAST | 310290 |  |  |  |  |
|  | OPTO COUPLER | 310310 |  |  |  |  |
|  | OPTO COUPLER | 310350 |  |  |  |  |
|  | TRANSFORMER | 310650 |  |  |  |  |
|  | BALLAST 120V/60HZ | 310730 |  |  |  |  |
|  | BALLAST 230V50HZ | 310740 |  |  |  |  |
|  | TRANSFORMER | 310840 |  |  |  |  |
|  | T 1 J TRANSFORMER | 310850 |  |  |  |  |
|  | TRANSFORMER | 310870 |  |  |  |  |
|  | TRANSFORMER | 310880 |  |  |  |  |
|  | TRANSFORMER | 310890 |  |  |  |  |
|  | TRANSFORMER | 310900 |  |  |  |  |
|  | TRANSFORMER T 40 | 310950 |  |  |  |  |
|  | TRANSFORMER T 41 | 310960 |  |  |  |  |
|  | TRANSFORMER | 310970 |  |  |  |  |
|  | T 50 TRANSFORMER | 310980 |  |  |  |  |
|  | TRANSFORMER | 311000 |  |  |  |  |
|  | TRANSFORMER T 34 D | 311010 |  |  |  |  |
|  | SOCKETADAPTOR | 311060 |  |  |  |  |
|  | PLUG-INSERT US | 311070 |  |  |  |  |
|  | DISPOSABLE BLADE | 3113735 |  |  |  |  |
|  | CYTOSPIN ACCESSORY KIT | 3120110 |  |  |  |  |
|  | CPU BOARD | 312040 |  |  |  |  |
|  | DISPLAY - BOARD | 312260 |  |  |  |  |
|  | PCB | 312430 |  |  |  |  |
|  | CONNECTOR | 312620 |  |  |  |  |
|  | PCB | 312640 |  |  |  |  |
|  | MICROSWITCH & CABLE ASSY | 313020 |  |  |  |  |
|  | MICROSWITCH ASSY EXPELLER | 313030 |  |  |  |  |
|  | MICROSWITCH ASSEMBLY | 313040 |  |  |  |  |
|  | MICROSWITCH GRIPPER | 313050 |  |  |  |  |
|  | CABLE MICROSWITCH | 313120 |  |  |  |  |
|  | CHINA POWER LEAD | 313230 |  |  |  |  |
|  | AC/DC SUPPLY UNIT | 313400 |  |  |  |  |
|  | POWER SUPPLY COOL CUT | 313500 |  |  |  |  |
|  | EURO PLUG | 313510 |  |  |  |  |
|  | JACK PLUG | 313530 |  |  |  |  |
|  | CONNECTING CABLE | 313680 |  |  |  |  |
|  | UK POWER CORD | 313940 |  |  |  |  |
|  | 115V US POWER CORD | 313950 |  |  |  |  |
|  | EUROPEAN POWER CORD | 313960 |  |  |  |  |
|  | CONTROL LEAD 4 | 313970 |  |  |  |  |
|  | PUMP CABLE | 314020 |  |  |  |  |
|  | POWER CORD | 314030 |  |  |  |  |
|  | POWER CORD | 314040 |  |  |  |  |
|  | MICROSWITCH + CABLE ASSY | 314140 |  |  |  |  |
|  | DATA LINE | 314420 |  |  |  |  |
|  | MULTI-PURPOSE CABLE | 314450 |  |  |  |  |
|  | CABLE | 314460 |  |  |  |  |
|  | DATA CABLE | 314470 |  |  |  |  |
|  | DATA CABLE | 314500 |  |  |  |  |
|  | CONNECTING CABLE | 314520 |  |  |  |  |
|  | CABLE | 314570 |  |  |  |  |
|  | POWER CABLE | 314620 |  |  |  |  |
|  | SLEDGE PIN CABLE | 314790 |  |  |  |  |
|  | INTERNAL CABLE | 314830 |  |  |  |  |
|  | STEPPING MOTOR CABLE | 314870 |  |  |  |  |
|  | POWER SUPPLY | 314960 |  |  |  |  |
|  | MAINS LEAD SET | 314990 |  |  |  |  |
|  | DISPOSABLE BLADE | 3150734 |  |  |  |  |
|  | CABLE | 315190 |  |  |  |  |
|  | CLOSED LOOP NETWORK | 315260 |  |  |  |  |
|  | CLOSED LOOP NETWORK | 315270 |  |  |  |  |
|  | CABLE | 315300 |  |  |  |  |
|  | SPIRAL | 315320 |  |  |  |  |
|  | SPIRAL CABLE | 315330 |  |  |  |  |
|  | DISPOSABLE BLADE | 3153735 |  |  |  |  |
|  | REED SWITCH UNIT | 315500 |  |  |  |  |
|  | PRESSURE VALVE & CABLE | 315580 |  |  |  |  |
|  | INDUCTIVE SENSOR | 315600 |  |  |  |  |
|  | SWITCH | 315610 |  |  |  |  |
|  | CABLE | 315710 |  |  |  |  |
|  | CABLE | 315810 |  |  |  |  |
|  | CABLE ( BLUE ) NR.2 | 315811 |  |  |  |  |
|  | CABLE ( RED ) NR.4 | 315812 |  |  |  |  |
|  | CABLE FOR COMPRESSOR | 315850 |  |  |  |  |
|  | CABLE | 315930 |  |  |  |  |
|  | DRAGLINE HM 450 | 315980 |  |  |  |  |
|  | DATA LINE | 315990 |  |  |  |  |
|  | DATA LINE | 316050 |  |  |  |  |
|  | CAPACITOR | 316090 |  |  |  |  |
|  | SET OF CABLE UV UNIT | 316220 |  |  |  |  |
|  | CAPACITOR 47 NF | 316320 |  |  |  |  |
|  | AC POWER LINE UK | 316460 |  |  |  |  |
|  | CABLE SET ROTATION | 319030 |  |  |  |  |
|  | CABLE SET PARAFFIN | 319040 |  |  |  |  |
|  | MAGNET | 319100 |  |  |  |  |
|  | REED SWITCH COMPL. | 319110 |  |  |  |  |
|  | TEMPERATURE CUT-OUT | 319130 |  |  |  |  |
|  | CABLE | 319150 |  |  |  |  |
|  | START CAPACITOR | 319180 |  |  |  |  |
|  | RELAY | 319190 |  |  |  |  |
|  | FAN | 320010 |  |  |  |  |
|  | AXIAL FLOW FAN 115V | 320060 |  |  |  |  |
|  | FAN | 320080 |  |  |  |  |
|  | DC-SERVOMOTOR | 320090 |  |  |  |  |
|  | FAN MTOR 230V 50HZ | 320200 |  |  |  |  |
|  | CARBON BRUSHES | 320230 |  |  |  |  |
|  | AXIAL FAN 12V DC | 320260 |  |  |  |  |
|  | STEPPER MOTOR CTM 6 | 320270 |  |  |  |  |
|  | FAN COMPL. | 320280 |  |  |  |  |
|  | TACHO FOR MOTOR | 320290 |  |  |  |  |
|  | DC MOTOR | 320300 |  |  |  |  |
|  | FAN MOTOR 115V/60HZ | 320310 |  |  |  |  |
|  | VACTOM PUMP | 320340 |  |  |  |  |
|  | PUMP | 320350 |  |  |  |  |
|  | FAN | 320410 |  |  |  |  |
|  | FAN-FILTER | 320420 |  |  |  |  |
|  | FAN | 320430 |  |  |  |  |
|  | FAN | 320440 |  |  |  |  |
|  | FAN MOTOR | 320450 |  |  |  |  |
|  | FAN ASSEMBLY | 320470 |  |  |  |  |
|  | PUMP FOR CU 65 | 320480 |  |  |  |  |
|  | MOTOR CHARLY-PAD | 320580 |  |  |  |  |
|  | LOCK MOTOR ROTATION | 320690 |  |  |  |  |
|  | FAN | 320740 |  |  |  |  |
|  | STEPPER MOTORBOARD | 320760 |  |  |  |  |
|  | CUTTING MOTOR | 320780 |  |  |  |  |
|  | TEMP SENSOR | 320900 |  |  |  |  |
|  | STEPPER MOTOR | 320910 |  |  |  |  |
|  | MAINSWITCH 230V | 321100 |  |  |  |  |
|  | EXPANSION VALVE | 321980 |  |  |  |  |
|  | SWITCH | 322010 |  |  |  |  |
|  | CONTACT ELEMENT | 322200 |  |  |  |  |
|  | SOLID STATE RELAY | 322210 |  |  |  |  |
|  | MICRO SWITCH | 322230 |  |  |  |  |
|  | PHOTOSENSOR [OMRON] | 322310 |  |  |  |  |
|  | RELAY | 322460 |  |  |  |  |
|  | SOLID STATE RELAY | 322480 |  |  |  |  |
|  | PRESSURE VALVE | 322560 |  |  |  |  |
|  | STARTER (PHILIPS S2) | 322650 |  |  |  |  |
|  | MAIN SWITCH | 322660 |  |  |  |  |
|  | STARTING DEVICE | 322680 |  |  |  |  |
|  | STARTER S 10 PHILIPS | 322710 |  |  |  |  |
|  | EMERGENCY STOP SWITCH | 322730 |  |  |  |  |
|  | MAIN SWITCH | 322770 |  |  |  |  |
|  | CIRCUIT BREAKER | 322780 |  |  |  |  |
|  | TRIM/FEED SWITCH | 322900 |  |  |  |  |
|  | EMERGENCY STOP SWITCH | 322920 |  |  |  |  |
|  | FILTER | 322960 |  |  |  |  |
|  | LINE FILTER | 322980 |  |  |  |  |
|  | MAIN SWITCH STP420 | 323050 |  |  |  |  |
|  | SENSOR | 324000 |  |  |  |  |
|  | CABLE HARNESS | 324050 |  |  |  |  |
|  | Z-CABLE HMS 740 | 324210 |  |  |  |  |
|  | MICRO FILTER | 324240 |  |  |  |  |
|  | GAS SPRING - ROTARY | 324250 |  |  |  |  |
|  | DONGLE TECHNICIAN MODE | 324310 |  |  |  |  |
|  | SETTING ARM COMPLETE | 3252303-CN |  |  |  |  |
|  | SPRINGS FOR COVER RIBBON | 3252600-CN |  |  |  |  |
|  | FUSE HOLDER SMALL | 326060 |  |  |  |  |
|  | CAP FOR FUSE HOLDER SMALL | 326080 |  |  |  |  |
|  | FUSE | 326130 |  |  |  |  |
|  | FUSE 3.15A 5X20 | 326140 |  |  |  |  |
|  | THERMAL PROTECTOR | 326200 |  |  |  |  |
|  | FUSE | 326210 |  |  |  |  |
|  | FUSE INSERT | 326340 |  |  |  |  |
|  | FUSE | 326350 |  |  |  |  |
|  | FUSE INSERT | 326410 |  |  |  |  |
|  | FUSE 5 AT 5x20mm | 326430 |  |  |  |  |
|  | FUSE | 326440 |  |  |  |  |
|  | FUSE | 326500 |  |  |  |  |
|  | FUSE INSERT | 326570 |  |  |  |  |
|  | FUSE 2.5 AT 5 X 20mm | 326580 |  |  |  |  |
|  | FUSE | 326610 |  |  |  |  |
|  | FUSE TT 2.5 A | 326620 |  |  |  |  |
|  | FUSE 3.15AF 5 X 20 | 326700 |  |  |  |  |
|  | SAB 80C535-N | 328240 |  |  |  |  |
|  | CONNECTOR | 328270 |  |  |  |  |
|  | HOUSING | 328280 |  |  |  |  |
|  | TEST PIN | 328300 |  |  |  |  |
|  | CONNECTOR | 328330 |  |  |  |  |
|  | CONNECTOR | 328440 |  |  |  |  |
|  | HOUSING | 328450 |  |  |  |  |
|  | CONNECTOR | 328460 |  |  |  |  |
|  | MAIN PLUG | 328930 |  |  |  |  |
|  | 3 PIN CONNECTION | 329170 |  |  |  |  |
|  | CONNECTOR 4 PIN | 329560 |  |  |  |  |
|  | MAINSWITCH 115V | 329620 |  |  |  |  |
|  | KNIFE GUIDE RAIL | 329740 |  |  |  |  |
|  | ADJUSTING PIECE - | 329870 |  |  |  |  |
|  | COUPLING QUICK RELEASE | 329920 |  |  |  |  |
|  | COUPLING IN-LINE INSERT | 329930 |  |  |  |  |
|  | COUPLING QUICK RELEASE | 329940 |  |  |  |  |
|  | COUPLING IN-LINE INSERT | 329950 |  |  |  |  |
|  | WATER WASH BOTTLE ASSY | 329970 |  |  |  |  |
|  | SILICONE PADS | 330040 |  |  |  |  |
|  | FAN-C-ECU | 330050 |  |  |  |  |
|  | POWER SUPPLY 48V | 330060 |  |  |  |  |
|  | POWER SUPPLY | 330070 |  |  |  |  |
|  | EVAPORATOR SENSOR | 330080 |  |  |  |  |
|  | TEMP SENSOR | 330090 |  |  |  |  |
|  | RESISTOR NETWORK | 330180 |  |  |  |  |
|  | SENSOR HM525 CRYOSTAT | 330320 |  |  |  |  |
|  | TEMPERATURE-SENSOR | 330590 |  |  |  |  |
|  | PTC - TEMP SENSOR FOR | 330670 |  |  |  |  |
|  | SPEED CONTROL | 330760 |  |  |  |  |
|  | BALLAST 120UH/2A | 330890 |  |  |  |  |
|  | LOAD RESISTOR | 330910 |  |  |  |  |
|  | SENSOR | 331030 |  |  |  |  |
|  | TEMP SENSOR | 331040 |  |  |  |  |
|  | OBJECT COOLING HEAD | 331050 |  |  |  |  |
|  | THERMOMETER | 331090 |  |  |  |  |
|  | POWER RESITOR | 331250 |  |  |  |  |
|  | LINEAR POT COMPLETE WITH | 331400 |  |  |  |  |
|  | PLUG 3POL | 331410 |  |  |  |  |
|  | TEMPERATURE SENSOR | 331910 |  |  |  |  |
|  | MICROTOME SENSOR | 331920 |  |  |  |  |
|  | POTENTIOMETER | 333040 |  |  |  |  |
|  | POTENTIOMETER CABLE | 333050 |  |  |  |  |
|  | POTENTIOMETER | 333057 |  |  |  |  |
|  | MAGNETIC BRUSH FOR HM 560 | 334000 |  |  |  |  |
|  | PARAFFIN SCRAPER | 334020 |  |  |  |  |
|  | LARGE BRUSH | 334170 |  |  |  |  |
|  | MAGNETIC BRUSH | 334171 |  |  |  |  |
|  | MAGNETIC BRUSH LARGE | 334172 |  |  |  |  |
|  | MEASURING CUP | 334220 |  |  |  |  |
|  | PLASTIC FUNNEL | 334240 |  |  |  |  |
|  | STAND FOR FAN MOTOR | 334290 |  |  |  |  |
|  | DUST COVER | 334310 |  |  |  |  |
|  | FAN | 334330 |  |  |  |  |
|  | BLADE | 334350 |  |  |  |  |
|  | COVER | 334370 |  |  |  |  |
|  | HOLDER | 334380 |  |  |  |  |
|  | DUST COVER FOR STS | 334470 |  |  |  |  |
|  | PULL RELIEF | 334490 |  |  |  |  |
|  | SOCKET 8 PIN | 334690 |  |  |  |  |
|  | SOCKET 14 PIN | 334700 |  |  |  |  |
|  | SOCKET 24 PIN | 334730 |  |  |  |  |
|  | SOCKET | 334750 |  |  |  |  |
|  | HEATSINK | 334760 |  |  |  |  |
|  | RECTIFIER BRIDGE | 334800 |  |  |  |  |
|  | QUARTZ 12 MHZ | 334820 |  |  |  |  |
|  | HEATSINK | 335010 |  |  |  |  |
|  | COOLING ELEMENT | 335150 |  |  |  |  |
|  | LINE FILTER | 335340 |  |  |  |  |
|  | Z - DIODE | 335390 |  |  |  |  |
|  | TRIAC TIC 206 M | 335400 |  |  |  |  |
|  | RESISRTANCE 100 K | 335410 |  |  |  |  |
|  | LINE FILTER | 335470 |  |  |  |  |
|  | LINE FILTER | 335690 |  |  |  |  |
|  | MAIN SWITCH UNIT | 335700 |  |  |  |  |
|  | DRAWER | 335710 |  |  |  |  |
|  | STRING HM 560 | 335770 |  |  |  |  |
|  | SUB COOLING TUBE | 335820 |  |  |  |  |
|  | WIPER | 335830 |  |  |  |  |
|  | MAIN SWITCH UNIT | 335890 |  |  |  |  |
|  | POWER SWITCH - CTM6 | 336010 |  |  |  |  |
|  | PELTIER | 336020 |  |  |  |  |
|  | PELTIER | 336030 |  |  |  |  |
|  | VACUTOME COVER | 336070 |  |  |  |  |
|  | NOZZLE SECTIONING | 336080 |  |  |  |  |
|  | NOZZLE FOR TRIMMIMG | 336090 |  |  |  |  |
|  | PELTIER ELEMENT | 336130 |  |  |  |  |
|  | PELTIER ELEMENT | 336140 |  |  |  |  |
|  | NECK | 336300 |  |  |  |  |
|  | PELTIER FOR SPECIMEN HEAD | 336330 |  |  |  |  |
|  | GRIP | 336360 |  |  |  |  |
|  | HEATSINK | 336410 |  |  |  |  |
|  | PLUG HMS 760 | 336440 |  |  |  |  |
|  | COVER | 336450 |  |  |  |  |
|  | STEAMDOM HM 505/500 | 336560 |  |  |  |  |
|  | FILTERHOUSING | 336590 |  |  |  |  |
|  | FLEXIBLE PIPE | 336690 |  |  |  |  |
|  | HEAT TRANSFER PLATE | 337060 |  |  |  |  |
|  | POWER SWITCH UNIT | 337100 |  |  |  |  |
|  | VOLTAGE SELECTOR | 337110 |  |  |  |  |
|  | HI SIDE TEMP SENSOR | 337160 |  |  |  |  |
|  | MAGNETIC VALVE | 342050 |  |  |  |  |
|  | MAGNETIC | 342060 |  |  |  |  |
|  | MEMBRANE GROMMET WATER | 342170 |  |  |  |  |
|  | WATER VALVE HMS 760 | 342190 |  |  |  |  |
|  | PRESSURE CONTROLLER | 342200 |  |  |  |  |
|  | PRESSURE SWITCH | 342220 |  |  |  |  |
|  | PNEUMATIC CYLINDER | 342240 |  |  |  |  |
|  | BOTTOM PLATE | 342270 |  |  |  |  |
|  | STRAIGHT SCREWED - | 342330 |  |  |  |  |
|  | PUR TUBE 5 OD X 3 ID BLK | 342370 |  |  |  |  |
|  | TUBE PA 4 OD X 2.7 ID | 342380 |  |  |  |  |
|  | VALVE SOLENOID | 342420 |  |  |  |  |
|  | 2/2 WAY VALVE | 342440 |  |  |  |  |
|  | SOLENOID VALVE | 342480 |  |  |  |  |
|  | COUPLING | 342500 |  |  |  |  |
|  | NON-RETURN VALVE ASSY | 342550 |  |  |  |  |
|  | HONEY COMP PLATE | 342560 |  |  |  |  |
|  | SOLENOID VALVE 2/2 | 342580 |  |  |  |  |
|  | US-NEBULIZER TECHSIN | 342590 |  |  |  |  |
|  | PE HOSE | 342770 |  |  |  |  |
|  | FLOURESCENT LAMP 5W | 346020 |  |  |  |  |
|  | SOCKET | 346040 |  |  |  |  |
|  | FLOURESCENT LAMP PL-L 18W | 346050 |  |  |  |  |
|  | HOLDER | 346130 |  |  |  |  |
|  | BULB | 346140 |  |  |  |  |
|  | FLOURESCENT LAMP L 8/12 | 346190 |  |  |  |  |
|  | UVC-BULB 36W | 346230 |  |  |  |  |
|  | LUBRICANT | 350040 |  |  |  |  |
|  | LUBRICANT | 350110 |  |  |  |  |
|  | LUBRICANT | 350140 |  |  |  |  |
|  | LUBRICANT | 350180 |  |  |  |  |
|  | LOCTITE NO. 638 | 350190 |  |  |  |  |
|  | LOCTITE NO. 243 | 350210 |  |  |  |  |
|  | LOCTITE NO. 406 | 350220 |  |  |  |  |
|  | TOUCH-UP APPLICATOR | 350230 |  |  |  |  |
|  | TOUCH-UP APPLICATOR | 350240 |  |  |  |  |
|  | TOUCH-UP APPLICATOR | 350250 |  |  |  |  |
|  | RUST PREVENTING OIL | 350280 |  |  |  |  |
|  | LOCTITE NR. 648 | 350290 |  |  |  |  |
|  | SIKAFLEX-11 FC | 350310 |  |  |  |  |
|  | HISTOKITT | 350330 |  |  |  |  |
|  | ELASTOSIL E41 SILICONE | 350390 |  |  |  |  |
|  | SEALING AGENT | 350410 |  |  |  |  |
|  | TOUCH-UP APPLICATOR | 350430 |  |  |  |  |
|  | LEVEL | 351000 |  |  |  |  |
|  | PACKAGING | 352980 |  |  |  |  |
|  | PACKAGING | 352990 |  |  |  |  |
|  | PACKAGING | 353000 |  |  |  |  |
|  | PACKAGING | 353010 |  |  |  |  |
|  | PACKAGING | 353020 |  |  |  |  |
|  | PACKAGING | 353030 |  |  |  |  |
|  | PACKAGING | 353040 |  |  |  |  |
|  | PACKING KNIFE HOLDER | 353050 |  |  |  |  |
|  | PACKAGING | 353060 |  |  |  |  |
|  | PACKAGING | 353070 |  |  |  |  |
|  | PACKAGING FOAM-FRONT | 353080 |  |  |  |  |
|  | PACKAGING | 353090 |  |  |  |  |
|  | PACKAGING | 353140 |  |  |  |  |
|  | PACKAGING HM 560 | 353150 |  |  |  |  |
|  | PACKAGING | 353160 |  |  |  |  |
|  | PACKAGING STP 420 | 353170 |  |  |  |  |
|  | PACKAGING | 353180 |  |  |  |  |
|  | PACKAGING | 353190 |  |  |  |  |
|  | PACKAGING | 353200 |  |  |  |  |
|  | PACKAGING STS 2/3 | 353210 |  |  |  |  |
|  | PACKAGING COMPLETE CTM6 | 353230 |  |  |  |  |
|  | CRYOSTAR NX70 PACKAGING | 353240 |  |  |  |  |
|  | PACKAGING EC 350-2 | 353360 |  |  |  |  |
|  | PACKAGING EC 350-1 | 353370 |  |  |  |  |
|  | PACKAGE STP420 | 354060 |  |  |  |  |
|  | FOAM INSERTS | 354090 |  |  |  |  |
|  | SAFTY DEVICE | 354100 |  |  |  |  |
|  | PACKING | 354120 |  |  |  |  |
|  | PACKING INSERT CTM 6 | 354130 |  |  |  |  |
|  | PACKING COOL CUT | 354150 |  |  |  |  |
|  | PE PACKING | 354240 |  |  |  |  |
|  | PE PACKING | 354250 |  |  |  |  |
|  | PALETTE HM 560 | 354260 |  |  |  |  |
|  | PALETTE WITH COVER | 354270 |  |  |  |  |
|  | CARDBOARD RING | 354280 |  |  |  |  |
|  | PACKAGING | 354310 |  |  |  |  |
|  | PACKING STS II | 354330 |  |  |  |  |
|  | FOAM INSERTS | 354360 |  |  |  |  |
|  | CARDBORD RING HM 550 | 354370 |  |  |  |  |
|  | DESICCANT | 354380 |  |  |  |  |
|  | COVER HM 550 | 354390 |  |  |  |  |
|  | PALLET HM 550 | 354400 |  |  |  |  |
|  | FOAM INSERTS | 354410 |  |  |  |  |
|  | FOAM INSERTS | 354420 |  |  |  |  |
|  | FOAM INSERTS | 354430 |  |  |  |  |
|  | PACKING MATERIAL | 354490 |  |  |  |  |
|  | FOAM PROTECTION | 354510 |  |  |  |  |
|  | PACKAGE STS | 354530 |  |  |  |  |
|  | PACKAGING | 354540 |  |  |  |  |
|  | PACKAGING | 354550 |  |  |  |  |
|  | TOP (PACKAGE) STS | 354560 |  |  |  |  |
|  | PACKING LID COOL CUT | 354570 |  |  |  |  |
|  | PACKAGING | 354580 |  |  |  |  |
|  | PACKAGING | 354590 |  |  |  |  |
|  | PACKAGING | 354600 |  |  |  |  |
|  | PACKAGING | 354610 |  |  |  |  |
|  | FOAM INSERTS | 354620 |  |  |  |  |
|  | PACKAGING | 354630 |  |  |  |  |
|  | PACKAGING | 354640 |  |  |  |  |
|  | PACKAGING | 354650 |  |  |  |  |
|  | PACKING INSIDE LEFT | 354660 |  |  |  |  |
|  | PACKAGING | 354670 |  |  |  |  |
|  | PACKAGING | 354680 |  |  |  |  |
|  | COVER | 354690 |  |  |  |  |
|  | PACKAGING | 354700 |  |  |  |  |
|  | PACKAGING | 354710 |  |  |  |  |
|  | COVER PACKING HM 560 | 354720 |  |  |  |  |
|  | LID FOR STAGE HM 560 | 354740 |  |  |  |  |
|  | PACKAGING | 354780 |  |  |  |  |
|  | PACKAGING | 354810 |  |  |  |  |
|  | PE PACKING | 354820 |  |  |  |  |
|  | PE PACKING | 354830 |  |  |  |  |
|  | PE PACKING | 354840 |  |  |  |  |
|  | PE PACKING | 354850 |  |  |  |  |
|  | PACKING | 354860 |  |  |  |  |
|  | PACKAGE | 354870 |  |  |  |  |
|  | BOX FOR CU 65/K34 | 354890 |  |  |  |  |
|  | FOAM INSERTS | 354900 |  |  |  |  |
|  | FOAM INSERTS | 354910 |  |  |  |  |
|  | PALLET FOR HMS 740 | 354960 |  |  |  |  |
|  | WOODEN CASE | 354970 |  |  |  |  |
|  | TOP FOR WOODEN BOX | 354980 |  |  |  |  |
|  | CARTON FOR HMS 740 | 354990 |  |  |  |  |
|  | FOAM PACKING HMS 740 | 355000 |  |  |  |  |
|  | FOAM INSERTS | 355010 |  |  |  |  |
|  | FOAM INSERTS | 355020 |  |  |  |  |
|  | FOAM INSERTS | 355030 |  |  |  |  |
|  | PROTECTION COVER | 355040 |  |  |  |  |
|  | PACKAGING | 355050 |  |  |  |  |
|  | PALLET STP 420 | 355060 |  |  |  |  |
|  | PACKAGING | 355070 |  |  |  |  |
|  | VIBRATION DAMPER | 355080 |  |  |  |  |
|  | PACKAGING | 355090 |  |  |  |  |
|  | STEPPER MOTOR BOARD | 3551003-CN |  |  |  |  |
|  | LID | 355110 |  |  |  |  |
|  | PACKING (WOOD) | 355120 |  |  |  |  |
|  | PACKAGING | 355190 |  |  |  |  |
|  | FOOT PEDAL KIT FOR HM355S | 3551900-CN |  |  |  |  |
|  | INSTAPACK QUICK BAG | 355200 |  |  |  |  |
|  | ADAPTOR FOR TORQUE | 358120 |  |  |  |  |
|  | TORQUE WRENCH | 358150 |  |  |  |  |
|  | PIN TYPE FACE SPANNER FOR | 358160 |  |  |  |  |
|  | TORQUE MEASUREMENT DEVICE | 358170 |  |  |  |  |
|  | SPRING SCALE ADAPTOR FOR | 358200 |  |  |  |  |
|  | TOOL | 358220 |  |  |  |  |
|  | CARDBOARD PACKAGING | 358250 |  |  |  |  |
|  | PUSH-IN-WRENCH SET | 358260 |  |  |  |  |
|  | TORQUE MEASUREMENT DEVICE | 362010 |  |  |  |  |
|  | FOUR-WAY WHEEL WRENCH | 362030 |  |  |  |  |
|  | TORQUE WRENCH | 362060 |  |  |  |  |
|  | DIAL GAUGE | 362070 |  |  |  |  |
|  | SPRING SCALE FOR | 362080 |  |  |  |  |
|  | KEY FOR MICROMETER NUT - | 362090 |  |  |  |  |
|  | CONSTRUCTION SPANNER FOR | 362100 |  |  |  |  |
|  | CONSTRUCTION SPANNER FOR | 362110 |  |  |  |  |
|  | ALLAN KEYS (1 SET) | 362130 |  |  |  |  |
|  | SCREW | 362140 |  |  |  |  |
|  | TORK WRENCHES (1 SET) | 362150 |  |  |  |  |
|  | TOOL | 362160 |  |  |  |  |
|  | HOOK KEY SIZE 30/32 | 362190 |  |  |  |  |
|  | ADJUSTING FACE SPANNER | 362200 |  |  |  |  |
|  | 2MM CROSS ROLLER BEARING | 362290 |  |  |  |  |
|  | TOOL | 362420 |  |  |  |  |
|  | ALLAN KEY | 362440 |  |  |  |  |
|  | SPINDEL KEY | 362460 |  |  |  |  |
|  | RELEASE KEY | 362470 |  |  |  |  |
|  | SCREW DRIVER 3x60 | 362480 |  |  |  |  |
|  | KEY | 362490 |  |  |  |  |
|  | TOOL | 362500 |  |  |  |  |
|  | KEY FOR HANDWHEEL HANDLE | 362510 |  |  |  |  |
|  | AIR VOLUME METER | 362540 |  |  |  |  |
|  | FOUR WAY SOCKET WRENCH | 362590 |  |  |  |  |
|  | KEY FOR THREADED RING | 362600 |  |  |  |  |
|  | TORQUE MEASUREMENT | 362620 |  |  |  |  |
|  | STANDARD EQUIPMENT | 362650 |  |  |  |  |
|  | 2.5MM CROSS ROLLER | 362670 |  |  |  |  |
|  | 2MM CROSS ROLLER BEARINGS | 362680 |  |  |  |  |
|  | STANDARD ACCESSORIES | 362710 |  |  |  |  |
|  | RATCHET DRIVER AXIAL & | 362750 |  |  |  |  |
|  | FUNNEL STP 420 D | 362770 |  |  |  |  |
|  | USP-SILICONE-KEYBOARD | 362780 |  |  |  |  |
|  | TUBE-CUTTER | 362790 |  |  |  |  |
|  | WING SCREW | 362800 |  |  |  |  |
|  | START RELAYS | 362810 |  |  |  |  |
|  | START RELAY | 362820 |  |  |  |  |
|  | QUICK REFERENCE CARD | 388093 |  |  |  |  |
|  | QUICK REFERENCE CARD | 388095 |  |  |  |  |
|  | QUICK REFERENCE CARD | 388141 |  |  |  |  |
|  | LH ELECTRONICS COVER | 401000 |  |  |  |  |
|  | STOP ANGLE | 401070 |  |  |  |  |
|  | EXPELLER CRANK ARM | 401250 |  |  |  |  |
|  | OPTO DISC ,PUMP | 401360 |  |  |  |  |
|  | COVER FOR LIQUID CONTAINR | 401390 |  |  |  |  |
|  | SLIPPING UNIT MOUNT | 401560 |  |  |  |  |
|  | SUPPORT BAR | 401570 |  |  |  |  |
|  | BELT TENSIONER ECCENTRIC | 401640 |  |  |  |  |
|  | COVERGLASS RETAINING ROD | 401700 |  |  |  |  |
|  | STEP DOWN WHEEL | 401760 |  |  |  |  |
|  | TIMING PULLEY | 401820 |  |  |  |  |
|  | GLASS TUBE | 401940 |  |  |  |  |
|  | HANDWHEEL COVER DISC | 402070 |  |  |  |  |
|  | FLAP | 402350 |  |  |  |  |
|  | BLIND | 402477 |  |  |  |  |
|  | LAMP COVER HM 560 | 402670 |  |  |  |  |
|  | COVER PLATE | 402870 |  |  |  |  |
|  | COVER PLATE | 402880 |  |  |  |  |
|  | COVERSLIP CRANK ARM STD | 402940 |  |  |  |  |
|  | DISPENSER STOPPER MOUNT | 403080 |  |  |  |  |
|  | BELT ROLLER | 403090 |  |  |  |  |
|  | TIMING PULLEY T2.5 20T | 403200 |  |  |  |  |
|  | COVER SLIP CRANK ARM LONG | 403230 |  |  |  |  |
|  | SHAFT WITH BEARING | 403250 |  |  |  |  |
|  | GUIDE STS II | 403280 |  |  |  |  |
|  | STOP BLOC | 403290 |  |  |  |  |
|  | SLIP GUIDE 40 | 403390 |  |  |  |  |
|  | CARRIAGE SLIP PLATE REAR | 403490 |  |  |  |  |
|  | MAGNET | 403570 |  |  |  |  |
|  | SCREW | 403600 |  |  |  |  |
|  | DISTANCE RING | 403610 |  |  |  |  |
|  | LEAF-SPRING | 403630 |  |  |  |  |
|  | FASTENING PUMP | 403700 |  |  |  |  |
|  | FIBER OPTIC | 403710 |  |  |  |  |
|  | ADJUSTING WHEEL | 403720 |  |  |  |  |
|  | FILTER BOX | 403740 |  |  |  |  |
|  | DRAIN SLEEVE | 403750 |  |  |  |  |
|  | FILTER | 403760 |  |  |  |  |
|  | TROUGH | 403770 |  |  |  |  |
|  | OUTLET SHEET | 403800 |  |  |  |  |
|  | FOOT | 403810 |  |  |  |  |
|  | FOOT | 403820 |  |  |  |  |
|  | ILLUMINATION | 403830 |  |  |  |  |
|  | SPRING CONTACT | 403840 |  |  |  |  |
|  | CONTACTPLATE | 403890 |  |  |  |  |
|  | FRONT SIEVE | 403960 |  |  |  |  |
|  | SLIP GUIDE 50 | 403970 |  |  |  |  |
|  | SLIP GUIDE 55 | 403980 |  |  |  |  |
|  | SLIP GUIDE 60 | 403990 |  |  |  |  |
|  | SHAFT - RETRACT MECHANISM | 404140 |  |  |  |  |
|  | SHAFT - FOIL | 404150 |  |  |  |  |
|  | LEVER | 404190 |  |  |  |  |
|  | SHAFT D 8x154 | 404290 |  |  |  |  |
|  | COVER DISK | 404410 |  |  |  |  |
|  | DISTANCE PIECE | 404520 |  |  |  |  |
|  | LOWER COVER OBJECTHEAD | 404540 |  |  |  |  |
|  | UPPER COVER OBJECTHEAD | 404550 |  |  |  |  |
|  | HOSE FOR NEBULIZER | 404610 |  |  |  |  |
|  | ECCENTER - HM325 | 405080 |  |  |  |  |
|  | BELTWHEEL | 405590 |  |  |  |  |
|  | KNOB | 405630 |  |  |  |  |
|  | ROLLER AXLE | 405700 |  |  |  |  |
|  | CRANK SHAFT | 405710 |  |  |  |  |
|  | CRANK SHAFT | 405720 |  |  |  |  |
|  | INSERT WITH HANDLE - | 405800 |  |  |  |  |
|  | STOP PIN | 406010 |  |  |  |  |
|  | STOP 32x14x10 mm | 406040 |  |  |  |  |
|  | STOP | 406050 |  |  |  |  |
|  | STOP PIN | 406070 |  |  |  |  |
|  | STOP (TRIMMING VALUE) | 406230 |  |  |  |  |
|  | TOOLTRAY | 406320 |  |  |  |  |
|  | TOOL TRAY | 406330 |  |  |  |  |
|  | SECTION WASTE TRAY | 406350 |  |  |  |  |
|  | SECTION WASTE TRAY | 406390 |  |  |  |  |
|  | SECTION WASTE TRAY | 406400 |  |  |  |  |
|  | GUIDE RAIL LEFT | 407080 |  |  |  |  |
|  | GUIDE RAIL RIGHT | 407090 |  |  |  |  |
|  | MOVABLE JAW | 408010 |  |  |  |  |
|  | FIX JAC | 408030 |  |  |  |  |
|  | FLANGE | 408360 |  |  |  |  |
|  | LEVERAGE SUPPORT - HM325 | 408610 |  |  |  |  |
|  | LOWER PART | 408750 |  |  |  |  |
|  | DISTANCE SLEEVE | 409020 |  |  |  |  |
|  | INSERT | 409030 |  |  |  |  |
|  | FLANGE | 409150 |  |  |  |  |
|  | DRIVE COMPLETE | 409300 |  |  |  |  |
|  | COOLING HEAD | 409500 |  |  |  |  |
|  | ORIENTATION COMPLETE | 409520 |  |  |  |  |
|  | SPECIMEN COOLING HEAD | 409530 |  |  |  |  |
|  | ORIENTATION COMPLETE | 409540 |  |  |  |  |
|  | BRACKET REAR | 409790 |  |  |  |  |
|  | KNIFE GUARD | 410010 |  |  |  |  |
|  | PROTECTIVE SHEET | 410040 |  |  |  |  |
|  | RAIL | 410150 |  |  |  |  |
|  | VACUTOME SHEET | 410460 |  |  |  |  |
|  | BRUSH SHELF | 410540 |  |  |  |  |
|  | SENSOR FLAG | 410600 |  |  |  |  |
|  | SENSOR FLAG | 410610 |  |  |  |  |
|  | LIGHT BARRIER FLAG | 410800 |  |  |  |  |
|  | STS II HOUSING | 410900 |  |  |  |  |
|  | WASTE TRAY | 410910 |  |  |  |  |
|  | SIEVE | 411000 |  |  |  |  |
|  | SIEVE | 411030 |  |  |  |  |
|  | SIGNATURE SERIES MOUNTING | 4111 |  |  |  |  |
|  | BOTTOM PLATE | 411120 |  |  |  |  |
|  | STRUT | 411130 |  |  |  |  |
|  | SIGNATURE SERIES MOUNTING | 4112 |  |  |  |  |
|  | COVER PLATE | 411370 |  |  |  |  |
|  | THRUST PIECE | 412030 |  |  |  |  |
|  | CLAMPING BOLT | 412060 |  |  |  |  |
|  | INSERT | 412200 |  |  |  |  |
|  | SPONGE HOLDER | 412240 |  |  |  |  |
|  | BASKET INSERT 33 POSITION | 412250 |  |  |  |  |
|  | COVER FOR MAGNET CP | 412270 |  |  |  |  |
|  | BEARING PEG | 412280 |  |  |  |  |
|  | SPONGE REST CP MODUL | 412290 |  |  |  |  |
|  | BASKET CARRIER | 412310 |  |  |  |  |
|  | THRUST BOLT - HM325 | 412380 |  |  |  |  |
|  | PULLING BOLT | 412470 |  |  |  |  |
|  | TENSIONBOLT COMP | 412570 |  |  |  |  |
|  | ECCENTRIC BOLT | 412650 |  |  |  |  |
|  | CLAMPING BOLT | 412690 |  |  |  |  |
|  | TOOTHED WHEEL | 413560 |  |  |  |  |
|  | COVER PLATE | 413890 |  |  |  |  |
|  | DISTANCE FRAME | 413900 |  |  |  |  |
|  | THREADED BUSH | 414050 |  |  |  |  |
|  | SHAFT | 414100 |  |  |  |  |
|  | DRAIN NOZZLE | 414150 |  |  |  |  |
|  | SLEEVE | 414160 |  |  |  |  |
|  | ECCENTRIC BUSH | 414200 |  |  |  |  |
|  | THREADED BUSH | 414460 |  |  |  |  |
|  | GUIDING BUSH | 414500 |  |  |  |  |
|  | DISTANCEBUSH SHORT | 414680 |  |  |  |  |
|  | DISTANCE BUSH | 414740 |  |  |  |  |
|  | SENSOR CASING | 414750 |  |  |  |  |
|  | THREDED HULL | 415010 |  |  |  |  |
|  | BUSH | 415350 |  |  |  |  |
|  | DISTANCE BUSHING | 415490 |  |  |  |  |
|  | SLOT COVER | 415540 |  |  |  |  |
|  | WASTE TRAY SMALL | 415600 |  |  |  |  |
|  | WASTE TRAY WIDE | 415610 |  |  |  |  |
|  | WASTE TRAY | 415620 |  |  |  |  |
|  | BRUSH SHELF | 415640 |  |  |  |  |
|  | HONEYCOMB PANEL | 415790 |  |  |  |  |
|  | SIDE LEDGE RIGHT | 415830 |  |  |  |  |
|  | SIDE LEDGE LEFT | 415840 |  |  |  |  |
|  | FRONT LEDGE | 415850 |  |  |  |  |
|  | LEFT SIDE PANEL | 415870 |  |  |  |  |
|  | SIDE PANEL RIGHT | 415880 |  |  |  |  |
|  | REAR PANEL | 415930 |  |  |  |  |
|  | DOOR 200-240V | 415940 |  |  |  |  |
|  | FINGER PROTECTION EV | 416080 |  |  |  |  |
|  | ANGLE PLATE | 416320 |  |  |  |  |
|  | SGS COVER 20UM ANODIZED | 416460 |  |  |  |  |
|  | PELTIER COVER HM 525 | 416470 |  |  |  |  |
|  | EXCENTRIC BOLT | 416860 |  |  |  |  |
|  | HANDLE | 416870 |  |  |  |  |
|  | DEFLECTION PULLEY | 416930 |  |  |  |  |
|  | EXCENTRIC SHAFT BRAKE | 416960 |  |  |  |  |
|  | BRAKE RUBBER | 416980 |  |  |  |  |
|  | HANDLE | 416990 |  |  |  |  |
|  | GRIP SUPPORT | 417000 |  |  |  |  |
|  | HOLM | 417010 |  |  |  |  |
|  | ROD LARGE | 417080 |  |  |  |  |
|  | LEVER | 417090 |  |  |  |  |
|  | BEVEL GEAR SHAFT | 417140 |  |  |  |  |
|  | CAM NOTCH SHAFT | 417150 |  |  |  |  |
|  | EXCENTRIC SWITCH SHAFT | 417160 |  |  |  |  |
|  | SHIFT FORK | 417190 |  |  |  |  |
|  | CURVED ROLLER | 417230 |  |  |  |  |
|  | DRAW BAR | 417250 |  |  |  |  |
|  | ADVANCE WEDGE | 417270 |  |  |  |  |
|  | CLAMPING LEVER | 417280 |  |  |  |  |
|  | COVER RIBBON | 417290 |  |  |  |  |
|  | CLAMPING RAIL INNER | 417300 |  |  |  |  |
|  | CLAMPING RAIL OUTER | 417310 |  |  |  |  |
|  | CLAMPING RAIL OUTER | 417320 |  |  |  |  |
|  | COVER RIBBON | 417330 |  |  |  |  |
|  | HEAD BEARING LEFT | 417370 |  |  |  |  |
|  | SIDECOVER REAR | 417390 |  |  |  |  |
|  | REAR SHIELD | 417420 |  |  |  |  |
|  | SPINDEL BEARING PLATE | 417440 |  |  |  |  |
|  | SPINDEL BEARING FLANGE | 417450 |  |  |  |  |
|  | SCREW M3X12 | 417460 |  |  |  |  |
|  | MOTOR CARRIER PLATE | 417470 |  |  |  |  |
|  | WASTE TRAY REAR PART | 417600 |  |  |  |  |
|  | COVER SHEET TOP | 417630 |  |  |  |  |
|  | COVER PLATE BOTTOM | 417640 |  |  |  |  |
|  | COVER STRIP SLEDGE | 417650 |  |  |  |  |
|  | COVER STRIP | 417660 |  |  |  |  |
|  | COVER STRIP | 417670 |  |  |  |  |
|  | BOTTOM PLATE | 417680 |  |  |  |  |
|  | CLAMPING PLATE SLEDGE | 417690 |  |  |  |  |
|  | FRONT COVER MECH | 417720 |  |  |  |  |
|  | SEALING FOR HOOD HM 450 | 417740 |  |  |  |  |
|  | BRACKET | 417770 |  |  |  |  |
|  | STABI-PLATE | 417860 |  |  |  |  |
|  | CLAMPING LEVER BASE | 417900 |  |  |  |  |
|  | ADD ON WEIGHT | 417920 |  |  |  |  |
|  | SECTION WASTE TRAY | 417960 |  |  |  |  |
|  | FACEPLATE | 417970 |  |  |  |  |
|  | COVER | 417980 |  |  |  |  |
|  | PRESSURE SPRING | 418010 |  |  |  |  |
|  | LEAF SPRING | 418040 |  |  |  |  |
|  | LEAF SPRING | 418060 |  |  |  |  |
|  | FRONT FACE PLATE RIGHT | 418120 |  |  |  |  |
|  | BRAKE SPRING | 418130 |  |  |  |  |
|  | LEAF SPRING | 418140 |  |  |  |  |
|  | LID STAND LEFT | 418170 |  |  |  |  |
|  | LID STAND RIGHT | 418180 |  |  |  |  |
|  | REAR COVER | 418190 |  |  |  |  |
|  | SPRING | 418300 |  |  |  |  |
|  | LEAF SPRING | 418320 |  |  |  |  |
|  | SLIDER | 418350 |  |  |  |  |
|  | CLAMPING FOR TUBING | 418510 |  |  |  |  |
|  | STORAGE PLACE RIGHT | 418540 |  |  |  |  |
|  | STORAGE PLACE LEFT | 418550 |  |  |  |  |
|  | FAST FREEZING | 418650 |  |  |  |  |
|  | BELTTENSSION SET | 418680 |  |  |  |  |
|  | ADJUSTING SCREW | 418930 |  |  |  |  |
|  | HOLDER FOR MAGNET | 419020 |  |  |  |  |
|  | VIBRATING DEVICE | 419040 |  |  |  |  |
|  | CONNECTION PLATE | 419060 |  |  |  |  |
|  | BLADE CARRIER | 419150 |  |  |  |  |
|  | ANGLE GAUGE | 419160 |  |  |  |  |
|  | BASEPLATE | 419200 |  |  |  |  |
|  | COOLING FINN | 419210 |  |  |  |  |
|  | ORIFICE DISC HM 650 | 419220 |  |  |  |  |
|  | UPPER SIDERAIL | 419320 |  |  |  |  |
|  | CONTACT SPRING | 419340 |  |  |  |  |
|  | FINGERGUARD LEFT | 419460 |  |  |  |  |
|  | FINGERGUARD RIGHT | 419470 |  |  |  |  |
|  | BLADE HANDLING TOOL | 419500 |  |  |  |  |
|  | GUIDING BUSH | 420010 |  |  |  |  |
|  | GUIDE ROD | 420030 |  |  |  |  |
|  | STAINLESS STEEL SLIDE | 420107 |  |  |  |  |
|  | GUIDE | 420110 |  |  |  |  |
|  | GUIDING CLAMP | 420120 |  |  |  |  |
|  | GUIDE CLIP | 420130 |  |  |  |  |
|  | WHIPER TOOL | 420200 |  |  |  |  |
|  | WINDOW GUIDANCE | 420500 |  |  |  |  |
|  | DOVETAIL GUIDE | 420520 |  |  |  |  |
|  | HORIZONTAL SLEDGE | 420570 |  |  |  |  |
|  | SLIDE BLOCK A | 420630 |  |  |  |  |
|  | INSULATION LEFT | 420690L-CN |  |  |  |  |
|  | INSULATION - RIGHT | 420690R-CN |  |  |  |  |
|  | LINK BLOCK | 421050 |  |  |  |  |
|  | SLIDE BLOCK C | 421060 |  |  |  |  |
|  | ALIGNMENT-TOOL | 421100 |  |  |  |  |
|  | KEY | 421110 |  |  |  |  |
|  | KEY FOR ROTARY VALVE | 421120 |  |  |  |  |
|  | KEY FOR HOSE FITTINGS | 421130 |  |  |  |  |
|  | SEALING PLUG | 421140 |  |  |  |  |
|  | COOLING RESERVOIR | 421160 |  |  |  |  |
|  | SLEDGE SUPPORT KS34 | 421180 |  |  |  |  |
|  | TUBE ADAPTER KS 34 | 421240 |  |  |  |  |
|  | TYFOXIT COOLING | 421270 |  |  |  |  |
|  | ISOLATION | 421330 |  |  |  |  |
|  | FITTING CAP TUBE | 421360 |  |  |  |  |
|  | FITTING | 421370 |  |  |  |  |
|  | GRIP | 421380 |  |  |  |  |
|  | KNOB | 421390 |  |  |  |  |
|  | KNOB | 421400 |  |  |  |  |
|  | POWER SUPPLY SUPPORT | 422260 |  |  |  |  |
|  | SHAFT | 422320 |  |  |  |  |
|  | TORQUING LEVER ARM | 422390 |  |  |  |  |
|  | HANDLE COARSE FEED | 422400 |  |  |  |  |
|  | JOYSTICKHANDLE | 422510 |  |  |  |  |
|  | STOPPER | 422520 |  |  |  |  |
|  | PRESSURE DISK | 422550 |  |  |  |  |
|  | POTENTIOMETER SHAFT | 422560 |  |  |  |  |
|  | SHAFT | 422570 |  |  |  |  |
|  | SUPPORTING ANGLE | 422580 |  |  |  |  |
|  | COVER LEFT SIDE | 422590 |  |  |  |  |
|  | OVER RIGHT SIDE | 422600 |  |  |  |  |
|  | ANGLED HOLDER | 422630 |  |  |  |  |
|  | PIN | 422750 |  |  |  |  |
|  | COVER FOR ARM | 423330 |  |  |  |  |
|  | SPRING | 423380 |  |  |  |  |
|  | LEVER | 423590 |  |  |  |  |
|  | BOLT | 423600 |  |  |  |  |
|  | KNOB 20x20 mm | 424080 |  |  |  |  |
|  | HANDLE | 424100 |  |  |  |  |
|  | TURNING KNOB | 424170 |  |  |  |  |
|  | CENTER GRIP | 424210 |  |  |  |  |
|  | COM-KNOBS 31 | 424220 |  |  |  |  |
|  | LID 31 (SKY) | 424230 |  |  |  |  |
|  | ORIENTING HANDLE | 424240 |  |  |  |  |
|  | KNOB BIG | 424300 |  |  |  |  |
|  | SMALL KNOB | 424310 |  |  |  |  |
|  | CARRY-HANDLE | 424320 |  |  |  |  |
|  | GRIP | 424400 |  |  |  |  |
|  | HANDLE FOR FILTER BAG | 424490 |  |  |  |  |
|  | HANDWHEEL HANDLE | 424680 |  |  |  |  |
|  | KNOB | 424690 |  |  |  |  |
|  | KNOB | 424730 |  |  |  |  |
|  | KNOB | 424740 |  |  |  |  |
|  | GRIP | 424860 |  |  |  |  |
|  | HANDLE | 424980 |  |  |  |  |
|  | PRESSURE DISK WIDE | 425050 |  |  |  |  |
|  | GRINDING BLOCK | 425180 |  |  |  |  |
|  | LOCKING | 425190 |  |  |  |  |
|  | BEARING BOLT | 425540 |  |  |  |  |
|  | GRIPPER HOUSING | 425550 |  |  |  |  |
|  | GRIPPERPIN | 425560 |  |  |  |  |
|  | POSITION PIN | 425570 |  |  |  |  |
|  | STABI-HOUSING | 425600 |  |  |  |  |
|  | STABI-KNOB | 425610 |  |  |  |  |
|  | DRIPPING SPIKE | 425620 |  |  |  |  |
|  | DRAIN NOZZLE | 425630 |  |  |  |  |
|  | BEARING BOLT CP | 425680 |  |  |  |  |
|  | HOOD | 425730 |  |  |  |  |
|  | REAGENT BEAKER LID | 425780 |  |  |  |  |
|  | GRID FRAME | 425790 |  |  |  |  |
|  | CP LID | 426030 |  |  |  |  |
|  | CP TRAY | 426040 |  |  |  |  |
|  | STOP | 426100 |  |  |  |  |
|  | SHIFTING SHAFT | 426110 |  |  |  |  |
|  | BEARING BLOCK | 426120 |  |  |  |  |
|  | BASEPLATE | 426460 |  |  |  |  |
|  | BASEPLATE | 426470 |  |  |  |  |
|  | COVER PLATE | 426510 |  |  |  |  |
|  | HOLLOW SCREW BIOPSY | 427080 |  |  |  |  |
|  | SLEEVE | 427160 |  |  |  |  |
|  | BIOPSY CHAMBER | 427270 |  |  |  |  |
|  | PUSH HULL | 427470 |  |  |  |  |
|  | HOLLOW BOLT ROTARY | 427480 |  |  |  |  |
|  | EDGE-RITE DISPOSABLE | 4275H |  |  |  |  |
|  | SEALING RAIL LONG | 427650 |  |  |  |  |
|  | SEALING RAIL SHORT | 427660 |  |  |  |  |
|  | HOOK D = 4x90 | 428020 |  |  |  |  |
|  | SPRING HOOK | 428060 |  |  |  |  |
|  | MICROSHARP DIAMOND - | 42810004 |  |  |  |  |
|  | MICROSHARP DIAMOND - | 42810005 |  |  |  |  |
|  | MICROSHARP DIAMOND - | 42810006 |  |  |  |  |
|  | MICROSHARP DIAMOND | 42810008 |  |  |  |  |
|  | INSERT | 428410 |  |  |  |  |
|  | SPINDLE | 428690 |  |  |  |  |
|  | HOLLOW SCREW | 428750 |  |  |  |  |
|  | BIOPSY LID | 428790 |  |  |  |  |
|  | DRAIN SCREEN - ROTARY | 428840 |  |  |  |  |
|  | REDUCER PRESSURE SENSOR | 428870 |  |  |  |  |
|  | HEATED TUBE ASSY BIOPSY | 428890 |  |  |  |  |
|  | HEATED TUBE ASSY ROTATION | 428900 |  |  |  |  |
|  | MESH FILTER LARGE | 428920 |  |  |  |  |
|  | LEVEL [GLASS] SENSOR | 428930 |  |  |  |  |
|  | LEVEL SENSOR | 429070 |  |  |  |  |
|  | CLAMPING SEGMENT | 430060 |  |  |  |  |
|  | CABLE HOLDER | 430460 |  |  |  |  |
|  | STAND F FAN | 430660 |  |  |  |  |
|  | BUTTON SOCKET | 430870 |  |  |  |  |
|  | HOLDING ANGLE | 431010 |  |  |  |  |
|  | WINDOW FOR EV HOLDER | 431030 |  |  |  |  |
|  | LEVER D = 8x5x94 | 432030 |  |  |  |  |
|  | SETTING ARM | 432080 |  |  |  |  |
|  | LEVERAGE HEAD | 432170 |  |  |  |  |
|  | CONTACT ELEMENT | 432227 |  |  |  |  |
|  | TRIGGER HOOK - HM325 | 432280 |  |  |  |  |
|  | CHASSIS PLAIN FOR | 432300 |  |  |  |  |
|  | ADJUSTING SCREW | 432360 |  |  |  |  |
|  | LEVER | 432510 |  |  |  |  |
|  | LEVER | 432630 |  |  |  |  |
|  | COVER PLATE | 432770 |  |  |  |  |
|  | REAR PANEL COVER | 433080 |  |  |  |  |
|  | BIOPSY COVER | 433230 |  |  |  |  |
|  | HOLDER FOR MAGNET | 433260 |  |  |  |  |
|  | LOCKING DEVICE | 433280 |  |  |  |  |
|  | SPRING | 433360 |  |  |  |  |
|  | SPRING | 433370 |  |  |  |  |
|  | UPPER CLIP FRONT APRON | 433400 |  |  |  |  |
|  | FRONTCOVER | 433460 |  |  |  |  |
|  | POWER SUPPLY SUPPORT | 433580 |  |  |  |  |
|  | GLIDE STONE | 434010 |  |  |  |  |
|  | GUIDING WEDGE | 434030 |  |  |  |  |
|  | GUIDE WEDGE | 434040 |  |  |  |  |
|  | BRAKE SUPPORT STRIP | 434050 |  |  |  |  |
|  | MAINS FILTER | 434060 |  |  |  |  |
|  | DRIP PLATE LOWER BOTTLES | 434250 |  |  |  |  |
|  | BASKET INSERTS STP 420 D | 434910 |  |  |  |  |
|  | SIDECOVER LEFT | 434920 |  |  |  |  |
|  | SUPPORT TRAY | 434930 |  |  |  |  |
|  | BLUE REAGENT FILTER | 435020 |  |  |  |  |
|  | LOWER COVER CRYO | 435090 |  |  |  |  |
|  | TOP PANEL WITH TOUCH | 435100 |  |  |  |  |
|  | KNOB DC-MOTOR | 435140 |  |  |  |  |
|  | MIDDLE PANEL CRYO | 435150 |  |  |  |  |
|  | COVER STAND RIGHT WITH | 435200 |  |  |  |  |
|  | COVER STAND LEFT WITH | 435210 |  |  |  |  |
|  | CONTAINER DISINFECTION | 435360 |  |  |  |  |
|  | REFRIGARATION MODULE | 435370 |  |  |  |  |
|  | REFRIGERATION MODULE | 435380 |  |  |  |  |
|  | VACUTOME CPL 115V | 435390 |  |  |  |  |
|  | VACUTOME ASSEMBLY | 435400 |  |  |  |  |
|  | BRINE MODULE | 435420 |  |  |  |  |
|  | C-ECU MAIN PCB - BOXED | 435430 |  |  |  |  |
|  | DRAIN TUBE COMPLETE | 435510 |  |  |  |  |
|  | REPAIR KIT NX70/50 | 435540 |  |  |  |  |
|  | MAINTENANCE KIT NX70/50 | 435550 |  |  |  |  |
|  | HOSE EXTENSION | 435560 |  |  |  |  |
|  | MONITOR PC & POWER BOARD | 435650 |  |  |  |  |
|  | SET OF 2 FANS WIRED | 435670 |  |  |  |  |
|  | EMERGENCY RELEASE VALVE | 435680 |  |  |  |  |
|  | LIQUID COLLECTOR ASSEMBLY | 435690 |  |  |  |  |
|  | SCREW SET STP420 INCL. | 435700 |  |  |  |  |
|  | FAN ASSEMBLY | 435710 |  |  |  |  |
|  | PREVENTATIVE MAINTENANCE | 435720 |  |  |  |  |
|  | PREVENTATIVE MAINTENANCE | 435730 |  |  |  |  |
|  | PREVENTATIVE MAINTENANCE | 435740 |  |  |  |  |
|  | PUSH IN CONNECTOR KIT | 435750 |  |  |  |  |
|  | PRESSURE SENSOR PCB ASSY | 435760 |  |  |  |  |
|  | ROTARY VALVE MOTOR ASSY | 435770 |  |  |  |  |
|  | MONITOR ARM ASSEMBLY | 435780 |  |  |  |  |
|  | O-RING SET STP420 | 435800 |  |  |  |  |
|  | PRESSURE CONTROL VALVE | 435810 |  |  |  |  |
|  | MOTOR ASSEMBLY ROTATION | 435820 |  |  |  |  |
|  | AIR INLET SET ROTATION | 435830 |  |  |  |  |
|  | MAGNETIC CONE SERVICE KIT | 435840 |  |  |  |  |
|  | CERAMIC VALVE SET | 435850 |  |  |  |  |
|  | FRONT APRON COMPLETE | 435860 |  |  |  |  |
|  | HEAT DISTRIBUTION TOWER | 435870 |  |  |  |  |
|  | CARTRIDGE HEATER 50W SET | 435880 |  |  |  |  |
|  | O-RING SET ROTARY VALVE | 435890 |  |  |  |  |
|  | FLEXIBLE SHAFT ASSEMBLY | 435900 |  |  |  |  |
|  | GAS SPRING SERVICE KIT | 435910 |  |  |  |  |
|  | INNER CONE AND SHAFT KIT | 435920 |  |  |  |  |
|  | MANIFOLD ASSY CHARCOAL | 435930 |  |  |  |  |
|  | FILTER SET FILTER BOTTLE | 435940 |  |  |  |  |
|  | REAGENT STATION CONNECTOR | 435950 |  |  |  |  |
|  | ROLLER SET | 435960 |  |  |  |  |
|  | COUPLING | 436000 |  |  |  |  |
|  | FRICTION DISK | 436020 |  |  |  |  |
|  | FLEXIBLE COUPLING | 436080 |  |  |  |  |
|  | COUPLING | 436090 |  |  |  |  |
|  | CONTAINER | 436140 |  |  |  |  |
|  | TOUCH SCREEN | 436210 |  |  |  |  |
|  | BEARING DISK | 438150 |  |  |  |  |
|  | BEARING BLOCK | 438320 |  |  |  |  |
|  | AIR & LIQUID HOSES | 438330 |  |  |  |  |
|  | PLATE | 440070 |  |  |  |  |
|  | DISTANCE STRIP | 440310 |  |  |  |  |
|  | 10mm HEIGHT ADJUSTMENT | 440400 |  |  |  |  |
|  | 20mm HEIGHT ADJUSTMENT | 440410 |  |  |  |  |
|  | COVER STRIP LEFT | 440430 |  |  |  |  |
|  | COVER STRIP RIGHT | 440440 |  |  |  |  |
|  | DISTANCE STRIP D | 440640 |  |  |  |  |
|  | DISTANCE STRIP | 440690 |  |  |  |  |
|  | DISTANCE STRIP | 440700 |  |  |  |  |
|  | TONGUE | 440850 |  |  |  |  |
|  | PRESSURE BAR 1 SET | 441024 |  |  |  |  |
|  | CLAMPING BAR | 441025 |  |  |  |  |
|  | SUPPORT BEARING | 441060 |  |  |  |  |
|  | EXTENSION 40mm | 441070 |  |  |  |  |
|  | EXTENSION 70mm | 441080 |  |  |  |  |
|  | GRIPPER | 441090 |  |  |  |  |
|  | LIGHT STRIP | 441130 |  |  |  |  |
|  | BLADE SLIDER 80mm BLADE | 442010 |  |  |  |  |
|  | ROLLER | 444030 |  |  |  |  |
|  | CYLINDER PIN | 444080 |  |  |  |  |
|  | CLAMPING ROLL | 444090 |  |  |  |  |
|  | HANDWHEEL | 444100 |  |  |  |  |
|  | HANDWHEEL | 444130 |  |  |  |  |
|  | HANDWHEEL COATED | 444140 |  |  |  |  |
|  | DEFLECTION PULLEY - HM325 | 444190 |  |  |  |  |
|  | COARSE FEED WHEEL | 444310 |  |  |  |  |
|  | SETTING KNOB | 444320 |  |  |  |  |
|  | HANDWHEEL | 444410 |  |  |  |  |
|  | HANDWHEEL | 444520 |  |  |  |  |
|  | CRANK | 444550 |  |  |  |  |
|  | DEFLECTION PULLEY | 444740 |  |  |  |  |
|  | CARRIER PLATE | 444750 |  |  |  |  |
|  | COMPENSATING PLATE | 444780 |  |  |  |  |
|  | LEAD FILLING WEIGHT | 444800 |  |  |  |  |
|  | SLEEVE | 444810 |  |  |  |  |
|  | SCALE RING | 446040 |  |  |  |  |
|  | DISTANCE RING | 446170 |  |  |  |  |
|  | THREADED RING | 446190 |  |  |  |  |
|  | CLAMPING RING | 446280 |  |  |  |  |
|  | THREADED RING | 446460 |  |  |  |  |
|  | RING | 446600 |  |  |  |  |
|  | EQUALIZING DISK | 448010 |  |  |  |  |
|  | COVER DISK | 448020 |  |  |  |  |
|  | 5mm HEIGHT ADJUSTMENT | 448070 |  |  |  |  |
|  | CAM DISK | 448080 |  |  |  |  |
|  | DISTANCE PLATE | 448090 |  |  |  |  |
|  | PLATE E | 448290 |  |  |  |  |
|  | REAR CLAMPING PLATE | 448960 |  |  |  |  |
|  | HANDWHEEL COVER DISC | 448970 |  |  |  |  |
|  | DOVETAIL GUIDE | 449090 |  |  |  |  |
|  | BEARING DISK | 449110 |  |  |  |  |
|  | DISTANCE DISK | 449220 |  |  |  |  |
|  | BEARING DISK | 449290 |  |  |  |  |
|  | SUPPORT PIECE FOR | 449400 |  |  |  |  |
|  | FLAP | 449530 |  |  |  |  |
|  | CLAMPING PLATE | 449540 |  |  |  |  |
|  | SEALING STRIP | 449610 |  |  |  |  |
|  | INSULATING PLATE | 449730 |  |  |  |  |
|  | STOPPER | 449790 |  |  |  |  |
|  | PELTIERPLATE | 449820 |  |  |  |  |
|  | HEAT SINK | 449870 |  |  |  |  |
|  | COVER PLATE REAR | 449890 |  |  |  |  |
|  | GLASS ANTI-ROLL PLATE | 449980 |  |  |  |  |
|  | GLASS ANTI-ROLL PLATE | 449990 |  |  |  |  |
|  | CONTROL PANEL ASSEMBLY | 4500300 |  |  |  |  |
|  | CPU BOARD ASSEMBLY | 4500700 |  |  |  |  |
|  | ENCODER ASSEMBLY | 4500701 |  |  |  |  |
|  | LABEL | 450136 |  |  |  |  |
|  | LABEL | 450137 |  |  |  |  |
|  | LABEL | 450139 |  |  |  |  |
|  | DISTANCE STRIP | 450270 |  |  |  |  |
|  | ADJUSTING NUT | 452030 |  |  |  |  |
|  | ADJUSTING SCREW | 452040 |  |  |  |  |
|  | CYLINDER SCREW | 452380 |  |  |  |  |
|  | POSITIONING SCREW | 452680 |  |  |  |  |
|  | SHAFT SCREW | 452720 |  |  |  |  |
|  | TWIN HOLE NUT | 452820 |  |  |  |  |
|  | NUT | 452940 |  |  |  |  |
|  | CLAPPER - HM325 | 454040 |  |  |  |  |
|  | TRIMMING INSERT | 454050 |  |  |  |  |
|  | FLAP RIGHT | 454130 |  |  |  |  |
|  | FLAP LEFT | 454140 |  |  |  |  |
|  | THREADED PIN M6x6 | 456030 |  |  |  |  |
|  | THREADED PIN | 456120 |  |  |  |  |
|  | STOP PIN | 456360 |  |  |  |  |
|  | PESTLE | 458020 |  |  |  |  |
|  | BOLT | 458040 |  |  |  |  |
|  | THRUST ROD | 458050 |  |  |  |  |
|  | TOP COVER CTM6 | 462290 |  |  |  |  |
|  | FINGER GUARD | 462430 |  |  |  |  |
|  | COVER HM525 UV | 462680 |  |  |  |  |
|  | HOOD | 462710 |  |  |  |  |
|  | HOUSING | 462797 |  |  |  |  |
|  | TOP COVER HM 550 | 462800 |  |  |  |  |
|  | COVER | 462810 |  |  |  |  |
|  | COVER SMALL | 462910 |  |  |  |  |
|  | REARPANEL HM 650V | 462950 |  |  |  |  |
|  | HOUSING F HM 360 | 463070 |  |  |  |  |
|  | HOOD | 463140 |  |  |  |  |
|  | HOUSING F HM 355 | 463170 |  |  |  |  |
|  | HEAT CONDUCTING FOIL | 463290 |  |  |  |  |
|  | HOUSING HM200 | 463377 |  |  |  |  |
|  | HOUSING CTM6 | 463450 |  |  |  |  |
|  | SECTION WASTE TRAY | 463500 |  |  |  |  |
|  | SHIELD BAR | 463510 |  |  |  |  |
|  | REAR HOOD MECH | 463520 |  |  |  |  |
|  | HOUSING ELECTRICAL | 463540 |  |  |  |  |
|  | HEAT SINK | 463550 |  |  |  |  |
|  | ANGLE | 464360 |  |  |  |  |
|  | CONE WHEEL Z 60 | 466020 |  |  |  |  |
|  | BEVEL WHEEL Z80 | 466060 |  |  |  |  |
|  | GEAR WHEEL | 466070 |  |  |  |  |
|  | TOOTHED WHEEL | 466130 |  |  |  |  |
|  | BELT | 466250 |  |  |  |  |
|  | GEAR RIM Z=72 | 466260 |  |  |  |  |
|  | TOOTHED WHEEL | 466270 |  |  |  |  |
|  | TOOTH WHEEL | 466300 |  |  |  |  |
|  | TOOTH WHEEL | 466310 |  |  |  |  |
|  | TOOTHED WHEEL | 466330 |  |  |  |  |
|  | TOOTHED WHEEL | 466360 |  |  |  |  |
|  | V RIBBED DISK - HM355S | 466400 |  |  |  |  |
|  | TOOTHED WHEEL | 466420 |  |  |  |  |
|  | TOOTHED WHEEL | 466560 |  |  |  |  |
|  | TOOTHED WHEEL | 466650 |  |  |  |  |
|  | V-RIBBED DRIVE | 466660 |  |  |  |  |
|  | MAGNET | 470150 |  |  |  |  |
|  | TISSUE MARKING DYES KIT | 5000 |  |  |  |  |
|  | TISSUE MARKING DYE BLACK | 5000BK |  |  |  |  |
|  | TISSUE MARKING DYE BLUE | 5000BL |  |  |  |  |
|  | TISSUE MARKING DYE GREEN | 5000G |  |  |  |  |
|  | TISSUE MARKING DYE ORANGE | 5000O |  |  |  |  |
|  | TISSUE MARKING DYE RED | 5000R |  |  |  |  |
|  | TISSUE MARKING DYE YELLOW | 5000Y |  |  |  |  |
|  | APPLICATOR STICKS - | 5001 |  |  |  |  |
|  | SECTION WASTE TRAY | 502010 |  |  |  |  |
|  | SECTION WASTE TRAY | 502120 |  |  |  |  |
|  | FAN MOTOR COMPLETE 115V | 510020 |  |  |  |  |
|  | FANMOTOR | 510030 |  |  |  |  |
|  | RIBBON COMPLETE HM340 & | 510040 |  |  |  |  |
|  | FRONT RIBBON - MICROM | 510090 |  |  |  |  |
|  | CONTROL PANEL | 510140 |  |  |  |  |
|  | FRONT PROTECTIVE RIBBON | 510170 |  |  |  |  |
|  | UPPER SHIELD | 512970 |  |  |  |  |
|  | LOWER SHIELD | 512980 |  |  |  |  |
|  | WASTE TRAY | 512990 |  |  |  |  |
|  | CLAMPING LEVER | 518000 |  |  |  |  |
|  | LEVER | 518010 |  |  |  |  |
|  | DRAIN | 518030 |  |  |  |  |
|  | GUIDANCE | 518050 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518070 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518090 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518100 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518220 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518230 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518250 |  |  |  |  |
|  | CROSS ROLLER BEARINGS | 518270 |  |  |  |  |
|  | MONOBLOCK | 518300 |  |  |  |  |
|  | GUIDED CROSS ROLLER | 518310 |  |  |  |  |
|  | ROLLERCAGE | 518320 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518330 |  |  |  |  |
|  | ROLLER CAGES | 518380 |  |  |  |  |
|  | CROSS ROLLER BEARING | 518430 |  |  |  |  |
|  | CYLINDER | 518570 |  |  |  |  |
|  | BLADE HOLDER BASE | 519000 |  |  |  |  |
|  | BLADE HOLDER | 519020 |  |  |  |  |
|  | BLADE HOLDER | 519040 |  |  |  |  |
|  | ANTI ROLL PLATE | 519080 |  |  |  |  |
|  | BLADE HOLDER BASE | 519100 |  |  |  |  |
|  | POWER SUPPLY ASSY | 520080 |  |  |  |  |
|  | LINK BLOCKS (SET OF 3) | 520110 |  |  |  |  |
|  | FRONT COVER - WHITE | 520120 |  |  |  |  |
|  | CABLE KIT NX70/50 | 520130 |  |  |  |  |
|  | WASTE BOTTLE | 520180 |  |  |  |  |
|  | REAR PANEL COMPLETE | 520490 |  |  |  |  |
|  | LEFT SIDE PANEL | 520730 |  |  |  |  |
|  | HOUSING COMPLETE | 520760 |  |  |  |  |
|  | REAR PANEL COMPLETE | 520810 |  |  |  |  |
|  | REAR PANEL COMPLETE | 520820 |  |  |  |  |
|  | REAR PANEL COMPLETE | 520840 |  |  |  |  |
|  | CPU/REAR PANEL | 520940 |  |  |  |  |
|  | BACK PANEL CPL | 520960 |  |  |  |  |
|  | BRINE PUMP ASSEMBLY | 520970 |  |  |  |  |
|  | BRINE PUMP CPL 60HZ | 520990 |  |  |  |  |
|  | DCM BOARD CPL | 521000 |  |  |  |  |
|  | BLOCK COMP | 522020 |  |  |  |  |
|  | LEVER COMPL | 522040 |  |  |  |  |
|  | BRAKE CHOPPER COMPL | 522050 |  |  |  |  |
|  | DEFROST HEAT MAT | 522100 |  |  |  |  |
|  | SPINDLE BEARING PLATE | 522120 |  |  |  |  |
|  | THRUST PIECE | 522140 |  |  |  |  |
|  | LEDGE | 522180 |  |  |  |  |
|  | LOWER RAIL | 522190 |  |  |  |  |
|  | COVER PLATE COMPLETE | 522290 |  |  |  |  |
|  | EVAPORATOR COMPLETE | 522320 |  |  |  |  |
|  | SLEDGE | 522530 |  |  |  |  |
|  | EVAPORATOR CPL | 522550 |  |  |  |  |
|  | SET OF BUSHES | 523970 |  |  |  |  |
|  | XYLENE POT ASSEMBLY | 524000 |  |  |  |  |
|  | LIFTING MAGENT AQUA DEST. | 524010 |  |  |  |  |
|  | BRINE RESERVOIR | 524060 |  |  |  |  |
|  | DRIVING MECHANISM | 524180 |  |  |  |  |
|  | DRIVE CARRIER | 524200 |  |  |  |  |
|  | GRIP FINGER COMPLETE | 524280 |  |  |  |  |
|  | PUMP SYSTEM CTM6 | 524310 |  |  |  |  |
|  | VACUUM HEAD COMPLETE | 524320 |  |  |  |  |
|  | DISPENSER COMPLETE | 524350 |  |  |  |  |
|  | COOLING HEAD COMPL | 524430 |  |  |  |  |
|  | HEAT EXTRACTOR | 524490 |  |  |  |  |
|  | HEAT EXTRACTOR | 524510 |  |  |  |  |
|  | SERVICE-KIT VACUTOM | 524660 |  |  |  |  |
|  | Z-MODUL HMS 760X | 524910 |  |  |  |  |
|  | DRIVE COMPL VERTICAL | 524950 |  |  |  |  |
|  | DRIVE KNOB COMPL | 524960 |  |  |  |  |
|  | CLIP | 524990 |  |  |  |  |
|  | DRIVE CARRIER | 525060 |  |  |  |  |
|  | FAN ASSEMBLY | 525080 |  |  |  |  |
|  | FAN ASSY REFRIGERATION | 525090 |  |  |  |  |
|  | BLADE HOLDER | 525110 |  |  |  |  |
|  | SPECIMEN HEAD COMPLETE | 525120 |  |  |  |  |
|  | HM525 & QS12 PACKAGE KIT | 52512-CN |  |  |  |  |
|  | ALUMINUM CAPS | 525130 |  |  |  |  |
|  | CHARLY PAD | 525140 |  |  |  |  |
|  | CHARLY PAD WASTE SERVICE | 525160 |  |  |  |  |
|  | C PAD PANEL LEFT | 525170 |  |  |  |  |
|  | DRY STATION HMS 740 | 525190 |  |  |  |  |
|  | CIRCUIT BREAKER 15A 115V | 5251901-CN |  |  |  |  |
|  | VALVE ASSEMBLY | 525200 |  |  |  |  |
|  | EMPTY STATION LEFT | 525210 |  |  |  |  |
|  | Z-GRIPPING DEVICE | 525240 |  |  |  |  |
|  | WATER TANK ASSY | 525260 |  |  |  |  |
|  | FILTER | 525270 |  |  |  |  |
|  | RINSE STATION | 525320 |  |  |  |  |
|  | C-TOUCH RIGHT | 525410 |  |  |  |  |
|  | HOSE CONNECTOR SET | 525420 |  |  |  |  |
|  | HOSE + CONNECTORS | 525430 |  |  |  |  |
|  | SK COMPRESSOR | 525440 |  |  |  |  |
|  | SK COMPRESSOR | 525450 |  |  |  |  |
|  | ROBOTIC HEAD HMS740 | 525510 |  |  |  |  |
|  | NUT WITH RADIAL SEAL | 525520 |  |  |  |  |
|  | COOLING CHAMBER KS34 | 525980 |  |  |  |  |
|  | MOTOR | 526030 |  |  |  |  |
|  | EXTENSION ARM COMPL | 526070 |  |  |  |  |
|  | COARSE FEED COMPLETE | 526180 |  |  |  |  |
|  | INNER CONE | 526200 |  |  |  |  |
|  | CONE | 526270 |  |  |  |  |
|  | TEFLON MANIFOLD ASSEMBLY | 526320 |  |  |  |  |
|  | HANDLE | 526350 |  |  |  |  |
|  | PUMP (P1) ASSEMBLY | 526360 |  |  |  |  |
|  | ROTATION CHAMBER LOCK | 526380 |  |  |  |  |
|  | ENCODER COMPLETE | 526390 |  |  |  |  |
|  | ACTIVE CHARCOAL FILTER | 526420 |  |  |  |  |
|  | SB-KIT | 526430 |  |  |  |  |
|  | LEVEL SENSOR ASSEMBLY | 526440 |  |  |  |  |
|  | LEVEL SENSOR | 526450 |  |  |  |  |
|  | BIOPSY CHAMBER LOCK ASSY | 526470 |  |  |  |  |
|  | ROTATION CHAMBER LID ASSY | 526490 |  |  |  |  |
|  | BASKET AND LID COMPLETE | 526520 |  |  |  |  |
|  | REAGENT BOTTLE TAGS | 526540 |  |  |  |  |
|  | SET OF TUBES | 526560 |  |  |  |  |
|  | ROTARY VALVE SERVICE KIT | 526570 |  |  |  |  |
|  | GRAER WRENCH STP420 | 526580 |  |  |  |  |
|  | MAGNETIC VALVE | 526590 |  |  |  |  |
|  | SET OF FUSES - STP420D | 526600 |  |  |  |  |
|  | CHECK VALVE | 526640 |  |  |  |  |
|  | FILTER BOTTLE ASSEMBLY | 526650 |  |  |  |  |
|  | PARAFFIN DRAIN COMPLETE | 526700 |  |  |  |  |
|  | HEATED TUBE ASSEMBLY | 526710 |  |  |  |  |
|  | BIOPSY CHAMBER ASSEMBLY | 526720 |  |  |  |  |
|  | PUMP AND SOLENOID VALVES | 526730 |  |  |  |  |
|  | PARAFFIN LID ASSEMBLY | 526760 |  |  |  |  |
|  | COVER GLASS WEIGHT SET | 526770 |  |  |  |  |
|  | CLEAN & FILTER BOTTLE KIT | 526810 |  |  |  |  |
|  | SOLENOID VALVES PK OF 3 | 526820 |  |  |  |  |
|  | GLASS DOOR KIT C/W HINGES | 526850 |  |  |  |  |
|  | O RING SET | 526870 |  |  |  |  |
|  | BOTTOM PLATE | 528180 |  |  |  |  |
|  | OSCILATING UNIT | 528190 |  |  |  |  |
|  | BASEPLATE COMPLETE | 528210 |  |  |  |  |
|  | ONE-WAY-VALVE ASSY | 532020 |  |  |  |  |
|  | MOUNTING SOCKET | 532030 |  |  |  |  |
|  | FIXED ADAPTOR | 532040 |  |  |  |  |
|  | FREEZING STATION | 532050 |  |  |  |  |
|  | FAST FREEZING | 532070 |  |  |  |  |
|  | ADAPTER FOR STEMI 2000 | 532090 |  |  |  |  |
|  | ANTI-ROLL PLATE | 532520 |  |  |  |  |
|  | ANTI-ROLL PLATE | 532540 |  |  |  |  |
|  | ANTI-ROLL PLATE | 532550 |  |  |  |  |
|  | HANDWHEEL BRAKE | 534120 |  |  |  |  |
|  | HANDWHEEL COMPL | 534160 |  |  |  |  |
|  | HANDWHEEL COMPLETE | 534170 |  |  |  |  |
|  | HANDWHEEL COMPL | 534180 |  |  |  |  |
|  | HANDWHEEL COMPL | 534190 |  |  |  |  |
|  | HAND WHEEL ASSY | 534200 |  |  |  |  |
|  | FILTER CONTAINER | 542200 |  |  |  |  |
|  | CLAMPING SHAFT ASSY | 546010 |  |  |  |  |
|  | CLAMPING SHAFT | 546017 |  |  |  |  |
|  | ORIENTING ADAPTER | 546040 |  |  |  |  |
|  | CLAMPING SHAFT | 546047 |  |  |  |  |
|  | SPECIMEN CLAMP | 546050 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 546060 |  |  |  |  |
|  | STANDARD SPECIMEN CLAMP | 546070 |  |  |  |  |
|  | JAW LIGHT STANDARD | 546080 |  |  |  |  |
|  | CLAMP ASSY | 546130 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 546150 |  |  |  |  |
|  | CLAMPING CASE (NO INSERT) | 546180 |  |  |  |  |
|  | INSERT F. CLAMPING JAW | 546190 |  |  |  |  |
|  | INSERT F CLAMPING JAW | 546200 |  |  |  |  |
|  | INSERT F CLAMPING JAW | 546210 |  |  |  |  |
|  | INSERT F CLAMPING JAW | 546270 |  |  |  |  |
|  | CONNECTORS-SET | 550030 |  |  |  |  |
|  | CRANK SHAFT | 550050 |  |  |  |  |
|  | CRANK SHAFT | 550060 |  |  |  |  |
|  | CLUTCH | 550070 |  |  |  |  |
|  | SHAFT | 550080 |  |  |  |  |
|  | BEARING SHAFT | 550090 |  |  |  |  |
|  | CAL-RITE 1 GAL (HAZ) | 5501 |  |  |  |  |
|  | SHAFT | 550100 |  |  |  |  |
|  | MAGNET (ELECTROMECHANICAL | 550120 |  |  |  |  |
|  | TOOTH CLUTCH | 550130 |  |  |  |  |
|  | CLUTCH | 550170 |  |  |  |  |
|  | LOCK SOLENOID | 550190 |  |  |  |  |
|  | SPINDEL WITH NUT | 550220 |  |  |  |  |
|  | GUIDANCE WITH SOCKET | 550240 |  |  |  |  |
|  | MAGNET TEFLON COATED | 550310 |  |  |  |  |
|  | LIFT COLUMN - NX50/NX70 | 550340 |  |  |  |  |
|  | LIFT STAND | 550350 |  |  |  |  |
|  | CONTROLLER LIFT STAND | 550360 |  |  |  |  |
|  | DRIVE CARRIER COMPL | 550430 |  |  |  |  |
|  | SPINDLE WITH NUT | 554070 |  |  |  |  |
|  | SETTING ARM COMPL | 554100 |  |  |  |  |
|  | SETTING ARM | 554120 |  |  |  |  |
|  | SPINDLE WITH NUT | 554130 |  |  |  |  |
|  | SPINDLE WITH NUT | 554190 |  |  |  |  |
|  | SPINDLE WITH NUT | 554200 |  |  |  |  |
|  | SPINDLE WITH NUT COMPLETE | 554210 |  |  |  |  |
|  | MICROMETER SPINDLE | 554230 |  |  |  |  |
|  | SPINDLE WITH NUT | 554270 |  |  |  |  |
|  | SPINDLE EXCHANGE KIT | 554290 |  |  |  |  |
|  | MICROMETER SPINDLE | 554300 |  |  |  |  |
|  | SPINDLE WITH NUT | 554320 |  |  |  |  |
|  | SPINDLE NUT | 554340 |  |  |  |  |
|  | SPINDLE WITH NUT | 554350 |  |  |  |  |
|  | OBJECT ORIENTATION CPL. | 556000 |  |  |  |  |
|  | SPRING BOLT | 556010 |  |  |  |  |
|  | SPECIMEN ORIENTATION | 556040 |  |  |  |  |
|  | ECCENTRIC LEVER | 556060 |  |  |  |  |
|  | SPECIMEN CLAMPING | 556070 |  |  |  |  |
|  | CYLINDERHEAD COMPL | 556080 |  |  |  |  |
|  | RETROFIT OJECT FINE | 556100 |  |  |  |  |
|  | SPECIMEN CLAMPING | 556120 |  |  |  |  |
|  | ECCENTRIC LEVER | 556180 |  |  |  |  |
|  | EXCENTRIC | 556190 |  |  |  |  |
|  | BASKET CARRIER | 556200 |  |  |  |  |
|  | RACK CARRIER | 556230 |  |  |  |  |
|  | REAGENT BEAKER | 556240 |  |  |  |  |
|  | CARRIER CLEAR VUE | 556260 |  |  |  |  |
|  | BLADE/KNIFE CARRIER | 560000 |  |  |  |  |
|  | D-PROFILE TUNGSTEN - | 5601006 |  |  |  |  |
|  | MOTOR | 560110 |  |  |  |  |
|  | KNIFE HOLDER COVER PLATE | 5602300-CN |  |  |  |  |
|  | BLADE/KNIFE CARRIER BASE | 561000 |  |  |  |  |
|  | ER UPPER | 561010 |  |  |  |  |
|  | SEGMENT DISP | 561020 |  |  |  |  |
|  | ECCENTRIC SHAFT | 561030 |  |  |  |  |
|  | ECCENTRIC SHAFT | 561050 |  |  |  |  |
|  | EXCENTRIC | 561070 |  |  |  |  |
|  | UPPER PART BLADE/KNIFE | 561100 |  |  |  |  |
|  | EXCENTRIC | 561110 |  |  |  |  |
|  | UPPER PART BLADE/KNIFE | 561200 |  |  |  |  |
|  | UPPER PART BLADE/KNIFE | 561210 |  |  |  |  |
|  | UPPER PART BLADE/KNIFE | 561220 |  |  |  |  |
|  | CLAMPING BOLT 23mm | 561230 |  |  |  |  |
|  | SEGMENT | 565010 |  |  |  |  |
|  | UPPER PART FOR DISPOSABLE | 565020 |  |  |  |  |
|  | CLAMPING LEVER | 565030 |  |  |  |  |
|  | PULLING BOLT | 565040 |  |  |  |  |
|  | UPPER PART F | 565050 |  |  |  |  |
|  | KNIFE CARRIER BASE | 565060 |  |  |  |  |
|  | CLAMPING SCREW | 565070 |  |  |  |  |
|  | CLAMPING LEVER | 565110 |  |  |  |  |
|  | HOLDER SEGMENT | 565140 |  |  |  |  |
|  | UPPER PART F | 565170 |  |  |  |  |
|  | BLADE SLIDER 60mm BLADES | 565210 |  |  |  |  |
|  | CLAMPING ECCENTER | 565280 |  |  |  |  |
|  | CARRIER E-SL | 565360 |  |  |  |  |
|  | CLAMPING PLATE | 565610 |  |  |  |  |
|  | BLADE CARRIER BASE EC | 565620 |  |  |  |  |
|  | ANTIROLL DEVICE | 565730 |  |  |  |  |
|  | RAIL | 565870 |  |  |  |  |
|  | FINGER GUARD | 565900 |  |  |  |  |
|  | KNIFE GUARD | 565950 |  |  |  |  |
|  | KNIFE CARRIER | 565990 |  |  |  |  |
|  | FINGER PROTECTOR | 566020 |  |  |  |  |
|  | ANTI-ROLL DEVICE | 566170 |  |  |  |  |
|  | ANTI-ROLL DEVICE | 566180 |  |  |  |  |
|  | INSERT FOR TUNGSTEN | 566190 |  |  |  |  |
|  | EC-CARRIER UPPER | 566210 |  |  |  |  |
|  | BLADE HOLDER | 566230 |  |  |  |  |
|  | ANTIROLL DEVICE | 566260 |  |  |  |  |
|  | SEGMENT SUPPORT | 566280 |  |  |  |  |
|  | ECCENTRIC LEVER | 566340 |  |  |  |  |
|  | HEATING ELEMENT | 566350 |  |  |  |  |
|  | CLAMPING WITH PROTECTION | 566390 |  |  |  |  |
|  | SEGMENT | 566460 |  |  |  |  |
|  | ANTI-ROLL DEVICE | 566520 |  |  |  |  |
|  | ANTIROLL DEVICE | 566530 |  |  |  |  |
|  | VACUUM ANTI-ROLL | 566650 |  |  |  |  |
|  | ANTI-ROLL SYSTEM COMPLETE | 566670 |  |  |  |  |
|  | VACUUM ANTI-ROLL | 566740 |  |  |  |  |
|  | UPPER PART WITH SEGMENT | 566760 |  |  |  |  |
|  | HIGHT ADJUSTMENT | 566770 |  |  |  |  |
|  | STANDARD KNIFE / BLADE | 566790 |  |  |  |  |
|  | ANTI-ROLL GUIDE SMV | 566820 |  |  |  |  |
|  | ANTI ROLL ASSY | 566840 |  |  |  |  |
|  | DISTANCE BOLT | 570110 |  |  |  |  |
|  | HANDWHEEL POT | 570340 |  |  |  |  |
|  | CRYO-MOLDS 15mm | 570380 |  |  |  |  |
|  | CRYO-MOLDS 22mm | 570390 |  |  |  |  |
|  | CRYO-MOLDS 10mm | 570400 |  |  |  |  |
|  | HANDWHEEL | 570530 |  |  |  |  |
|  | SECTION COUNTER ASSEMBLY | 570540 |  |  |  |  |
|  | BLADEHOLDER BASE | 575020 |  |  |  |  |
|  | BRINE PUMP | 575030 |  |  |  |  |
|  | TRANSFER SURFACE | 575050 |  |  |  |  |
|  | TRANSFER SURFACE STS | 575170 |  |  |  |  |
|  | DOUBLE BASKET UPGRADE KIT | 575180 |  |  |  |  |
|  | RAMP COMPL | 575190 |  |  |  |  |
|  | HANDWHEEL | 575200 |  |  |  |  |
|  | KNIFE HOLDER BASE ASSY | 575230 |  |  |  |  |
|  | BRIDGE STS | 575240 |  |  |  |  |
|  | SEGMENT STS COMPL | 575250 |  |  |  |  |
|  | EXCENTRIC SHAFT | 575260 |  |  |  |  |
|  | ROLLER FOR WATERFLOW | 575280 |  |  |  |  |
|  | COVER | 575430 |  |  |  |  |
|  | HOUSING | 575440 |  |  |  |  |
|  | POWER SUPPLY CONNECTION | 580250 |  |  |  |  |
|  | SURFACE OF COOLING HEAD | 58025E-CN |  |  |  |  |
|  | TAPE | 5802900-CN |  |  |  |  |
|  | SUCTION TUBING | 585010 |  |  |  |  |
|  | SEWAGE TUBE | 585030 |  |  |  |  |
|  | VACUTOME ASSEMBLY | 585040 |  |  |  |  |
|  | VACUTOME ASSEMBLY | 585050 |  |  |  |  |
|  | SECURESETTE WHITE LARGE | 58722 |  |  |  |  |
|  | SECURESETTE WHITE LARGE | 58722-T |  |  |  |  |
|  | SECURESETTE BLUE LARGE | 58723 |  |  |  |  |
|  | SECURESETTE BLUE LARGE | 58723-T |  |  |  |  |
|  | SECURESETTE YELLOW LARGE | 58724 |  |  |  |  |
|  | SECURESETTE YELLOW LARGE | 58724-T |  |  |  |  |
|  | SECURESETTE GREEN LARGE | 58725 |  |  |  |  |
|  | SECURESETTE GREEN LARGE | 58725-T |  |  |  |  |
|  | SECURESETTE PINK LARGE | 58726 |  |  |  |  |
|  | SECURESETTE PINK LARGE | 58726-T |  |  |  |  |
|  | SECURESETTE TAN LARGE | 58727 |  |  |  |  |
|  | SECURESETTE TAN LARGE | 58727-T |  |  |  |  |
|  | SECURESETTE ORANGE LARGE | 58728 |  |  |  |  |
|  | SECURESETTE PINK LARGE | 58728-T |  |  |  |  |
|  | SECURESETTE GRAY LARGE | 58729 |  |  |  |  |
|  | SECURESETTE GRAY LARGE | 58729-T |  |  |  |  |
|  | SECURESETTE AQUA LARGE | 58730 |  |  |  |  |
|  | SECURESETTE AQUA LARGE | 58730-T |  |  |  |  |
|  | SECURESETTE PEACH LARGE | 58731 |  |  |  |  |
|  | SECURESETTE PEACH LARGE | 58731-T |  |  |  |  |
|  | SECURESETTE LILAC LARGE | 58732 |  |  |  |  |
|  | SECURESETTE LILAC LARGE | 58732-T |  |  |  |  |
|  | SEALED HEAD ASSY | 59910018 |  |  |  |  |
|  | HEAD SEALS PK3 | 59910019 |  |  |  |  |
|  | SAMPLE CHAMBER CLOSURE | 59910025 |  |  |  |  |
|  | CYTOCLIP ST ST SLIDE CLIP | 59910052 |  |  |  |  |
|  | BROWN FILTER CARDS - | 5991023 |  |  |  |  |
|  | SINGLE WHITE CYTOFUNNEL- | 5991040 |  |  |  |  |
|  | CYTOSLIDE - PK100 - | 5991051 |  |  |  |  |
|  | INNER BOWL D/DETAIL | 59920046 |  |  |  |  |
|  | CELL MTG PLATE M/C | 59920047 |  |  |  |  |
|  | PROXIMITY SWITCH ASSY | 59920128 |  |  |  |  |
|  | HUB SEALED HEAD | 59930093 |  |  |  |  |
|  | SEALED HEAD THUMB NUTS | 59930098 |  |  |  |  |
|  | PCB DRIVER BOARD | 602010 |  |  |  |  |
|  | POWER SUPPLY | 602020 |  |  |  |  |
|  | POWER SUPPLY | 602030 |  |  |  |  |
|  | PELTIER POWER SUPPLY | 602060 |  |  |  |  |
|  | PELTIER SUPPLY BOARD 1.5V | 602120 |  |  |  |  |
|  | PCB | 602130 |  |  |  |  |
|  | PCB STS POWER BOARD | 602140 |  |  |  |  |
|  | PCB | 602160 |  |  |  |  |
|  | POWER BOARD | 602170 |  |  |  |  |
|  | CPU BOARD | 602220 |  |  |  |  |
|  | CPU-PLATINE | 602260 |  |  |  |  |
|  | POWER BOARD | 602310 |  |  |  |  |
|  | CPU PCB - CTM6 | 602340 |  |  |  |  |
|  | CPU BOARD | 602360 |  |  |  |  |
|  | CPU-BOARD | 602370 |  |  |  |  |
|  | POWER-BOARD | 602380 |  |  |  |  |
|  | CPU SOFTWARE | 602390 |  |  |  |  |
|  | UV BOARD V1.2 | 602420 |  |  |  |  |
|  | CONTROL UNIT STS III | 603718 |  |  |  |  |
|  | MOTOR CPU BOARD | 603900 |  |  |  |  |
|  | DEFROST-TIMER | 604010 |  |  |  |  |
|  | TEMP CONTROLLER | 604050 |  |  |  |  |
|  | DEFROST TIMER | 604060 |  |  |  |  |
|  | INCREMENTAL ENCODER | 604210 |  |  |  |  |
|  | CPU HM340E | 604220 |  |  |  |  |
|  | INCREMENTAL ENCODER | 604230 |  |  |  |  |
|  | CPU BOARD | 604280 |  |  |  |  |
|  | INCREMENTAL ENCODER | 604290 |  |  |  |  |
|  | POSITIONING POTENTIOMETER | 604320 |  |  |  |  |
|  | SPEED-POTENTIOMETER | 604330 |  |  |  |  |
|  | CONTROL BOARD | 604350 |  |  |  |  |
|  | CPU-BOARD | 604450 |  |  |  |  |
|  | LIGHT BARRIER BOARD | 604460 |  |  |  |  |
|  | CPU BOARD | 604650 |  |  |  |  |
|  | FOIL POTENTIOMETER | 604840 |  |  |  |  |
|  | DISPLAY BOARD | 604850 |  |  |  |  |
|  | MOTOR-CONTROL BOARD | 604860 |  |  |  |  |
|  | CONTROL LBG | 604887 |  |  |  |  |
|  | CONTROLLER | 604900 |  |  |  |  |
|  | CONTROL BLOCK | 604920 |  |  |  |  |
|  | CONTROL BLOCK | 604930 |  |  |  |  |
|  | VACUTOME-CONTROL | 604950 |  |  |  |  |
|  | COUNCILMAN CHISEL - | 605 |  |  |  |  |
|  | MOTOR DRIVE BOARD | 605000 |  |  |  |  |
|  | FOIL POTENTIOMETER | 605040 |  |  |  |  |
|  | CP-CONTROL BOARD | 605050 |  |  |  |  |
|  | ENCODER-BOARD | 605060 |  |  |  |  |
|  | CPU BOARD | 605070 |  |  |  |  |
|  | CPU BOARD | 605080 |  |  |  |  |
|  | CPU BOARD | 605090 |  |  |  |  |
|  | CONNECTING CABLE | 605100 |  |  |  |  |
|  | FUSE BOARD | 605110 |  |  |  |  |
|  | LIGHT BARRIER BOARD | 605120 |  |  |  |  |
|  | LIGHT BARRIER BOARD | 605130 |  |  |  |  |
|  | POTENTIOMETER | 605140 |  |  |  |  |
|  | MOTOR CONTROL BOARD | 605150 |  |  |  |  |
|  | CPU BOARD | 605160 |  |  |  |  |
|  | CPU BOARD | 605170 |  |  |  |  |
|  | VALVE CONTROL BOARD | 605220 |  |  |  |  |
|  | MANUAL SWITCH | 605290 |  |  |  |  |
|  | FOIL POTENTIOMETER | 605310 |  |  |  |  |
|  | SENSOR FOIL | 605320 |  |  |  |  |
|  | PRESSURE SENSOR PCB ASSY | 605330 |  |  |  |  |
|  | LIGHTBARRIER BOARD | 605340 |  |  |  |  |
|  | POWER BOARD (A3) | 605360 |  |  |  |  |
|  | CONTROLLER BOARD | 605370 |  |  |  |  |
|  | EPROM | 605400 |  |  |  |  |
|  | HAND WHEEL ASSY | 605440 |  |  |  |  |
|  | PCB | 605450 |  |  |  |  |
|  | LIGHTBARRIER BOARD | 605580 |  |  |  |  |
|  | POWER SUPPLY OCILLATOR | 605630 |  |  |  |  |
|  | PROCESSOR BOARD | 605640 |  |  |  |  |
|  | GRIP | 605690 |  |  |  |  |
|  | HARD-DRIVE | 605730 |  |  |  |  |
|  | IO BOARD | 605740 |  |  |  |  |
|  | MOTORBOARD | 605770 |  |  |  |  |
|  | Z-CP BOARD | 605780 |  |  |  |  |
|  | CONTROLLER BOARD | 605800 |  |  |  |  |
|  | INVERTER BOARD TFT-TOUCH | 605840 |  |  |  |  |
|  | CPU-BOARD HM550 V2.07 | 605850 |  |  |  |  |
|  | CONTROLLER BOARD (A4) | 605860 |  |  |  |  |
|  | HARD-DRIVE | 605880 |  |  |  |  |
|  | POSITION ENCODER | 605990 |  |  |  |  |
|  | DRAWER BOARD | 606040 |  |  |  |  |
|  | FILTER DRYER | 606060 |  |  |  |  |
|  | TFT-TOUCHSCREEN 15IN | 606190 |  |  |  |  |
|  | SUPPLY BOARD A2 115V | 606200 |  |  |  |  |
|  | PSU POWER BOARD 230V | 606210 |  |  |  |  |
|  | MONITOR WITHOUT PC | 606230 |  |  |  |  |
|  | INPUT CONTROL BOARD | 610610 |  |  |  |  |
|  | KEYPAD CTM6 | 610780 |  |  |  |  |
|  | FOIL KEYBOARD HM 450 | 610850 |  |  |  |  |
|  | FOIL KEYBOARD | 610860 |  |  |  |  |
|  | TOUCHPAD KEYBOARD | 610910 |  |  |  |  |
|  | KEYBOARD | 610960 |  |  |  |  |
|  | FOIL KEYBOARD | 611000 |  |  |  |  |
|  | FOIL KEYBOARD | 611010 |  |  |  |  |
|  | KEYBOARD | 611020 |  |  |  |  |
|  | TOUCHPAD KEYBOARD | 611070 |  |  |  |  |
|  | FOIL KEYBOARD | 611080 |  |  |  |  |
|  | FOIL KEYBOARD | 611090 |  |  |  |  |
|  | TOUCHPAD KEYBOARD | 611110 |  |  |  |  |
|  | FOIL KEYBOARD MIDDLE | 611130 |  |  |  |  |
|  | FOIL KEYBOARD | 611140 |  |  |  |  |
|  | FOIL KEYBOARD | 611150 |  |  |  |  |
|  | FOIL KEYBOARD | 611160 |  |  |  |  |
|  | TOUCHPAD KEYBOARD | 611200 |  |  |  |  |
|  | PC HMS740 | 611530 |  |  |  |  |
|  | NOTEBOOK | 611780 |  |  |  |  |
|  | HARD-DISC-DRIVE | 611880 |  |  |  |  |
|  | USB STICK STP420 D | 612000 |  |  |  |  |
|  | USB STICK NX 70 | 612050 |  |  |  |  |
|  | FLAT CABLE (10 LEAD) | 614020 |  |  |  |  |
|  | SET OF TESTING CABLE | 614090 |  |  |  |  |
|  | RIBBON | 614130 |  |  |  |  |
|  | NOTEBOOK | 614270 |  |  |  |  |
|  | HP COMPAQ | 614280 |  |  |  |  |
|  | CABLE | 614330 |  |  |  |  |
|  | CABLE | 614340 |  |  |  |  |
|  | HP COMPAQ | 614410 |  |  |  |  |
|  | LIGHT BARRIER COMPL | 615100 |  |  |  |  |
|  | EMERGENCY-STOP CABLE | 615110 |  |  |  |  |
|  | JUNCTION | 615120 |  |  |  |  |
|  | FLANGE SOCKET | 615170 |  |  |  |  |
|  | CONNECTING CABLE | 615180 |  |  |  |  |
|  | INTERLOCK PLUR | 615190 |  |  |  |  |
|  | EMERGENCY STOP CABLE | 615200 |  |  |  |  |
|  | ACA-CABLE HM550 | 615240 |  |  |  |  |
|  | STOP CABLE - HM335 | 615300 |  |  |  |  |
|  | INTERLOCK | 615310 |  |  |  |  |
|  | INTERLOCK PLUG | 615320 |  |  |  |  |
|  | WIRE WINDOW - C-ECU | 615410 |  |  |  |  |
|  | ENCODER POSITION | 615510 |  |  |  |  |
|  | WIRE DISINFECTION | 615530 |  |  |  |  |
|  | MOTOR | 615550 |  |  |  |  |
|  | CONTROL CABLE | 615610 |  |  |  |  |
|  | SUPPLY LINE CABLE FOR | 615750 |  |  |  |  |
|  | C-ECU-MICROTOM | 615800 |  |  |  |  |
|  | DISPLAY | 616040 |  |  |  |  |
|  | MONITOR SET ASSY | 616060 |  |  |  |  |
|  | DISPLAY COMPLETE | 616090 |  |  |  |  |
|  | CONTROL UNIT | 620600 |  |  |  |  |
|  | COMPRESSOR | 622100 |  |  |  |  |
|  | COMPRESSOR 110-115V | 622190 |  |  |  |  |
|  | COMPRESSOR | 622210 |  |  |  |  |
|  | COMPRESSOR | 622270 |  |  |  |  |
|  | ELECTRICAL UNIT | 622320 |  |  |  |  |
|  | ELECTRICAL UNIT | 622330 |  |  |  |  |
|  | RELAY | 622340 |  |  |  |  |
|  | CONDENSER | 622380 |  |  |  |  |
|  | COMPRESSOR GP 12 TE | 622570 |  |  |  |  |
|  | COMPRESSOR | 622680 |  |  |  |  |
|  | COMPRESSOR SC 12 CLX | 622690 |  |  |  |  |
|  | ELECTRICAL UNIT | 622700 |  |  |  |  |
|  | AXIS WITH BEARING | 622770 |  |  |  |  |
|  | VACUTOME BOTTLE | 624020 |  |  |  |  |
|  | BACTERIAL FILTER | 624100 |  |  |  |  |
|  | HEATED WINDOW WITHOUT UV | 625940 |  |  |  |  |
|  | HEATED WINDOW WITH | 625950 |  |  |  |  |
|  | HEATED WINDOW WITH | 625960 |  |  |  |  |
|  | HEATED WINDOW NX50 & NX70 | 625970 |  |  |  |  |
|  | HEATING WINDOW | 625980 |  |  |  |  |
|  | HEATING WINDOW | 625990 |  |  |  |  |
|  | HEATED WINDOW | 626010 |  |  |  |  |
|  | HEATING EVAPORATOR | 626140 |  |  |  |  |
|  | HEATED WINDOW | 626170 |  |  |  |  |
|  | HEATED WINDOW | 626270 |  |  |  |  |
|  | HEATING ELEMENT | 626280 |  |  |  |  |
|  | FUSE KIT FOR C-ECU | 626310 |  |  |  |  |
|  | HEATING WINDOW | 626330 |  |  |  |  |
|  | HEATING WINDOW | 626340 |  |  |  |  |
|  | HEATING FOIL | 626350 |  |  |  |  |
|  | HEATED WINDOW COMPL | 626370 |  |  |  |  |
|  | HEATING WINDOW | 626380 |  |  |  |  |
|  | HEATING ELEMENT | 626390 |  |  |  |  |
|  | CARTRIDGE HEATER 100W | 626440 |  |  |  |  |
|  | CARTRIDGE HEATER 100W | 626450 |  |  |  |  |
|  | HEATER MAT | 626470 |  |  |  |  |
|  | BACKLIGHTING SYSTEM | 630130 |  |  |  |  |
|  | SPECIAL LIGHT | 630160 |  |  |  |  |
|  | ACA | 630200 |  |  |  |  |
|  | LAMPSET COMPL | 630210 |  |  |  |  |
|  | SWITCH POWER SUPPLY | 630290 |  |  |  |  |
|  | POWER SUPPLY | 630320 |  |  |  |  |
|  | POWER SUPPLY | 630330 |  |  |  |  |
|  | POWER SUPPLY A1 BOARD | 630400 |  |  |  |  |
|  | POWER SUPPLY | 630430 |  |  |  |  |
|  | POWER SUPPLY HM 525NX | 630440 |  |  |  |  |
|  | INTERFACE CONNECTION | 632040 |  |  |  |  |
|  | INTERFACE CONNECTION | 632050 |  |  |  |  |
|  | INTERFACE CONNECTION | 632070 |  |  |  |  |
|  | MAIN SWITCH | 638130 |  |  |  |  |
|  | SOCKET | 638170 |  |  |  |  |
|  | SOCKET | 638230 |  |  |  |  |
|  | SOCKET | 638240 |  |  |  |  |
|  | TERMINAL BLOCK | 638270 |  |  |  |  |
|  | ST ST BASE MOULDS - | 6401015 |  |  |  |  |
|  | ST ST BASE MOULDS - | 6401016 |  |  |  |  |
|  | ST ST BASE MOULDS - | 6401017 |  |  |  |  |
|  | ST ST BASE MOULDS - | 6401018 |  |  |  |  |
|  | OPERATING PANEL | 640220 |  |  |  |  |
|  | FOOT PEDAL | 640280 |  |  |  |  |
|  | FOOT PEDAL | 640290 |  |  |  |  |
|  | COIL HOLDER COMPL | 640300 |  |  |  |  |
|  | VIBRATING DEVICE | 640310 |  |  |  |  |
|  | FOOT PEDAL | 640380 |  |  |  |  |
|  | OPERATING PANEL | 640390 |  |  |  |  |
|  | OPERATING PANEL | 640400 |  |  |  |  |
|  | MOTOR | 641100 |  |  |  |  |
|  | MOTOR | 641110 |  |  |  |  |
|  | MOTOR | 641130 |  |  |  |  |
|  | STEPPER MOTOR | 642010 |  |  |  |  |
|  | STEPPER MOTOR | 642040 |  |  |  |  |
|  | MOTOR | 642050 |  |  |  |  |
|  | TOUCH MONITOR | 642060 |  |  |  |  |
|  | MOTOR | 642070 |  |  |  |  |
|  | DRIVE MOTOR | 642080 |  |  |  |  |
|  | MOTOR COMPLETE | 642090 |  |  |  |  |
|  | DC SERVO MOTOR - HM355S | 642110 |  |  |  |  |
|  | ACA-AMPLIFIER | 642140 |  |  |  |  |
|  | STEPPING MOTOR | 642150 |  |  |  |  |
|  | DRIVING UNIT | 642190 |  |  |  |  |
|  | MOTOR | 642200 |  |  |  |  |
|  | PUMP MOTOR ASSY | 642210 |  |  |  |  |
|  | SLIPPING MOTOR ASSEMBLY | 642220 |  |  |  |  |
|  | EXPELLER MOTOR ASSY CTM6 | 642230 |  |  |  |  |
|  | CARRIER MOTOR COMPLETE | 642240 |  |  |  |  |
|  | STEP DOWN MOTOR ASSY | 642250 |  |  |  |  |
|  | DRIVE MOTOR | 642270 |  |  |  |  |
|  | HOLDER STEPMOTOR FRONT | 642280 |  |  |  |  |
|  | MOTOR | 642290 |  |  |  |  |
|  | STEPPING MOTOR CPL | 642310 |  |  |  |  |
|  | STEPPER MOTOR | 642330 |  |  |  |  |
|  | TRANSFORMER | 644030 |  |  |  |  |
|  | COOLING ELEMENT | 647010 |  |  |  |  |
|  | DIAL GAUGE HOLDER | 648010 |  |  |  |  |
|  | DIAL GAUGE HOLDER FOR | 648020 |  |  |  |  |
|  | DIAL GAUGE HOLDER FOR | 648030 |  |  |  |  |
|  | DIAL GAUGE HOLDER | 648040 |  |  |  |  |
|  | WATER BATH STS | 648050 |  |  |  |  |
|  | COVER FOR WATER BATH | 648060 |  |  |  |  |
|  | DIRT FILTER | 648070 |  |  |  |  |
|  | UNI-GAUGE HOLDER | 648080 |  |  |  |  |
|  | DIAL GAUGE | 648090 |  |  |  |  |
|  | STS II WATERBATH | 648100 |  |  |  |  |
|  | FILTER COMPL | 648110 |  |  |  |  |
|  | HOUSING COMPLETE | 648120 |  |  |  |  |
|  | PE BUFFER TRAY | 648200 |  |  |  |  |
|  | COVER PLATE HM325 HM335 E | 650000 |  |  |  |  |
|  | COVER PLATE HM340 E | 650040 |  |  |  |  |
|  | COVER PLATE MAGNIFIER | 650090 |  |  |  |  |
|  | NEG 50 COLOURLESS | 6502 |  |  |  |  |
|  | BLUE NEG-50 2 X 118ml | 6502B |  |  |  |  |
|  | NEG 50 COLORLESS | 6506 |  |  |  |  |
|  | MAGNETIC VALVE | 660510 |  |  |  |  |
|  | COLD DISINFECTION | 660540 |  |  |  |  |
|  | COLD DISINFECTION KIT | 660550 |  |  |  |  |
|  | COLD D UNIT NX70 | 660570 |  |  |  |  |
|  | LEVEL SENSOR | 660580 |  |  |  |  |
|  | COLD D NEBULIZER | 660590 |  |  |  |  |
|  | AIRBAGS - PK4 | 66110048 |  |  |  |  |
|  | EMERGENCY FILTER TYPE C | 66110056 |  |  |  |  |
|  | VERTICAL SLIDE CARRIER - | 66610021 |  |  |  |  |
|  | PLASTIC STAIN TROUGH - | 66610023 |  |  |  |  |
|  | WATER WASH TROUGH ASSY | 66610024 |  |  |  |  |
|  | HORIZONTAL SLIDE CARRIER | 66610028 |  |  |  |  |
|  | WELDED LOCATING ANGLE | 66620036 |  |  |  |  |
|  | INDEX PLATE | 66630063 |  |  |  |  |
|  | LOCATING SCREW - | 66730102 |  |  |  |  |
|  | GUIDE PIN | 66730107 |  |  |  |  |
|  | PAPSPIN FLUID 2x500mL | 6768350 |  |  |  |  |
|  | PAPSPIN COLLECTION FLUID | 6768351 |  |  |  |  |
|  | HISTOPLAST PELLET 2.5KG | 6774006 |  |  |  |  |
|  | HISTOPLAST PELLET 10KG | 6774060 |  |  |  |  |
|  | DOUBLE FROST SLIDES - | 6776104 |  |  |  |  |
|  | PLAIN SLIDES CUT EDGE - | 6776106 |  |  |  |  |
|  | SINGLE FROST SLIDES - | 6776107 |  |  |  |  |
|  | DOUBLE FROST SLIDES - | 6776108 |  |  |  |  |
|  | DOUBLE FROST SLIDES - | 6776109 |  |  |  |  |
|  | PLAIN SLIDES GROUND EDGE | 6776110 |  |  |  |  |
|  | PLAIN SLIDES GROUND EDGE | 6776111 |  |  |  |  |
|  | DOUBLE FROST SLIDES - | 6776112 |  |  |  |  |
|  | SUPERFROST SLIDES - | 6776205 |  |  |  |  |
|  | SUPERFROST SLIDES WHITE | 6776206 |  |  |  |  |
|  | SUPERFROST SLIDES BLUE | 6776207 |  |  |  |  |
|  | SUPERFROST SLIDES YELLOW | 6776208 |  |  |  |  |
|  | SUPERFROST SLIDES ORANGE | 6776209 |  |  |  |  |
|  | SUPERFROST SLIDES GREEN | 6776210 |  |  |  |  |
|  | SUPERFROST SLIDES WHITE | 6776211 |  |  |  |  |
|  | SUPERFROST SLIDES PINK | 6776213 |  |  |  |  |
|  | SUPERFROST PLUS SLIDES | 6776214 |  |  |  |  |
|  | POLYSINE COATED SLIDES - | 6776215 |  |  |  |  |
|  | POLYSINE COATED SLIDES - | 6776215CS |  |  |  |  |
|  | POLYSINE COATED SLIDES - | 6776216 |  |  |  |  |
|  | SUPERFROST SLIDES | 6776221 |  |  |  |  |
|  | COVERSLIP 22x22x1.5mm - | 6776301 |  |  |  |  |
|  | COVERSLIP 22x32x1.5mm - | 6776303 |  |  |  |  |
|  | COVERSLIP 22x40x1.5mm - | 6776304 |  |  |  |  |
|  | COVERSLIP 24x40x1.5mm - | 6776306 |  |  |  |  |
|  | COVERSLIP 24x50x1.5mm - | 6776307 |  |  |  |  |
|  | COVERSLIP 24x60x1.5mm - | 6776308 |  |  |  |  |
|  | COVERSLIP 22x22x1mm - | 6776309 |  |  |  |  |
|  | COVERSLIP 22x22x2mm - | 6776310 |  |  |  |  |
|  | COVERSLIP 22x26x1.5mm - | 6776311 |  |  |  |  |
|  | COVERSLIP 22x32x1mm - | 6776312 |  |  |  |  |
|  | COVERSLIP 22x40x1mm - | 6776313 |  |  |  |  |
|  | COVERSLIP 22x50x1mm - | 6776314 |  |  |  |  |
|  | COVERSLIP 22x50x1.5mm - | 6776315 |  |  |  |  |
|  | COVERSLIP 18x18x1mm - | 6776316 |  |  |  |  |
|  | COVERSLIP 24x24x1mm - | 6776317 |  |  |  |  |
|  | COVERSLIP 24x32x1mm - | 6776318 |  |  |  |  |
|  | COVERSLIP 24x40x1mm - | 6776319 |  |  |  |  |
|  | COVERSLIP 22x26x1mm - | 6776320 |  |  |  |  |
|  | COVERSLIP 22x64x1mm - | 6776321 |  |  |  |  |
|  | COVERSLIP 24x50x1mm - | 6776322 |  |  |  |  |
|  | COVERSLIP 22x60x1.5mm - | 6776323 |  |  |  |  |
|  | COVERSLIP 22x60x1mm - | 6776324 |  |  |  |  |
|  | COVERSLIP 24x60x1mm - | 6776325 |  |  |  |  |
|  | CLEAR-RITE 3 4x1 GAL | 6901 |  |  |  |  |
|  | CITADEL 2000 | 69800004 |  |  |  |  |
|  | CENTRE ENGINE ASSY | 69810001 |  |  |  |  |
|  | 2L HDPE CONTAINER ASSY | 69810018 |  |  |  |  |
|  | 1L HDPE CONTAINER ASSY | 69810019 |  |  |  |  |
|  | VACUUM UNIT | 69810024 |  |  |  |  |
|  | VACUUM UNIT | 69810025 |  |  |  |  |
|  | 1L ORG BASKET KIT ASSY | 69810029 |  |  |  |  |
|  | 2L ORG BASKET KIT ASSY | 69810030 |  |  |  |  |
|  | BASKET LID ASSY | 69810031 |  |  |  |  |
|  | 1L RANDOM CURETTING BSKT | 69810034 |  |  |  |  |
|  | 2L RANDOM CURETTING BSKT | 69810035 |  |  |  |  |
|  | 1L BSKT HANGER ASSY | 69810036 |  |  |  |  |
|  | OPERATOR GUIDE | 69810040 |  |  |  |  |
|  | CITADEL 1000 WAX BATH | 69810050 |  |  |  |  |
|  | CITADEL 2000 WAX BATH | 69810051 |  |  |  |  |
|  | CITADEL 2000 WAX BATH | 69810053 |  |  |  |  |
|  | MOTOR ASSY | 69810055 |  |  |  |  |
|  | EVAPORATION SHIELD ASSY | 69810058 |  |  |  |  |
|  | TRANSFORMER ASSY | 69810059 |  |  |  |  |
|  | INDEX ARM ASSY | 69810069 |  |  |  |  |
|  | VALVE COMP VAC UNIT ASSY | 69810082 |  |  |  |  |
|  | SERVICE MANUAL | 69810095 |  |  |  |  |
|  | 2L STST REAGENT CONT ASS | 69810131 |  |  |  |  |
|  | OPERATOR GUIDE | 69810140 |  |  |  |  |
|  | SOLENOID ASSY | 69820015 |  |  |  |  |
|  | RIBBON CABLE | 69820034 |  |  |  |  |
|  | MAIN PCB TO SENSOR PCB. | 69820048 |  |  |  |  |
|  | 25 CASS ORGANISER BASKET | 69820126 |  |  |  |  |
|  | THERMISTOR COMP ASSY | 69820254 |  |  |  |  |
|  | MAINS CONNECTOR D/DETAIL | 69820286 |  |  |  |  |
|  | LOCATION BUTTON | 69830022 |  |  |  |  |
|  | SPRING CLIP - DOOR CATCH | 69830048 |  |  |  |  |
|  | INDEX ARM ROLLER | 69830116 |  |  |  |  |
|  | LINK ARM PIVOT PIN | 69830120 |  |  |  |  |
|  | CAM CODE DISC | 69830121 |  |  |  |  |
|  | CAM SEAL WASHER | 69830133 |  |  |  |  |
|  | FIX BLOCK HEAD TOP PLATE | 69830183 |  |  |  |  |
|  | SLIDE SEAL | 69830246 |  |  |  |  |
|  | HAND HELD UNIT - ENG | 69830293 |  |  |  |  |
|  | VACUUM SEAL. | 69830388 |  |  |  |  |
|  | CROSS-BAR ROLLER | 69830425 |  |  |  |  |
|  | 240V WAX BATH HEATER | 69830433 |  |  |  |  |
|  | 110V WAX BATH HEATER | 69830434 |  |  |  |  |
|  | THRUST PLATE | 69830449 |  |  |  |  |
|  | W/BATH BASE INSULATION | 69830468 |  |  |  |  |
|  | FUSE 1.25A 230V (GLX) | 7023142 |  |  |  |  |
|  | STANDARD KNIFE CARRIER N | 705010 |  |  |  |  |
|  | FIBRE LIGHT GUIDE | 705020 |  |  |  |  |
|  | KNIFE CARRIER C | 705040 |  |  |  |  |
|  | DISP. BLADE CARRIER E | 705050 |  |  |  |  |
|  | KNIFE CARRIER S | 705070 |  |  |  |  |
|  | DISPOSABLE BLADE CARRIER | 705100 |  |  |  |  |
|  | DISP. BLADE HOLDER | 705200 |  |  |  |  |
|  | BLADE HOLDER ECCENTRIC | 705340 |  |  |  |  |
|  | KNIFE CARRIER SL | 705350 |  |  |  |  |
|  | STD. KNIFE CARRIER NR | 705400 |  |  |  |  |
|  | BLADE HOLDER LOW PROFILE | 705420 |  |  |  |  |
|  | STD. KNIFE CARRIER HM520 | 705460 |  |  |  |  |
|  | DISP. BLADE CARRIER EC | 705470 |  |  |  |  |
|  | BLADE CARRIER | 705520 |  |  |  |  |
|  | KNIFE HOLDER | 705530 |  |  |  |  |
|  | DISPOSABLE BLADE CARRIER | 705580 |  |  |  |  |
|  | BLADE CARRIER | 705600 |  |  |  |  |
|  | BLADE HOLDER | 705610 |  |  |  |  |
|  | DISP. BLADE CARRIER EC-70 | 705630 |  |  |  |  |
|  | STD. KNIFE CARRIER N | 705670 |  |  |  |  |
|  | STD KNIFE CARRIER | 705700 |  |  |  |  |
|  | DISPOSABLE BLADE HOLDER | 705710 |  |  |  |  |
|  | DISPOSABLE BLADE HOLDER | 705720 |  |  |  |  |
|  | DISPOSABLE BLADE HOLDER | 705800 |  |  |  |  |
|  | BLADE HOLDER C | 705810 |  |  |  |  |
|  | BLASE HOLDER N | 705820 |  |  |  |  |
|  | DISPOSABLE BLADE HOLDER | 705830 |  |  |  |  |
|  | LOW PROFILE BLADE HOLDER | 705840 |  |  |  |  |
|  | BLADE HOLDER | 705847 |  |  |  |  |
|  | HIGH PROFILE BLADE HOLDER | 705940 |  |  |  |  |
|  | KNIFE CARRIER NX70 | 705950 |  |  |  |  |
|  | STAIN EOSIN-Y 4x0.47L | 7111 |  |  |  |  |
|  | STAIN EOSIN-Y ALCOHOLIC | 71211 |  |  |  |  |
|  | STAIN EOSIN-Y W/PHLOXINE | 71311 |  |  |  |  |
|  | STD. CLAMP ROTARY | 715010 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 715020 |  |  |  |  |
|  | FOIL CLAMP FITTED | 715030 |  |  |  |  |
|  | FOIL CLAMP FOR USE WITH | 715040 |  |  |  |  |
|  | STD. SPECIMEN CLAMP | 715050 |  |  |  |  |
|  | UNIVERSAL SPECIMEN HOLDER | 715060 |  |  |  |  |
|  | INSERT FOR ROUND SPECIMEN | 715070 |  |  |  |  |
|  | INSERT FOR ROUND SPECIMEN | 715090 |  |  |  |  |
|  | V-INSERT STD. SPECIMEN | 715100 |  |  |  |  |
|  | SPECIMEN CHUCK | 715110 |  |  |  |  |
|  | SPECIMEN CHUCK | 715120 |  |  |  |  |
|  | STANDARD SPECIMEN CLAMP | 715130 |  |  |  |  |
|  | SPECIMEN CLAMP | 715140 |  |  |  |  |
|  | FOIL CLAMP | 715150 |  |  |  |  |
|  | SPECIMEN CHUCK | 715160 |  |  |  |  |
|  | SPECIMEN CHUCK | 715170 |  |  |  |  |
|  | SPECIMEN CHUCK | 715180 |  |  |  |  |
|  | O-ORIENTATION FORK | 715200 |  |  |  |  |
|  | SPECIMEN STAGE 30mm | 715220 |  |  |  |  |
|  | SPECIMEN STAGE 40mm | 715230 |  |  |  |  |
|  | INSERT FOR ROUND SPECIMEN | 715280 |  |  |  |  |
|  | V-DISTANCE PIECE | 715320 |  |  |  |  |
|  | 30mm SPECIMEN STAGE | 715360 |  |  |  |  |
|  | 40mm SPECIMEN STAGE | 715370 |  |  |  |  |
|  | DRY ICE TRAY | 715400 |  |  |  |  |
|  | DRY ICE TRAY (SPECIMEN | 715410 |  |  |  |  |
|  | DRY ICE TRAY | 715420 |  |  |  |  |
|  | SPECIMEN CHUCK | 715450 |  |  |  |  |
|  | SPECIMEN CHUCK | 715460 |  |  |  |  |
|  | STANDARD SPECIMEN CLAMP | 715470 |  |  |  |  |
|  | STANDARD SPECIMEN CLAMP | 715480 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 715490 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 715500 |  |  |  |  |
|  | UNI CASSETTE CLAMP | 715510 |  |  |  |  |
|  | SPECIMEN CHUCK 20mm | 715530 |  |  |  |  |
|  | STD. SPECIMEN CLAMP | 715550 |  |  |  |  |
|  | QUICK RELEASE CLAMP | 715560 |  |  |  |  |
|  | ROUND SPECIMEN CLAMP | 715580 |  |  |  |  |
|  | SEGMENT ARC | 715590 |  |  |  |  |
|  | SPECIMEN CHUCK 30mm DIA | 715600 |  |  |  |  |
|  | SPECIMEN CHUCK 40mm DIA | 715610 |  |  |  |  |
|  | SPECIMEN CHUCK 60mm DIA | 715620 |  |  |  |  |
|  | SPECIMEN CHUCKS 50x50mm | 715630 |  |  |  |  |
|  | SPECIMEN CHUCKS 75x50mm | 715640 |  |  |  |  |
|  | FREEZING DISC 40mm | 715690 |  |  |  |  |
|  | SPECIMEN CHUCKS 20mm | 715700 |  |  |  |  |
|  | SPECIMEN CHUCKS 30mm | 715710 |  |  |  |  |
|  | SPECIMEN CHUCKS 40mm | 715720 |  |  |  |  |
|  | SPECIMEN CHUCKS 50x50mm | 715730 |  |  |  |  |
|  | SPECIMEN CHUCKS 50x55mm | 715740 |  |  |  |  |
|  | SPECIMEN CHUCKS 60x55mm | 715750 |  |  |  |  |
|  | SPECIMEN CHUCKS 70x55mm | 715760 |  |  |  |  |
|  | B SPECIMEN STAGE | 715800 |  |  |  |  |
|  | F SPECIMEN STAGE | 715810 |  |  |  |  |
|  | K SPECIMEN STAGE | 715820 |  |  |  |  |
|  | SPECIMEN CHUCK FS | 715840 |  |  |  |  |
|  | CHUCK | 715860 |  |  |  |  |
|  | SPECIMEN CHUCK 30mm RED | 715870 |  |  |  |  |
|  | SPECIMEN CHUCK 30mm GREEN | 715880 |  |  |  |  |
|  | SPECIMEN CHUCK 30mm BLUE | 715890 |  |  |  |  |
|  | SPECIMEN CHUCK 30mm GOLD | 715900 |  |  |  |  |
|  | STD SPECIMEN CLAMP | 716010 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 716050 |  |  |  |  |
|  | QUICK RELEASE CLAMP FOR | 716090 |  |  |  |  |
|  | UNI CASSETTE CLAMP | 716100 |  |  |  |  |
|  | UNI CASSETTE CLAMP | 716110 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 716120 |  |  |  |  |
|  | ADJUSTABLE UNIVERSAL | 716130 |  |  |  |  |
|  | UNIVERSAL CASSETTE CLAMP | 716150 |  |  |  |  |
|  | HEMATOXYLIN 7211 4x 1pt | 7211 |  |  |  |  |
|  | COVERPLATE (PK250) | 72110013 |  |  |  |  |
|  | COVERPLATE (PK25) | 72110017 |  |  |  |  |
|  | RESET SWITCH C/FORM ASSY | 72120108 |  |  |  |  |
|  | HEMATOXYLIN 2 4x1pt | 7231 |  |  |  |  |
|  | BLUING REAGENT 3.8L | 7301 |  |  |  |  |
|  | CASSETTE RACK ASSY | 73310017 |  |  |  |  |
|  | OVERFILL SENSOR CAP ASSY | 73910136 |  |  |  |  |
|  | REAGENT BOTTLE CAP - PK3 | 73910265 |  |  |  |  |
|  | SEALED HEAD LID ASSY | 74010103 |  |  |  |  |
|  | LOCKING DEVICE KIT | 74010104 |  |  |  |  |
|  | CLARIFIER 2 3.8L | 7402 |  |  |  |  |
|  | TRANSFORMER ASSY | 74020013 |  |  |  |  |
|  | CHARCOAL FILTERS PK 6 | 7411258 |  |  |  |  |
|  | COVERSLIP 24x40x1mm - | 7411270 |  |  |  |  |
|  | COVERSLIP 24x50x1mm - | 7411271 |  |  |  |  |
|  | COVERSLIP 24x60x1mm - | 7411272 |  |  |  |  |
|  | COVERSLIP 22x40x1mm - | 7411273 |  |  |  |  |
|  | COVERSLIP 22x50x1mm - | 7411274 |  |  |  |  |
|  | COVERSLIP 22x60x1mm - | 7411275 |  |  |  |  |
|  | COVERSLIP 24x40x1.5mm - | 7411276 |  |  |  |  |
|  | COVERSLIP 24x50x1.5mm - | 7411277 |  |  |  |  |
|  | COVERSLIP 24x60x1.5mm - | 7411278 |  |  |  |  |
|  | COVERSLIP 22x40x1.5mm - | 7411279 |  |  |  |  |
|  | COVERSLIP 22x50x1.5mm - | 7411280 |  |  |  |  |
|  | COVERSLIP 22x60x1.5mm - | 7411281 |  |  |  |  |
|  | COVERSLIP 24x55x1.5 | 7411282 |  |  |  |  |
|  | FRONT PANEL ASSY | 74210010 |  |  |  |  |
|  | TOP COVER ASSY | 74210020 |  |  |  |  |
|  | INDEX MOTOR 50/60HZ ASSY | 74210042 |  |  |  |  |
|  | TRANSFORMER ASSY | 74210043 |  |  |  |  |
|  | LIFT ARM ASSY | 74210070 |  |  |  |  |
|  | OPERATOR GUIDE | 74210099 |  |  |  |  |
|  | QUICK RELEASE SKT ASSY | 74210110 |  |  |  |  |
|  | QUICK RELEASE PLUG ASSY | 74210111 |  |  |  |  |
|  | SAKURA/ MESSEI BASKET - | 74210121 |  |  |  |  |
|  | AGITATE MOTOR ASSY | 74210165 |  |  |  |  |
|  | LIFT MOTOR ASSY | 74210166 |  |  |  |  |
|  | HV C/FORM ASSY | 74220024 |  |  |  |  |
|  | DECK LOCKING PIN ASSY | 74220042 |  |  |  |  |
|  | WATER W/TANK POP RIVETED | 74220050 |  |  |  |  |
|  | MAIN JOURNAL ASSY | 74220072 |  |  |  |  |
|  | PCB - V24-4K | 74220086 |  |  |  |  |
|  | LIFT MOTOR - PINNED | 74220103 |  |  |  |  |
|  | AGITATE MOTOR - PINNED | 74220104 |  |  |  |  |
|  | BALL UNIT GASKET | 74230005 |  |  |  |  |
|  | MAIN COLUMN | 74230025 |  |  |  |  |
|  | CONTROL PANEL | 74230040 |  |  |  |  |
|  | MAINS INPUT UNIT ASSY | 74420010 |  |  |  |  |
|  | THERMOSTAT ASSY GLX MBS | 7472401 |  |  |  |  |
|  | SIGNATURE SERIES | 7511 |  |  |  |  |
|  | REACTION DOOR ASSY | 75210075 |  |  |  |  |
|  | WAX DRAIN CONTAINER ASSY | 75210147 |  |  |  |  |
|  | BOTTLE CONNECTOR SEALS - | 75210148 |  |  |  |  |
|  | WAX VESSEL SEALS - PK4 | 75210149 |  |  |  |  |
|  | OPERATOR GUIDE | 75210150 |  |  |  |  |
|  | LABEL | 75210152 |  |  |  |  |
|  | R/VESSEL FILTER - PK2 | 75210154 |  |  |  |  |
|  | REACTION VESSEL SEAL | 75210157 |  |  |  |  |
|  | WAX DRAIN CAP ASSY | 75210160 |  |  |  |  |
|  | WAX DISPOSAL BAG - PK10 | 75210161 |  |  |  |  |
|  | RANDOM CASSETTE BASKET | 75210165 |  |  |  |  |
|  | R/VESSEL FILTER - PK2 | 75210168 |  |  |  |  |
|  | 110V PUMP RETROFIT KIT | 75210170 |  |  |  |  |
|  | 240V PUMP RETROFIT KIT | 75210171 |  |  |  |  |
|  | PAPANICOLAOU STAIN OG-6 | 75211 |  |  |  |  |
|  | PRESSURE TRANSDUCER ASSY | 75220001 |  |  |  |  |
|  | VALVE ENCODER TO E/BOX | 75220006 |  |  |  |  |
|  | POWER SUPPLY -CALIBRATED | 75220052 |  |  |  |  |
|  | FAN ASSY | 75220078 |  |  |  |  |
|  | DIGITAL SENSOR ASSY | 75220083 |  |  |  |  |
|  | MAINS INLET ASSY | 75220087 |  |  |  |  |
|  | WAX HEATER ASSY | 75220104 |  |  |  |  |
|  | DIGITAL SENSOR W/BATH | 75220108 |  |  |  |  |
|  | W/BATH HEATERS - JOINED | 75220110 |  |  |  |  |
|  | REACTION HEATER BAND | 75220166 |  |  |  |  |
|  | OVERFILL SENSOR ASSY | 75220170 |  |  |  |  |
|  | 240V AGITATE MOTOR ASSY | 75220172 |  |  |  |  |
|  | 110V AGITATE MOTOR ASSY | 75220173 |  |  |  |  |
|  | R/VESSEL DIGITAL SENSOR | 75220175 |  |  |  |  |
|  | WAX DRAIN SPOUT | 75220417 |  |  |  |  |
|  | PRCU LEAD | 75220418 |  |  |  |  |
|  | BASKET HANDLE ASSY | 75220419 |  |  |  |  |
|  | EXT MODULE DATA LEAD | 75220586 |  |  |  |  |
|  | TOUCH PANEL COMMAND | 75230025 |  |  |  |  |
|  | WAX TANK MANIFOLD GASKET | 75230148 |  |  |  |  |
|  | MALE BOTTLE CONNECTOR | 75230592 |  |  |  |  |
|  | VITON LID SEAL | 75230681 |  |  |  |  |
|  | ANCILLARY LENSE 0.63x | 755030 |  |  |  |  |
|  | ZEISS STEMI 2000 | 755050 |  |  |  |  |
|  | PAPANICOLAOU STAIN EA-50 | 75511 |  |  |  |  |
|  | STEREOMICROSCOPE ZEISS | 755210 |  |  |  |  |
|  | LARGE FIELD MAGNIFIER | 760160 |  |  |  |  |
|  | LARGE FIELD MAGNIFIER | 760170 |  |  |  |  |
|  | 6-SPOT ILLUMINATION | 760200 |  |  |  |  |
|  | KL 200 COLD LIGHT SOURCE | 760307 |  |  |  |  |
|  | SWAN-NECK LIGHT GUIDE | 760320 |  |  |  |  |
|  | SACCOMANNO FIXATIVE 4XLGL | 76161 |  |  |  |  |
|  | COOL-CUT WITH UCC | 771110 |  |  |  |  |
|  | COOL-CUT WITH STD. | 771120 |  |  |  |  |
|  | COOL-CUT COUNTERWEIGHT | 771160 |  |  |  |  |
|  | SECTION TRANSFER SYSTEM | 771200 |  |  |  |  |
|  | TRACK ASSY | 77120018 |  |  |  |  |
|  | ECCENTRIC SHAFT ASSY | 77120020 |  |  |  |  |
|  | CRYO BAR ASSY | 77210023 |  |  |  |  |
|  | CRYOBAR STAMP ASSY | 77210027 |  |  |  |  |
|  | MILLED CRYOCASSETTE - | 77210080 |  |  |  |  |
|  | MEMBRANE GAITER/CLAMP KIT | 77210103 |  |  |  |  |
|  | RETROFIT KIT - | 77210105 |  |  |  |  |
|  | ANTI-ROLL PLATE KIT | 77210108 |  |  |  |  |
|  | SME CRYOCASSETTE - | 77210150 |  |  |  |  |
|  | SME CRYOCASSETTE - | 77210151 |  |  |  |  |
|  | SME CRYOCASSETTE - | 77210152 |  |  |  |  |
|  | SME CRYOCASSETTE - | 77210153 |  |  |  |  |
|  | SME CRYOCASSETTE RANGE - | 77210154 |  |  |  |  |
|  | OPERATOR GUIDE | 77210160 |  |  |  |  |
|  | OPERATOR GUIDE | 77210163 |  |  |  |  |
|  | SERVICE MANUAL | 77210166 |  |  |  |  |
|  | LP BLADE TRANSPORTER | 77220019 |  |  |  |  |
|  | HP BLADE TRANSPORTER | 77220020 |  |  |  |  |
|  | VANE LEAD ASSY | 77220031 |  |  |  |  |
|  | CARTRIDGE HEATER ASSY | 77220032 |  |  |  |  |
|  | FAN TERMINATED 240V | 77220051 |  |  |  |  |
|  | FAN TERMINATED 110V | 77220052 |  |  |  |  |
|  | CRYO H/S TEMP PROBE ASSY | 77220501 |  |  |  |  |
|  | MICROSWITCH ASSY | 77220506 |  |  |  |  |
|  | DISPLAY RIBBON CABLE | 77220513 |  |  |  |  |
|  | CIRCUIT BREAKER ASSY | 77220530 |  |  |  |  |
|  | THERMISTOR ASSY | 77220534 |  |  |  |  |
|  | FLYWHEEL RESET CABLE | 77220536 |  |  |  |  |
|  | CRYOCASSETTE HANDLE ASSY | 77220537 |  |  |  |  |
|  | SME TOUCH PANEL ASSY ENG | 77220735 |  |  |  |  |
|  | MOHS ORGANISER TRAY | 77230046 |  |  |  |  |
|  | CLAMP PLATE | 77230047 |  |  |  |  |
|  | TOP COVER MOULDING | 77230203 |  |  |  |  |
|  | LEADSCREW DRIVE | 77510101 |  |  |  |  |
|  | ME FLYWHEEL HUB ASSY | 77510110 |  |  |  |  |
|  | E FLYWHEEL HUB ASSY | 77510115 |  |  |  |  |
|  | ME CONTROL UNIT | 77510116 |  |  |  |  |
|  | CUTTING MOTOR DRIVE UNIT | 77510125 |  |  |  |  |
|  | E CONTROL UNIT | 77510126 |  |  |  |  |
|  | DISPOSABLE BLADE HOLDER- | 77510142 |  |  |  |  |
|  | FOOTSWITCH | 77510144 |  |  |  |  |
|  | FIXED HEAD ASSY | 77510164 |  |  |  |  |
|  | ORIENTATION HEAD - | 77510166 |  |  |  |  |
|  | 60mm x 55mm VICE | 77510167 |  |  |  |  |
|  | ICE TRAY | 77510174 |  |  |  |  |
|  | COLD TRAY | 77510175 |  |  |  |  |
|  | RESIN CLAMP JB4 | 77510178 |  |  |  |  |
|  | FRONT PANEL DISPLAY - | 77510200 |  |  |  |  |
|  | FLYWHEEL SENSOR PCB | 77510201 |  |  |  |  |
|  | ADVANCE OPTO PCB | 77510202 |  |  |  |  |
|  | BACKLIGHT PCB ASSY | 77510203 |  |  |  |  |
|  | MAIN PROCESSOR PCB | 77510204 |  |  |  |  |
|  | MOTOR DRIVE PCB | 77510205 |  |  |  |  |
|  | STEPPER DRIVE PCB | 77510206 |  |  |  |  |
|  | PSU ASSY | 77510209 |  |  |  |  |
|  | ADVANCE ASSY | 77510210 |  |  |  |  |
|  | COVER MOULDING KIT - ME | 77510211 |  |  |  |  |
|  | DEBRIS TRAY | 77510212 |  |  |  |  |
|  | TOP TRAY | 77510213 |  |  |  |  |
|  | FLYWHEEL ENCODER | 77510215 |  |  |  |  |
|  | DRIVE ASSY KIT | 77510216 |  |  |  |  |
|  | KNIFE HOLDER BASE KIT | 77510217 |  |  |  |  |
|  | TIMING PULLEY KIT | 77510218 |  |  |  |  |
|  | FLYWHEEL KIT | 77510219 |  |  |  |  |
|  | FLYWHEEL LOCKSHAFT KIT | 77510220 |  |  |  |  |
|  | SPUR GEAR KIT | 77510221 |  |  |  |  |
|  | BALLSCREW KIT | 77510222 |  |  |  |  |
|  | PLUNGER KIT | 77510223 |  |  |  |  |
|  | CRANKSHAFT KIT | 77510224 |  |  |  |  |
|  | LINEAR BEARING KIT | 77510226 |  |  |  |  |
|  | ME KEYBOARD KIT | 77510227 |  |  |  |  |
|  | E KEYBOARD KIT | 77510228 |  |  |  |  |
|  | CAGE DRIFT KIT | 77510229 |  |  |  |  |
|  | KNIFE LOCK PIVOT KIT | 77510230 |  |  |  |  |
|  | GASKET KIT | 77510232 |  |  |  |  |
|  | FUSE KIT | 77510233 |  |  |  |  |
|  | TOOL KIT | 77510234 |  |  |  |  |
|  | LINEAR BEARING SETTING | 77510236 |  |  |  |  |
|  | CABLE EXTENDER KIT | 77510237 |  |  |  |  |
|  | COLD POINT LIGHT SOURCE - | 77510252 |  |  |  |  |
|  | ANGLE MEMORY KIT | 77510259 |  |  |  |  |
|  | COLD POINT LIGHT SOURCE- | 77510262 |  |  |  |  |
|  | BEARING HOUSING BONDED | 77520007 |  |  |  |  |
|  | SHUTTER | 77520068 |  |  |  |  |
|  | BEARING MTG PLATE BONDED | 77520082 |  |  |  |  |
|  | KNIFE HOLDER LOCKSHAFT | 77520086 |  |  |  |  |
|  | EMERGENCY STOP ASSY | 77520091 |  |  |  |  |
|  | CONTROL UNIT- | 77520093 |  |  |  |  |
|  | MAIN PCB - | 77520094 |  |  |  |  |
|  | CONTROL UNIT- | 77520095 |  |  |  |  |
|  | SYNC MOTOR - | 77520096 |  |  |  |  |
|  | FLYWHEEL ENCODER LOOM | 77520097 |  |  |  |  |
|  | FPC RIBBON LOOM | 77520098 |  |  |  |  |
|  | BRAKE PAD & LOCKSTUD - | 77520107 |  |  |  |  |
|  | FLYWHEEL ENCODER - | 77520111 |  |  |  |  |
|  | SYNCHRONOUS MOTOR LOOM | 77520116 |  |  |  |  |
|  | CLAMP LEVER BONDED | 77520125 |  |  |  |  |
|  | CLAMP SCREW ASSY | 77520134 |  |  |  |  |
|  | MAINS INLET ASSY | 77520137 |  |  |  |  |
|  | CRANK ARM WELDED | 77520170 |  |  |  |  |
|  | STEPPER PCB - | 77520172 |  |  |  |  |
|  | PROCESSOR - | 77520174 |  |  |  |  |
|  | LOCKING STUD | 77530078 |  |  |  |  |
|  | RALPH KNIFE CLAMP 38mm | 77530118 |  |  |  |  |
|  | LOCKING SCREW LONG | 77530189 |  |  |  |  |
|  | LOCKING SCREW SHORT | 77530190 |  |  |  |  |
|  | RALPH KNIFE CLAMP 25mm | 77530196 |  |  |  |  |
|  | HOT FOIL TAPE KIT | 77910020 |  |  |  |  |
|  | HEATER HMS 230V | 7879091 |  |  |  |  |
|  | STP 120-1 SPIN TISSUE | 813140 |  |  |  |  |
|  | STP 120-2 SPIN TISSUE | 813150 |  |  |  |  |
|  | STP 120-3 SPIN TISSUE | 813160 |  |  |  |  |
|  | WASTE WAX DRAWER | 8300 |  |  |  |  |
|  | CITRUS CLEARING SOLVENT | 8301 |  |  |  |  |
|  | CYTOCOOL II 12x325ml | 8323 |  |  |  |  |
|  | ICE-IT RAPID FREEZING | 8325 |  |  |  |  |
|  | PARAFFIN W/DRAWER KIT | 8334K |  |  |  |  |
|  | PARRAFFIN TYPE 3 10x2lb | 8335 |  |  |  |  |
|  | PARRAFFIN W/SRAWER KIT | 8335K |  |  |  |  |
|  | PARAFFIN TYPE 6 10x2lb | 8336 |  |  |  |  |
|  | PARAFFIN W/DRAWER KIT | 8336K |  |  |  |  |
|  | PARAFFIN W/DRAWER KIT | 8337K |  |  |  |  |
|  | ALCIAN BLUE KIT | 87023 |  |  |  |  |
|  | SCHIFF REAGENT 500ml | 88017 |  |  |  |  |
|  | HM325 ROTARY MICROTOME E | 901140 |  |  |  |  |
|  | HM325 ROTARY MICROTOME | 902100 |  |  |  |  |
|  | HM325 ROTARY MICROTOME E | 902100A |  |  |  |  |
|  | HM325 ROTARY MICROTOME ER | 902100ER |  |  |  |  |
|  | HM 340 E MICROTOME | 905190 |  |  |  |  |
|  | HM340 ROTARY MICROTOME E | 905190A |  |  |  |  |
|  | HM340 ROTARY MICROTOME ER | 905190ER |  |  |  |  |
|  | HM 355S MICROTOME | 905200 |  |  |  |  |
|  | HM355 S MICROTOME E | 905200A |  |  |  |  |
|  | HM355 S MICROTOME ER | 905200ER |  |  |  |  |
|  | HM355 S MICROTOME STS | 905200STS |  |  |  |  |
|  | HM 430 SLIDING MICROTOME | 910010 |  |  |  |  |
|  | HM 450 SLIDING MICROTOME | 910020 |  |  |  |  |
|  | HM525 NX CRYOSTAT | 956640 |  |  |  |  |
|  | HM525 NX CRYOSTAT | 956640EC70 |  |  |  |  |
|  | HM525 NX UV CRYOSTAT | 956641 |  |  |  |  |
|  | HM525 NX UV CRYOSTAT | 956641EC70 |  |  |  |  |
|  | HM525 NX CRYOSTAT | 956650 |  |  |  |  |
|  | HM525 NX CRYOSTAT | 956650EC70 |  |  |  |  |
|  | HM525 NX UV CRYOSTAT | 956651 |  |  |  |  |
|  | HM525 NX UV CRYOSTAT | 956651EC70 |  |  |  |  |
|  | NX70 CRYOSTAR 100V | 956960 |  |  |  |  |
|  | NX70 CRYOSTAR 100V | 956960L |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 956970 |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 956970L |  |  |  |  |
|  | NX70 CRYOSTAR WITH | 956980 |  |  |  |  |
|  | NX70 CRYOSTAR WITH | 956980L |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 956990 |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 956990L |  |  |  |  |
|  | NX70 CRYOSTAR 110-120V | 957000 |  |  |  |  |
|  | NX70 CRYOSTAR 110-120V | 957000L |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 957010 |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 957010L |  |  |  |  |
|  | NX70 CRYOSTAR WITH | 957020 |  |  |  |  |
|  | NX70 CRYOSTAR WITH | 957020L |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 957030 |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 957030L |  |  |  |  |
|  | NX70 CRYOSTAR 220-230V | 957040 |  |  |  |  |
|  | NX70 CRYOSTAR 220-230V | 957040L |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 957050 |  |  |  |  |
|  | NX70 CRYOSTAT WITH COLD D | 957050L |  |  |  |  |
|  | NX70 CRYOSTAR WITH | 957060 |  |  |  |  |
|  | NX70 CRYOSTAR WITH | 957060L |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 957070 |  |  |  |  |
|  | NX70 CRYOSTAR WITH COLD D | 957070L |  |  |  |  |
|  | NX50 CRYOSTAR OPHD | 957080 |  |  |  |  |
|  | NX50 CRYOSTAR OPHD | 957080L |  |  |  |  |
|  | NX50 CRYOSTAR OPHVD | 957090 |  |  |  |  |
|  | NX50 CRYOSTAR OPHVD | 957090L |  |  |  |  |
|  | NX50 CRYOSTAR OPD | 957100 |  |  |  |  |
|  | NX50 CRYOSTAR OPD | 957100L |  |  |  |  |
|  | NX50 CRYOSTAR OPHD | 957110 |  |  |  |  |
|  | NX50 CRYOSTAR OPHD | 957110L |  |  |  |  |
|  | NX50 CRYOSTAR OPDV | 957120 |  |  |  |  |
|  | NX50 CRYOSTAR OPDV | 957120L |  |  |  |  |
|  | NX50 CRYOSTAR OPHVD | 957130 |  |  |  |  |
|  | NX50 CRYOSTAR OPHVD | 957130L |  |  |  |  |
|  | NX50 CRYOSTAR OPD | 957140 |  |  |  |  |
|  | NX50 CRYOSTAR OPD | 957140L |  |  |  |  |
|  | NX50 CRYOSTAR OPHD | 957150 |  |  |  |  |
|  | NX50 CRYOSTAR OPHD | 957150L |  |  |  |  |
|  | NX50 CRYOSTAR OPDV | 957160 |  |  |  |  |
|  | NX50 CRYOSTAR OPDV | 957160L |  |  |  |  |
|  | NX50 CRYOSTAR OPHV | 957170 |  |  |  |  |
|  | NX50 CRYOSTAR OPHV | 957170L |  |  |  |  |
|  | NX50 CRYOSTAR OPH | 957180 |  |  |  |  |
|  | NX50 CRYOSTAR OPH | 957180L |  |  |  |  |
|  | NX50 CRYOSTAR OPHV | 957190 |  |  |  |  |
|  | NX50 CRYOSTAR OPHV | 957190L |  |  |  |  |
|  | NX50 CRYOSTAR OPV | 957200 |  |  |  |  |
|  | NX50 CRYOSTAR OPV | 957200L |  |  |  |  |
|  | NX50 CRYOSTAR OPH | 957210 |  |  |  |  |
|  | NX50 CRYOSTAR OPH | 957210L |  |  |  |  |
|  | NX50 CRYOSTAR OP | 957220 |  |  |  |  |
|  | NX50 CRYOSTAR OP | 957220L |  |  |  |  |
|  | NX50 CRYOSTAR OPHV | 957230 |  |  |  |  |
|  | NX50 CRYOSTAR OPHV | 957230L |  |  |  |  |
|  | NX50 CRYOSTAR OPHVD | 957240 |  |  |  |  |
|  | NX50 CRYOSTAR OPHVD | 957240L |  |  |  |  |
|  | NX50 CRYOSTAR OP | 957250 |  |  |  |  |
|  | NX50 CRYOSTAR OP | 957250L |  |  |  |  |
|  | NX50 CRYOSTAR OPH | 957260 |  |  |  |  |
|  | NX50 CRYOSTAR OPH | 957260L |  |  |  |  |
|  | NX50 CRYOSTAR OPV | 957270 |  |  |  |  |
|  | NX50 CRYOSTAR OPV | 957270L |  |  |  |  |
|  | CTM6 | 970010 |  |  |  |  |
|  | FILTER VAPOUR (CHARCOAL) | 9990610 |  |  |  |  |
|  | FILTER FORMALDEHYDE | 9990612 |  |  |  |  |
|  | CHARCOAL FILTER | 9990615 |  |  |  |  |
|  | PERMANGANATE FILTERS PK2 | 9990850 |  |  |  |  |
|  | MICROSHARP DIAMOND - | 9992006 |  |  |  |  |
|  | "PAD 0.25"" THICK ADHESIVE" | 9996431 |  |  |  |  |
|  | "PAD 0.5"" THICK ADHESIVE" | 9996432 |  |  |  |  |
|  | INSTRUMENT CASE WITH | 9996969 |  |  |  |  |
|  | BUFFER FILTER ASSEMBLY | A00001 |  |  |  |  |
|  | WASTE PUMP FEET KIT ASSY | A00004 |  |  |  |  |
|  | Buffer-Inlet Tubing Assy | A00039 |  |  |  |  |
|  | DI Water-Inlet Tubing Ass | A00040 |  |  |  |  |
|  | TUBING ASSY HAZ WASTE | A00048 |  |  |  |  |
|  | TUBING ASSY NON HAZ WASTE | A00049 |  |  |  |  |
|  | Reagent Probe DAKO | A00144 |  |  |  |  |
|  | ASSY Z ROLLNUT CLAMP RGT | A00147 |  |  |  |  |
|  | WASTE FILTER ASSEMBLY | A00357 |  |  |  |  |
|  | REAGENT TRAY 49 VIALS | A00380 |  |  |  |  |
|  | DAKO UPGRADE KIT 480S | A00415 |  |  |  |  |
|  | SCREW KIT FOR FIELD SERV | A30001 |  |  |  |  |
|  | RUBBER MOULDING | A37020 |  |  |  |  |
|  | HAZ / NON-HAZ DRAIN TUBE | A40001 |  |  |  |  |
|  | HAZ / NON-HAZ DRAIN TUBE | A40002 |  |  |  |  |
|  | PANEL MOUNT COUPLING KIT | A40004 |  |  |  |  |
|  | FITTING KT | A50001 |  |  |  |  |
|  | REAGENT SENSOR CABLE #1 | A60821 |  |  |  |  |
|  | SLIDE DOUBLE FROSTED ENDS | A67761142 |  |  |  |  |
|  | SLIDE DOUBLE FROSTED ENDS | A67761143 |  |  |  |  |
|  | SLIDE PLAIN GRD EDGE 90 | A67761144 |  |  |  |  |
|  | SLIDE PLAIN GRD EDGE 90 | A67761145 |  |  |  |  |
|  | SLIDE SUPERFROST PLUS | A67761223 |  |  |  |  |
|  | SLIDE SUPERFROST PLUS | A67761224 |  |  |  |  |
|  | COVERSLIP CIRCLE 6mm | A67761327 |  |  |  |  |
|  | COVERSLIP CIRCLE 10mm | A67761328 |  |  |  |  |
|  | COVERSLIP | A67761329 |  |  |  |  |
|  | COVERSLIP | A67761330 |  |  |  |  |
|  | COVERSLIP | A67761331 |  |  |  |  |
|  | COVERSLIP | A67761332 |  |  |  |  |
|  | COVERSLIP CIRCLE 12mm | A67761333 |  |  |  |  |
|  | SUPERFROST SLIDE ULTRA | A6776220 |  |  |  |  |
|  | TORQUE LIMITER COMPLETE | A69810045 |  |  |  |  |
|  | VACUUM UNIT | A69810054 |  |  |  |  |
|  | VACUUM PUMP COMPLETE | A69810086 |  |  |  |  |
|  | VACUUM SWITCH SERVICE KIT | A69810088 |  |  |  |  |
|  | CITADEL MOTOR (SPARES) | A69810142 |  |  |  |  |
|  | TENSATOR ASSY (PK 2) | A69810143 |  |  |  |  |
|  | 50HZ EPROM PROGRAMMED | A69810147 |  |  |  |  |
|  | MAIN INDEX UNIT ASSEMBLY | A69810148 |  |  |  |  |
|  | HAND HELD UNIT - (ENG) | A69810149 |  |  |  |  |
|  | HAND HELD UNIT - (GER) | A69810150 |  |  |  |  |
|  | PROCESSOR PCB SPARES KIT | A69810156 |  |  |  |  |
|  | MAIN PCB KIT | A74210074 |  |  |  |  |
|  | FOOT (PK 4) | A74210175 |  |  |  |  |
|  | MICRO SWITCH (PK 3) | A74210176 |  |  |  |  |
|  | SLIDE CARRIER SUPPORT - | A74210177 |  |  |  |  |
|  | SLIDE CARRIER CLIP (PK24) | A74210178 |  |  |  |  |
|  | SLIDE CARRIER SUPPORT - | A74210179 |  |  |  |  |
|  | EVAPORATION SHIELD (PK24) | A74210180 |  |  |  |  |
|  | POLYPROPYLENE PILLAR - | A74210181 |  |  |  |  |
|  | VARISTOR ASSY (RED) (PK3) | A74210182 |  |  |  |  |
|  | CONTACT SUPPRESSOR ASSY - | A74210183 |  |  |  |  |
|  | CAPACITOR ASSY (PK 2) | A74210184 |  |  |  |  |
|  | BATTERY CHARGEABLE 3.6V - | A74210185 |  |  |  |  |
|  | SOLID STATE RELAY (PK 3) | A74210186 |  |  |  |  |
|  | PROXIMITY SWITCH (PK 2) | A74210187 |  |  |  |  |
|  | MEMBRANE REPLACEMENT KIT | A75210172 |  |  |  |  |
|  | BURKERT VALVE/MANIFOLD | A75210174 |  |  |  |  |
|  | ORGANISER BASKET 306 | A75210192 |  |  |  |  |
|  | REAGENT BOTTLE (PK 3) | A75210193 |  |  |  |  |
|  | REAGENT BOTTLE CAP | A75210194 |  |  |  |  |
|  | CENTRE COLUMN SEAL | A75210195 |  |  |  |  |
|  | LCD DRIVER COMPLETE | A75210209 |  |  |  |  |
|  | COMMAND I/F BOARD ASSY | A75210210 |  |  |  |  |
|  | DISPLAY | A75210211 |  |  |  |  |
|  | CONVOLUTED REAGENT TUBE | A75210213 |  |  |  |  |
|  | DOOR PIVOT PIN (PK 4) | A75210214 |  |  |  |  |
|  | THERMOSTAT (PK 2) | A75210215 |  |  |  |  |
|  | HINGE ASSY R/VESSEL LID | A75210219 |  |  |  |  |
|  | PATHCENTRE ANNUAL - | A75210607 |  |  |  |  |
|  | REACTION IF PCB (SPARES | A75210608 |  |  |  |  |
|  | ROTARY VALVE STATOR | A75210610 |  |  |  |  |
|  | LCD & INVERTER | A75210611 |  |  |  |  |
|  | REFURBISHED VALVE | A75210612 |  |  |  |  |
|  | C/DISPLAY PCB ASSY | A77110010 |  |  |  |  |
|  | REPLACEMENT ANTI ROLL - | A77210086 |  |  |  |  |
|  | RETROFIT KIT | A77210087 |  |  |  |  |
|  | LEADSCREW MOTOR ASSY - | A77210088 |  |  |  |  |
|  | LADSCREW ASSY - SPARE | A77210089 |  |  |  |  |
|  | STARTER CAPACITOR 110V - | A77210097 |  |  |  |  |
|  | DISPLAY PCB E | A77210123 |  |  |  |  |
|  | TRAVEL LIMITER PCB ASSY | A77210128 |  |  |  |  |
|  | CRYOCASSETTE VARIETY PACK | A77210155 |  |  |  |  |
|  | HEATER MAT RETROFIT KIT | A77210156 |  |  |  |  |
|  | WINDOW LOCK REPLACEMENT | A77210158 |  |  |  |  |
|  | CHAMBER AIR PROBE ASSY | A77210159 |  |  |  |  |
|  | CRANK COMPLETE | A77220570 |  |  |  |  |
|  | BEARING HOUSING BONDED | A77220942 |  |  |  |  |
|  | RESIN CLAMP EBH-2 | A77510181 |  |  |  |  |
|  | HANDWHEEL ALIGNMENT TOOL | A77510243 |  |  |  |  |
|  | CONTROL UNIT DRIVER | A77510246 |  |  |  |  |
|  | TRANSPARENT COVER KIT | A77510247 |  |  |  |  |
|  | H/L PROFILE KNIFE HOLDER | A77510248 |  |  |  |  |
|  | L/P KNIFE HOLDER TOP | A77510269 |  |  |  |  |
|  | MULTI STAGE L/P KNIFE | A77510272 |  |  |  |  |
|  | OPERATOR GUIDE | A77510300 |  |  |  |  |
|  | FOOTSWITCH COMPLETE | A77520179 |  |  |  |  |
|  | REMOTE CONTROL CABLE | A77520224 |  |  |  |  |
|  | STEPPER MOTOR WIRED | A77520232 |  |  |  |  |
|  | LOW PROFILE DISP. BLADE | A77530245 |  |  |  |  |
|  | HIGH PROFILE DISP. BLADE | A77530249 |  |  |  |  |
|  | CENTRE ENGINE/PULLEY | A78010003 |  |  |  |  |
|  | INDEX OPTO DISC ASSY | A78010011 |  |  |  |  |
|  | LIFT OPTO DISC ASSY | A78010021 |  |  |  |  |
|  | WATER WASH POT COMPLETE | A78010201 |  |  |  |  |
|  | WATER WASH PLUMBING UNIT | A78010222 |  |  |  |  |
|  | STATIC WATER WASH STATION | A78010226 |  |  |  |  |
|  | TOP COVER COMPLETE | A78010250 |  |  |  |  |
|  | MAIN ACCESS DOOR L.H. | A78010270 |  |  |  |  |
|  | MAIN ACCESS DOOR R.H. | A78010271 |  |  |  |  |
|  | POWER SUPPLY PCB RETRO | A78010356 |  |  |  |  |
|  | SERVICE MANUAL | A78010403 |  |  |  |  |
|  | SAKURA CARRIER (PK OF 5) | A78010404 |  |  |  |  |
|  | GEMINI SOFTWARE KIT | A78010405 |  |  |  |  |
|  | BATTERY CHARGED & TESTED | A78010407 |  |  |  |  |
|  | PROCESSOR PCB KIT | A78010450 |  |  |  |  |
|  | MOTOR DRIVE PCB KIT | A78010452 |  |  |  |  |
|  | UPPER SLIDING DOOR KIT | A78010453 |  |  |  |  |
|  | LOWER SLIDING DOOR KIT | A78010454 |  |  |  |  |
|  | INTERCONNECT PCB KIT | A78010455 |  |  |  |  |
|  | INDEX QUADRATURE SENSOR - | A78010456 |  |  |  |  |
|  | Z AXIS QUADRATURE SENSOR- | A78010457 |  |  |  |  |
|  | WATER WASH INLET KIT | A78010459 |  |  |  |  |
|  | TURNTABLE SERVICE KIT | A78010460 |  |  |  |  |
|  | MANIFOLD KIT | A78010461 |  |  |  |  |
|  | PICKUP ARM ASSY KIT | A78010462 |  |  |  |  |
|  | WATER WASH COUPLING KIT | A78010463 |  |  |  |  |
|  | FASTENER KIT | A78010464 |  |  |  |  |
|  | MISCALLANEOUS SPARES KIT | A78010465 |  |  |  |  |
|  | BASKET AND CARRIER | A78010466 |  |  |  |  |
|  | VENT ADAPTOR KIT | A78010467 |  |  |  |  |
|  | INDEX MOTOR COMPLETE | A78010471 |  |  |  |  |
|  | INDEX MOTOR ELECTRICAL | A78010472 |  |  |  |  |
|  | Z AXIS MOTOR COMPLETE | A78010473 |  |  |  |  |
|  | Z AXIS MOTOR ELECTRICAL | A78010474 |  |  |  |  |
|  | Z AXIS COMPLETE | A78010475 |  |  |  |  |
|  | SLIDING DOOR RAIL KIT | A78010476 |  |  |  |  |
|  | FRONT ELECTRONICS TRAY | A78010479 |  |  |  |  |
|  | LEADSCREW & BOTTOM | A78010481 |  |  |  |  |
|  | LINEAR RAIL | A78010482 |  |  |  |  |
|  | REAGENT POT (PK OF 3) | A78010487 |  |  |  |  |
|  | MULTI REAGENT POT COVER | A78010488 |  |  |  |  |
|  | SINGLE REAGENT POT COVER | A78010489 |  |  |  |  |
|  | OUTER PANEL - BACK | A78010496 |  |  |  |  |
|  | PSU COVER & TOUCHPANEL | A78010503 |  |  |  |  |
|  | I/O TOUCH PANEL (SPARES | A78010504 |  |  |  |  |
|  | REAGENT POT INSERT | A78010505 |  |  |  |  |
|  | HEATER ELEMENT MODULE | A78010506 |  |  |  |  |
|  | BOOMERANG PCB & GASKET | A78010507 |  |  |  |  |
|  | HEATER DUCT & GASKET | A78010508 |  |  |  |  |
|  | HEATER GASKET KIT | A78010509 |  |  |  |  |
|  | SLIDE RACK ADAPTOR - | A78010510 |  |  |  |  |
|  | VIDEO CARD KIT | A78010511 |  |  |  |  |
|  | PSU PCB KIT | A78010512 |  |  |  |  |
|  | THERMAL FUSE KIT - FS1 | A78010514 |  |  |  |  |
|  | THERMAL FUSE KIT - FS2 | A78010515 |  |  |  |  |
|  | SLIDING DOOR SPARES KIT | A78010519 |  |  |  |  |
|  | ANNUAL SERVICE SPARES KIT | A78010526 |  |  |  |  |
|  | POWER SUPPLY AND | A78010527 |  |  |  |  |
|  | Z MOTOR EARTHLEAD KIT | A78010534 |  |  |  |  |
|  | MAGNETIC SENSOR - LOWER | A78020054 |  |  |  |  |
|  | MAGNETIC SENSOR UPPER | A78020056 |  |  |  |  |
|  | HOME SENSOR CABLEFORM | A78020057 |  |  |  |  |
|  | AXIAL FAN COMPLETE | A78020058 |  |  |  |  |
|  | PSU SPEAKER ASSY | A78020069 |  |  |  |  |
|  | HEATER FAN ASSEMBLY | A78020073 |  |  |  |  |
|  | FLOPPY DISK DRIVE DATA | A78020114 |  |  |  |  |
|  | L.H. SENSOR MOUNTING | A78020127 |  |  |  |  |
|  | TOP BEARING BLOCK PRESSED | A78020138 |  |  |  |  |
|  | MAINS INLET COMPLETE | A78020140 |  |  |  |  |
|  | FLOPPY DISK DRIVE POWER | A78020164 |  |  |  |  |
|  | INLET MANIFOLD GASKET | A78030098 |  |  |  |  |
|  | SENSOR COVER PLATE L.H. | A78030119 |  |  |  |  |
|  | SENSOR COVER PLATE R.H. | A78030120 |  |  |  |  |
|  | CENTRAL COVER TOUCH PANEL | A78030124 |  |  |  |  |
|  | SIDE COVER-RIBBON CABLE | A78030125 |  |  |  |  |
|  | CABLE | A78030174 |  |  |  |  |
|  | LEADSCREW NUT | A78030200 |  |  |  |  |
|  | I/O TOUCH PANEL | A78030227 |  |  |  |  |
|  | LOWER INNER WALL | A78030234 |  |  |  |  |
|  | FLYWHEEL ASSEMBLY | A78110012 |  |  |  |  |
|  | RATCHET SYSTEM COMPLETE | A78110013 |  |  |  |  |
|  | FLYWHEEL BRAKE SUB-ASSY | A78110014 |  |  |  |  |
|  | FLYWHEEL HANDLE & SPACER | A78110015 |  |  |  |  |
|  | PAWL CARRIER ASSEMBLY | A78110016 |  |  |  |  |
|  | OPERATOR GUIDE | A78110100 |  |  |  |  |
|  | SERVICE MANUAL | A78110101 |  |  |  |  |
|  | RATCHET SYSTEM CONROD KIT | A78110405 |  |  |  |  |
|  | TRANSIT KIT - | A78110406 |  |  |  |  |
|  | TOOL KIT | A78110407 |  |  |  |  |
|  | FASTENERS & SPRINGS KIT | A78110408 |  |  |  |  |
|  | ACCESSORY SPARE KIT GUARD | A78110409 |  |  |  |  |
|  | SELECTOR KNOB & SHAFT | A78120004 |  |  |  |  |
|  | TOP COVER LABELLED - | A78120010 |  |  |  |  |
|  | PAWL ASSEMBLY (FINESSE) | A78120027 |  |  |  |  |
|  | ADVANCE/REWIND HANDLE | A78120054 |  |  |  |  |
|  | FRONT TRAY MOULDING | A78130003 |  |  |  |  |
|  | TOP TRAY MOULDING | A78130004 |  |  |  |  |
|  | KNIFE HOLDER BASE PLATE | A78130005 |  |  |  |  |
|  | FLEXIBLE SHAFT LFLEX 5mm | A78130009 |  |  |  |  |
|  | SLIDING FOOTPAD MICROTOME | A78130010 |  |  |  |  |
|  | BRAKE COLLAR | A78130013 |  |  |  |  |
|  | PCB SUPPORT BLOCK | A78130015 |  |  |  |  |
|  | ADDITIONAL HOPPER HOLDER | A78210002 |  |  |  |  |
|  | COLLECTION GUIDE CHUTE | A78210004 |  |  |  |  |
|  | SLIDE COLLECTION SYSTEM - | A78210050 |  |  |  |  |
|  | SLIDE DISPENSING HOPPER - | A78210051 |  |  |  |  |
|  | SLIDE COLLECTION HOPPER - | A78210052 |  |  |  |  |
|  | DIAMOND STYLUS | A78210053 |  |  |  |  |
|  | RS232 STANDARD CABLE | A78210100 |  |  |  |  |
|  | MECHANISM FOR USE WITH | A78210150 |  |  |  |  |
|  | HOPPER FOR MICROWRITER I | A78210166 |  |  |  |  |
|  | 2D PRINT SPOOLER | A78210250 |  |  |  |  |
|  | FAN | A78240001 |  |  |  |  |
|  | KEYPAD | A78240002 |  |  |  |  |
|  | SOLENOID - PRINT | A78240003 |  |  |  |  |
|  | STEPPER MOTOR - FOIL TAPE | A78240004 |  |  |  |  |
|  | CASSETTE & DRAWER DETECT | A78240005 |  |  |  |  |
|  | LINEAR ACTUATOR MCCLENNAN | A78240006 |  |  |  |  |
|  | STYLUS - CASSETTE MW | A78240007 |  |  |  |  |
|  | CPU BOARD | A78240008 |  |  |  |  |
|  | TRANSFORMER PCB ASSEMBLY | A78240011 |  |  |  |  |
|  | SOLENOID (349-709) | A78240012 |  |  |  |  |
|  | SLIDE & DRAWER DETECT | A78240015 |  |  |  |  |
|  | SLIDE MW MAINS DIST. PCB | A78240016 |  |  |  |  |
|  | VACUUM NOZZLE ASSY SPRING | A78240017 |  |  |  |  |
|  | SLIDE CLAMP ASSY SPRING | A78240018 |  |  |  |  |
|  | VACUUM FILTER ELEMENT | A78240019 |  |  |  |  |
|  | REFLECTIVE SENSOR PRE2004 | A78240022 |  |  |  |  |
|  | STEPPER MOTOR - CAROUSEL | A78240023 |  |  |  |  |
|  | SLIDE CLAMP BAR - RIGHT | A78240024 |  |  |  |  |
|  | SLIDE CLAMP BAR - LEFT | A78240025 |  |  |  |  |
|  | ENGRAVING MOTOR ASSY | A78240026 |  |  |  |  |
|  | VACUUM NOZZLE | A78240027 |  |  |  |  |
|  | PEN SOLENOID SPRING | A78240028 |  |  |  |  |
|  | TAPE DRIVE SPOOL | A78240029 |  |  |  |  |
|  | PACKAGING | A78240031 |  |  |  |  |
|  | GLASS DOOR ASSY - HIGH | A78240032 |  |  |  |  |
|  | COVER LATCH PEG | A78240033 |  |  |  |  |
|  | LINEAR BEARING | A78240035 |  |  |  |  |
|  | TUBE CONNECTS SLIDE - | A78240036 |  |  |  |  |
|  | RESERVOIR BASE HEATING | A78240039 |  |  |  |  |
|  | SILICONE | A78240040 |  |  |  |  |
|  | SILICON INSERT FOR WAX | A78240042 |  |  |  |  |
|  | FILTER PAD (PK 5) - | A78240046 |  |  |  |  |
|  | LID FOR WAX DISPENSER | A78240047 |  |  |  |  |
|  | FUSE FOR MICROWRITER | A78240050 |  |  |  |  |
|  | WAX DISPENSER UPPER TAP | A78240054 |  |  |  |  |
|  | CASSETTE WRITER STYLUS | A78240055 |  |  |  |  |
|  | POWER INLET SLIDE MW | A78240057 |  |  |  |  |
|  | POWER INLET DUST | A78240058 |  |  |  |  |
|  | FEET RUBBER MOUNTS | A78240062 |  |  |  |  |
|  | HINGE FOR 3120202 | A78240069 |  |  |  |  |
|  | DUST EXTRACTOR POWERR | A78240079 |  |  |  |  |
|  | STUD PARALLEL - SLIDE | A78240080 |  |  |  |  |
|  | FOOT ASSEMBLY | A78240082 |  |  |  |  |
|  | GAS SPRING SHOCK ABSORBER | A78240083 |  |  |  |  |
|  | SENSOR | A78240086 |  |  |  |  |
|  | BRACKET GAS SPRING F/DOOR | A78240093 |  |  |  |  |
|  | Fuse 8A F/B3120202 | A78240095 |  |  |  |  |
|  | SENSOR THERMOCOUPLE | A78240099 |  |  |  |  |
|  | TAPE ROLLER ASSEMBLY | A78240101 |  |  |  |  |
|  | MAINS INPUT MODULE 10 AMP | A78240103 |  |  |  |  |
|  | MAINS FILTER - CAROUSEL | A78240104 |  |  |  |  |
|  | MES SLIDE CLAMP BRUSH | A78240107 |  |  |  |  |
|  | CLAMP ENGRAVER MOTOR | A78240109 |  |  |  |  |
|  | CLIP - SLIDE WRITER | A78240110 |  |  |  |  |
|  | LINEAR ACTUATOR - SLIDE | A78240112 |  |  |  |  |
|  | SLIDE MW FRONT PANEL | A78240115 |  |  |  |  |
|  | FUSE T6.3A | A78240117 |  |  |  |  |
|  | SIDE PLATE & GREEN TAB | A78240118 |  |  |  |  |
|  | CUTOUT CHAMBER 100C - | A78240120 |  |  |  |  |
|  | CONTROLLER (PROGRAMMED) | A78240124 |  |  |  |  |
|  | F246 GLUE | A78240129 |  |  |  |  |
|  | TEMP-CUTOUT 70 DEGREE | A78240134 |  |  |  |  |
|  | COMPRESSOR | A78240146 |  |  |  |  |
|  | FUSE 3.15A | A78240147 |  |  |  |  |
|  | THERMAL CUTOUT 90 DEG C | A78240150 |  |  |  |  |
|  | IEC PLUG FILTER DOUBLE | A78240151 |  |  |  |  |
|  | M4 SPACER 10mm M/F/MALE | A78240157 |  |  |  |  |
|  | TOP COVER - SLIDE | A78240158 |  |  |  |  |
|  | ENGRAVING ASSY BODY | A78240159 |  |  |  |  |
|  | POWER SWITCH | A78240162 |  |  |  |  |
|  | 12V DC POWER SUPPLY | A78240170 |  |  |  |  |
|  | XY CABLES KITS - SLIDE & | A78240172 |  |  |  |  |
|  | POWER SUPPLY PCB - | A78240183 |  |  |  |  |
|  | 250V HEATING ELEMENT | A78240184 |  |  |  |  |
|  | COIL FOR SOLENOID 120V | A78240185 |  |  |  |  |
|  | CYTOSPIN 4 | A78300002 |  |  |  |  |
|  | CYTOSPIN 4 | A78300003 |  |  |  |  |
|  | CYTOSPIN 4 | A78300004 |  |  |  |  |
|  | CYTOSPIN 4 | A78300005 |  |  |  |  |
|  | LID ASSEMBLY | A78310003 |  |  |  |  |
|  | CASE ASSEMBLY | A78310004 |  |  |  |  |
|  | EMERGENCY ACCESS TOOL | A78310007 |  |  |  |  |
|  | MISC.FASTENERS KIT | A78310008 |  |  |  |  |
|  | LID LOCK SPARES KIT | A78310009 |  |  |  |  |
|  | CYTOSPIN 4 | A783-1001 |  |  |  |  |
|  | LID CLOSED DETECT SPARES | A78310010 |  |  |  |  |
|  | LID HINGE SPARES KIT | A78310011 |  |  |  |  |
|  | LID SEAL ASSY SPARES KIT | A78310012 |  |  |  |  |
|  | OUT OF BALANCE SENSOR KIT | A78310013 |  |  |  |  |
|  | MOTOR SPARES KIT | A78310014 |  |  |  |  |
|  | CENTRALISING SPRING KIT | A78310015 |  |  |  |  |
|  | WIRE ROPE MOUNT SPARE KIT | A78310016 |  |  |  |  |
|  | DRIVE BOSS SPARES KIT | A78310017 |  |  |  |  |
|  | PLINTH SPARES KIT | A78310018 |  |  |  |  |
|  | FUSE SPARES KIT | A78310021 |  |  |  |  |
|  | DISPLAY PCB SPARES KIT | A78310022 |  |  |  |  |
|  | PROCESSOR PCB MK II | A78310023 |  |  |  |  |
|  | EPROM PROGRAMMED SPARES | A78310024 |  |  |  |  |
|  | INNER LID RETAINING CLIP | A78310025 |  |  |  |  |
|  | OPERATOR GUIDE ENGLISH | A78310250 |  |  |  |  |
|  | SERVICE MANUAL | A78310251 |  |  |  |  |
|  | LID LOCK SENSOR ASSY | A78320005 |  |  |  |  |
|  | MOTOR CONTROLLER | A78320011 |  |  |  |  |
|  | SOLENOID TERMINATED | A78320013 |  |  |  |  |
|  | SUSPENSION FRAME | A78320016 |  |  |  |  |
|  | MOTOR CONTROLLER C-FORM | A78320017 |  |  |  |  |
|  | SECONDARY WIRING PSU TO | A78320018 |  |  |  |  |
|  | RIBBON CABLE DISPLAY PCB | A78320019 |  |  |  |  |
|  | MAINS INPUT TO PSU C-FORM | A78320021 |  |  |  |  |
|  | SERVICE EXTENSION KIT | A78320022 |  |  |  |  |
|  | PULL OUT REFERENCE CARD | A78330014 |  |  |  |  |
|  | BUMP STOP (LID) | A78330030 |  |  |  |  |
|  | LID SEAL EXTRUSION | A78330032 |  |  |  |  |
|  | TOUCH PANEL | A78330038 |  |  |  |  |
|  | REACTION CHAMBER LID | A78410001 |  |  |  |  |
|  | MAIN ELECTRONICS ASSY | A78410005 |  |  |  |  |
|  | POWER SUPPLY UNIT | A78410007 |  |  |  |  |
|  | WAX TANK COMPLETE | A78410008 |  |  |  |  |
|  | PUMP PLATE ASSY | A78410012 |  |  |  |  |
|  | PRESSURE TRANSDUCER COMP. | A78410015 |  |  |  |  |
|  | RANDOM BASKET COMPLETE | A78410021 |  |  |  |  |
|  | DOWN DRAFT ADAPTOR KIT | A78410023 |  |  |  |  |
|  | VENT ADAPTOR KIT | A78410024 |  |  |  |  |
|  | ORGANISER BASKET KIT | A78410025 |  |  |  |  |
|  | 5 LTR BOTTLE KIT | A78410026 |  |  |  |  |
|  | WAX WASTE DRAWER COMPLETE | A78410027 |  |  |  |  |
|  | FUSE / ALARM KIT | A78410028 |  |  |  |  |
|  | MONITOR CLAMP KIT | A78410029 |  |  |  |  |
|  | SPEC. GRAVITY BOTTLE KIT | A78410030 |  |  |  |  |
|  | FIXED REAGENT BOTTLE KIT | A78410031 |  |  |  |  |
|  | CHAMBER THERMISTOR KIT | A78410032 |  |  |  |  |
|  | SEAL KIT (CHAMBER) | A78410033 |  |  |  |  |
|  | TOUCH PANEL KIT | A78410035 |  |  |  |  |
|  | SPECIFIC GRAVITY KIT | A78410036 |  |  |  |  |
|  | FAN KIT | A78410037 |  |  |  |  |
|  | CARCASS INSULATION KIT | A78410038 |  |  |  |  |
|  | GENERAL PIPE KIT | A78410039 |  |  |  |  |
|  | 8MM O/D COUPLING KIT | A78410040 |  |  |  |  |
|  | 12MM O/D COUPLING KIT | A78410041 |  |  |  |  |
|  | INTERNAL FUSE KIT | A78410042 |  |  |  |  |
|  | POWER/ANALOGUE CONTROL | A78410045 |  |  |  |  |
|  | DIGITAL I/O PCB KIT | A78410046 |  |  |  |  |
|  | SPECIFIC GRAVITY PCB KIT | A78410047 |  |  |  |  |
|  | BATTERY CHARGER PCB KIT | A78410048 |  |  |  |  |
|  | PASSIVE I/O PCB KIT | A78410049 |  |  |  |  |
|  | TANK FLEXI-RIGID PCB KIT | A78410050 |  |  |  |  |
|  | MOTOR ASSEMBLY KIT | A78410053 |  |  |  |  |
|  | REACTION CHAMBER KIT | A78410054 |  |  |  |  |
|  | ROTOR ASSEMBLY KIT | A78410055 |  |  |  |  |
|  | WAX BATH PLATE RIVETS | A78410057 |  |  |  |  |
|  | BATTERY, CHARGED & TESTED | A78410058 |  |  |  |  |
|  | PROCESSOR PCB KIT | A78410060 |  |  |  |  |
|  | NYLON TUBE GREEN (SPARES) | A78410062 |  |  |  |  |
|  | NYLON TUBE BLUE (SPARES) | A78410063 |  |  |  |  |
|  | DOWN DRAFT FAN SPARES KIT | A78410067 |  |  |  |  |
|  | SPECIFIC GRAVITY SENSOR | A78410069 |  |  |  |  |
|  | EXCELSIOR NETMON MODEM | A78410070 |  |  |  |  |
|  | NETMON SOFTWARE KIT | A78410072 |  |  |  |  |
|  | NETMON USER GUIDE | A78410073 |  |  |  |  |
|  | ROTOR FIXING SCREWS KIT | A78410074 |  |  |  |  |
|  | COUPLING KIT - | A78410076 |  |  |  |  |
|  | REMOVABLE SEAL HOUSING | A78410077 |  |  |  |  |
|  | REACTION CHAMBER PIPE KIT | A78410078 |  |  |  |  |
|  | AGITATE SEAL HOUSING | A78410081 |  |  |  |  |
|  | EXCELSIOR BASKET RETRO- | A78410082 |  |  |  |  |
|  | SPECIFIC GRAVITY UNIT | A78410093 |  |  |  |  |
|  | CHAMBER SERVICE TOOL KIT | A78410094 |  |  |  |  |
|  | REACTION TANK LEVEL | A78410095 |  |  |  |  |
|  | "MONITOR 15"" AND STAND" | A78410097 |  |  |  |  |
|  | CHAMBER - REFURBISHED KIT | A78410099 |  |  |  |  |
|  | OPERATOR GUIDE | A78410100 |  |  |  |  |
|  | SERVICE MANUAL | A78410101 |  |  |  |  |
|  | AGITATE CASTING KIT | A78410104 |  |  |  |  |
|  | CHAMBER REPAIR KIT | A78410105 |  |  |  |  |
|  | SERVICE RECORD BOOK | A78410106 |  |  |  |  |
|  | CHAMBER FIELD REPAIR KIT | A78410107 |  |  |  |  |
|  | WAX HEATER ASSEMBLY KIT | A78410108 |  |  |  |  |
|  | EXCELSIOR ANNUAL SERVICE | A78410109 |  |  |  |  |
|  | WAX PIPE COVERS KIT | A78410112 |  |  |  |  |
|  | SG BOTTLE ASSEMBLY | A78410113 |  |  |  |  |
|  | WAX TANK FRAME SPARES KIT | A78410115 |  |  |  |  |
|  | CHAMBER FIELD REPAIR KIT | A78410117 |  |  |  |  |
|  | ANNUAL SERVICE KIT | A78410118 |  |  |  |  |
|  | EXCELSIOR ES | A784-1013 |  |  |  |  |
|  | DETECTOR/EMITTER SPARES | A78410135 |  |  |  |  |
|  | USB DISK DRIVE EMULATOR & | A78410137 |  |  |  |  |
|  | DOWNDRAFT FILTER SWITCH | A78410139 |  |  |  |  |
|  | WATERFLUSH BOTTLE & CAP | A78420039 |  |  |  |  |
|  | MAIN ASSEMBLY CABLEFORM | A78420080 |  |  |  |  |
|  | SPEAKER ASSEMBLY | A78420081 |  |  |  |  |
|  | POWER TO INSTRUMENT | A78420089 |  |  |  |  |
|  | HUB DRIVE ASSY | A78420096 |  |  |  |  |
|  | BOTTLE HEATING FAN | A78420103 |  |  |  |  |
|  | VALVE PORT SPIGOT | A78420110 |  |  |  |  |
|  | CUT-OUT SWITCH COMPLETE | A78420149 |  |  |  |  |
|  | BASKET LID ASSY | A78420156 |  |  |  |  |
|  | BASKET DIVIDER ASSY | A78420158 |  |  |  |  |
|  | ANTI-EVAPORATION TUBE & | A78420160 |  |  |  |  |
|  | LEVEL SENSOR COMPLETE | A78420184 |  |  |  |  |
|  | WAX THERMISTOR ASSEMBLY | A78420203 |  |  |  |  |
|  | REAGENT THERMISTOR | A78420204 |  |  |  |  |
|  | FILTER SWITCH ASSEMBLY | A78420206 |  |  |  |  |
|  | SEALING SLEEVE | A78430101 |  |  |  |  |
|  | ENCODER DISK | A78430109 |  |  |  |  |
|  | FORMED NYLON TUBE - RED | A78430163 |  |  |  |  |
|  | BRUSH BLOCK INSULATION | A78430232 |  |  |  |  |
|  | REAGENT BOTTLE HEATER MAT | A78430233 |  |  |  |  |
|  | LID SWITCH COMPLETE | A78430252 |  |  |  |  |
|  | CASTOR ADJUSTMENT ROD | A78430262 |  |  |  |  |
|  | WAX FILL CHUTE | A78430265 |  |  |  |  |
|  | ANTI EVAPORATION TUBE | A78430294 |  |  |  |  |
|  | SPANNER 19mm A/F | A78430308 |  |  |  |  |
|  | WAX TANK VENT ROD | A78430330 |  |  |  |  |
|  | REACTION CHAMBER LID | A78430342 |  |  |  |  |
|  | FRONT TRAY | A78430366 |  |  |  |  |
|  | MEMORY STICK- FORMATTED | A78430388 |  |  |  |  |
|  | MANUAL STAINING STATION | A78500001 |  |  |  |  |
|  | PAPSPIN KIT (100 TESTS) | A78710006 |  |  |  |  |
|  | STARTER KIT - CYTOSPIN 4 | A78710013 |  |  |  |  |
|  | TPX CHAMBER (PK 12) | A78710018 |  |  |  |  |
|  | EZ SINGLE CYTOFUNNEL | A78710020 |  |  |  |  |
|  | CRYO CHAMBER INSULATED | A78910002 |  |  |  |  |
|  | ELECTRONICS ENCLOSURE | A78910009 |  |  |  |  |
|  | HEAT EXTRACTOR ASSEMBLY | A78910014 |  |  |  |  |
|  | FE ORIENTATION HEAD COMP. | A78910016 |  |  |  |  |
|  | FLYWHEEL BRACKET COMPLETE | A78910020 |  |  |  |  |
|  | FLYWHEEL COMPLETE | A78910021 |  |  |  |  |
|  | FSE SPECIMEN HEAD | A78910030 |  |  |  |  |
|  | CRYOCASSETTE 40MM DIA | A78910031 |  |  |  |  |
|  | MULTI STAGE DISP. KNIFE | A78910032 |  |  |  |  |
|  | ELECTRONICS ENCLOSURE | A78910034 |  |  |  |  |
|  | HEAT EXTRACTOR ASSY | A78910036 |  |  |  |  |
|  | HEAT EXTRACTOR ASSY | A78910037 |  |  |  |  |
|  | DEBRIS TRAY COMPLETE | A78910039 |  |  |  |  |
|  | TRANSIT BRACKET ASSY | A78910040 |  |  |  |  |
|  | CRYOBAR COVER | A78910041 |  |  |  |  |
|  | FUSE KIT | A78910045 |  |  |  |  |
|  | FASTENER KIT | A78910046 |  |  |  |  |
|  | SPECIMEN HEAD SENSOR KIT | A78910048 |  |  |  |  |
|  | SPECIMEN HEAD PELTIER KIT | A78910049 |  |  |  |  |
|  | TOP COVER MOULDING KIT | A78910053 |  |  |  |  |
|  | CRYOBAR CASSETTE IDENT. | A78910054 |  |  |  |  |
|  | CRYOCASSETTE 40mm DIA | A78910055 |  |  |  |  |
|  | CRYOCASSETTE 25mm DIA | A78910056 |  |  |  |  |
|  | CRYOCASSETTE 28x40mm | A78910057 |  |  |  |  |
|  | CRYOCASSETTE HANDLE | A78910058 |  |  |  |  |
|  | PROCESSOR PCB KIT | A78910059 |  |  |  |  |
|  | RELAY PCB KIT | A78910060 |  |  |  |  |
|  | HEATED WINDOW ASSY. KIT | A78910064 |  |  |  |  |
|  | DISPLAY KIT | A78910065 |  |  |  |  |
|  | CARTRIDGE HEATER KIT | A78910066 |  |  |  |  |
|  | CHAMBER TEMP SENSOR KIT | A78910067 |  |  |  |  |
|  | CRYO TEMP SENSOR KIT | A78910068 |  |  |  |  |
|  | PERSPEX ANTI ROLL PLATE | A78910075 |  |  |  |  |
|  | KNIFE GUARD KIT | A78910078 |  |  |  |  |
|  | WINDOW LOCK KIT | A78910082 |  |  |  |  |
|  | OPERATOR GUIDE | A78910100 |  |  |  |  |
|  | SERVICE MANUAL | A78910101 |  |  |  |  |
|  | MICROTOME CONTROL PANEL | A78920004 |  |  |  |  |
|  | FRONT PANEL COMPLETE | A78920008 |  |  |  |  |
|  | SIDE PANEL L.H. | A78920009 |  |  |  |  |
|  | LOCK LEVER ASSEMBLY | A78920015 |  |  |  |  |
|  | TRAVERS ADJUSTMENT | A78920020 |  |  |  |  |
|  | BEARING BRACKET PRESSED | A78920028 |  |  |  |  |
|  | REAR PANEL COMPLETE | A78920031 |  |  |  |  |
|  | SIDE PANEL R.H. | A78920033 |  |  |  |  |
|  | SPORLAN VALVE & PLATE | A78920037 |  |  |  |  |
|  | MAIN RIBBON CABLE | A78920069 |  |  |  |  |
|  | STEPPER MOTOR LEAD C-FORM | A78920071 |  |  |  |  |
|  | TRANSFORMER COMPLETE | A78920132 |  |  |  |  |
|  | TRANSFORMER COMPLETE | A78920133 |  |  |  |  |
|  | TRANSFORMER COMPLETE | A78920134 |  |  |  |  |
|  | TRANSFORMER COMPLETE | A78920135 |  |  |  |  |
|  | CONSTANT FORCE SPRING | A78920176 |  |  |  |  |
|  | HEATED WINDOW | A78920178 |  |  |  |  |
|  | CLAMP PLATE | A78930045 |  |  |  |  |
|  | CRYO-BAR SHELF 80mm | A78930063 |  |  |  |  |
|  | LOCKING PLUNGER | A78930069 |  |  |  |  |
|  | R.H. STORAGE SHELF | A78930121 |  |  |  |  |
|  | CASSETTE HOLDER | A78930155 |  |  |  |  |
|  | STORAGE SHELF - 56MM WIDE | A78930166 |  |  |  |  |
|  | FACEPLATE | A78930174 |  |  |  |  |
|  | MEMBRANE - 'FSE' HEAD | A78930189 |  |  |  |  |
|  | GLASS ANTI ROLL PLATE | A78930200 |  |  |  |  |
|  | FRONT COVER MOULDING | A78930223 |  |  |  |  |
|  | CLEARVUE | A79200001 |  |  |  |  |
|  | CLEARVUE | A79200002 |  |  |  |  |
|  | SHORT GRABBER ARM | A79210003 |  |  |  |  |
|  | LIFT BLOCK COMPLETE | A79210005 |  |  |  |  |
|  | MOTOR ASSEMBLY | A79210008 |  |  |  |  |
|  | PRESSURE DEGAS COMPLETE | A79210015 |  |  |  |  |
|  | VACUUM SYSTEM COMPLETE | A79210016 |  |  |  |  |
|  | SLIDE GUIDE ASSEMBLY | A79210018 |  |  |  |  |
|  | MOTOR ASSEMBLY | A79210021 |  |  |  |  |
|  | DISPENSE HEAD CLEANING | A79210027 |  |  |  |  |
|  | LATCH ASSEMBLY | A79210030 |  |  |  |  |
|  | MOTOR ASSY | A79210041 |  |  |  |  |
|  | DISPENSE BOTTLE | A79210045 |  |  |  |  |
|  | BASKET PUSHER BRACKET | A79210046 |  |  |  |  |
|  | SLIP HOPPER 24x40mm #1.5 | A79210050 |  |  |  |  |
|  | SLIP HOPPER 24x50mm #1.5 | A79210051 |  |  |  |  |
|  | SLIP HOPPER 24x55mm #1.5 | A79210052 |  |  |  |  |
|  | BASKET STAND COMPLETE | A79210056 |  |  |  |  |
|  | LINK ASSEMBLY | A79210057 |  |  |  |  |
|  | GEMINI BASKETS (5) | A79210064 |  |  |  |  |
|  | GEMINI BASKETS (5) | A79210065 |  |  |  |  |
|  | SAKURA DRS2000 BASKET (5) | A79210066 |  |  |  |  |
|  | SAKURA DRS2000 BASKET (5) | A79210067 |  |  |  |  |
|  | SAKURA DRS2000 HANGER (5) | A79210068 |  |  |  |  |
|  | VARISTAIN V24-4 BASKET | A79210069 |  |  |  |  |
|  | VARISTAIN V24-4 BASKET | A79210070 |  |  |  |  |
|  | CONVERSION KIT VARISTAIN | A79210071 |  |  |  |  |
|  | LEICA BASKETS (5) | A79210072 |  |  |  |  |
|  | LEICA BASKETS (5) | A79210073 |  |  |  |  |
|  | SUCTION CUPS (PACK OF 3) | A79210081 |  |  |  |  |
|  | LOADING TRAY COMPLETE | A79210092 |  |  |  |  |
|  | SLIP DISPENSE SKIRT AND | A79210095 |  |  |  |  |
|  | MOUNTANT BOTTLE SEAL KIT | A79210096 |  |  |  |  |
|  | TRANSFER HEAD - OFFSET | A79210099 |  |  |  |  |
|  | OPERATOR INFORMATION PACK | A79210103 |  |  |  |  |
|  | FUSE KIT | A79210104 |  |  |  |  |
|  | FRONT I/F PCB KIT | A79210105 |  |  |  |  |
|  | BACK I/F PCB KIT | A79210106 |  |  |  |  |
|  | CAMERA PCB KIT | A79210107 |  |  |  |  |
|  | LIFT BLOCK PLUNGER KIT | A79210108 |  |  |  |  |
|  | MAIN BOARD PCB KIT | A79210109 |  |  |  |  |
|  | PROCESSOR PCB KIT | A79210121 |  |  |  |  |
|  | BATTERY KIT | A79210122 |  |  |  |  |
|  | BATTERY PCB KIT | A79210123 |  |  |  |  |
|  | INTERCONNECT PCB KIT | A79210124 |  |  |  |  |
|  | DISPLAY PCB KIT | A79210125 |  |  |  |  |
|  | DRIVE TRANSFER PLATE KIT | A79210126 |  |  |  |  |
|  | COUPLING KIT | A79210128 |  |  |  |  |
|  | DEBRIS DOOR KIT | A79210129 |  |  |  |  |
|  | SPRING KIT | A79210130 |  |  |  |  |
|  | ANNUAL SERVICE KIT | A79210131 |  |  |  |  |
|  | SLIP PICK UP ASSY KIT | A79210132 |  |  |  |  |
|  | MOTOR ASSY KIT - TRANSFER | A79210133 |  |  |  |  |
|  | MOTOR ASSY KIT - BASKET | A79210135 |  |  |  |  |
|  | MOTOR ASSY KIT - | A79210136 |  |  |  |  |
|  | MOTOR ASSY KIT - BASKET | A79210137 |  |  |  |  |
|  | MOTOR ASSY KIT - LIFT | A79210138 |  |  |  |  |
|  | MOTOR ASSY KIT - SLIP | A79210139 |  |  |  |  |
|  | CLEANING STATION ACTUATOR | A79210140 |  |  |  |  |
|  | SLIP DISPENSE CARRIAGE | A79210141 |  |  |  |  |
|  | SLIP DISPENSE STOP KIT | A79210142 |  |  |  |  |
|  | SOLENOID ASSY - MOUNTANT | A79210143 |  |  |  |  |
|  | VAC REGULATOR KIT | A79210144 |  |  |  |  |
|  | BELT KIT - INPUT MOTOR | A79210145 |  |  |  |  |
|  | BELT KIT - SLIP | A79210146 |  |  |  |  |
|  | BELT KIT - LIFT MOTOR | A79210147 |  |  |  |  |
|  | BELT KIT - TRANSFER KIT | A79210148 |  |  |  |  |
|  | JAW SETTING TOOL KIT | A79210151 |  |  |  |  |
|  | INTERNAL FUSE KIT | A79210152 |  |  |  |  |
|  | GRIPPER RETURN PLATE | A79210158 |  |  |  |  |
|  | GRIPPER RETURN PLATE | A79210164 |  |  |  |  |
|  | SLIP HOPPER 24x40mm #1.0 | A79210165 |  |  |  |  |
|  | SLIP HOPPER 24x50 #1.0 | A79210166 |  |  |  |  |
|  | GRIPPER JAW BIT KIT | A79210167 |  |  |  |  |
|  | BELLOWS SPARES KIT | A79210170 |  |  |  |  |
|  | LONG JAW AND GRABBER ARM | A79210173 |  |  |  |  |
|  | LONG GRABBER JAW KIT | A79210175 |  |  |  |  |
|  | DECAY BLOCK SPARES KIT | A79210177 |  |  |  |  |
|  | TOUCH SCREEN COMPLETE | A79210197 |  |  |  |  |
|  | REPLACEMENT ELECTRONICS | A79210201 |  |  |  |  |
|  | VENT EXTRACTION KIT | A79210202 |  |  |  |  |
|  | CASE WORK KIT | A79210204 |  |  |  |  |
|  | MOUNTANT JAR - SURLYN | A79220043 |  |  |  |  |
|  | PUMP ASSY | A79220045 |  |  |  |  |
|  | ACTUATOR ASSY MOUNTANT | A79220054 |  |  |  |  |
|  | C-FORM MOUNTANT SOLENOID | A79220056 |  |  |  |  |
|  | CABLE ASSY OPTO LOAD HOME | A79220058 |  |  |  |  |
|  | CABLE ASSY SLIP DISPENSE | A79220059 |  |  |  |  |
|  | RIBBON CABLE 34-WAY | A79220060 |  |  |  |  |
|  | FAN ASSY | A79220063 |  |  |  |  |
|  | DOWN DRAFT FAN ASSEMBLY | A79220085 |  |  |  |  |
|  | NOZZLE CAP WITH REMOVAL | A79220089 |  |  |  |  |
|  | GUIDE BRACKET | A79230014 |  |  |  |  |
|  | PUSHER SUPPORT | A79230015 |  |  |  |  |
|  | SLIDE PUSHER | A79230016 |  |  |  |  |
|  | SPRING SLIDE GUIDE | A79230078 |  |  |  |  |
|  | MOUNTANT DISPENSE NEEDLE | A79230111 |  |  |  |  |
|  | DEBRIS TRAY LINER | A79230197 |  |  |  |  |
|  | DEBRIS TRAY | A79230198 |  |  |  |  |
|  | FILLER CAP REMOVAL TOOL | A79230259 |  |  |  |  |
|  | L.H. DOOR ASSEMBLY | A79510009 |  |  |  |  |
|  | HOT FOIL TAPE (PK 5) | A79510013 |  |  |  |  |
|  | OUTPUT COLLECTION SYSTEM | A79510014 |  |  |  |  |
|  | OUTPUT COLLECTION SYSTEM | A79510014D |  |  |  |  |
|  | UPGRADE KIT 2 TO 6 HOPPER | A79510015 |  |  |  |  |
|  | UPGRADE KIT 2 TO 12 | A79510016 |  |  |  |  |
|  | UPGRADE KIT 6 TO 12 | A79510017 |  |  |  |  |
|  | LABWRITER BASIC SOFTWARE | A79510018-CD |  |  |  |  |
|  | COLLECTION TRAYS PK OF 4 | A79510022 |  |  |  |  |
|  | GUIDE CHUTE + EXTENSION | A79510023 |  |  |  |  |
|  | HOPPER SINGLE BOXED - | A79510024 |  |  |  |  |
|  | OPTO PCB & RIBBON CABLE | A79510025 |  |  |  |  |
|  | PRINT HEAD (PRINTER MECH) | A79510026 |  |  |  |  |
|  | LINEAR ACTUATOR | A79510027 |  |  |  |  |
|  | MOTOR & PULLEY (PRINTER | A79510028 |  |  |  |  |
|  | BELT (PRINTER DRIVE) | A79510029 |  |  |  |  |
|  | OPTO PCB Y AXIS & CABLE | A79510030 |  |  |  |  |
|  | CASSETTE CLAMP ASSY & | A79510032 |  |  |  |  |
|  | BELT (CONVEYOR ASSEMBLY) | A79510033 |  |  |  |  |
|  | MOTOR (CONVEYOR ASSEMBLY) | A79510034 |  |  |  |  |
|  | CASSETTE DETECT OPTO PCB | A79510035 |  |  |  |  |
|  | TIMING DISK OPTO & CABLE | A79510036 |  |  |  |  |
|  | SHAFT & COLLECTION GATE | A79510037 |  |  |  |  |
|  | STEPPER MOTOR - SOLENOID | A79510038 |  |  |  |  |
|  | SOLENOID BLOCK ASSY | A79510039 |  |  |  |  |
|  | STEPPER MOTOR (TAPE WIND | A79510040 |  |  |  |  |
|  | INTERFACE PCB | A79510042 |  |  |  |  |
|  | PSU | A79510044 |  |  |  |  |
|  | FUSE (2/PK) - SPARES KIT | A79510045 |  |  |  |  |
|  | INTERFACE PCB FUSES | A79510046 |  |  |  |  |
|  | TRANSFER BELT CASSETTE | A79510047 |  |  |  |  |
|  | CASSETTE TIP SPRING ASSY | A79510048 |  |  |  |  |
|  | TRANSIT SCREW & BRACKET | A79510049 |  |  |  |  |
|  | RH LOWER MOULDING & LABEL | A79510050 |  |  |  |  |
|  | PRINTER DOOR LOWER | A79510051 |  |  |  |  |
|  | PRINTER HEAD RIBBON CABLE | A79510052 |  |  |  |  |
|  | PRINTER MECHANISM ASSY - | A79510054 |  |  |  |  |
|  | ENCODER, TAPE | A79510059 |  |  |  |  |
|  | COLLECTION SYSTEM EXIT | A79510061 |  |  |  |  |
|  | RACK OUTLET PLATFORM | A79510079 |  |  |  |  |
|  | PRINTER DOOR SPARE KIT | A79510082 |  |  |  |  |
|  | PRINTER DRIVE ASSY SPARE | A79510083 |  |  |  |  |
|  | CONVEYOR ASSY SPARE KIT | A79510084 |  |  |  |  |
|  | SOLENOID BLOCK SPARE KIT | A79510085 |  |  |  |  |
|  | TAPE WIND ON BLOCK ASSY | A79510086 |  |  |  |  |
|  | FOAM BASE MAT ASSEMBLY | A79510087 |  |  |  |  |
|  | PRINTER MECHANISM | A79510088 |  |  |  |  |
|  | PRINTHEAD CABLE | A79510089 |  |  |  |  |
|  | PRINTHEAD DRIVE BOARD | A79510098 |  |  |  |  |
|  | MAIN PCB SPARES KIT | A79510099 |  |  |  |  |
|  | PM1 PLATEN SPARE KIT | A79510122 |  |  |  |  |
|  | COLLECTION SYSTEM OPTO | A79510123 |  |  |  |  |
|  | COLLECTION SYSTEM BELTS | A79510124 |  |  |  |  |
|  | COLLECTION SYSTEM DRIVE | A79510125 |  |  |  |  |
|  | COLLECTION SYSTEM | A79510126 |  |  |  |  |
|  | CAP & LABEL SPARES KIT | A79510127 |  |  |  |  |
|  | RETROFIT KIT PRINT MECH. | A79510129 |  |  |  |  |
|  | RETROFIT KIT REAR & FRONT | A79510130 |  |  |  |  |
|  | PRINT MECHANISM & STAND | A79510131 |  |  |  |  |
|  | HEATER KIT | A79510132 |  |  |  |  |
|  | ACTUATOR LEVER HOPPER | A79510134 |  |  |  |  |
|  | LINEAR ACTUATOR SERVICE | A79510149 |  |  |  |  |
|  | FRONT COVER ASSEMBLY | A79510150 |  |  |  |  |
|  | WASTE SPOOL DOOR BONDED | A79520010 |  |  |  |  |
|  | OPTICAL SENSOR | A79520038 |  |  |  |  |
|  | MOTOR AND GEARBOX | A79520040 |  |  |  |  |
|  | ENCODER EXTENSION | A79520051 |  |  |  |  |
|  | TAPE INPUT SPOOL | A79520060 |  |  |  |  |
|  | COVER - BOWL - 6 HOPPER | A79530103 |  |  |  |  |
|  | VALVE COMPLETE (LINISTAT) | A79810001 |  |  |  |  |
|  | MANIFOLD COMPLETE - | A79810033 |  |  |  |  |
|  | RINSE WATER TUBING KIT - | A79810039 |  |  |  |  |
|  | MOTOR KIT - 115V LINISTAT | A79810040 |  |  |  |  |
|  | FUSE KIT - LINEAR STAINER | A79810044 |  |  |  |  |
|  | 230V MOTOR ASSEMBLY | A79810050 |  |  |  |  |
|  | OPERATOR GUIDE | A79810100 |  |  |  |  |
|  | SPROCKET 15T MACHINED | A79820017 |  |  |  |  |
|  | JAR TANK - LINISTAT | A79830020 |  |  |  |  |
|  | GASKET - DRAIN COUPLING | A79830027 |  |  |  |  |
|  | DRAIN COUPLING | A79830028 |  |  |  |  |
|  | XYLENE TANK - LINISTAT | A79830036 |  |  |  |  |
|  | COVER - LINISTAT | A79830041 |  |  |  |  |
|  | OPERATOR GUIDE | A80210100 |  |  |  |  |
|  | HEATER PLATE | A80230002 |  |  |  |  |
|  | PT MODULE TS 220-240V | A80400011 |  |  |  |  |
|  | PT MODULE TS 100-120V | A80400012 |  |  |  |  |
|  | CONTROLLER BOARD KIT | A80410028 |  |  |  |  |
|  | POWER BOARD KIT | A80410029 |  |  |  |  |
|  | TOUCHSCREEN SPARES KIT | A80410031 |  |  |  |  |
|  | THERMO TANK SPACER PLATE | A80410034 |  |  |  |  |
|  | PT TANK LID PINS AND LID | A80410040 |  |  |  |  |
|  | KIT - LID INNER PANEL, | A80410044 |  |  |  |  |
|  | TANK CONTACT BLOCK | A80410050 |  |  |  |  |
|  | OPERATOR INFORMATION PACK | A80410203 |  |  |  |  |
|  | CONTROL BOARD CONNECTION | A80420013 |  |  |  |  |
|  | INTERLOCK SWITCH | A80420035 |  |  |  |  |
|  | HEATER SUPPORT PLATE | A80420036 |  |  |  |  |
|  | FAN ASSEMBLY | A80420050 |  |  |  |  |
|  | TANK SEALING GASKET | A80430002 |  |  |  |  |
|  | TANK HANDLE PT MODULE | A80430004 |  |  |  |  |
|  | HEATER GASKET | A80430046 |  |  |  |  |
|  | AUTOSTAINER 360-2D 240V | A80500003 |  |  |  |  |
|  | AUTOSTAINER 360-2D 110V | A80500004 |  |  |  |  |
|  | AUTOSTAINER 480S 240V | A80500007 |  |  |  |  |
|  | AUTOSTAINER 480S 110V | A80500008 |  |  |  |  |
|  | AUTOSTAINER 720-2D 240V | A80500009 |  |  |  |  |
|  | AUTOSTAINER 720 110V | A80500010 |  |  |  |  |
|  | AUTOSTAINER 360 & PT 220V | A80500023 |  |  |  |  |
|  | AUTOSTAINER 360 & PT 110V | A80500024 |  |  |  |  |
|  | AUTOSTAINER 480S PT 220V | A80500027 |  |  |  |  |
|  | AUTOSTAINER 480S PT 110V | A80500028 |  |  |  |  |
|  | AUTOSTAINER 720 & PT 220V | A80500029 |  |  |  |  |
|  | AUTOSTAINER 720 & PT 110V | A80500030 |  |  |  |  |
|  | AUTOSTAINER 720 & PT 110V | A80500031 |  |  |  |  |
|  | Z HEAD PROBE ROLL NUT | A80510003 |  |  |  |  |
|  | Z HEAD AIR & BUFFER ROLL | A80510004 |  |  |  |  |
|  | PROBE LEADSCREW PLATE | A80510005 |  |  |  |  |
|  | AIR AND BUFFER LEAD SCREW | A80510006 |  |  |  |  |
|  | AIR COMPRESSOR ASSEMBLY | A80510011 |  |  |  |  |
|  | WASH BIN ASSEMBLY 480S & | A80510015 |  |  |  |  |
|  | BLOWER HEAD | A80510021 |  |  |  |  |
|  | SINK ASSEMBLY 480S & | A80510026 |  |  |  |  |
|  | HOUSING BACK PANEL KIT | A80510029 |  |  |  |  |
|  | HOUSING BACK PANEL KIT | A80510030 |  |  |  |  |
|  | REAGENT PLATE | A80510033 |  |  |  |  |
|  | ANNUAL SERVICE KIT | A80510045 |  |  |  |  |
|  | REAGENT RACK | A80510050 |  |  |  |  |
|  | SINK ASSEMBLY LH | A80510053 |  |  |  |  |
|  | COLOUR INKJET PRINTER KIT | A80510080 |  |  |  |  |
|  | CARBOY LABELS PK OF 4 | A80510081 |  |  |  |  |
|  | TUBE SET TO SUIT RUNCORN | A80510089 |  |  |  |  |
|  | CONTROLLER PCB | A80510090 |  |  |  |  |
|  | SENSOR & WASTE PCB | A80510091 |  |  |  |  |
|  | WASTE SENSOR PCB | A80510093 |  |  |  |  |
|  | HOUSING BACK PANEL KIT | A80510094 |  |  |  |  |
|  | HOUSING BACK PANEL KIT | A80510095 |  |  |  |  |
|  | PROBE SENSOR PCBA KIT | A80510096 |  |  |  |  |
|  | PANEL MOUNT TUBE FITTING | A80510097 |  |  |  |  |
|  | SYRINGE PLUNGER | A80510098 |  |  |  |  |
|  | Z HEAD LEAD SCREW PULLEY | A80510099 |  |  |  |  |
|  | OPERATOR GUIDE PACK CD | A80510107-CD |  |  |  |  |
|  | REAGENT SENSOR CABLE 2 - | A80510121 |  |  |  |  |
|  | REAGENT SENSOR CABLE 2 - | A80510122 |  |  |  |  |
|  | REAGENT SENSOR CABLE 2 - | A80510123 |  |  |  |  |
|  | PC FOR 360 INSTRUMENTS | A80510129 |  |  |  |  |
|  | PC FOR 480S INSTRUMENTS | A80510130 |  |  |  |  |
|  | PC FOR 480 INSTRUMENTS | A80510131 |  |  |  |  |
|  | PC FOR 720 INSTRUMENTS | A80510132 |  |  |  |  |
|  | BUFFER PUMP UPGRADE KIT | A80510133 |  |  |  |  |
|  | REAGENT BARCODE LABEL KIT | A80510134 |  |  |  |  |
|  | FLAP LABEL KIT | A80510135 |  |  |  |  |
|  | 15ml VIAL WITH CAP KIT | A80510136 |  |  |  |  |
|  | LV-720 REAGENT TRAY KIT | A80510137 |  |  |  |  |
|  | 480S REAGENT RACK KIT | A80510138 |  |  |  |  |
|  | SLIDE RACK KIT | A80510139 |  |  |  |  |
|  | COMPRESSOR COVER AND FOAM | A80510147 |  |  |  |  |
|  | INDEXER CARD PCI - SPARES | A80510148 |  |  |  |  |
|  | PROBE ASSEMBLY - SPARES | A80510152 |  |  |  |  |
|  | Z SENSOR SPARES ASSEMBLY | A80510154 |  |  |  |  |
|  | BOTTLE KIT INC BUFFER & | A80510155 |  |  |  |  |
|  | 2-WAY PINCH VALVE ASSY | A80510160 |  |  |  |  |
|  | PINCH VALVE KIT | A80510161 |  |  |  |  |
|  | SLIDE BARCODE LABEL KIT | A80510164 |  |  |  |  |
|  | BUFFER PUMP PRIME KIT | A80510172 |  |  |  |  |
|  | BARCODE SCANNER ASSEMBLY | A80510184 |  |  |  |  |
|  | FUSE | A80510185 |  |  |  |  |
|  | PM KIT INCLUDING PROBE | A80510186 |  |  |  |  |
|  | DRAIN TUBE & FITTING | A80520006 |  |  |  |  |
|  | EARTHLEAD | A80520032 |  |  |  |  |
|  | EARTHLEAD | A80520033 |  |  |  |  |
|  | EARTHLEAD | A80520034 |  |  |  |  |
|  | SENSOR AND SYRINGE CABLE | A80520067 |  |  |  |  |
|  | SCREW KIT | A80710006 |  |  |  |  |
|  | HISTOSTAR | A81000001 |  |  |  |  |
|  | HISTOSTAR | A81000002 |  |  |  |  |
|  | HISTOSTAR | A81000003 |  |  |  |  |
|  | COLD MODULE | A81000004 |  |  |  |  |
|  | COLD MODULE | A81000005 |  |  |  |  |
|  | COLD MODULE | A81000006 |  |  |  |  |
|  | EMBEDDING MODULE | A81000007 |  |  |  |  |
|  | EMBEDDING MODULE | A81000008 |  |  |  |  |
|  | COLD SPOT COMPLETE | A81010003 |  |  |  |  |
|  | WAX RESERVOIR COMPLETE | A81010005 |  |  |  |  |
|  | VALVE ASSEMBLY DRAIN | A81010006 |  |  |  |  |
|  | DISPENSE LEVER COMPLETE | A81010011 |  |  |  |  |
|  | MOULD STORAGE ASSEMBLY | A81010023 |  |  |  |  |
|  | COVER COMPLETE | A81010026 |  |  |  |  |
|  | TAMPING TOOL KIT | A81010030 |  |  |  |  |
|  | WAX SCRAPER KIT | A81010031 |  |  |  |  |
|  | MAGNIFIER ASSEMBLY | A81010032 |  |  |  |  |
|  | FORCEPS ELECTRIC RED | A81010033 |  |  |  |  |
|  | FORCEPS ELECTRIC YELLOW | A81010034 |  |  |  |  |
|  | FORCEPS ELECTRIC BLUE | A81010035 |  |  |  |  |
|  | DOCUMENT HOLDER KIT | A81010036 |  |  |  |  |
|  | FUSE (6/PK) - SPARES KIT | A81010037 |  |  |  |  |
|  | FORCEPS BLOCK LH KIT | A81010038 |  |  |  |  |
|  | FORCEPS BLOCK RH KIT | A81010039 |  |  |  |  |
|  | MOULD STORAGE COVERS KIT | A81010040 |  |  |  |  |
|  | WAX RESERVOIR LID KIT | A81010041 |  |  |  |  |
|  | TOUCHSCREEN DISPLAY KIT | A81010042 |  |  |  |  |
|  | ENCLOSURE LED KIT | A81010043 |  |  |  |  |
|  | DISPENSE ARM LED KIT | A81010044 |  |  |  |  |
|  | FLOW CONTROL VALVE KIT | A81010045 |  |  |  |  |
|  | END PLUG KIT | A81010046 |  |  |  |  |
|  | SOLENOID VALVE KIT | A81010047 |  |  |  |  |
|  | DISPENSE ARM KIT | A81010048 |  |  |  |  |
|  | MAIN PCB | A81010049 |  |  |  |  |
|  | FLOW CONTROL KNOB KIT | A81010050 |  |  |  |  |
|  | MOULDING FIXING KIT | A81010051 |  |  |  |  |
|  | WAX DRAIN KIT | A81010055 |  |  |  |  |
|  | FUSE (6/PK) - SPARES KIT | A81010057 |  |  |  |  |
|  | FUSE KIT SERVICE - MAINS | A81010058 |  |  |  |  |
|  | SERVICE KIT PSU AND BACK | A81010063 |  |  |  |  |
|  | SERVICE KIT PSU SUB ASSY | A81010064 |  |  |  |  |
|  | SERVICE KIT BASE PLATE | A81010066 |  |  |  |  |
|  | THERMISTOR KIT | A81010067 |  |  |  |  |
|  | DOCUMENT TRAY COMPLETE | A81010075 |  |  |  |  |
|  | SERVICE KIT | A81010120 |  |  |  |  |
|  | MOULD STORAGE COVER KIT | A81010240 |  |  |  |  |
|  | WAX TANK LID KIT | A81010241 |  |  |  |  |
|  | FRONT CABLE ASSEMBLY | A81020038 |  |  |  |  |
|  | COLD SPOT FAN ASSEMBLY | A81020040 |  |  |  |  |
|  | MICROSWITCH DISPENSE ARM | A81020043 |  |  |  |  |
|  | RIBBON CABLE PCB TO DISP | A81020046 |  |  |  |  |
|  | CABLE HEATED FORCEPS | A81020052 |  |  |  |  |
|  | THERMISTOR COLD SPOT | A81020053 |  |  |  |  |
|  | THERMISTOR WAX RESERVOIR | A81020058 |  |  |  |  |
|  | WAX DRAIN PULL | A81020059 |  |  |  |  |
|  | THERMISTOR | A81020089 |  |  |  |  |
|  | FRONT COVER SCREENED | A81020263 |  |  |  |  |
|  | CP LHS MLDG | A81030003 |  |  |  |  |
|  | CP RHS MLDG | A81030004 |  |  |  |  |
|  | CP WRIST BASE MLDG | A81030005 |  |  |  |  |
|  | CP WRIST TOP MLDG | A81030006 |  |  |  |  |
|  | CP FORM TOP MLDG | A81030007 |  |  |  |  |
|  | CP DRAWER MLDG | A81030009 |  |  |  |  |
|  | LH MOULDING EMBEDDING | A81030011 |  |  |  |  |
|  | RH MOULDING EMBEDDING | A81030012 |  |  |  |  |
|  | MOULD STORAGE MOULDING | A81030013 |  |  |  |  |
|  | LH MOULDING MAIN SUPPORT | A81030014 |  |  |  |  |
|  | RH MOULDING MAIN SUPPORT | A81030015 |  |  |  |  |
|  | DISPLAY HOUSING MOULDING | A81030016 |  |  |  |  |
|  | WRIST BASE MOULDING | A81030017 |  |  |  |  |
|  | WRIST TOP MOULDING | A81030018 |  |  |  |  |
|  | WASTE DRAWER MOULDING | A81030023 |  |  |  |  |
|  | FORCEPS BLOCK COVER | A81030031 |  |  |  |  |
|  | COVER - DISPENSE ARM | A81030044 |  |  |  |  |
|  | TISSUE STORAGE TRAY | A81030048 |  |  |  |  |
|  | SEAL 'O' RING SOLENOID | A81030053 |  |  |  |  |
|  | FILTER | A81030055 |  |  |  |  |
|  | WASTE TRAY WAX | A81030104 |  |  |  |  |
|  | WAX RESERVOIR GASKET | A81030106 |  |  |  |  |
|  | SOLENOID INSULATION | A81030175 |  |  |  |  |
|  | DISPENSE NOZZLE SHORT | A81030197 |  |  |  |  |
|  | CP LHS MOULDING | A81030203 |  |  |  |  |
|  | CP RHS MOULDING | A81030204 |  |  |  |  |
|  | CP FORM TOP MOULDING | A81030207 |  |  |  |  |
|  | LH MOULDING EMBEDDING | A81030211 |  |  |  |  |
|  | RH MOULDING EMBEDDING | A81030212 |  |  |  |  |
|  | MOULD STORAGE MOULDING | A81030213 |  |  |  |  |
|  | CONTROLLER MODULE | A81210001 |  |  |  |  |
|  | FUME HOOD DOOR ASSY | A81210037 |  |  |  |  |
|  | TANK LID 7 BATH | A81210047 |  |  |  |  |
|  | RIBBON CABLE KIT | A81210050 |  |  |  |  |
|  | LINEAR ACTUATOR | A81210051 |  |  |  |  |
|  | MAIN PCB KIT | A81210052 |  |  |  |  |
|  | Z-AXIS TOP PCB KIT | A81210053 |  |  |  |  |
|  | Z-AXIS LOWER PCB KIT | A81210054 |  |  |  |  |
|  | BEARING LINK KIT | A81210055 |  |  |  |  |
|  | PIPING KIT | A81210056 |  |  |  |  |
|  | DRIVE BELT 10 BATH | A81210059 |  |  |  |  |
|  | BATH REPLACEMENT KIT | A81210061 |  |  |  |  |
|  | BATH REPLACEMENT KIT | A81210062 |  |  |  |  |
|  | USB CABLEFORM, STAINMATE | A81220096 |  |  |  |  |
|  | CPU MODULE SPARES KIT | A81310108 |  |  |  |  |
|  | CPU MODULE SPARE KIT | A81310109 |  |  |  |  |
|  | O RING KIT (PK OF 3) | A81310114 |  |  |  |  |
|  | BARCODE SCANNER PROG. | A81320065 |  |  |  |  |
|  | GEMINI AS | A81500001 |  |  |  |  |
|  | GEMINI AS | A81500002 |  |  |  |  |
|  | MECHANISM TOP COVER ASSY | A81510013 |  |  |  |  |
|  | LH ACCESS DOOR ASSY | A81510017 |  |  |  |  |
|  | OVERFLOW SENSOR ASSY | A81510024 |  |  |  |  |
|  | POWER PCBA | A81510028 |  |  |  |  |
|  | GEMINI AS INTERFACE PCBA | A81510029 |  |  |  |  |
|  | UPPER SLIDING DOOR | A81510037 |  |  |  |  |
|  | LOWER SLIDING DOOR | A81510038 |  |  |  |  |
|  | Z MOTOR SPARES KIT | A81510039 |  |  |  |  |
|  | THETA MOTOR SPARES KIT | A81510040 |  |  |  |  |
|  | ANNUAL SPARES KIT | A81510041 |  |  |  |  |
|  | VACUUM BREAKER KIT | A81510043 |  |  |  |  |
|  | POWER SUPPLY SPARE KIT | A81510044 |  |  |  |  |
|  | GEMINI AS MAINS INLET | A81510045 |  |  |  |  |
|  | GEMINI AS DISPLAY PCBA | A81510048 |  |  |  |  |
|  | GEMINI AS INTERNAL | A81510049 |  |  |  |  |
|  | FASTENER KIT | A81510050 |  |  |  |  |
|  | DISPLAY ASSEMBLY KIT | A81510058 |  |  |  |  |
|  | CONVOLUTED TUBE SPARES | A81510059 |  |  |  |  |
|  | DISPLAY CABLE KIT | A81510060 |  |  |  |  |
|  | GEMINI AS MAIN PCBA KIT | A81510068 |  |  |  |  |
|  | SERVICE MANUAL | A81510101 |  |  |  |  |
|  | LED TOP CABLEFORM | A81520018 |  |  |  |  |
|  | SPEAKER CABLEFORM | A81520034 |  |  |  |  |
|  | MIDDLE LED CABLEFORM | A81520042 |  |  |  |  |
|  | AXIAL FAN CABLEFORM | A81520046 |  |  |  |  |
|  | MAINS LEAD & EARTH | A81520085 |  |  |  |  |
|  | MAINS FILTER ASSEMBLY | A81520086 |  |  |  |  |
|  | SCREEN MTG PLATE ASSY | A81520101 |  |  |  |  |
|  | WAX TANK ASSY - | A81610003 |  |  |  |  |
|  | TAP & NUT ASSY | A81610005 |  |  |  |  |
|  | HCWD TAP HEATER KIT 240V | A81610026 |  |  |  |  |
|  | HCWD TAP HEATER KIT 110V | A81610027 |  |  |  |  |
|  | SLWD 240v TAP HEATER KIT | A81610028 |  |  |  |  |
|  | SLWD 110v TAP HEATER KIT | A81610029 |  |  |  |  |
|  | WAX DISPENSER 110V AMBER | A81610030 |  |  |  |  |
|  | WAX DISPENSER 240V AMBER | A81610031 |  |  |  |  |
|  | TANK BOTTOM HEATER | A81620013 |  |  |  |  |
|  | STYLUS CABLE KIT | A81710042 |  |  |  |  |
|  | STYLUS CABLE | A81720037 |  |  |  |  |
|  | PEN CLAW | A81730075 |  |  |  |  |
|  | KEYPAD MWC | A81730099 |  |  |  |  |
|  | ENGRAVER HOLDER & PIN | A81820030 |  |  |  |  |
|  | SENSOR CABLEFORM | A82020021 |  |  |  |  |
|  | SECTION BATH HEATER CABLE | A82020053 |  |  |  |  |
|  | PROGRAMMED DISPLAY | A82020054 |  |  |  |  |
|  | ACCESSORY,HINGED LID | A82110005 |  |  |  |  |
|  | HEATER ASSY KIT 240V | A82110014 |  |  |  |  |
|  | HEATER ASSY KIT 110V | A82110015 |  |  |  |  |
|  | HEATER PLATE ASSY | A82110026 |  |  |  |  |
|  | CONTROLLER PROGRAMMED | A82110031 |  |  |  |  |
|  | THERMOSTAT REPLACEMENT | A82110036 |  |  |  |  |
|  | EXCELSIOR AS | A82300001 |  |  |  |  |
|  | PUMP PLATE ASSY COMPLETE | A82310004 |  |  |  |  |
|  | FILTER LID ASSEMBLY | A82310013 |  |  |  |  |
|  | REACTION LID ASSEMBLY | A82310014 |  |  |  |  |
|  | PSU & CARRIER ASSEMBLY | A82310018 |  |  |  |  |
|  | FILTER MICROSWITCH ASSY | A82310020 |  |  |  |  |
|  | WATER FLUSH BOTTLE ASSY | A82310032 |  |  |  |  |
|  | DOWNDRAFT VENT KIT | A82310033 |  |  |  |  |
|  | ALCOHOL REAR PIPE ASSY | A82310036 |  |  |  |  |
|  | XYLENE REAR PIPE ASSY | A82310037 |  |  |  |  |
|  | ORGANISER 50 SEGMENT | A82310038 |  |  |  |  |
|  | WAX TANK ASSEMBLY | A82310040 |  |  |  |  |
|  | WAX HEATER KIT | A82310041 |  |  |  |  |
|  | EXTRCTION FAN KIT | A82310042 |  |  |  |  |
|  | ANNUAL SERVICE KIT | A82310043 |  |  |  |  |
|  | PROCESSOR PCBA SPARES KIT | A82310045 |  |  |  |  |
|  | DIGITAL I/O PCBA SPARES | A82310046 |  |  |  |  |
|  | DISTRIBUTION PCBA SPARES | A82310047 |  |  |  |  |
|  | PASSIVE PCBA SPARES KIT | A82310048 |  |  |  |  |
|  | TANK PCBA & CABLES SPARES | A82310049 |  |  |  |  |
|  | A1 BOTTLE SUPPORT KIT | A82310050 |  |  |  |  |
|  | UPPER AGITATE KIT | A82310052 |  |  |  |  |
|  | AGITATE BEARING KIT | A82310053 |  |  |  |  |
|  | REACTION CHAMBER KIT | A82310054 |  |  |  |  |
|  | RC THERMISTOR KIT | A82310055 |  |  |  |  |
|  | RC WALL HEATER KIT | A82310056 |  |  |  |  |
|  | VALVE PORT SEAL KIT | A82310057 |  |  |  |  |
|  | VALVE ROTOR ASSEMBLY | A82310058 |  |  |  |  |
|  | 12MM ELBOW COUPLING KIT | A82310059 |  |  |  |  |
|  | FUSE KIT | A82310060 |  |  |  |  |
|  | UPPER BOTTLE PIPE KIT | A82310061 |  |  |  |  |
|  | CHAMBER PIPE KIT | A82310062 |  |  |  |  |
|  | BACK BOTTLE DIP PIPE KIT | A82310063 |  |  |  |  |
|  | NETMON KIT | A82310064 |  |  |  |  |
|  | DISPLAY SPARES KIT LED BL | A82310066 |  |  |  |  |
|  | WAX PIPE | A82310067 |  |  |  |  |
|  | REACTION CHAMBER KIT | A82310068 |  |  |  |  |
|  | SECURSETTE SEGMENT BASKET | A82310071 |  |  |  |  |
|  | OPERATOR GUIDE | A82310100 |  |  |  |  |
|  | TRIP CABLE | A82320049 |  |  |  |  |
|  | HINGE PIN | A82320058 |  |  |  |  |
|  | WAX THERMISTOR | A82320084 |  |  |  |  |
|  | WAX PIPE & HEATER W1 | A82320140 |  |  |  |  |
|  | WAX PIPE & HEATER W2 | A82320141 |  |  |  |  |
|  | WAX PIPE & HEATER W3 | A82320142 |  |  |  |  |
|  | WAX PIPE & HEATER WASTE | A82320143 |  |  |  |  |
|  | CHAMBER LID HANDLE | A82330035 |  |  |  |  |
|  | REMOVABLE DECK TRAY | A82330044 |  |  |  |  |
|  | VALVE PORT SEAL HOLDER | A82330284 |  |  |  |  |
|  | LCD PCB & CABLE KIT | A82810037 |  |  |  |  |
|  | CASEWORK FASTENER KIT | A82810046 |  |  |  |  |
|  | WASTE TAPE SPOOL KIT | A82810048 |  |  |  |  |
|  | COVER LH REAR PM2 | A82830055 |  |  |  |  |
|  | WASTE TAPE GUARD | A82830085 |  |  |  |  |
|  | SLIDE RACK CARRIER | A83410036 |  |  |  |  |
|  | GRIPFINGER ASSEMBLY | A83410042 |  |  |  |  |
|  | COUPLING KIT | A83410047 |  |  |  |  |
|  | SERVICE KIT GRIP FINGER | A83410048 |  |  |  |  |
|  | SERVICE KIT CLAW PIECE | A83410049 |  |  |  |  |
|  | GRIPFINGER ASSEMBLY | A83410050 |  |  |  |  |
|  | GRIP FINGER SERVICE | A83410051 |  |  |  |  |
|  | CLAW SERVICE KIT | A83410052 |  |  |  |  |
|  | SLIP GUIDE BLOCK | A83430006 |  |  |  |  |
|  | BASKET DROP PLATE | A83430009 |  |  |  |  |
|  | EXPELLER GUIDE PLATE | A83430013 |  |  |  |  |
|  | STOP | A83430024 |  |  |  |  |
|  | OPTO DISC STEP DOWN | A83430030 |  |  |  |  |
|  | DISPENSER MOUNTING BLOCK | A83430065 |  |  |  |  |
|  | SLIDE GUIDE PLATE | A83430092 |  |  |  |  |
|  | XYLENE POT GLASS | A83430145 |  |  |  |  |
|  | COVERSLIP CRANK ARM [MID] | A83430219 |  |  |  |  |
|  | GRIP FINGER CLAW | A83430232 |  |  |  |  |
|  | STABILISATION REWORK KIT | A83510047 |  |  |  |  |
|  | REAR COVER | A83510060 |  |  |  |  |
|  | COUPLING 3/PK | A83510066 |  |  |  |  |
|  | BASKET SPRING CLIP 3/PK | A83510067 |  |  |  |  |
|  | PLUG IN CONNECTOR | A83530444 |  |  |  |  |
|  | PRINTMATE AS 150 | A83800001 |  |  |  |  |
|  | PRINTMATE AS 450 | A83800002 |  |  |  |  |
|  | PRINTMATE AS 900 | A83800003 |  |  |  |  |
|  | PRINTMATE AS 150 | A83800004 |  |  |  |  |
|  | PRINTMATE AS 450 | A83800005 |  |  |  |  |
|  | PRINTMATE AS 900 | A83800006 |  |  |  |  |
|  | DOOR ASSEMBLY | A83810007 |  |  |  |  |
|  | PM AS MAIN PCBA | A83810041 |  |  |  |  |
|  | LH LOWER COVER ASSY | A83810051 |  |  |  |  |
|  | SOLENOID BLOCK ASSEMBLY | A83810057 |  |  |  |  |
|  | PRINT MECHANISM ASSY | A83810069 |  |  |  |  |
|  | PM AS CONV ASSY SPRARE KT | A83810084 |  |  |  |  |
|  | CASSETTE CLAMP ASSEMBLY | A83810136 |  |  |  |  |
|  | CASSETTE CLAMP PARAFORM | A83810137 |  |  |  |  |
|  | FUSE KIT - HEAD HEATER | A83810151 |  |  |  |  |
|  | DC HEATER ASSEMBLY | A83820002 |  |  |  |  |
|  | TRANSFER CHUTE COLL SYS | A83820004 |  |  |  |  |
|  | WASTE SPOOL DOOR BONDED | A83820010 |  |  |  |  |
|  | PM AS CURVED CHUTE ASSY | A83820022 |  |  |  |  |
|  | COVER LH - FRONT | A83830100 |  |  |  |  |
|  | COVER RH - LOWER | A83830102 |  |  |  |  |
|  | PLATTEN | A83830122 |  |  |  |  |
|  | CONVEYOR BELT | A83830129 |  |  |  |  |
|  | SLIDEMATE AS | A83900001 |  |  |  |  |
|  | SLIDEMATE AS | A83900002 |  |  |  |  |
|  | SLIDEMATE AS | A83900004 |  |  |  |  |
|  | SLIDEMATE AS | A83900005 |  |  |  |  |
|  | THERMAL TRANSFER MEDIA | A83910001 |  |  |  |  |
|  | SLIDE DELIVERY SYSTEM | A83910002 |  |  |  |  |
|  | GATEWAY SOFTWARE | A83910005 |  |  |  |  |
|  | PRINTER MANAGER | A83910006 |  |  |  |  |
|  | SCREEN GUARD | A83910007 |  |  |  |  |
|  | CLEANING KIT FOR PRINT | A83910008 |  |  |  |  |
|  | GATEWAY SOFTWARE | A83910009 |  |  |  |  |
|  | DRIVER BOARD | A83920001 |  |  |  |  |
|  | CPU BOARD | A83920002 |  |  |  |  |
|  | PRINT HEAD ASSEMBLY | A83920004 |  |  |  |  |
|  | SLIDE INPUT GUIDE | A83920005 |  |  |  |  |
|  | SLIDE PLATFORM ASSEMBLY | A83920006 |  |  |  |  |
|  | DOOR KIT | A83920007 |  |  |  |  |
|  | CASE | A83920008 |  |  |  |  |
|  | COLLECTION CHUTE | A83920009 |  |  |  |  |
|  | MAINS LEAD US | A83920010 |  |  |  |  |
|  | MAINS LEAD EU | A83920011 |  |  |  |  |
|  | MAINS lEAD UK | A83920012 |  |  |  |  |
|  | POWER SUPPLY | A83920013 |  |  |  |  |
|  | REPLACEMENT PACKAGING | A83920014 |  |  |  |  |
|  | STAINLESS STEEL CHUTE | A83920015 |  |  |  |  |
|  | HOPPER FOR DELIVERY | A83920016 |  |  |  |  |
|  | TOOL KIT | A83920017 |  |  |  |  |
|  | PROGRAMMED VARISCITE | A83920018 |  |  |  |  |
|  | CABLE - DC Y SPLITTER | A83920019 |  |  |  |  |
|  | CABLE - USB MINI A TO | A83920020 |  |  |  |  |
|  | PCB - SLIDE DELIVERY | A83920021 |  |  |  |  |
|  | CARRIAGE BLOCK | A83920023 |  |  |  |  |
|  | TRANSPORT BLOCK | A83920024 |  |  |  |  |
|  | 3mm SHAFT WITH CIRCLIP | A83920025 |  |  |  |  |
|  | MOTOR | A83920027 |  |  |  |  |
|  | LINEAR BEARING RAIL | A83920028 |  |  |  |  |
|  | SPRING CAP | A83920029 |  |  |  |  |
|  | SPRING PLATE | A83920030 |  |  |  |  |
|  | SPRING | A83920031 |  |  |  |  |
|  | BEARING CARRIAGE | A83920032 |  |  |  |  |
|  | CHASSIS PLATE L | A83920033 |  |  |  |  |
|  | SPRING COMPRESSION | A83920034 |  |  |  |  |
|  | CHASSIS PLATE R | A83920035 |  |  |  |  |
|  | RIBBON CABLE | A83920036 |  |  |  |  |
|  | ANTENNA | A83920037 |  |  |  |  |
|  | PROGRAMMED VARISCITE | A83920038 |  |  |  |  |
|  | SDS TORSION SPRING | A83920041 |  |  |  |  |
|  | TRANSPORT BLOCK | A83920048 |  |  |  |  |
|  | SDS RETROFIT KIT | A83920049 |  |  |  |  |
|  | SCANNER | A83920053 |  |  |  |  |
|  | CLAMP COLLAR | A83920054 |  |  |  |  |
|  | TIMING DISK | A83920055 |  |  |  |  |
|  | PRINT HEAD LINEAR | A83920056 |  |  |  |  |
|  | REVOS INSTRUMENT | A84100001 |  |  |  |  |
|  | ELECTRONICS BOX | A84110029 |  |  |  |  |
|  | PSU ASSEMBLY | A84110030 |  |  |  |  |
|  | ORGANISER 50 SEGMENT | A84110031 |  |  |  |  |
|  | MEGA CASSETTE 7 SEGMENT | A84110032 |  |  |  |  |
|  | F1 PIPE ASSEMBLY | A84110040 |  |  |  |  |
|  | LOD LOCK ASSY | A84110069 |  |  |  |  |
|  | OPERATOR GUIDE | A84110100 |  |  |  |  |
|  | SPARES CHAMBER O-RING | A84110114 |  |  |  |  |
|  | SPARES VALVE SEAL KIT | A84110115 |  |  |  |  |
|  | SPARES LID ASSEMBLY | A84110116 |  |  |  |  |
|  | SPARES REACTION CHAMBER | A84110117 |  |  |  |  |
|  | SPARES VALVE ASSEMBLY | A84110118 |  |  |  |  |
|  | SPARES REAR CHAMBER PCB | A84110119 |  |  |  |  |
|  | SPARES FRONT CHAMBER PCB | A84110120 |  |  |  |  |
|  | SPARES PROCESSOR PCB | A84110121 |  |  |  |  |
|  | SPARES BATTERY PCB | A84110122 |  |  |  |  |
|  | SPARES ANNUAL SERVICE KIT | A84110123 |  |  |  |  |
|  | SPARES 8MM COUPLING KIT | A84110124 |  |  |  |  |
|  | SPARES COUPLING PUMP KIT | A84110125 |  |  |  |  |
|  | SPARES GAS STRUT KIT | A84110126 |  |  |  |  |
|  | SPARES DOWN DRAFT FAN KIT | A84110127 |  |  |  |  |
|  | SPARES AGITATION MOTOR | A84110128 |  |  |  |  |
|  | SPARES MAIN PCB | A84110129 |  |  |  |  |
|  | SPARES RISER PCB | A84110130 |  |  |  |  |
|  | SPARES VALVE PCB | A84110131 |  |  |  |  |
|  | SPARES OPTO PCB SETTING | A84110132 |  |  |  |  |
|  | BATTERY, CHARGED & TESTED | A84110133 |  |  |  |  |
|  | SPARES FEP PIPES & GLOVE | A84110135 |  |  |  |  |
|  | MOTOR BRACKET VALVE | A84120041 |  |  |  |  |
|  | LH DOOR 2 SWITCH | A84120055 |  |  |  |  |
|  | WAX PIPE 1 | A84120064 |  |  |  |  |
|  | WAX PIPE 2 | A84120065 |  |  |  |  |
|  | WAX PIPE 3 | A84120066 |  |  |  |  |
|  | WAX PIPE & HEATER WASTE | A84120067 |  |  |  |  |
|  | BATTERY FAN(SPARES) | A84120080 |  |  |  |  |
|  | PUMP WITH CONNECTOR | A84120092 |  |  |  |  |
|  | MANIFOLD ASSEMBLY | A84120094 |  |  |  |  |
|  | BATTERY PCB TO BATTERIES | A84120096 |  |  |  |  |
|  | BATTERY THERMISTOR | A84120098 |  |  |  |  |
|  | BASKET DETECT SENSOR | A84120109 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210010 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210011 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210012 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210013 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210014 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210015 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210016 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210017 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210018 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210019 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210020 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210021 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210022 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210023 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210024 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210025 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210026 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210027 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210028 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210029 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210030 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210031 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210032 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210033 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210034 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210035 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210036 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210037 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210038 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210039 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210040 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210041 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210042 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210043 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210044 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210045 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210046 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210047 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210048 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210049 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210050 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210051 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210052 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210053 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210054 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210055 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210056 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210057 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210058 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210059 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210060 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210061 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210062 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210063 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210064 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210065 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210066 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210067 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210068 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210069 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210070 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210071 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210072 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210073 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210074 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210075 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210076 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210077 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210078 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210079 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210080 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210081 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210082 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210083 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210084 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210085 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210086 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210087 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210088 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210089 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210090 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210091 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210092 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210093 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210094 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210095 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210096 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210097 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210098 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210099 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210100 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210101 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210102 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210103 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210104 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210105 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210106 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210107 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210108 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210109 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210110 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210111 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210112 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210113 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210114 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210115 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210116 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210117 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210118 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210119 |  |  |  |  |
|  | PRINTMATE CASSETTE AQUA | A84210120 |  |  |  |  |
|  | PRINTMATE CASSETTE BLUE | A84210121 |  |  |  |  |
|  | PRINTMATE CASSETTE GREEN | A84210122 |  |  |  |  |
|  | PRINTMATE CASSETTE GREY | A84210123 |  |  |  |  |
|  | PRINTMATE CASSETTE LILAC | A84210124 |  |  |  |  |
|  | PRINTMATE CASSETTE ORANGE | A84210125 |  |  |  |  |
|  | PRINTMATE CASSETTE PINK | A84210126 |  |  |  |  |
|  | PRINTMATE CASSETTE TAN | A84210127 |  |  |  |  |
|  | PRINTMATE CASSETTE WHITE | A84210128 |  |  |  |  |
|  | PRINTMATE CASSETTE YELLOW | A84210129 |  |  |  |  |
|  | PRINMATE CASSETTES | A84210130 |  |  |  |  |
|  | SLIMLINE WAX | A84600001 |  |  |  |  |
|  | SLIMLINE WAX | A84600002 |  |  |  |  |
|  | HIGH CAPACITY WAX | A84600010 |  |  |  |  |
|  | HIGH CAPACITY WAX | A84600011 |  |  |  |  |
|  | MINI HOTPLATE 230V | A84600020 |  |  |  |  |
|  | MINI HOTPLATE 110V | A84600021 |  |  |  |  |
|  | SLIDE DRYING HOTPLATE | A84600030 |  |  |  |  |
|  | SLIDE DRYING HOTPLATE | A84600031 |  |  |  |  |
|  | HIGH CAPACITY SECTION | A84600050 |  |  |  |  |
|  | HIGH CAPACITY SECTION | A84600052 |  |  |  |  |
|  | TISSUE SECTION BATH | A84600060 |  |  |  |  |
|  | TISSUE SECTION BATH | A84600061 |  |  |  |  |
|  | BLOCK TRIMMER | A84600080 |  |  |  |  |
|  | BLOCK TRIMMER | A84600081 |  |  |  |  |
|  | SLIDE DRYING HOTPLATE | A84610081 |  |  |  |  |
|  | HIGH CAPACITY SECTION | A84610121 |  |  |  |  |
|  | HIGH CAPACITY SECTION | A84610122 |  |  |  |  |
|  | TISSUE SECTION BATH | A84610141 |  |  |  |  |
|  | TOOLBOX WITH TOOLS FOR | A84720012 |  |  |  |  |
|  | FREQUENCY METER FOR | A84720013 |  |  |  |  |
|  | CALIBRATION TRAY - | A84720014 |  |  |  |  |
|  | MOBILE TERMINAL INTERMEC | A85310001 |  |  |  |  |
|  | POWER DOCK FOR PDA | A85310002 |  |  |  |  |
|  | BATTERY FOR PDA INTERMEC | A85310003 |  |  |  |  |
|  | NYLON | AM03954 |  |  |  |  |
|  | RUBBER | AM03986 |  |  |  |  |
|  | BELT | AP14020 |  |  |  |  |
|  | BELT | AP14021 |  |  |  |  |
|  | BELT | AP14022 |  |  |  |  |
|  | SOLENOID | AP14026 |  |  |  |  |
|  | REFRIG STRT REL ASPERA110 | AP14030 |  |  |  |  |
|  | REFRIG FAN FOR DANFOSS | AP14033 |  |  |  |  |
|  | FUSE | AP14129 |  |  |  |  |
|  | DISK | AP14133 |  |  |  |  |
|  | INLET HOSE 2.5M LONG | AP14160 |  |  |  |  |
|  | KNOB | AP14170 |  |  |  |  |
|  | FOOT | AP14183 |  |  |  |  |
|  | MAINSLEAD SET | AP14202 |  |  |  |  |
|  | KEY | AP14264 |  |  |  |  |
|  | PACKAGING | AP14265 |  |  |  |  |
|  | SOLENOID | AP14319 |  |  |  |  |
|  | SEAL | AP14324 |  |  |  |  |
|  | SEAL | AP14332 |  |  |  |  |
|  | MOTOR | AP14339 |  |  |  |  |
|  | POWER SUPPLY | AP14341 |  |  |  |  |
|  | PACKAGING | AP14378 |  |  |  |  |
|  | MOTOR | AP14414 |  |  |  |  |
|  | SCREW - BUTT HEAD | AP14417 |  |  |  |  |
|  | TOOL | AP14418 |  |  |  |  |
|  | POCKET | AP14439 |  |  |  |  |
|  | OPTO-ELECTRONIC | AP14455 |  |  |  |  |
|  | COUPLING | AP14467 |  |  |  |  |
|  | MISC MECHANICAL | AP14572 |  |  |  |  |
|  | MISC ELECTRICAL | AP14584 |  |  |  |  |
|  | CABLE | AP14589 |  |  |  |  |
|  | HANDLE | AP14590 |  |  |  |  |
|  | PACKAGING | AP14633 |  |  |  |  |
|  | MISC MECHANICAL | AP14739 |  |  |  |  |
|  | PACKAGING | AP14747 |  |  |  |  |
|  | SERVICE RECORD BOOK - | AP14767 |  |  |  |  |
|  | STATIONERY | AP14891 |  |  |  |  |
|  | POWER SUPPLY | AP14903 |  |  |  |  |
|  | LAMP | AP14917 |  |  |  |  |
|  | MISC ELECTRICAL | AP14918 |  |  |  |  |
|  | CONNECTOR CABLE | AP14939 |  |  |  |  |
|  | REFRIG COMP NEK2134 230V | AP14955 |  |  |  |  |
|  | REFRIG COMP NEK2134 110V | AP14956 |  |  |  |  |
|  | REFRIG CONDENSER LU-VE | AP14957 |  |  |  |  |
|  | FAN | AP15001 |  |  |  |  |
|  | MISC MECHANICAL | AP15089 |  |  |  |  |
|  | BELT | AP15099 |  |  |  |  |
|  | PACKAGING | AP15100 |  |  |  |  |
|  | REFRIG 53-6 STRT CAP 230 | AP15105 |  |  |  |  |
|  | REFRIG STRT CAP189 115V | AP15106 |  |  |  |  |
|  | REFRIG MTRP RELAY 230V | AP15107 |  |  |  |  |
|  | REFRIG 9660C RELAY 115V | AP15108 |  |  |  |  |
|  | REFRIG O/LOAD PROTEC 230V | AP15109 |  |  |  |  |
|  | SWITCH | AP15133 |  |  |  |  |
|  | TOOL | AP15145 |  |  |  |  |
|  | COUPLING | AP15149 |  |  |  |  |
|  | LINEAR MOTION | AP15168 |  |  |  |  |
|  | LINEAR MOTION | AP15169 |  |  |  |  |
|  | POWER SUPPLY | AP15186 |  |  |  |  |
|  | LINEAR MOTION | AP15197 |  |  |  |  |
|  | LINEAR MOTION | AP15202 |  |  |  |  |
|  | PUMP | AP15217 |  |  |  |  |
|  | LINEAR MOTION | AP15244 |  |  |  |  |
|  | BELT | AP15280 |  |  |  |  |
|  | SEAL | AP15283 |  |  |  |  |
|  | DISPLAY | AP15308 |  |  |  |  |
|  | SWITCH | AP15314 |  |  |  |  |
|  | OPTO-ELECTRONIC | AP15331 |  |  |  |  |
|  | PUMP | AP15340 |  |  |  |  |
|  | PACKAGING | AP15344 |  |  |  |  |
|  | SEAL | AP15360 |  |  |  |  |
|  | FUSE | AP15368 |  |  |  |  |
|  | MISC MECHANICAL | AP15371 |  |  |  |  |
|  | CONNECTOR MAINS | AP15380 |  |  |  |  |
|  | CONNECTOR MAINS | AP15381 |  |  |  |  |
|  | CONNECTOR MAINS | AP15422 |  |  |  |  |
|  | FUSE | AP15423 |  |  |  |  |
|  | FUSE | AP15424 |  |  |  |  |
|  | CONNECTOR MAINS | AP15428 |  |  |  |  |
|  | FUSE | AP15429 |  |  |  |  |
|  | SWITCH | AP15430 |  |  |  |  |
|  | CONTAINER | AP15434 |  |  |  |  |
|  | CHAIN | AP15440 |  |  |  |  |
|  | MISC MECHANICAL | AP15464 |  |  |  |  |
|  | CABLE FFC | AP15670 |  |  |  |  |
|  | Linear Motion | AP15751 |  |  |  |  |
|  | Body Mount Coupling | AP15762 |  |  |  |  |
|  | PACKAGING | AP15769 |  |  |  |  |
|  | LINEAR MOTION | AP15781 |  |  |  |  |
|  | BEARING - METRIC | AP15811 |  |  |  |  |
|  | Connector Cable | AP15873 |  |  |  |  |
|  | PACKAGING | AP15889 |  |  |  |  |
|  | PACKAGING | AP15903 |  |  |  |  |
|  | FILTER CARBON | AP15908 |  |  |  |  |
|  | SPRING | AP15915 |  |  |  |  |
|  | TAPE | AP15921 |  |  |  |  |
|  | PACKAGING | AP15932 |  |  |  |  |
|  | COUPLING | AP15943 |  |  |  |  |
|  | VALVE - MECHANICAL | AP15954 |  |  |  |  |
|  | FAN | AP15982 |  |  |  |  |
|  | FAN | AP15983 |  |  |  |  |
|  | FOOT | AP15986 |  |  |  |  |
|  | DONGLE - LABWRITER WITH | AP16054 |  |  |  |  |
|  | SWITCH | AP16122 |  |  |  |  |
|  | RELAY | AP16123 |  |  |  |  |
|  | CABLE | AP16125 |  |  |  |  |
|  | Switch | AP16129 |  |  |  |  |
|  | SWITCH | AP16130 |  |  |  |  |
|  | SWITCH | AP16136 |  |  |  |  |
|  | SWITCH | AP16246 |  |  |  |  |
|  | SWITCH | AP16262 |  |  |  |  |
|  | PACKAGING | AP16270 |  |  |  |  |
|  | PACKAGING | AP16271 |  |  |  |  |
|  | PUMP | AP16286 |  |  |  |  |
|  | PACKAGING | AP16311 |  |  |  |  |
|  | PACKAGING | AP16493 |  |  |  |  |
|  | PACKIAGING | AP16494 |  |  |  |  |
|  | PACKAGING | AP16495 |  |  |  |  |
|  | BATTERY | AP16511 |  |  |  |  |
|  | SWITCH | AP16629 |  |  |  |  |
|  | FUSE | AP16634 |  |  |  |  |
|  | FUSE | AP16635 |  |  |  |  |
|  | PACKAGING | AP16874 |  |  |  |  |
|  | PACKAGING | AP16875 |  |  |  |  |
|  | SOLENOID | AP17069 |  |  |  |  |
|  | PACKAGING | AP17225 |  |  |  |  |
|  | USB FLASH DRIVE | AP17385 |  |  |  |  |
|  | PRINTER MAINTENANCE KIT | AP17407 |  |  |  |  |
|  | HINGE POSITION CONTROL | AP17661 |  |  |  |  |
|  | BELT | AP17773 |  |  |  |  |
|  | LINE CONDITIONER | AP17873 |  |  |  |  |
|  | REFRIG ISCEON MO89 | AP18134 |  |  |  |  |
|  | MISC ELECTRICAL | AP18147 |  |  |  |  |
|  | MINI KEYBOARD | AP18268 |  |  |  |  |
|  | MISC MECHANICAL | AP18321 |  |  |  |  |
|  | SEAL | AP18402 |  |  |  |  |
|  | HALL SENSOR | AP18409 |  |  |  |  |
|  | POWER SUPPLY | AP18435 |  |  |  |  |
|  | LUBRICANT | AP18719 |  |  |  |  |
|  | LUBRICANT | AP18720 |  |  |  |  |
|  | REAGENT BOTTLE RACK | AS10930 |  |  |  |  |
|  | EXHAUST HOSE 8FT x 4in | B050-280 |  |  |  |  |
|  | EXHAUST ELBOW 90 DEGREE | B050-281 |  |  |  |  |
|  | SPONGE SEPARATOR FOR | B1000152 |  |  |  |  |
|  | LINISTAT SLIDE STAINER | B1000200 |  |  |  |  |
|  | LINISTAT | B1000201 |  |  |  |  |
|  | HEATER PTC 100/240V | B1000633 |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729AQ |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729BL |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729GR |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729GY |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729LI |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729OR |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729PE |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729PK |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729TN |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729WH |  |  |  |  |
|  | EMBEDDING CASSETTES | B1000729YW |  |  |  |  |
|  | TISSUE CASSETTE ORANGE | B1000736OR |  |  |  |  |
|  | PLASTIC SLIDE FOLDER | B1001200BL |  |  |  |  |
|  | PLASTIC SLIDE FOLDER | B1001200GR |  |  |  |  |
|  | PLASTIC SLIDE FOLDER | B1001200GY |  |  |  |  |
|  | PLASTIC SLIDE FOLDER | B1001200WH |  |  |  |  |
|  | PLASTIC SLIDE FOLDER | B1001200YW |  |  |  |  |
|  | CYTOCHECK | B1001416 |  |  |  |  |
|  | PARAFFIN W/DRAWER KIT | B1002490K |  |  |  |  |
|  | WEIGHING SYSTEM DISPLAY | B1002761 |  |  |  |  |
|  | WEIGHING SYSTEM LOAD CELL | B1002762 |  |  |  |  |
|  | GREEN RAISE BUTTON ASSY | B1002764 |  |  |  |  |
|  | RED LOWER BUTTON ASSEMBLY | B1002765 |  |  |  |  |
|  | CASTOR UNIT DIRECTIONAL | B1002766 |  |  |  |  |
|  | CASTOR UNIT WITH BRAKE | B1002767 |  |  |  |  |
|  | BODY TRANSFER ROLLER BALL | B1002768 |  |  |  |  |
|  | END BUMPER FOOT | B1002769 |  |  |  |  |
|  | HANDLE LOCKING WHEEL | B1002770 |  |  |  |  |
|  | FOOT | B1003515 |  |  |  |  |
|  | PLASTIC SLIDE BOX WHITE - | B1780 |  |  |  |  |
|  | PLASTIC SLIDE BOX RED - | B1781 |  |  |  |  |
|  | PLASTIC SLIDE BOX BLUE - | B1782 |  |  |  |  |
|  | PLASTIC SLIDE BOX WHITE - | B1783 |  |  |  |  |
|  | PLASTIC SLIDE BOX BLUE - | B1785 |  |  |  |  |
|  | PLASTIC SLIDE BOX WHITE - | B1786 |  |  |  |  |
|  | PLASTIC SLIDE BOX RED - | B1787 |  |  |  |  |
|  | PLASTIC SLIDE BOX BLUE - | B1788 |  |  |  |  |
|  | SHELF | B3120202SH |  |  |  |  |
|  | DISPLAY WINDOW | B35240004 |  |  |  |  |
|  | AIR ADJUSTMENT SCREW | B35240005 |  |  |  |  |
|  | AGITATOR FLOW VALVE | B35240006 |  |  |  |  |
|  | NEEDLE VALVE | B35240009 |  |  |  |  |
|  | AIR PUMP | B35240010 |  |  |  |  |
|  | AC INPUT FUSE HOLDER | B35240013 |  |  |  |  |
|  | FUSE 15A | B35240014 |  |  |  |  |
|  | INTERIOR LAMP | B35240015 |  |  |  |  |
|  | PUMP COOLING FAN | B35240017 |  |  |  |  |
|  | VENT SYSTEM FAN | B35240018 |  |  |  |  |
|  | LCD DISPLAY | B35240020 |  |  |  |  |
|  | RELAY 24V DC | B35240021 |  |  |  |  |
|  | SSR | B35240022 |  |  |  |  |
|  | PROBE CONVERTER | B35240023 |  |  |  |  |
|  | FILAMENT TRANSFORMER | B35240031 |  |  |  |  |
|  | CAPACITOR .8UF 2100V DC | B35240032 |  |  |  |  |
|  | 5V DC POWER SUPPLY | B35240034 |  |  |  |  |
|  | POWER DISTRIBUTION BOARD | B35240037 |  |  |  |  |
|  | MEMBRANE KEYBOARD | B35240038 |  |  |  |  |
|  | AIR AGITATOR TUBE | B35240039 |  |  |  |  |
|  | BARCODE READER FOR 2-D | B35310006 |  |  |  |  |
|  | SHANDON BARCODE WRITER | B35310015 |  |  |  |  |
|  | MINI CHECKMATE SYSTEM | B35310040 |  |  |  |  |
|  | MINI CHECKMATE SYSTEM | B35310041 |  |  |  |  |
|  | MINI CHECKMATE SYSTEM | B35310042 |  |  |  |  |
|  | MINI CHECKMATE SYSTEM | B35310043 |  |  |  |  |
|  | THERMO SCANNER KIT | B35310050 |  |  |  |  |
|  | CONTROL MODULE | B35640160 |  |  |  |  |
|  | NEON BULB ARRAY FOR | B36141 |  |  |  |  |
|  | FUSE 5x20 4A T | B64110003 |  |  |  |  |
|  | TAMPING TOOL 3/4x3/4 | B64110005 |  |  |  |  |
|  | CORD COLD PLATE TIMER | B64110008 |  |  |  |  |
|  | CORD POWER 115V-15A | B64110010 |  |  |  |  |
|  | CORD POWER UK | B64110011 |  |  |  |  |
|  | BLACK SNAP IN HOLE PLUG | B64110012 |  |  |  |  |
|  | PARAFFIN TANK COVER ASSY | B64110013 |  |  |  |  |
|  | TISSUE TANK COVER ASSY | B64110015 |  |  |  |  |
|  | FILTER - PARAFFIN TANK | B64110016 |  |  |  |  |
|  | KNOB - PARRAFIN FLOW | B64110018 |  |  |  |  |
|  | KNOB - MAGNIFIER HOLDER | B64110019 |  |  |  |  |
|  | HALOGEN BULB 12V 10W | B64110020 |  |  |  |  |
|  | SCREW - PARRAFIN FLOW | B64110022 |  |  |  |  |
|  | SCRAPER | B64110023 |  |  |  |  |
|  | FOOT SWITCH BELLOWS | B64110024 |  |  |  |  |
|  | TUBE - DRAIN | B64110025 |  |  |  |  |
|  | TAMPING TOOL 1/2x1/2 | B64110026 |  |  |  |  |
|  | TRAY - TISSUE TANK | B64110027 |  |  |  |  |
|  | FUSE 5x20 8A T | B64110029 |  |  |  |  |
|  | TUBE CLEANER | B64110030 |  |  |  |  |
|  | FOOT WRENCH | B64110031 |  |  |  |  |
|  | WASTE COVER | B64110032 |  |  |  |  |
|  | CARTON EMBEDDING AND COLD | B64110036 |  |  |  |  |
|  | HEATED FORCEPS - RED | B64110040 |  |  |  |  |
|  | HEATED FORCEPS - YELLOW | B64110041 |  |  |  |  |
|  | FAN CONDENSER | B64110050 |  |  |  |  |
|  | FAN CONDENSER | B64110051 |  |  |  |  |
|  | FAN CONDENSER | B64110052 |  |  |  |  |
|  | LOCK NUT-FOOT | B64110055 |  |  |  |  |
|  | FOOT W/STUD | B64110056 |  |  |  |  |
|  | RELAY | B64110070 |  |  |  |  |
|  | OVERLAY - DISPLAY | B64110115 |  |  |  |  |
|  | HEATING ELEMENT - HOT | B64110118 |  |  |  |  |
|  | HEATING ELEMENT - TISSUE | B64110119 |  |  |  |  |
|  | HEATING ELEMENT DISPENSER | B64110121 |  |  |  |  |
|  | FAN - COLD SPOT | B64110123 |  |  |  |  |
|  | FAN COOLING | B64110124 |  |  |  |  |
|  | SENSOR O-RING PARAFFIN | B64110139 |  |  |  |  |
|  | INSULATION - COLD SPOT | B64110148 |  |  |  |  |
|  | INSULATION - COLD SPOT | B64110149 |  |  |  |  |
|  | BOARD PRINTED CIRCUIT | B64110161 |  |  |  |  |
|  | BOARD PRINTED CIRCUIT | B64110162 |  |  |  |  |
|  | BOARD PRINTED CIRCUIT | B64110163 |  |  |  |  |
|  | PARAFFIN TANK SENSOR | B64110164 |  |  |  |  |
|  | WASTE VALVE ASSEMBLY | B64110170 |  |  |  |  |
|  | HEATER ASSEMBLY - | B64110179 |  |  |  |  |
|  | THERMISTOR HOT SPOT | B64110180 |  |  |  |  |
|  | THERMISTOR PARAFFIN TANK | B64110181 |  |  |  |  |
|  | THERMISTOR COLD SPOT | B64110182 |  |  |  |  |
|  | VALVE SOLENOID ASSY | B64110183 |  |  |  |  |
|  | COLD SPOT THERMOELECTRIC | B64110184 |  |  |  |  |
|  | SWITCH MICRO-PARAFFIN | B64110185 |  |  |  |  |
|  | FOOT SWITCH | B64110186 |  |  |  |  |
|  | SWITCH POWER ENTRY | B64110187 |  |  |  |  |
|  | POWER SUPPLY | B64110190 |  |  |  |  |
|  | PACKAGING | B64110206 |  |  |  |  |
|  | TABLET-PC WITH COUNTERTOP | B81300028 |  |  |  |  |
|  | TABLET-PC WITH DESKTOP | B81300029 |  |  |  |  |
|  | TABLET-PC WITH COUNTERTOP | B81300030 |  |  |  |  |
|  | TABLET-PC WITH DESKTOP | B81300031 |  |  |  |  |
|  | "COUNTERTOP ARM 15"" PC PKG" | B81300032 |  |  |  |  |
|  | "DESKTOP MOUNT 15"" PC PKG." | B81300033 |  |  |  |  |
|  | LABWRITER BASIC SOFTWARE | B81310001 |  |  |  |  |
|  | ETHERNET CABLE - | B81310007 |  |  |  |  |
|  | CABLE 3'FLAT COGNEX | B81310012 |  |  |  |  |
|  | PC MOUSE WASHABLE | B81310019 |  |  |  |  |
|  | COUNTERTOP ARM FOR TABLET | B81310021 |  |  |  |  |
|  | TOUCH SCREEN STYLUS | B81310022 |  |  |  |  |
|  | 10in TABLET PC KIT | B81310123 |  |  |  |  |
|  | CABLE POWER JUMPER | B81320001 |  |  |  |  |
|  | RIBBON TAKE-UP FRICTION | B81320002 |  |  |  |  |
|  | MOTOR ASSY - PRINT HEAD | B81320003 |  |  |  |  |
|  | JAW REAR - SLIDE GRIPPER | B81320004 |  |  |  |  |
|  | ACTUATOR ARM - PLASTIC | B81320005 |  |  |  |  |
|  | SPACER | B81320006 |  |  |  |  |
|  | ACTUATOR SWIVEL | B81320007 |  |  |  |  |
|  | STEPPER MOTOR ASSY - | B81320008 |  |  |  |  |
|  | INTERFACE PCB ASSY | B81320009 |  |  |  |  |
|  | ROLLER - RIBBON PRINTER | B81320010 |  |  |  |  |
|  | ROLLER - RIBBON TAKE-UP | B81320011 |  |  |  |  |
|  | MOLDED OUTPUT RAMP | B81320012 |  |  |  |  |
|  | SPRING | B81320014 |  |  |  |  |
|  | SPRING | B81320015 |  |  |  |  |
|  | SPRING | B81320016 |  |  |  |  |
|  | TOP DIVIDER ENCLOSURE | B81320017 |  |  |  |  |
|  | SLIDE COVER | B81320018 |  |  |  |  |
|  | DOOR | B81320019 |  |  |  |  |
|  | BRACKET - DOOR CATCH | B81320020 |  |  |  |  |
|  | CONTROLLER BOARD ASSY | B81320021 |  |  |  |  |
|  | BRACKET - DOOR SUPPORT | B81320022 |  |  |  |  |
|  | SLIDE PUSH OFF ARM | B81320025 |  |  |  |  |
|  | CABLE ASSY - ETHERNET | B81320028 |  |  |  |  |
|  | BEARING - METRIC | B81320030 |  |  |  |  |
|  | SPRING | B81320031 |  |  |  |  |
|  | TAKE UP REEL HUB SEGMENT | B81320032 |  |  |  |  |
|  | THERMAL PRINTHEAD | B81320033 |  |  |  |  |
|  | FLAT FLEX JUMPER | B81320034 |  |  |  |  |
|  | BEARING - METRIC | B81320035 |  |  |  |  |
|  | BEARING RETAINING PLATE | B81320036 |  |  |  |  |
|  | BEARING MOUNT PLATE | B81320037 |  |  |  |  |
|  | BEARING - METRIC | B81320038 |  |  |  |  |
|  | BEARING - METRIC | B81320039 |  |  |  |  |
|  | POWER PACK KIT 100-240V | B81320040 |  |  |  |  |
|  | THERMAL TRANSFER RIBBON | B81320041 |  |  |  |  |
|  | CABLE 24 GAUGE | B81320042 |  |  |  |  |
|  | KEYBOARD INTERFACE KIT | B81320043 |  |  |  |  |
|  | SLIDE PUSHER | B81320045 |  |  |  |  |
|  | LONG SPRING | B81320046 |  |  |  |  |
|  | EXTENSION SPRING TRAVEL | B81320047 |  |  |  |  |
|  | EXTENSION SPRING TRAVEL | B81320048 |  |  |  |  |
|  | PCB ASSY - HMI BOARD | B81320049 |  |  |  |  |
|  | LCD DISPLAY | B81320051 |  |  |  |  |
|  | BUSHING 0.250 ID X 0.312 | B81320052 |  |  |  |  |
|  | JAW FRONT SLIDE GRIPPER | B81320053 |  |  |  |  |
|  | TIMING BELT MAIN DRIVE | B81320054 |  |  |  |  |
|  | O-RING TAKE-UP REEL HUB | B81320055 |  |  |  |  |
|  | SILICONE OIL 350 CST 1 FL | B81320056 |  |  |  |  |
|  | OIL WICK POLYESTER FELT | B81320057 |  |  |  |  |
|  | SLIDEMATE SERVICE TOOL | B81320059 |  |  |  |  |
|  | EU POWER CORD | B81320060 |  |  |  |  |
|  | UK POWER CORD | B81320061 |  |  |  |  |
|  | SPRING | B81320062 |  |  |  |  |
|  | SPRING | B81320063 |  |  |  |  |
|  | SPRING | B81320064 |  |  |  |  |
|  | CCC COMPLIANT POWER CORD | B81320066 |  |  |  |  |
|  | PIN | B81320068 |  |  |  |  |
|  | BUSH INSERTION TOOL | B81320070 |  |  |  |  |
|  | SPRING | B81320071 |  |  |  |  |
|  | LATCH BEARING ELEMENT | B81320074 |  |  |  |  |
|  | GUIDE BAR | B81320075 |  |  |  |  |
|  | PRINT TAPE SUPPORT ROLL | B81320077 |  |  |  |  |
|  | PRINT HEAD (NEW STYLE) | B81320078 |  |  |  |  |
|  | TAPERED TENSION ROLLER | B81320079 |  |  |  |  |
|  | DUST SHIELD | B81320080 |  |  |  |  |
|  | KIT SLIDEMATE UPGRADE TO | B81320081 |  |  |  |  |
|  | KIT SLIDEMATE UPGRADE TO | B81320082 |  |  |  |  |
|  | ROLLER CLUTCH | B81320099 |  |  |  |  |
|  | SCREWDRIVER 2mm HEX | B81330003 |  |  |  |  |
|  | SCREWDRIVER 2.5mm HEX | B81330004 |  |  |  |  |
|  | SCREWDRIVER 3mm HEX | B81330005 |  |  |  |  |
|  | SCREWDRIVER 3/32 HEX | B81330006 |  |  |  |  |
|  | PLIER - LONG SLIM NOSE | B81330007 |  |  |  |  |
|  | PRECISION TIP PROBE/PICK | B81330010 |  |  |  |  |
|  | ALLEN KEY | B81330011 |  |  |  |  |
|  | TOOL | B81330012 |  |  |  |  |
|  | TOOL | B81330013 |  |  |  |  |
|  | TOOL | B81330014 |  |  |  |  |
|  | TOOL | B81330015 |  |  |  |  |
|  | TOOL | B81330016 |  |  |  |  |
|  | ASSEMBLY TEST DISPLAY | B81330018 |  |  |  |  |
|  | DOOR SIMULATOR | B81330019 |  |  |  |  |
|  | FLAT FLEX JUMPER | B81330020 |  |  |  |  |
|  | CPU MODULE PROGRAMMED | B81330021 |  |  |  |  |
|  | HANDHELD BRUSH | B81330026 |  |  |  |  |
|  | ARCOS BLOCK MANAGEMENT | B84700001 |  |  |  |  |
|  | ARCOS BLOCK MANAGEMENT | B84700001L |  |  |  |  |
|  | ARCOS SCANNER ONLY | B84700002 |  |  |  |  |
|  | ARCOS SOFTWARE | B84700003 |  |  |  |  |
|  | FULL COMPUTER STATION | B84700004 |  |  |  |  |
|  | ARCOS TRAYS PK/6 | B84710001 |  |  |  |  |
|  | INDIVIDUAL CARDBOARD TRAY | B84710005 |  |  |  |  |
|  | HOOK FOR ARCOS SYSTEM | B84710006 |  |  |  |  |
|  | CABINET FOR 18 ARCOS | B84710007 |  |  |  |  |
|  | CABINET FOR 24 ARCOS | B84710008 |  |  |  |  |
|  | SET OF 4 WHEELS FOR | B84710009 |  |  |  |  |
|  | ARCOS GC420T - TRAY | B84710011 |  |  |  |  |
|  | ARCOS TRAY LEBELS X500 | B84710012 |  |  |  |  |
|  | ARCOS PRINTER RIBBON | B84710013 |  |  |  |  |
|  | ARCOS GX430T - BLOCK | B84710014 |  |  |  |  |
|  | ARCO GX430T - BLOCK | B84710015 |  |  |  |  |
|  | MAIN CPU | B84710030 |  |  |  |  |
|  | LED CARD | B84710031 |  |  |  |  |
|  | TIMING BELT | B84710032 |  |  |  |  |
|  | ROCKER ON / OFF SWITCH | B84710033 |  |  |  |  |
|  | INIT SENSOR | B84710034 |  |  |  |  |
|  | 15W BRUSHLESS MOTOR | B84710035 |  |  |  |  |
|  | LOGO - CONNECTIONS | B84710036 |  |  |  |  |
|  | MAIN STICKER | B84710037 |  |  |  |  |
|  | 2D SENSOR | B84710038 |  |  |  |  |
|  | REFLEX SENSOR | B84710039 |  |  |  |  |
|  | 2D ETHERNET CABLE | B84710040 |  |  |  |  |
|  | SET OF 4 FEET | B84710041 |  |  |  |  |
|  | MICROSWITCH | B84710042 |  |  |  |  |
|  | MICROSWITCH LEVER | B84710043 |  |  |  |  |
|  | POWER SWITCH | B84710044 |  |  |  |  |
|  | USB MEMORY | B84710045 |  |  |  |  |
|  | SET OF FIXING SCREWS AND | B84710046 |  |  |  |  |
|  | PACKAGING | B84710047 |  |  |  |  |
|  | SCANNER USB CABLE | B84710048 |  |  |  |  |
|  | SCANNER POWER SUPPLY | B84710049 |  |  |  |  |
|  | LAPTOP POWER CABLE | B84710050 |  |  |  |  |
|  | X-Y REINFORCEMENT SHEET | B84710053 |  |  |  |  |
|  | MORTUARY FRIDGE DOOR | C1000008 |  |  |  |  |
|  | HISTOSCREEN AQUA | C-1000-AQ |  |  |  |  |
|  | HISTOSCREEN BLUE | C-1000-BL |  |  |  |  |
|  | HISTOSCREEN WHITE | C-1000-WH |  |  |  |  |
|  | PRONG TERMINAL 4 PIN | C10140 |  |  |  |  |
|  | PRONT TERMINAL 4-PIN | C10290 |  |  |  |  |
|  | COVER | C407000 |  |  |  |  |
|  | BOLT D 8X20mm | C412010 |  |  |  |  |
|  | SHAFT D = 20x34 | C412050 |  |  |  |  |
|  | HANDLE D = 25x26 | C424030 |  |  |  |  |
|  | KNIFE GUARD CRYOSTAR | C460380 |  |  |  |  |
|  | SUPPORT ROLLERS & FRAME | C8004056 |  |  |  |  |
|  | Postlip Blotting Paper | E1 |  |  |  |  |
|  | Fords Gold Medal Blotting | E1/01 |  |  |  |  |
|  | Cassette Insert Paper | E10/7 |  |  |  |  |
|  | BIOPSY INSERTS PADS BLUE | E10/75/BLUE |  |  |  |  |
|  | Plastic Biopsy Insert | E10/87 |  |  |  |  |
|  | Plastic Biopsy Insert | E10/87/B |  |  |  |  |
|  | BIOPSY CASSETTE LID | E10/B/LID |  |  |  |  |
|  | EMBEDDING CASSETTE LID | E10/LID |  |  |  |  |
|  | SLOTTED CASSETTE LID | E10/S/LID |  |  |  |  |
|  | COVERGLASS STAINING RACK | E103 |  |  |  |  |
|  | PLUMBING KIT - STAINMATE | E103/S/PKIT |  |  |  |  |
|  | TAP - STAINMATE MINI & | E103/S/TAP |  |  |  |  |
|  | BATH - STAINMATE MAX | E103/SL/B2 |  |  |  |  |
|  | STAINLESS STEEL STAIN | E103/SL/BL2 |  |  |  |  |
|  | EXTERNAL BATH STAINMATE | E103/SL/EXTB |  |  |  |  |
|  | PLASTIC SLIDE RACK | E103/SL/R20 |  |  |  |  |
|  | Slide Rack - Stainmate | E103/SL/R30 |  |  |  |  |
|  | Adaptor - Slide Rack | E103/SL/R30A |  |  |  |  |
|  | WATER BATH - STAINMATE | E103/SL/WB |  |  |  |  |
|  | BATH - STAINMATE MINI | E103/SS/B |  |  |  |  |
|  | LID - STAINMATE MINI BATH | E103/SS/BL |  |  |  |  |
|  | EXTERNAL BATH WITH | E103/SS/EXTB |  |  |  |  |
|  | PLASTIC SLIDE RACK | E103/SS/R |  |  |  |  |
|  | WATER BATH - STAINMATE | E103/SS/WB |  |  |  |  |
|  | WHITE SUPER MEGA CASSETTE | E10SM/WHITE |  |  |  |  |
|  | AUTOPSY KNIFE 10inch | E18/37/10 |  |  |  |  |
|  | AUTOPSY KNIFE 12inch | E18/37/12 |  |  |  |  |
|  | AUTOPSY KNIFE 4inch | E18/37/4 |  |  |  |  |
|  | AUTOPSY KNIFE 6inch | E18/37/6 |  |  |  |  |
|  | AUTOPSY KNIFE 8inch | E18/37/8 |  |  |  |  |
|  | FLAT PACK TUBE FOR | E22/01MWFLTUBE |  |  |  |  |
|  | Slide Labels | E30/1 |  |  |  |  |
|  | Slide Tray Box | E32 |  |  |  |  |
|  | SLIDE WALLET FILING | E43/10BLUE |  |  |  |  |
|  | SLIDE FILING CABINET | E43/12BLUE |  |  |  |  |
|  | COLOURSTACK 14 DRAWER | E43/12C/AQUA |  |  |  |  |
|  | COLOURSTACK 14 DRAWER | E43/12C/BLUE |  |  |  |  |
|  | COLOURSTACK 14 DRAWER | E43/12C/GREY |  |  |  |  |
|  | COLOURSTACK 14 DRAWER | E43/12C/ORANGE |  |  |  |  |
|  | COLOURSTACK 14 DRAWER | E43/12C/TAN |  |  |  |  |
|  | COLOURSTACK 14 DRAWER | E43/12C/WHITE |  |  |  |  |
|  | COLOURSTACK ARCHIVE | E43/12CD/AQUA |  |  |  |  |
|  | COLOURSTACK ARCHIVE | E43/12CD/BLUE |  |  |  |  |
|  | COLOURSTACK ARCHIVE | E43/12CD/ORANGE |  |  |  |  |
|  | COLOURSTACK ARCHIVE | E43/12CD/PINK |  |  |  |  |
|  | COLOURSTACK ARCHIVE | E43/12CD/TAN |  |  |  |  |
|  | SLIDE FILING CABINET | E43/12GREEN |  |  |  |  |
|  | SLIDE FILING CABINET | E43/12GREY |  |  |  |  |
|  | SLIDE FILING CABINET | E43/12MINI |  |  |  |  |
|  | SLIDE FILING CABINET | E43/13BLUE |  |  |  |  |
|  | SLIDE FILING CABINET | E43/13GREEN |  |  |  |  |
|  | SLIDE FILING CABINET | E43/13GREY |  |  |  |  |
|  | TOP COVER FOR CABINETS | E43/14BLUE |  |  |  |  |
|  | TOP COVER FOR CABINETS | E43/14GREEN |  |  |  |  |
|  | TOP COVER FOR CABINETS | E43/14GREY |  |  |  |  |
|  | BASE STAND STD CABINETS | E43/15 |  |  |  |  |
|  | HEAVY DUTY WHEEL BASE | E43/15/HDWB |  |  |  |  |
|  | SPRING SPACER FOR E43/12 | E43/16 |  |  |  |  |
|  | DRAWER DIVIDER FOR | E43/21 |  |  |  |  |
|  | BLOCKSTORE CABINET BLUE | E43/22BLUE |  |  |  |  |
|  | BLOCKSTORE CABINET GREEN | E43/22GREEN |  |  |  |  |
|  | BLOCKSTORE CABINET GREY | E43/22GREY |  |  |  |  |
|  | Slide Location Slips | E43/25 |  |  |  |  |
|  | SLIDE FILING LOCATION | E43/26 |  |  |  |  |
|  | SLIDE FILING LOCATION | E43/27 |  |  |  |  |
|  | 20-Slide Tray 200 x 350mm | E44 |  |  |  |  |
|  | ALUMINIUM SLIDE TRAY | E45/10 |  |  |  |  |
|  | ALUMINIUM SLIDE TRAY | E45/20 |  |  |  |  |
|  | SLIDE FILING WALLET | E48/5 |  |  |  |  |
|  | 9-Slide Tray, 235 x 78mm | E49 |  |  |  |  |
|  | SLIDERITE 5 MAILER | E6/3 |  |  |  |  |
|  | Cork Disks | E7/15/CD |  |  |  |  |
|  | Cork Board | E7/3 |  |  |  |  |
|  | Dissecting Boards | E7/35 |  |  |  |  |
|  | Cork Board | E7/4 |  |  |  |  |
|  | VERTICAL SLIDE RACK | E89 |  |  |  |  |
|  | Specimen Bucket | E89/12 |  |  |  |  |
|  | Specimen Bucket | E89/13 |  |  |  |  |
|  | Specimen Bucket | E89/14 |  |  |  |  |
|  | Dissecting Pins | E9/1 |  |  |  |  |
|  | MOULDED GLASS DISH WITH | E90 |  |  |  |  |
|  | MOULDED GLASS DISH WITH | E91 |  |  |  |  |
|  | Coplin Jar | E94 |  |  |  |  |
|  | Filter tube Vyon | EPT1035/F |  |  |  |  |
|  | HISTOGEL 12X10ml PER CASE | HG-4000-012 |  |  |  |  |
|  | HISTOGEL 144X10ml | HG-4000-144 |  |  |  |  |
|  | EA50 Pap Stain | LAMB/370-D |  |  |  |  |
|  | OG6 Pap Stain | LAMB/380-D |  |  |  |  |
|  | LAMB DPX Mounting Medium | LAMB/DPX |  |  |  |  |
|  | LAMB OCT Embedding Medium | LAMB/OCT |  |  |  |  |
|  | NYLON | M02859 |  |  |  |  |
|  | PVC | M03516 |  |  |  |  |
|  | PVC | M03788 |  |  |  |  |
|  | PT MODULE TANK ASSEMBLY | P00005A |  |  |  |  |
|  | PT MODULE TANK ASSEMBLY | P00005A1 |  |  |  |  |
|  | PT MODULE CONTACT BLOCK | P00009 |  |  |  |  |
|  | LATCH PIN BLOCK PT MODULE | P00014 |  |  |  |  |
|  | Actuator Interlock Switch | P00033 |  |  |  |  |
|  | Tank Cover | P00037 |  |  |  |  |
|  | Contact - Liquid Level | P00050 |  |  |  |  |
|  | PT MODULE TANK LID ASSY | P00054A |  |  |  |  |
|  | Tank contact pin | P00055 |  |  |  |  |
|  | LUBRICANT | P01913 |  |  |  |  |
|  | SEALANT | P01921 |  |  |  |  |
|  | FUSE | P03070 |  |  |  |  |
|  | GROMMET | P03293 |  |  |  |  |
|  | FUSE | P04438 |  |  |  |  |
|  | FUSE | P05847 |  |  |  |  |
|  | SEAL | P05919 |  |  |  |  |
|  | SPRING | P05924 |  |  |  |  |
|  | SEALANT | P05943 |  |  |  |  |
|  | HEATSINK | P05968 |  |  |  |  |
|  | KEY | P06185 |  |  |  |  |
|  | MOULDING | P07437 |  |  |  |  |
|  | TRANSISTOR | P07631 |  |  |  |  |
|  | COUPLING | P07840 |  |  |  |  |
|  | PIN | P08677 |  |  |  |  |
|  | MISC MECHANICAL | P09046 |  |  |  |  |
|  | CLIP | P09078 |  |  |  |  |
|  | BELLOW | P09082 |  |  |  |  |
|  | COUPLING | P09429 |  |  |  |  |
|  | SEAL | P09460 |  |  |  |  |
|  | SOLENOID | P09577 |  |  |  |  |
|  | BALL | P09638 |  |  |  |  |
|  | FUSE | P11130 |  |  |  |  |
|  | FUSE | P11171 |  |  |  |  |
|  | OPTO-ELECTRONIC | P11225 |  |  |  |  |
|  | OPTO-ELECTRONIC | P11233 |  |  |  |  |
|  | SEAL | P11246 |  |  |  |  |
|  | CAPACITOR | P11253 |  |  |  |  |
|  | FUSE | P11433 |  |  |  |  |
|  | LUBRICANT | P11824 |  |  |  |  |
|  | MISC MECHANICAL | P11998 |  |  |  |  |
|  | MISC MECHANICAL | P12007 |  |  |  |  |
|  | PACKAGING | P12010 |  |  |  |  |
|  | MAINSLEAD SET | P12031 |  |  |  |  |
|  | MAINSLEAD SET | P12032 |  |  |  |  |
|  | MAINSLEAD SET | P12033 |  |  |  |  |
|  | SEAL | P12073 |  |  |  |  |
|  | PACKAGING | P12085 |  |  |  |  |
|  | PUMP | P12215 |  |  |  |  |
|  | MISC MECHANICAL | P12257 |  |  |  |  |
|  | FERRULE | P12339 |  |  |  |  |
|  | RELAY | P12405 |  |  |  |  |
|  | SHOP CONSUMABLE | P12440 |  |  |  |  |
|  | SOLENOID | P12546 |  |  |  |  |
|  | SPRING | P12559 |  |  |  |  |
|  | SEAL | P12567 |  |  |  |  |
|  | BOTTLE | P12568 |  |  |  |  |
|  | CONNECTOR CABLE | P12580 |  |  |  |  |
|  | TOUCH PANEL | P12586 |  |  |  |  |
|  | SEAL | P12640 |  |  |  |  |
|  | TOOL | P12648 |  |  |  |  |
|  | THERMOSTAT | P12711 |  |  |  |  |
|  | BATTERY | P12740 |  |  |  |  |
|  | BEARING - METRIC | P12797 |  |  |  |  |
|  | KEY | P12818 |  |  |  |  |
|  | MAINSLEAD SET | P12822 |  |  |  |  |
|  | HANDLE | P12832 |  |  |  |  |
|  | PIN | P12837 |  |  |  |  |
|  | BATTERY | P12842 |  |  |  |  |
|  | SPRING | P12877 |  |  |  |  |
|  | SPRING | P12880 |  |  |  |  |
|  | CLIP | P12881 |  |  |  |  |
|  | SPRING | P12920 |  |  |  |  |
|  | BELT | P12923 |  |  |  |  |
|  | TOOL | P12924 |  |  |  |  |
|  | SPRING | P12926 |  |  |  |  |
|  | MISC MECHANICAL | P12940 |  |  |  |  |
|  | BELT | P12958 |  |  |  |  |
|  | BELT | P12983 |  |  |  |  |
|  | BELT | P12984 |  |  |  |  |
|  | BELT | P12985 |  |  |  |  |
|  | SPRING | P13104 |  |  |  |  |
|  | COUPLING | P13161 |  |  |  |  |
|  | SEMICONDUCTOR | P13190 |  |  |  |  |
|  | MISC ELECTRICAL | P13191 |  |  |  |  |
|  | MISC ELECTRICAL | P13192 |  |  |  |  |
|  | LAMP | P13193 |  |  |  |  |
|  | OPTO-ELECTRONIC | P13223 |  |  |  |  |
|  | SWITCH | P13272 |  |  |  |  |
|  | CONNECTOR MAINS | P13274 |  |  |  |  |
|  | RELAY | P13276 |  |  |  |  |
|  | FILTER | P13284 |  |  |  |  |
|  | SEAL | P13288 |  |  |  |  |
|  | MAINSLEAD SET | P13290 |  |  |  |  |
|  | MAINSLEAD SET | P13291 |  |  |  |  |
|  | MAINSLEAD SET | P13292 |  |  |  |  |
|  | BOTTLE | P13433 |  |  |  |  |
|  | SHOP CONSUMABLE | P13452 |  |  |  |  |
|  | SEMICONDUCTOR | P13459 |  |  |  |  |
|  | \*RELAY | P13564 |  |  |  |  |
|  | SWITCH | P13571 |  |  |  |  |
|  | THERMOSTAT | P13596 |  |  |  |  |
|  | PACKAGING | P13614 |  |  |  |  |
|  | SPRING | P13620 |  |  |  |  |
|  | FUSE | P13641 |  |  |  |  |
|  | PUMP | P13659 |  |  |  |  |
|  | LINEAR MOTION | P13680 |  |  |  |  |
|  | BALL SPRING PLUNGER | P13685 |  |  |  |  |
|  | BELT | P13705 |  |  |  |  |
|  | THERMOSTAT | P13707 |  |  |  |  |
|  | THERMOSTAT | P13708 |  |  |  |  |
|  | BELT | P13717 |  |  |  |  |
|  | LUBRICANT | P13725 |  |  |  |  |
|  | REFRIG COMP T2168GK 110V | P13733 |  |  |  |  |
|  | FUSE | P13741 |  |  |  |  |
|  | CLOSURE | P13805 |  |  |  |  |
|  | BATTERY | P13823 |  |  |  |  |
|  | POTENTIOMETER | P13832 |  |  |  |  |
|  | SEALANT | P13849 |  |  |  |  |
|  | KNOB | P13862 |  |  |  |  |
|  | FINESSE DUST COVER | P13912 |  |  |  |  |
|  | PACKAGING | P13921 |  |  |  |  |
|  | LAMP | P13934 |  |  |  |  |
|  | Hinges Adj Friction Black | P37001 |  |  |  |  |
|  | "LEVELING MOUNT 1/4-20X5""" | P37003 |  |  |  |  |
|  | COUPLING | P50003 |  |  |  |  |
|  | COUPLING | P50004 |  |  |  |  |
|  | Switch | P60016 |  |  |  |  |
|  | INTERLOCK SWITCH CABLE | P60804 |  |  |  |  |
|  | Connect Cable | P60809 |  |  |  |  |
|  | SILICONE FOAM SHEET | P69003 |  |  |  |  |
|  | PT MODULE TANK ASSEMBLY | PT10230 |  |  |  |  |
|  | PT MODULE TANK LID ASSY | PT10330 |  |  |  |  |
|  | SALES LIT | PT10531 |  |  |  |  |
|  | OPERATOR GUIDE | PT11230 |  |  |  |  |
|  | Wilms Tumor (Poly)RTU | RB-9267-R7 |  |  |  |  |
|  | Z Shaft Air/Buffer | S00082 |  |  |  |  |
|  | SLIDE RACK BRACKET REAR | S00121 |  |  |  |  |
|  | SLIDE RACK BRACKET FRONT | S00122 |  |  |  |  |
|  | SLIDE RACK BRACKET LEFT | S00123 |  |  |  |  |
|  | SLIDE RACK BRACKET RIGHT | S00124 |  |  |  |  |
|  | Z Shaft Reagent | S00153 |  |  |  |  |
|  | WASH BIN PLATE | S00183 |  |  |  |  |
|  | FRONT DOOR ANGLE | S00190 |  |  |  |  |
|  | FET FRONT BAR FOR S/PANEL | S00196 |  |  |  |  |
|  | Sink Gasket | S00236 |  |  |  |  |
|  | SENSOR LEAD LOW LEVEL 5V | S00245 |  |  |  |  |
|  | SENSOR LEAD HIGH LEVEL | S00246 |  |  |  |  |
|  | SENSOR LEAD MAX LEVEL | S00247 |  |  |  |  |
|  | PIPET MODIFIED, WASH BIN | S00253 |  |  |  |  |
|  | Manifold / Coil Probe | S00293 |  |  |  |  |
|  | Z MOTOR WIRING | S00310 |  |  |  |  |
|  | WAST FILTER DISC | S00359 |  |  |  |  |
|  | SINK THERMOFORMED | S00433 |  |  |  |  |
|  | DRAIN HOLE COVER | S00506 |  |  |  |  |
|  | DRAIN SCREEN DISC, | S00507 |  |  |  |  |
|  | WASTE RESERVOIR COVER | S00508 |  |  |  |  |
|  | Door Seal, L & R | S00621 |  |  |  |  |
|  | WIRE FRAME, COIL PROBE | S00648 |  |  |  |  |
|  | SLIDE Y LINEAR MOTION RSR | S10001 |  |  |  |  |
|  | OPTO-ELECTRONIC | S11003 |  |  |  |  |
|  | Timing Belt 1/5 Pitch | S13001 |  |  |  |  |
|  | BELT TIMING 0.080 PITCH | S13003 |  |  |  |  |
|  | Timing Belt 1/5 Pitch | S13006 |  |  |  |  |
|  | Timing Belt 3/8 Pitch | S13007 |  |  |  |  |
|  | LINEAR MOTION | S14004 |  |  |  |  |
|  | LINEAR MOTION | S16003 |  |  |  |  |
|  | Motor Driver Micro | S17026 |  |  |  |  |
|  | 2D Barcode Imager Engine | S17029 |  |  |  |  |
|  | OPTO-ELECTRONIC | S17042 |  |  |  |  |
|  | Haematoxylin | S178-3 |  |  |  |  |
|  | SINGLE POT SYRINGE HOLDER | S18002 |  |  |  |  |
|  | 2ml DILUENT PLUNGER | S18004 |  |  |  |  |
|  | Syringe pump, w/modified | S18005 |  |  |  |  |
|  | HP Colour Inkjet Printer | S19007 |  |  |  |  |
|  | LABEL PRINTER | S19011 |  |  |  |  |
|  | SURGE PROTECTOR | S19017 |  |  |  |  |
|  | UPS System Medical Grade | S19028 |  |  |  |  |
|  | Reagent Rack White | S20001 |  |  |  |  |
|  | REAGENT VIAL 15mL | S20002 |  |  |  |  |
|  | Reagent Rack Blue | S20005 |  |  |  |  |
|  | BUMPER STUD PLATE MOUNTS | S37002 |  |  |  |  |
|  | Hinges Plastic Leaf | S37011 |  |  |  |  |
|  | BUMPER PVC 0.5in DIA X | S37024 |  |  |  |  |
|  | O-RING FOR WATER FILTER | S37032 |  |  |  |  |
|  | PVC | S40001 |  |  |  |  |
|  | PVC | S40003 |  |  |  |  |
|  | TUBING SILICONE FOR PINCH | S40005 |  |  |  |  |
|  | TUBING PVC YELLOW | S40006 |  |  |  |  |
|  | COUPLING | S50002 |  |  |  |  |
|  | VALVE | S50025 |  |  |  |  |
|  | MISC ELECTRICAL | S60104 |  |  |  |  |
|  | "CONTROL DATA CABLE 38""" | S60802 |  |  |  |  |
|  | SIGNAL CABLE - Z MOTOR | S60809 |  |  |  |  |
|  | DRIVER CABLE - Z MOTOR TO | S60810 |  |  |  |  |
|  | SYRINGE PUMP CABLE | S60811 |  |  |  |  |
|  | Y HOME SENSOR ASSEMBLY | S60812 |  |  |  |  |
|  | AC POWER INPUT CABLE | S60814 |  |  |  |  |
|  | CONTROL BOARD OUTPUT | S60843 |  |  |  |  |
|  | Y & SYRINGE PUMP CABLE | S60844 |  |  |  |  |
|  | INTERCONNECT CABLE | S60845 |  |  |  |  |
|  | Z HEAD CABLE | S60846 |  |  |  |  |
|  | COMPUTER DATA CABLE 8 ft | S60850 |  |  |  |  |
|  | Computer data cable 8' | S60851 |  |  |  |  |
|  | Com/data cable,12' | S60853 |  |  |  |  |
|  | Computer Data Cable, 6' | S60854 |  |  |  |  |
|  | SCANNER CONNECTOR CABLE 1 | S60855 |  |  |  |  |
|  | SCANNER LINK CABLE | S60856 |  |  |  |  |
|  | SCANNER COMMUNICATION | S60857 |  |  |  |  |
|  | Barcode Cable | S60859 |  |  |  |  |
|  | COMPUTER DATA CABLE 15 ft | S60860 |  |  |  |  |
|  | "Control Data Cable,48""" | S60863 |  |  |  |  |
|  | REAGENT SENSOR CABLE | S60870 |  |  |  |  |
|  | X MOTOR & SENSOR WIRING | S60881 |  |  |  |  |
|  | X MOTOR & SENSOR WIRING | S60883 |  |  |  |  |
|  | GREASE | S60910 |  |  |  |  |
|  | MOTOR DRIVE PCB ASSY | S69820008 |  |  |  |  |
|  | SENSOR PCB ASSY | S69820010 |  |  |  |  |
|  | USA 110V W/BATH PCB ASSY | S69820142 |  |  |  |  |
|  | 240V W/BATH PCB ASSY | S69820143 |  |  |  |  |
|  | DISP PCB ASSY | S74220060 |  |  |  |  |
|  | SSR PCB ASSY | S74220061 |  |  |  |  |
|  | ROTARY VALVE ASSY | S75210003 |  |  |  |  |
|  | 240V PCB ENCLOSURE | S75210044 |  |  |  |  |
|  | EB 186 BOARD | S75220609 |  |  |  |  |
|  | PROC PCB CRYOTOME E | S77220543 |  |  |  |  |
|  | TOOL | T61401 |  |  |  |  |
|  | TOOL | T61424 |  |  |  |  |
|  | TOOL | T61449 |  |  |  |  |
|  | TOOL | T61450 |  |  |  |  |
|  | TOOL | T61451 |  |  |  |  |
|  | TOOL | T61452 |  |  |  |  |
|  | AGITATE SEAL FITTING TOOL | T61475 |  |  |  |  |
|  | ROTOR SEAL LOCATION | T61478 |  |  |  |  |
|  | DISPENSE PAD SETTING TOOL | T61622 |  |  |  |  |
|  | NOZZLE POT HEIGHT SETTING | T61627 |  |  |  |  |
|  | TOOL | T61807 |  |  |  |  |
|  | VALVE ALIGNMENT TOOL | T63189 |  |  |  |  |
|  | Tween 20 | TA-125-TW |  |  |  |  |
|  | DAB Away | TA-250-DA |  |  |  |  |
|  | Z HEAD ASSEMBLY KIT | U00001 |  |  |  |  |
|  | PM KIT | U00009 |  |  |  |  |
|  | Z HEAD SENSOR BOARD | U00021 |  |  |  |  |
|  | PLASTIC SINK UPGRADE KIT | U00028 |  |  |  |  |
|  | Lambwax Paraffin Wax | W1 |  |  |  |  |
|  | VA5 Pure Paraffin Wax | W11/4 |  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **УКУПНА ВРЕДНОСТ ЦЕНОВНИКА ОРИГИНАЛНИХ РЕЗЕРВНИХ ДЕЛОВА** |  |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| РБ | Назив | Јединица мере | Јединична цена без ПДВ-а | Јединична цена са ПДВ-ом | Стопа  ПДВ-а |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | Радни сат код одржавања по позиву | сат |  |  |  |

М.П.

Потпис:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**ОПШТИ ПОДАЦИ О ПОНУЂАЧУ ИЗ ГРУПЕ ПОНУЂАЧА**

|  |  |  |
| --- | --- | --- |
| *1)* | **Пословно име или скраћени назив из одговарајућег регистра** |  |
| **Адреса седишта** |  |
| **Матични број** |  |
| **Порески идентификациони број** |  |
| **Име особе за контакт** |  |

|  |  |  |
| --- | --- | --- |
| *2)* | **Пословно име или скраћени назив из одговарајућег регистра** |  |
| **Адреса седишта** |  |
| **Матични број** |  |
| **Порески идентификациони број** |  |
| **Име особе за контакт** |  |

|  |  |  |
| --- | --- | --- |
| *3)* | **Пословно име или скраћени назив из одговарајућег регистра** |  |
| **Адреса седишта** |  |
| **Матични број** |  |
| **Порески идентификациони број** |  |
| **Име особе за контакт** |  |

|  |  |  |
| --- | --- | --- |
| *4)* | **Пословно име или скраћени назив из одговарајућег регистра** |  |
| **Адреса седишта** |  |
| **Матични број** |  |
| **Порески идентификациони број** |  |
| **Име особе за контакт** |  |

**НАПОМЕНЕ:**

Понуђач доставља уколико је у Обрасцу понуде заокружио **“б”.**

Образац копирати, уколико има више понуђача

|  |  |
| --- | --- |
| М.П. |  |
|  | ПОТПИС |

**ОПШТИ ПОДАЦИ О ПОДИЗВОЂАЧИМА**

|  |  |  |
| --- | --- | --- |
| *1)* | **Пословно име или скраћени назив из одговарајућег регистра** |  |
| **Адреса седишта** |  |
| **Матични број** |  |
| **Порески идентификациони број** |  |
| **Име особе за контакт** |  |
| **Проценат укупне вредности набавке који ће бити поверен подизвођачу** |  |
| **Део предмета набавке који ће извршити подизвођач** |  |

|  |  |  |
| --- | --- | --- |
| *2)* | **Пословно име или скраћени назив из одговарајућег регистра** |  |
| **Адреса седишта** |  |
| **Матични број** |  |
| **Порески идентификациони број** |  |
| **Име особе за контакт** |  |
| **Проценат укупне вредности набавке који ће бити поверен подизвођачу** |  |
| **Део предмета набавке који ће извршити подизвођач** |  |

**НАПОМЕНЕ:**

Понуђач доставља уколико је у Обрасцу понуде заокружио **“в”.**

Образац копирати, уколико има више подизвођача.

|  |  |
| --- | --- |
| М.П. |  |
|  | ПОТПИС |